## LYS-1
Docket No. 07S-521E
Exhibit LYS-1
Page 1 of 1
Calculation of Avoided Capacity Cost
|  |  |  | PSCo Existing |  |  |  |  | PSCo Proposed |  |  |  |  | Staff Proposal
|  | <10 minute Notice |  |  | One -hour Notice |  | <10 minute Notice |  |  | One -hour Notice |  | <10 minute Notice |  |  | One -hour Notice
|  | Summer | Winter |  | Summer | Winter | Summer | Winter |  | Summer | Winter | Summer | Winter |  | Summer | Winter
C= | Generic Capacity Payment ('C) | 5.17 | 5.17 |  | 5.17 | 5.17 | 6.91 | 6.91 |  | 6.91 | 6.91 | 13.47 | 11.26 |  | 6.91 | 5.77
A= | AGC Adjustment (A) | -0.25 | -0.25 |  | -0.25 | -0.25 | -0.25 | -0.25 |  | -0.25 | -0.25 | -0.25 | -0.25 |  | -0.25 | -0.25
R= | Reactive Power Adjustment ('R) | -0.25 | -0.25 |  | -0.25 | -0.25 | -0.25 | -0.25 |  | -0.25 | -0.25 | -0.25 | -0.25 |  | -0.25 | -0.25
Tlf= | Transmission Loss Factor-(Tlf) | 1.0256 | 1.0256 |  | 1.0256 | 1.0256 | 1.0256 | 1.0256 |  | 1.0256 | 1.0256 | 1.0256 | 1.0256 |  | 1.0256 | 1.0256
| Net Costs (See ATS-1 for Row Title) | 4.7896 | 4.7896 |  | 4.7896 | 4.7896 | 6.5741 | 6.5741 |  | 6.5741 | 6.5741 | 13.302 | 11.0355 |  | 6.5741 | 5.4049
| Reserve margin (Rm) | [5 empty] | 16% | 16% |  | 16% | 16% | 16% | 16% |  | 16% | 16%
| Rm Adjusted-Net Cost | [5 empty] | 7.626 | 7.626 |  | 7.626 | 7.626 | 15.4304 | 12.8011 |  | 7.626 | 6.2697
| Notification Factor (Nf) | 182% | 182% |  | 100% | 100% | 202.4% | 202.4% |  | 100% | 100%
| Rm+Nf Adjusted Net Cost | [5 empty] | 15.4318 | 15.4318 |  | 7.626 | 7.626 | 15.4304 | 12.8011 |  | 7.626 | 6.6266
Summer | Seasonal Ratio Adjustment | 130% | 85% |  | 130% | 85% | 115% | 90% |  | 115% | 90%
Rm= | Rm+Nf+Sr Adjusted Net Cost | [5 empty] | 17.7466 | 13.8886 |  | 8.7698 | 6.8634 | 15.4304 | 12.8011 |  | 7.626 | 6.6266
Caf | Credit Adjustment Factor-CAF | [5 empty] | 80% | 80% |  | 80% | 80% | 80% | 80% |  | 80% | 80%
| Fully Adjusted Net Cost | 11.3321 | 7.4094 |  | 6.2264 | 4.0711 | 14.1973 | 11.1109 |  | 7.0159 | 5.4907 | 12.3443 | 10.2409 |  | 6.1008 | 5.0158

## LYS-3
Docket No. 07S-521E
Exhibit LYS-3
Page 1 of 1
Capacity & Contingency Interruptions
Year | 2005 | 2006 | 2007
Peak Day | 2008-07-21 | 2008-07-19 | 2008-07-24
Capacity/contingency | 2008-07-12 | 2008-02-18 | 2007-02-14
Interruptions | 2008-07-13 | 2008-07-24 | 2008-04-06
| 2008-07-14 | 2008-10-27 | 2008-04-07
2008-04-08
2008-05-10
2008-09-18
2008-12-11

## LYS-4
Docket No 07S-521E
Exhibit LYS-4
Page 1 of 1
Historical Load Factor of Combution Turbine
<10-minutes Notice
| Alamosa 1 | Alamosa 2 | Ft. Lupton 1 | Ft. Lupton 2 | Plains End | Valmont 6
| Energy in MWH | Energy in MWH | Energy in MWH | Energy in MWH | Energy in MWH | Energy in MWH
2005 | 144.5623 | 160.5017 | 1655.9736 | 1680.3218 | 50309.2357 | 301.1774
2006 | 0 | 0 | 1515 | 1778 | 39556 | 643
2007 | 263 | 297 | 4325 | 3933 | 113627 | 5985
AVG | 135.8541 | 152.5006 | 2498.6579 | 2463.7739 | 67830.7452 | 2309.7258
Total |  | 288.3547 |  | 4962.4318 | 67830.7452 | 2309.7258
Capacity |  | 36 |  | 90 | 108 | 43
Load Factor |  | 0.09144% |  | 0.6294% | 7.17% | 0.6132%
Total Capacity | 277
Weighted Avg | 3.107%
One Hour Notice
| Fountain Valley | Valmont 7&8 | BlueSpruce 1&2 | Spindle Hill 1&2 | Manchief 11&12 | Fruita | Brighton 1& 2 | Brush 1& 3
| Energy in MWH | Energy in MWH | Energy in MWH | Energy in MWH | Energy in MWH | Energy in MWH | Energy in MWH | Energy in MWH
2005 | 265248.5515 | 4942.4037 | 244331.0607 |  | 83907.6008 | 499.9844 | 24970.7422 | 8825.3112
2006 | 342053 | 9350 | 229254 |  | 119616 | 138 | 18570 | 9694
2007 | 449305 | 17292 | 489331 | 505316 | 338716 | 4268 | 238688 | 37832
AVG | 352202.1838 | 10528.1346 | 320972.0202 | 505316 | 180746.5336 | 1635.3281 | 94076.2474 | 18783.7704
Capacity | 246 | 88 | 280 | 300 | 267 | 19 | 150 | 30
Load Factor | 16.34% | 1.366% | 13.09% | 25.52% | 7.728% | 0.9825% | 7.16% | 7.148%
Total Capacity | 1380
Weight Avg | 13.65%
Note:
1. Did not use Brush 2 & 4
2. Use 6600 hour to calculate the load factor for the Spindle Hill 1 & 2
3. Refer to CPUC 2-4 for combution turbines.

## LYS-5
Dcoket No. 07S-521E
Exhibit LYS-5
Page 1 of 1
Monthly Credit Rate (MCR) Comparison
PSCo Existing MCR
Summer
MCR= | [($4.79 * CaExisting* Nf) + (Av*Ha)]*Slf*130%
Winter
MCR= | [($4.79 * CaExisting* Nf) + (Av*Ha)]*Slf*85%
PSCo Proposed MCR (Including the 80% Credit Adjustment Factor)
Summer
MCR= | [($6.10 * CaProposed* Nf) + (Av*Ha)]*Slf*115%
Winter
MCR= | [($6.10 * CaProposed* Nf) + (Av*Ha)]*Slf*90%
Staff Proposed MCR (Including the 80% Credit Adjustment Factor)
Summer <10 minute Notice
MCR= | [($12.34 * CaExisting) + (AvStaff*Ha)]*Slf
Winter < 10 minute Notice
MCR= | [($10.24 * CaExisting) + (AvStaff*Ha)]*Slf
Summer One Hour Notice
MCR= | [($6.10 * CaExisting) + (AvStaff*Ha)]*Slf
Winter One Hour Notice
MCR= | [($5.02 * CaExisting) + (AvStaff*Ha)]*Slf

## LYS-6
Docket No 07S-521E
Exhibit LYS-6
Page 1 of 1
Percentage of Program Participant's Bill Attributable to Monthly Interruptible Credit
Customer | 2006 | 2007
1 | 19.48% | 32.65%
2 | 25.82% | 32.04%
3 | 30.29% | 28.64%
4 | 27.71% | 24.85%
5 | 15.02% | 15.59%
6 | 13.04% | 14.95%
7 | 13.7% | 14.21%
8 | 9.476% | 8.661%
9 |  | 7.786%
10 | 7.793% | 7.766%
11 | 6.881% | 7.557%
12 | 6.529% | 6.972%
13 | 6.196% | 6.536%
14 | 5.742% | 5.744%
15 | 6.025% | 5.53%
16 | 12.57% | 4.164%
17 | 5.903% | 3.713%
18 | 5.443% | 3.383%
19 | 4.004% | 2.899%
Note: Original data from CPUC 8-20 and CPUC 8-37

## LYS-8
Docket No. 07S-521E
Exhibit LYS-8
Page 1 of 1
Percentage of Average kW to CIL
Customer | July | August | January | December
1 | 163.5% | 169.6% | 129.6% | 142.5%
2 | 131.9% | 129.7% | 50.91% | 66.55%
3 | 109.5% | 91.1% | 27.35% | 42.33%
4 | 97.44% | 93.2% | 81.94% | 97.61%
5 | 95.27% | 101.2% | 87.11% | 89.7%
6 | 88.46% | 90.7% | 96.76% | 93.02%
7 | 87.14% | 88.53% | 79.1% | 76.37%
8 | 85.44% | 87.78% | 89.53% | 89.44%
9 | 71.4% | 74.04% | 65.06% | 65.82%
10 | 67.44% | 67.63% | 60.92% | 61.53%
11 | 62.27% | 53.29% | 21.19% | 46.07%
12 | 59.84% | 63.42% | 39.82% | 45.89%
13 | 55.44% | 56.51% | 48.44% | 52.21%
14 | 50.33% | 46.38% | 29.52% | 38.1%
15 | 27.11% | 20.68% | 23.08% | 30.76%
16 | 19.06% | 17.59% | 12.74% | 15.18%
17 | 15.18% | 16.05% | 9.757% | 8.897%
18 | 14.43% | 14.11% | 15.69% | 15.8%