INTERRUPTIBLE SERVICE OPTION 
CREDIT WORKSHOP

DOCKET NO. 06S-642E

REPORT OF THE PARTICIPANTS IN THE ISOC 
WORKSHOP HELD ON AUGUST 9, 2006

October 30, 2007

OVERVIEW

Docket No. 06S-642E was opened so that the Commission could consider Public Service Company of Colorado’s (public Service’s) request for recovery of the payments made to customers that participated in its Interruptible Service Option Credits (ISOC) Program.  The recovery period in the docket ran from June 2005 through November 2005; the initial year in which the ISOC Program was implemented.

As part of Decison No. C07-0559, the Commission ordered workshop(s) be held for the purpose of discussing the usefulness of Public Service’s cost benefit analysis for the ISOC Program as well as the methodology used to prepare that analysis, and for integrating issues that may be resolved during the course of the workshop(s).  Public Service, Staff and other stakeholders were ordered to address, at a minimum, the following issues.

- 1)	Examine the level of coincidence between each of the ISOC Program participants’ 15-minute integrated kW demand and system peak.

- 2)	Evaluate the advisability and implications of applying accrual accounting to the cost recovery.

- 3)	Evaluate the usefulness and purpose of preparing a cost-benefit analysis relating to the ISOC Program and the methodology to be used in preparing such an analysis.

- 4)	Analyze methods for optimizing the use of ISOC hours including, but not limited to:  (a) an analysis of the results of the application of actual data from the last two years of operation of the ISOC Program; and (b) an analysis of how to eliminate blocks of less than four hours.

- Examine and evaluate the economic interruptions that have been called over the last two years of the ISOC Program’s operation and how Energy Markets forecasting can be utilized in this process.

- The workshop participants were also required to address the reasoning behind the current ISOC requirement that each interruption be at least four hours.

A single workshop was held on August 8, 2007 with representatives from Staff, Public Service, the Office of Consumer Council and Rocky Mountain Steel Mill in attendance.  During the workshop Public Service stated that it considered the ISOC Program to be a key component in its effort to grow demand side management.  However, in order to grow the program, Public Service explained that it is currently looking at structural changes to the program that may provide greater appeal to prospective customers.  Public Service is currently looking at structural changes in the program that may provide greater appeal customers.  Some of the ideas under consideration are as follows.

- Reduction of the required minimum load

- Reduction of the minimum duration for an interruption

- Provisions for aggregation of load

- Revisiting the calculation of avoided cost and contract interruptible load

- The use of a negotiated avoided cost rate

- The establishment of financial incentives for Public Service

- Removal of the eligibility requirement that necessitates being a Public Service customer during the prior year’s summer season

Staff agrees with Public Service that the ISOC Program has significant growth potential and supports Public Service in exploring changes that could be used to enhance the marketability of the program and to promote participation.

However, issues surrounding both the calculation of the credits and the determination of benefits remain unresolved.  While the program holds considerable promise for reaching a viable, cost effective and clean energy solution to meet Colorado’s growing resource need, the benefits attributed to the ISOC program need to be realistically calculated to facilitate a comparison with alternate demand side management scenarios.  The report presents for further discussion the issues outlined by the Commission in Decision No. C07-0559 presents the parties’ plan for going forward.

WORKSHOP ISSUES

The examination of the level of coincidence between each of the ISOC Program participants’ 15-minute integrated kW demand and system peak.

Public Service prepared a table to address the issue of coincidence between each of the ISOC Program participant’s 15-minute integrated demand and it’s system peak.  The table was presented at the workshop and is Attachment 1 to this report.

The Commission’s order called for an examination of the coincidence between each ISOC Program participant’s demand and Public Service’s system peak demand.  Public Service interpreted this directive to mean that the participants’ coincident peak would be examined during Public Service’s peak period.  Therefore, the first column in Public Service’s table titled Max monthly non coincident demand illustrates the cumulative effect of each participant’s maximum peak demand during the month in question.  In this instance, there is no coincidence between ISOC participants nor is there coincidence with Public Service’s system.  The second column titled Max monthly coincident demand depicts the highest participant demand on a coincident basis but does not reflect the day or the hour in which Public Service experienced its system peak.

The next two columns depict the billing credits and show whether ISOC Program participants received their full credit for contract interruptible load or whether a participant’s monthly peak demand fell below the contract interruptible load and therefore the participant received a reduced ISOC credit.

The columns titled Max peak period demand peak day and Max coincident peak period demand day depict the participants’ load during the peak period on the day Public Service experienced its monthly system peak.  However, although the participants demand reflects the day on which the maximum system demand occurs, it does not reflect the actual hour(s) when the demand on Public Service’s system was highest.

Staff took an alternate approach to address the Commission’s directive.  This analysis is presented in Attachment 2.  Based on Public Service’s assessment that the lion’s share of the value received from the ISOC program comes from avoiding the acquisition of additional resources for serving peak load, Staff looked at Public Service’s system during the time when demand on the system was highest.  Because of the popularity of the ISOC option which calls for 40-hours of interruption, Staff used a forty hour period over which to assess the coincidence between ISOC load and Public Service’s native load obligation.

For the forty hours in question for 2006, 9 hours occurred in the month of June, 27 hours occurred in the month of July, and 4 hours occurred in the month of August.  Because Public Service called capacity interruptions during 4 of the top forty hours and economic interruptions during 19 of the top forty hours, the initial half hour segment directly prior to an interruption were used as a proxy for ISOC load during the interruption.  Had an interruption not occurred, actual loads could have been higher or lower than the proxies

Data highlighted in blue in Attachment 2 represent the hours in which Public Service called an economic interruption.  Data highlighted in yellow represent the hours in which Public Service called an economic interruption.  Attachment 2 thus illustrates the power available from ISOC participants for reducing demand on Public Service’s system and ranges from 16 percent of the ISOC credit to 75 percent of the ISOC credit.  It should be noted that the 16 percent figure represents a day when CF&I was not operating and therefore Public Service’s largest customer was not available to reduce load.

Evaluate the advisability and implications of applying accrual accounting to the cost recovery.

During the workshop Public Service agreed to use accrual accounting for cost recovery.  In the future, the recovery period will run from January through December of each year.

Evaluate the usefulness and purpose of preparing a cost-benefit analysis relating to the ISOC Program and the methodology to be used in preparing such an analysis.

The parties present at the workshop agreed that a benefit exists from preparing an annual cost benefit of the ISOC Program.  However, establishing a method for evaluating the ISOC Program presented the group with a considerable challenge.  Notwithstanding the challenge, a definitive evaluation is important not only for establishing a cost effective pricing structure but also for the acquisition of generating resources.  Currently the ISOC Program is relatively small, but as the program grows, it will become increasingly more important to correctly determine the amount of demand reduction that should be attributed to the ISOC participants.  The ISOC Program effects Public Service’s acquisition of resources and the reliability of its system.  Thus the parties must aim to provide the greatest precision possible in the identification of available demand reduction on Public Service’s system.

A benefit stemming from the ISOC Program that has been largely overlooked historically is the environmental and societal impacts resulting from demand side management.  The ISOC Program provides a viable alternative to resource acquisition and should be acknowledged for the complete array of benefits inherent in reducing demand on Public Service’s system.  Limiting the evaluation too narrowly may create undo pressure to demonstrate a positive benefit solely from the standpoint of avoided equipment costs.  Creating the proper incentives and relying on a comprehensive evaluation of benefits are both for assessing how Public Service should best to meet its native load obligation by choosing cost effective alternatives, including the ISOC Program.

The workshop produced no agreement on a method for evaluating the ISOC Program.  It was agreed upon that this issue would be better left to an upcoming docket to be file at the end of October 2007 revisiting the ISOC program and outlining Public Service’s plans to expand the program.

Analyze methods for optimizing the use of ISOC hours including, but not limited to:  (a) an analysis of the results of the application of actual data from the last two years of operation of the ISOC Program; and (b) an analysis of how to eliminate blocks of less than four hours.

Several ideas were discussed during the workshop including Public Service’s right to use the remaining balance of interruptible hours in one final interruption should the balance be less than four hours.  In addition, Public Service brought up the question of whether it was better to use all of the remaining interruptible hours or whether it might be better to reduce the credit paid to ISOC customers.  This issue is expected to be fleshed out in greater detail in Public Service’s filing of proposed changes to the ISOC program expected on October 31, 2006.

Examine and evaluate the economic interruptions that have been called over the last two years of the ISOC Program’s operation and how Energy Markets forecasting can be utilized in this process.

Publiv Service provided a comparison of actual to potential interruptible hours for 2005, 2006 and 2007 (through July).  This comparison is included as Attachment 1.

Public Service stated that Energy Markets considers a variety of factors when evaluating whether to call economic interruptions.  These factors include projected weather trends, unit maintenance schedules, the availability and cost of energy purchases in the market, and other market conditions affecting the projected near-term and long-term prices of energy. Energy Markets also explicitly includes start-up costs when estimating the avoided costs that could be realized through economic interruptions.

Any decision as to whether to call an economic interruption is largely a matter of judgment; given the uncertainty of future market conditions, it is impossible to conclude with certainty that an economic interruption called on any given day will be more valuable than an interruption called later in the year.  The Company will continue to assess carefully the need for economic interruptions with the goal of maximizing program benefits to all customers.

Reasons for the Four-Hour Minimum

Public Service explained that the four-hour minimum was included in the tariff in response to customer concerns about being interrupted many times for short periods.  The Company plans to revisit this issue in its upcoming ISOC filing.

WORKSHOP CONCESUS

The parties attending the workshop indicated strong support for continuing the ISOC Program.  Public Service reiterated its desire to expand the program as part of its continued commitment to demand side management.  Although there are outstanding issues related to the pricing of the program and the method used for the cost benefit analysis, all parties are optimistic that these issues can be resolved.

Public Service plans to file an application with proposed changes to the ISOC program for Commission consideration on October 31, 2007.  The application will provide a forum for resolving the issues presented herein, and will present an opportunity for reaching a wider audience than the parties attending the workshop.  In addition Public Service’s upcoming application will afford the Commission a fresh opportunity to weigh in on the extent to which the ISOC Program and other demand side management will help Public Service meet its future resource needs in the larger context of its 2007 Electric Resource Plan.

|  |  |  |  |  |  |  | Attachment 1 Docket No. 06S-642E Page 1of 1 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ISOC Program Participant's 15-minute integrated kW demands on monthly summer peak day |  |  |  |  |  |  |  |  |
| Month | Max monthly non coincident demand | Max monthly coincident demand | Contract Interruptible Load | Monthly credit value kW | Max peak period demand peak day | Max coincident peak period demand peak day | ISOC Status peak period peak day | Peak Day |
| Jun-05 | 128,726 | 117,748 | 123,884 | 123,032 | 120,405 | 109,258 | Partial 2-6 p.m. | 20-Jun |
| Jul-05 | 128,928 | 121,918 | 123,884 | 121,922 | 78,300 | 71,394 | None | 21-Jul |
| Aug-05 | 93,685 | 80,697 | 123,884 | 84,537 | 79,844 | 73,163 | None | 2-Aug |
| Sep-05 | 33,490 | 27,127 | 123,884 | 27,554 | 29,070 | 24,877 | None | 7-Sep |
| Jun-06 | 128,879 | 118,927 | 125,009 | 123,022 | 115,111 | 108,719 | Interrupt 2-6 p.m. | 14-Jun |
| Jul-06 | 128,431 | 119,129 | 125,009 | 120,998 | 116,873 | 114,518 | Complete 3-7 p.m. | 19-Jul |
| Aug-06 | 130,447 | 121,270 | 125,009 | 123,590 | 116,678 | 108,530 | Partial 11 a.m. -7 p.m. Complete 2-6 p.m. | 23-Aug |
| Sep-06 | 129,579 | 115,080 | 125,009 | 121,326 | 112,458 | 108,323 | None | 6-Sep |
| Jun-07 | 131,897 | 118,337 | 119,376 | 119,330 | 115,635 | 106,376 | Partial 2-6 p.m. | 25-Jun |
| Jul-07 | 130,673 | 121,342 | 119,376 | 119,291 | 125,675 | 113,305 | Partial 1-8 p.m. | 24-Jul |

Public Service uses the entire peak period for evaluation, a period from 1200 to 2000 when the system peak demand could be expected to occur, versus actual historical data depicting peak demand.

The tariff bases a participant’s Monthly Credit on the lesser of Contract Interruptible Load or the actual Interruptible Demand during the billing month.