### BEFORE THE PUBLIC UTILITIES COMMISSION

### OF THE STATE OF COLORADO

DOCKET NO. 97I-198T

________________________________________________________________________

IN THE MATTER OF THE INVESTIGATION INTO U  S WEST COMMUNICATIONS, INC.’S COMPLIANCE WITH SECTION 271 (c) OF THE TELECOMMUNICATIONS ACT OF 1996.

________________________________________________________________________

# INITIAL COMMENTS OF RHYTHMS LINKS INC.

#### REGARDING WORKSHOP NO. 2, COLLOCATION,

#### INTERCONNECTION AND RESALE

Pursuant to the Commission’s June 5, 2000 Procedural Order, Rhythms Links Inc. respectfully submits the following comments regarding U S WEST Communications Inc.’s (“U S WEST”) compliance with its obligations under the requirements of Section 271 of the Telecommunications Act of 1996 with respect to checklist item number 1.   Rhythms believes that U S WEST is deficient in meeting several of its obligations under the Act.

INTERCONNECTION AND COLLOCATION

“The provision of collocation is an essential prerequisite to demonstrating compliance with item 1 of the competitive checklist,” because collocation is “an essential means of allowing competitive LECs to interconnect” with the ILEC’s network.  To establish that it has met this check list item, U S WEST must demonstrate that collocation is provided under terms that are “just, reasonable, and nondiscriminatory” in accordance with section 251(c)(2)(D) of the Act.  To do so, U S WEST must show that it provides “concrete and specific” collocation intervals and other sufficiently definite terms and conditions in a “legally binding document.”  U S West proposes to meet these obligations through the commitments undertaken in its Statement of Generally Available Terms (“SGAT”).  But only a concrete and specific legal obligation can ensure “that the BOCs have taken real, significant, and irreversible steps to open their markets.”

As discussed below, U S WEST has failed to meet its burden in proving its compliance with § 271 regarding interconnection and collocation in the following respects:

- U S WEST unlawfully discriminates in provisioning collocations in a timely manner and in defined intervals;

- U S WEST’s SGAT imposes impermissible performance standards on CLECs’ collocated equipment;

- U S WEST unlawfully threatens to prohibit and disconnect CLEC-to-CLEC cross-connects necessary for interconnection; and

- U S WEST unlawfully limits collocation to its Central Offices.

A.	Collocation Provisioning Intervals.

1.	Vague and Ambiguous Terms in the SGAT Do Not Ensure the Collocation Will Be Provided on Just, Reasonable and Nondiscriminatory Terms and Conditions.

- Since the Federal Communications Commission’s Advanced Services Order, U S WEST has agreed, albeit reluctantly, to collocation provisioning intervals in its interconnection agreements and its SGAT.  However, for aspects of collocation provisioning that the Advanced Services Order did not directly addressed, U S WEST continues to maintain that it has the discretion to alter the intervals on an individual case basis.  As a result, the provisioning intervals set out by U S WEST are nothing but targets for performance that are haphazardly met.

- For example, in Section 8.4.3.2 of U S WEST’s SGAT, U S WEST provides itself with an exception to the collocation interval: “Due to variables in equipment and scope of the work to be performed, additional time may be required for implementation of the structure required to support the Collocation request.”  This section has the effect of negating the provisioning intervals stated in other sections, because it places no limitation on U S WEST’s exercise of discretion to extend the interval.  Without any limit on the discretion of U S WEST, the committed intervals are unenforecable and essentially meaningless.  Unless the SGAT is limited to “concrete and specific” established deadlines, the CLEC cannot be assured it will be provided collocation at “just, reasonable and nondiscriminatory” terms.

- The Absence of Provisioning Intervals for Essential Components of Collocations Unreasonably Delays CLEC Market Entry.

In cases where the FCC or state commissions have not imposed provisioning intervals addressing particular collocation work, U S WEST has simply treated it as though there is no requirement to perform in a timely manner.   This is particularly anticompetitive in circumstances when delay may disable the CLEC collocation or delays market entry, for example, when (1) U S WEST fails to provide timely and accurate Alternate Point of Termination-Connecting Facility Assignment data (APOT-CFA) and (2) when U S WEST does not commit to a reasonable interval for provisioning additional TIE cables when  a CLEC collocation is reaching cable exhaust.

First, U S WEST must be required to provide a concrete, enforceable interval for providing accurate APOT-CFA information, instead of being allowed impose the current inefficient and serial process.  APOT-CFA is simply the information that tells CLECs where on the U S WEST frame their cable is assigned.  This information is essential to a CLEC being able to place any kind of order—e.g., for transport and other UNEs.  The current process for ordering a collocation is set forth in the SGAT: the CLEC submits a collocation application to U S WEST.  U S WEST requires ten (10) days to conduct a feasibility study (which determines whether space, power, and terminations on the frame are available), twenty-five (25) days to transmit a collocation price quote, and then 90 days after the CLEC pays a 50% down payment (45 days for a cageless collocation) before U S WEST will perform the collocation construction and turn the space over to the CLEC.

The perception, however, that a CLEC can be ready for service in 65 days is deceiving.  A CLEC cannot provide service from a collocation until it has interoffice transport from the collocation.  And it is not allowed to order interoffice transport by U S WEST until it has accurate APOT-CFA information from U S WEST.  U S WEST, for no apparent reason, refuses to provide the form containing APOT-CFA identifying the location of CLEC's DS0, DS1 and DS3 terminations on the U S WEST intermediate frame, until the end of the collocation provisioning process.  For many CLECs, the APOT-CFA is not provided until as late as one day before the collocation is ready for service.  Therefore, there is further lengthy delay between the actual delivery date of the collocation space by U S WEST and the date that the CLEC has interoffice transport that allows it to bring the collocation arrangement on line.

Moreover, the APOT-CFA information provided by U S WEST is often incorrect.  This is especially damaging to CLECs because when service is provisioned to the incorrect APOT-CFA, it is hard to detect; therefore, CLECs cannot properly set customer expectations of when they will be provided service.  The inability of U S WEST to provide timely, accurate APOT-CFA is a significant barrier to entry.  It slows down a facilities-based network build and thwarts competition.

There is a simple, efficient solution to this problem, that is, to require U S WEST to implement a parallel processing scheme for collocation construction and transport processing.  U S WEST should not only order but also reserve the terminations at the frame at the time that it conducts the Feasibility Study to prevent any changes in the CFA during collocation construction.  This would enable U S WEST to deliver the APOT-CFA information to the CLEC considerably earlier.  There is no benefit in U S WEST waiting until the day before the collocation ready for service date to turn over this information, unless the goal is to delay market entry by competitors.

Second, U S WEST must commit to a concrete, enforceable interval for provisioning additional TIE cables.  TIE cables are the terminating wires that connect a collocating CLEC’s equipment to the frame in the U S WEST central office.   Typically, CLECs order a large number of TIE cables in the initial collocation application, however, given the rapid growth of competition, it is difficult to judge when those cables will be exhausted by serving an overabundance of customers from that collocation.  As a result, CLECs have a relatively short period of time in some collocations to anticipate cable exhaust and to order additional TIE pairs.   As it currently stands, there is no provisioning interval contained in the SGAT or interconnection agreements that require U S WEST to provide additional cable pairs.  U S WEST therefore maintains that the 90-day collocation construction interval obtains.  Clearly, however, TIE cable pair additions do not require a work effort remotely similar to building a whole new collocation cage.  And a 90-day interval may leave some CLECs in jeopardy of having to refuse any additional customers in a particular central office collocation until the new cables are added.   It is unjust and unreasonable for U S WEST not to commit to a reasonable interval for provisioning additional TIE cables to a collocation.

B.	U S WEST’s Arbitrary Equipment Performance Standards Violate the FCC’s Advanced Services Order.

- Although in its supplemental testimony U S WEST states to the contrary, the SGAT is replete with instances where it requires that collocating CLECs abide by standards and requirements in excess of those required by the FCC’s Advanced Servcies Order.   See Affidavit of Thomas Freeberg, U S WEST, at 25.  Moreover, U S WEST requires collocated CLEC equipment to meet requirements in “U S WEST technical publications,” “U S WEST Wire Center environmental and transmission standards,” and other discretionary requirements, all of which are unspecified and undisclosed in the SGAT.   U S WEST has not demonstrated that these technical requirements are applied in a nondiscriminatory manner and that they cannot be unlawfully changed at U S WEST’s whim to deny placement of CLEC equipment.

- The FCC has plainly determined that the only safety limitation that incumbents can place on the type of equipment collocated is that the equipment be Network Equipment Building System (“NEBS”) Level 1 compliant.  In examining whether it should also require higher levels of NEBS compliance, the FCC concluded, “NEBS requirements that address reliability of equipment, rather than safety, should not be used as grounds to deny collocation of competitive LEC equipment.”  Moreover, the FCC ordered “that, although an incumbent LEC may require competitive LEC equipment to satisfy NEBS safety standards, the incumbent may not impose safety requirements that are more stringent than the safety requirements it imposes on its own equipment that it locates in its premises.”

U S WEST’s SGAT does not make any definitive statement on how it intends to enforce NEBS requirements for CLEC equipment.  Its terms are anything but “concrete and specific.”  The SGAT does not confine U S WEST to application of NEBS Level 1 safety standards, but allows U S WEST to improperly deny collocation based on reliability or performance standards.  For example, throughout sections 8.2.1.8, 8.2.2.5, 8.2.3.9, 8.2.3.10, and 8.2.3.12, U S WEST preserves its right to deny collocations or collocated equipment based on noncompliance with any generic “NEBS standards,” suggesting that U S WEST will be allowed to enforce NEBS Level 2 or 3 compliance in direct contravention to the Advanced Services Order.    This is no small matter because essentially U S WEST can put a CLEC out of service throughout the entire U S WEST region based on its own judgment that the CLEC is not in compliance.

The Commission should require U S WEST to specify that collocation may be denied only based on application of NEBS Level 1 safety standards.  Further, U S WEST must be required to disclose and specifically describe the standards to which it holds collocating CLECs and those standards must be incorporated in the SGAT.  And if U S WEST intends to deny collocation based on those measures or attempts to remove equipment allegedly not in compliance, it must comply with the FCC’s requirements to demonstrate that the standard is required for safety reasons, and that the requirement is applied in a nondiscriminatory manner.  The SGAT lacks such a defined process of dispute resolution that will allow an orderly, just and reasonable determination of compliance with NEBS Level 1 and other safety standards.

C.	U S WEST Must Allow CLEC to CLEC Cross-Connects Necessary for Interconnection and Collocation.

Rhythms strenuously disagrees with the U S WEST position that it has no legal obligation to provide CLEC-to-CLEC cross-connects.   CLEC-to-CLEC cross-connects are necessary for CLECs to interconnect collocations in order to deliver telecommunications traffic to one another.  In Rhythms’ case, the only reason that Rhythms found it necessary to interconnect with a competitive interoffice transport provider was because the performance by U S WEST in providing transport was so dismal that it was preventing Rhythms from market entry.  A cross-connect is not only a sensible means to interconnect CLECs, it is plainly the only feasible means to do so.

U S WEST has committed in its Comments to maintain the status quo until September, 2000, pending FCC action on remand.  And the SGAT reflects this resolution.   Rhythms reserves its right to contest this issue and this check list item if and when U S WEST changes its policy and/or SGAT regarding the ability of CLECs to obtain cross-connects to other CLECs in the central office.

- U S WEST Unlawfully Limits Collocations to its Central Office Facilities.

In section 8.1.1 of the SGAT, U S WEST states that collocation is limited to “U S WEST’s Wire Center.”   Rhythms disagrees with this characterization and the language in the SGAT.  However, because, as Rhythms understands it, collocation in other U S WEST facilities will be an issue addressed in other workshops, including the emerging services workshop, Rhythms will defer its comments on this issue.

### CONCLUSION

In conclusion, Rhythms submits that U S WEST has not demonstrated that it provides just, reasonable, and nondiscriminatory access to interconnection and collocation.  Therefore, its application should be denied.

Respectfully submitted,

By: 	_________________________

## Douglas Hsiao

Assistant General Counsel

Rhythms Links Inc.

9100 E. Mineral Circle

Englewood, Colorado 80112

(303) 876-2704

fax (303) 476-2272

Robert W. Nichols, No. 17333

Nichols & Peña, LLP

2060 Broadway, Suite 200

Boulder, CO 80302

(303) 442-4300

###### fax (303) 443-6764

###### Its Attorneys

47 U.S.C. § 271 (1996) (“theAct”).

Application by Bell Atlantic New York for Authorization under Section 271 of the Communications Act to Provide In-Region, InterLATA Service in the State of New York, CC Doc. No. 99-295, Memorandum Opinion and Order, FCC 99-404 (released December 22, 1999) (“Bell Atlantic New York Order”), ¶ 66.

BellSouth Louisiana Order ¶¶ 61 & 66; Ameritech Michigan Order ¶ 110.

BellSouth Louisiana Order ¶¶ 66, 70 & 71.

Ameritech Michigan Order ¶ 18.

In re Deployment of Wireline Service Offering Advanced Telecommunications Capability, CC Docket No. 98-14, First Report & Order and Further Notice of Proposed Rulemaking  (Rel. Mar. 31, 1999) (“Advanced Services Order”).

SGAT at § 8.4.3.2 (emphasis added).

See Ameritech Michigan Order at ¶ 100 and BellSouth Louisiana Order at ¶ 61.

SGAT at §§ 8.2.1.8, 8.2.2.5, 8.2.3.9 and 8.2.3.12.

Advanced Services Order at ¶ 35 (“[W]e agree with commenters that NEBS Level 1 safety requirements are generally sufficient to protect competitive and incumbent LEC equipment from harm.  NEBS safety requirements, originally developed by the Bell Operating Companies’ own research arm, are generally used by incumbent LECs for their own central office equipment, so we conclude that NEBS adequately address the safety concerns raised by the incumbent LECs when competitors introduce their own equipment into incumbent LECs central offices.”).

Advanced Services Order at ¶ 35.

Id.  at ¶ 36.  The FCC further concluded, “that an incumbent LEC that denies collocation of a competitor’s equipment, citing safety standards, must provide to the competitive LEC within five business days a list of all equipment that the incumbent LEC locates within the premises in question, together with an affidavit attesting that all of that equipment meets or exceeds the safety standard that the incumbent LEC contends the competitor’s equipment fails to meet.  Id.  U S WEST’s SGAT contains no such requirement.

See Ameritech Michigan Order at ¶ 110.