# C21-0354Decision No. C21-0354

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

PROCEEDING20V-0311G NO. 20V-0311G

IN THE MATTER OF THE PETITION OF COLORADO NATURAL GAS, INC. FOR A WAIVER OR VARIANCE APPROVING A METER SAMPLING PROGRAM PURSUANT TO RULE 1003(B) OF THE COMMISSION’S RULES OF PRACTICE AND PROCEDURE AND RULE 4304(b) OF THE COMMISSION’S RULES REGULATING GAS UTILITIES AND PIPELINE OPERATORS, 4 CCR 723-4-4304(b) AND FOR A WAIVER OF RULE 4304(d).

commission decision granting the Motion 
OF colorado natural gas, inc. FOR an extension to the waiver 
TO the number of meters required to be tested in 2021 due to covid-19 limitations

Mailed Date:  	June 18, 2021

Adopted Date:	June 16, 2021

## BY THE COMMISSION

### Statement

This matter comes before the Commission for consideration of a motion (Motion) filed by Colorado Natural Gas, Inc. (CNG or Utility) on May 26, 2021 for an extension of the waiver from the number of meters required to be tested in calendar year 2021 pursuant to the Commission’s Rules Regulating Gas Utilities, 4 Code of Colorado Regulations (CCR) 
723-4-4304(b) and 4 CCR 723-4-4304(d), and the meter testing plan approved by the Commission in Decision No. R19-0219.

The Commission granted the initial petition for waiver (Petition) for the number of meters to be tested in 2020 in Decision No. C20-0635, issued on September 3, 2020.  This Motion requests to extend the same waiver of the number of meters to be tested for the year 2021.

CNG states “[s]ince no parties opposed the original petition, conferral with counsel as required by Rule 1400 is unnecessary and response time to this motion may be waived.”  Notwithstanding, the Commission allowed the normal response time of 14 days to run pursuant to Rule 1400(b) of the Rules of Practice and Procedure 4 CCR 723-1, prior to taking up the Motion rendering the implicit request to waive response time moot.

No objections, interventions, comments, or other pleadings were filed in response to the Motion.

The Commission provided a detailed description of CNG’s meter testing program in Decision No. C20-0635, so it will not be repeated here.

CNG stated in the Petition:

COVID-19 has created meter testing and operational limitations that will render CNG unable to meet its required 2020 meter test thresholds as required by the testing program. Specifically, in accordance with state and federal COVID-19 health guidance, CNG has implemented new restrictions on field activity and customer interactions. To maintain the safety of Company employees and customers, CNG has suspended meter removals requiring facility entry or customer interaction during the COVID-19 health crisis. Due to this suspension in meter removals, the Company’s ability to administer its meter test program as required has been constrained.

CNG further asserted in the Petition:

Due to COVID-19 impacts on both CNG’s meter removal and testing capabilities, based on current 2020 meter removal and testing quantities CNG’s projected 2020 meter tests will not meet the required testing quantities under its testing program for certain meter lots or groups.

CNG states in the Motion that it “continues to complete tests when an opportunity arises through a relocation.”

CNG further states “[w]ith the ongoing uncertainty of the COVID-19 pandemic, CNG requests an extension of the waiver previously granted by the Commission in the instant proceeding through December 31, 2021, for the same reasons as previously discussed by CNG in its original petition and acknowledged by the Commission in Decision No. C20-0635.”

### Findings and Conclusions

CNG is a public utility as defined in § 40-1-103, C.R.S., and is subject to the jurisdiction of the Commission.

The Commission agrees that the Covid-19 situation continues to cause limitations that include the ability to routinely remove, test, and replace meters pursuant to the Utility’s approved meter testing program.

Granting the motion for extension of the waiver from the number of meters required to be tested in calendar year 2021 pursuant to the meter testing plan approved by the Commission is consistent with the Governor’s Executive Order D 2020 017, Ordering Coloradans to Stay at Home Due to the Presence of COVID-19 in the State, and specifically Directive D(1)(c) which directs critical businesses such as utilities to comply with social distancing requirements, and is in the public interest as it protects the health and welfare of the citizens of Colorado.

For these reasons, the Commission finds that the waiver should be granted.

## ORDER

### The Commission Orders That:

The Motion filed on May 26, 2021 for a waiver of the number of meters required to be tested in calendar year 2021 pursuant to the Commission’s Rules Regulating Gas Utilities, 4 Code of Colorado Regulations (CCR) 723-4-4304(b) and 4 CCR 723-4-4304(d), and the meter testing plan approved by the Commission in Decision No. R19-0219 is granted.

The 20-day period provided for in § 40-6-114, C.R.S., within which to file applications for rehearing, reargument, or reconsideration begins on the first day following the effective date of this Decision.

This Decision is effective on its Mailed Date.

### ADOPTED IN COMMISSIONERS’ WEEKLY MEETING
June 16, 2021.

| (S E A L) ATTEST: A TRUE COPY Doug Dean, Director | THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO ERIC BLANK ________________________________ JOHN GAVAN ________________________________ MEGAN M. GILMAN ________________________________ Commissioners |
| --- | --- |

# Footnotes

Decision No. R19-0219 was issued in Proceeding No. 18A-0810G on March 6, 2019.

Motion, ¶ 12.

The Petition was filed on July 24, 2020.

Petition, ¶ 12.

Ibid., ¶ 13.

Motion, ¶ 10.

Ibid., ¶ 11.