Statement of Adoption - Attached Rules

(Decision No. C92-1646)

in DOCKET NO. 91R-642E

INVESTIGATION INTO THE DEVELOPMENT OF

RULES CONCERNING INTEGRATED RESOURCE PLANNING

Adopted Date:  December 30, 1992

Electric Integrated Resource Planning Rules

Section 1.00   Purpose and Scope

1.01    Purpose

1.02    Scope

Section 2.00   Definitions

2.01    Capacity Factor

2.02    Cogeneration

2.03    Commission

2.04    Cost-effectiveness Tests

2.05    Cream Skimming

2.06    Customer

2.07    Demand-Side Measure

2.08    Demand-Side Program

2.09    End-Use

2.10    Energy Efficiency

2.11    Energy Services

2.12    Externalities

2.13    Free Riders

2.14    Life-Cycle Costs

2.15    Lost Opportunities

2.16    Planning Period

2.17    Qualifying Facility

2.18    Renewable Resource

2.19    Resource

2.20    Supply-Side Resource

2.21    Technical Potential

2.22    Thermal Efficiency

2.23    Utility

Section 3.00   Filing Requirements

3.01    Plan Filing

3.02    Required Documentation

3.03    Distribution of the Plan

Section 4.00   Electric Energy and Demand Forecasts

4.01    Forecast Requirements

4.02    Modeling for uncertainty

4.03    Required Detail:

4.04    Historic data

4.05    Description and Justification

4.06    Format and Graphical Presentation

of Data.

Section 5.00   Assessment of Resources

5.01    Objective

5.02    Supply-Side Resources Investigation

5.03    Information on Supply-Side Resources

5.04    Demand-Side Resource Assessment

5.05    Avoided Costs

5.06    Assessment of All Demand-Side Resources

Through Use of Cost Effectiveness Tests.

5.07    Load Building Programs

5.08    Load Retention Programs

5.09    Fuel-switching.

5.10    Electricity Pricing

5.11    Environmental and Other Impacts

5.12    Description and Justification

Section 6.00   Development of Integrated Resource Plans

6.01    Development of Integrated Resource Plans

6.02    The Preferred Plan

6.03    Short-term Action Plan

6.04    Description and Justification

Section 7.00   Public Participation

Section 8.00   Filing Procedures and Commission Review

8.01    Pre-IRP Filing Procedures.

8.02    Commission Review of the IRP

8.03    Effect of Commission Approval on an Electric

Utility's Integrated Resource Plan in Future

Proceedings

8.04    Amendment to Approved Plan Outside of Rate or

CPCN Proceedings.

Section 9.00   Waivers

9.01    General Waivers

9.02    Small Utility Waiver

1.00 Purpose and Scope

1.01 Purpose. The purpose of these rules is to establish a

process for the development of integrated resource plans

by the Colorado utilities that are subject to these

regulations as specified in section 1.02.  The process is

intended to minimize electric rates and utility revenue

requirements to benefit the people and state of Colorado

in meeting electric-energy service needs, while recog-

nizing the need to preserve reliable electric service,

maintain reasonable electricity prices, and manage risks.

This process is also intended to encourage public

involvement in the development and review of these plans,

and to culminate in review and approval of the plans by

the Public Utilities Commission of Colorado

("Commission").

1.02 Scope. This rule shall apply to all jurisdictional

electric utilities in the state of Colorado that are

required to obtain Certificates of Public Convenience and

Necessity ("CPCN") from the Commission, C.R.S. § 40-5-

101, or are subject to the Commission's regulatory

authority over rates and charges, C.R.S. § 40-3-101,

except cooperative electric associations as defined in

C.R.S. 40-9.5-102, and except as otherwise specifically

stated in Section 3.01.

2.00 Definitions

2.01 Capacity Factor. The ratio of the net energy produced by

a generating facility to the amount of energy that could

have been produced if the facility operated continuously

at full capacity year-round.

2.02 Cogeneration. The simultaneous or sequential generation

of electricity and used and useful thermal energy from a

common fuel source, resulting in enhanced thermal

efficiency and fewer energy inputs than would be the case

if the electricity and useful thermal energy were

produced separately.  A cogeneration facility that meets

the requirements of the Commission's qualifying facility

rules, 4 CCR 723-10, may also be a qualifying facility.

2.03 Commission. Colorado Public Utilities Commission.

2.04 Cost-effectiveness Tests.  Formulas used to assess the

economic attractiveness of demand-side management ("DSM")

technologies and programs.

2.05 Cream Skimming.  Implementation of DSM programs in which

only the most cost-effective or least expensive measures

are implemented at a customer's facility, thereby making

it uneconomical to return at a later date to that

facility to obtain additional cost-effective demand-side

resources.

2.06 Customer. Any entity purchasing energy or capacity from

a utility on a retail basis.

2.07 Demand-Side Measure.  Any hardware, equipment, device, or

practice that is installed or instituted resulting in in-

creased energy efficiency, reduced demand, or improved

load factor at a customer facility.  Demand-side measures

can include fuel switching.  See 2.20 regarding fuel

switching as a Supply-Side Resource.

2.08 Demand-Side Program.  A utility-sponsored program, or a

program of a third-party selected by the utility to

install or institute demand-side measures.

2.09 End-Use. The light, heat, cooling, refrigeration, motor

drive, or other useful work produced by equipment that

uses electricity or its substitutes.

2.10 Energy Efficiency.  The decrease in electricity or gas

requirements of participating customers during any

selected time period, with energy services held constant.

2.11 Energy Services.  The heat, light, motor drive, and other

services for which customers of a utility purchase energy

from that utility.  If equivalent amenity levels or

productivity levels are maintained, then energy service

is considered constant.

2.12 Externalities. Those environmental and other costs (or

benefits) to impacted third parties that result from the

generation, transmission, distribution, or reduction in

use through efficiency improvements of electricity and

that are external to the economic transaction between the

supplier (utility) and the retail (ratepayer) customer.

The benefits are not paid for, nor are the costs

compensated for.  Externalities may include, but are not

limited to, economic, environmental, health, and safety

impacts.

2.13 Free Riders. Those customers who participate in a

utility-sponsored DSM program and would have implemented

a demand-side measure regardless of the utility-sponsored

demand-side program.

2.14 Life-Cycle Costs.  All of the costs, including both

direct and indirect, associated with the construction,

operation, maintenance, fueling, waste disposal, and

decommissioning of a supply-side or demand-side resource.

2.15 Lost Opportunities.  Situations where cost effective

demand side measures could have been installed at a site,

but were not, thereby rendering subsequent equal or

additional modifications to the site not cost-effective.

2.16 Planning Period. The future period for which a utility

develops its integrated resource plan.  For purposes of

this rule, the planning period is twenty years.

2.17 Qualifying Facility.  A co-generator or a small power

producer entitled to sell electricity to a utility at

wholesale under the authority of the Public Utility

Regulatory Policies Act of 1978, 16 USC Sec. 824a-3, et

seq., and that meets the requirements of the Commission's

qualifying facility rules, 4 CCR 723-19.

2.18 Renewable Resource.  Renewable energy resource shall mean

any facility, technology, measure, plan or action

utilizing a renewable "fuel" source such as wind, solar,

biomass, geothermal, waste, or small hydro (as defined in

the Public Utility Regulatory Policy Act).

2.19 Resource.  Any facility, project, contract, or other

mechanism a utility can use to provide energy services to

its customers.

2.20 Supply-Side Resource.  A resource option that can provide

additional electrical energy or capacity to the utility.

Supply-side resources include utility-owned generating

facilities; electricity purchased from other utilities,

cogenerators, qualifying facilities, small power

producers, or independent third parties; transmission or

distribution improvements; and the life extension or

upgrading of existing facilities of the utility through

technological improvements, including fuel switching, to

more efficiently produce and deliver electricity.

2.21 Technical Potential. The amount of capacity and energy

that could be obtained from a demand-side program by the

installation and use of the most efficient equipment and

technology in each customer facility.

2.22 Thermal Efficiency.  With respect to supply-side

resources, the total amount of electrical and other

useful energy output divided by the total energy input.

2.23 Utility:  To the extent applicable in these rules, those

entities described in § 40-1-103 (1), C.R.S.

3.00 Filing Requirements

3.01 Plan Filing:  The utility shall file its first IRP on or

before July 1, 1993.  Every three years thereafter the

utility shall file an original and 15 copies of a 20-year

integrated resource plan ("IRP") with the Commission and

an application requesting Commission approval of the

plan.  Whenever cooperative electric associations develop

IRPs for other jurisdictional bodies, pursuant to C.R.S.

§ 40-9.5-107 and C.R.S. § 40-3-110, such cooperative

electric associations shall file an original and 15

copies of the IRP with the commission within 30 days

after submission of the plan to such other body.  The

IRPs filed by the cooperative electric associations shall

not be formally approved.

3.02 Required Documentation:  The IRP shall consist of the

following documents:

(a)  An Executive Summary, separately bound and suitable

for distribution to the public, which shall be a

non-technical description of the preferred plan and

alternative plans, and the three-year action plan,

all as described in section 6.00; and

(b)  A Technical Volume or volumes setting forth in

detail, the elements of the preferred plan, the

alternative plans, and the action plan.  This

volume or volumes shall also include the utility's

load forecasts, assessments of supply and demand

resource alternatives, the supporting data,

assumptions, and models used to develop the plans,

and a detailed explanation of the utility's efforts

in implementing the last plan reviewed by the

Commission; and

(c)  Technical Appendices containing information

enabling the Commission and intervening parties to

understand how the preferred plan was developed and

to verify the accuracy and consistency of the

information used and assumptions made in developing

the preferred plan.  Technical appendices shall

also include documentation and explanations of all

data,  assumptions, models, and outputs used in

development of the preferred and alternative plans,

outputs from such models, the results of

uncertainty analyses, and citations to all

significant sources of information used in the

development of the preferred plan.

(d)  Annual Progress Reports, submitted one and two

years after the submission of the formal Integrated

Resource Plan, to keep the Commission and

interested parties apprised of the utility's

efforts to implement the approved plans and of any

changes in circumstances that affect plan

implementation.  To the extent any changes in

assumptions or modelling in the formal plan have

occurred, they shall be included in these progress

reports.

3.03 Distribution of the Plan.  Copies of this plan shall be

provided by the utility, at a price not to exceed

publication and mailing costs, to parties that intervene

in the IRP proceeding.  The Staff of the Commission and

the Colorado Office of Consumer Counsel will be provided

with the utility's plan at no charge.

4.00 Electric Energy and Demand Forecasts

4.01 Forecast Requirements.  The utility shall prepare the

following energy and demand forecasts for the 20 years

starting with the year in which the plan under

consideration has been filed:

(a)  The total annual jurisdictional sales of

electricity by the utility;

(b)  Annual sales of energy and coincident peak demand

for each major customer class;

(c)  Annual sales to other utilities;

(d)  Annual intra-utility electricity use;

(e)  Annual system losses and the allocation of such

losses to the transmission and distribution

components of the system; and

(f)  Annual system and major customer class load factors

and peak demands.

4.02 Modeling for uncertainty.  The utility shall develop a

range of forecasts of peak demand and energy sales which

its system may reasonably be required to serve during the

20-year forecast period.  The range shall include at

least three levels of expected growth in peak demand and

energy sales, based on alternative, internally consistent

assumptions about the determinants of peak demand and

energy sales, as follows:

(a)  A base case scenario, which incorporates

assumptions that the utility determines to be most

likely;

(b)  A high-growth scenario; and

(c)  A low-growth scenario.

4.03 Required Detail:

(a)  Forecasts of energy sales for residential and

commercial customer classes shall be made on the

basis of end-use analysis to the extent feasible

for IRPs filed through 1996.  After 1996, such

forecasts shall be made on the basis of end-use analysis.

(b)  Forecasts of industrial energy use shall be made on

the basis of 2-digit SIC codes and shall be made on

the basis of end-use analysis to the extent

feasible for IRPs filed through 1996.  After 1996,

such forecasts shall be made on the basis of end-

use analysis.

(c)  Forecasts done by other means may be used to check

the reliability of the end-use forecasts;

(d)  For each 2-digit industrial SIC code and each

residential and commercial end-use, the utility

shall explain how the effects of the following

factors on energy use and peak demand were treated

in such forecast:

(1)  Changes in energy efficiency and in load

factor or peak demand that are expected to

occur without utility DSM programs as a result

of, for example, government standards, market

forces, or programs sponsored by entities

besides utilities; and

(2)  Changes in energy efficiency and in load

factor or peak demand that are expected to

occur as a result of utility DSM programs,

including those that maintain or increase

loads, implemented prior to the filing of the

plan under consideration.

(e)  The utility shall maintain as confidential

information reflecting historic and forecasted

demand and energy use for individual customers.

However, when necessary in the IRP proceedings,

such information may be disclosed to parties who

intervene in accordance with the terms of

nondisclosure agreements approved by the Commission

and executed by the parties seeking disclosure.

4.04 Historic data.  The utility shall:

(a)  For each of the ten years immediately preceding the

year in which a plan under consideration has been

filed, set forth the forecast of peak demand and

energy sales made by the utility as well as the

actual peak demand and energy sales experienced by

the utility in that year; and

(b)  Explain, if applicable, why the peak demand and

energy sales were different than those that had

been forecasted by the utility.

4.05 Description and Justification.  The utility shall fully

explain, justify, and document the data, assumptions,

methodologies, models, determinants, and any other inputs

on which it relied to develop its peak demand and energy

sales forecasts pursuant to this section as well as the

forecasts themselves.

4.06 Format and Graphical Presentation of Data.  The

utility shall include graphical presentation of the

data as shall make the data more understandable to

the public, and shall make the numerical data

available in such electronic formats as the

Commission shall reasonably require.

5.00 Assessment of Resources

5.01 Objective.  The utility shall make a thorough and

consistent assessment of a wide range of supply- and

demand-side resources for potential inclusion in its IRP.

5.02 Supply-Side Resources Investigation.  To provide a

resource base for use in conducting the assessment

required in section 5.01, a utility shall investigate

supply-side resources reasonably available to it within

the 20-year planning period and the proposed

implementation schedules thereof.  This investigation

shall include a wide range of fuel types (including

renewable fuels), technologies, and ownership of

resources.  Types of resources, among others, that a

utility shall investigate include:

(a)  Existing power plants and contracts;

(b)  Potential changes to existing resources, including,

but not limited to, repowering, fuel switching, and

life extension of power plants, loss reduction in

transmission and distribution systems, regional

dispatch of power plants, and improvements in

efficiencies including, among other areas, in

power-plant thermal efficiency and heat rates;

(c)  New utility-owned conventional generation

resources, including, but not limited to, fossil

fueled, nuclear fueled, or large hydro powered

generating stations (as defined in the Public

Utility Regulatory Policy Act);

(d)  Renewable resources as referenced in 2.18;

(e)  Purchases from Qualifying Facilities, including

purchases obtainable through bid solicitation

programs, if any, approved by the Commission;

(f)  Purchases from Independent Power Producers,

including purchases obtainable through bid

solicitation programs, if any, approved by the

Commission;

(g)  Purchases from other utilities;

(h)  Additional resource-related transmission capacity;

(i)  Customer-owned generating capacity that is not a

qualifying facility or independent power capacity;

and

(j)  Resources developed through pooling, wheeling,

coordination arrangements, or through other

mechanisms not otherwise covered in subsections

5.02(a)-(i).

5.03 Information on Supply-Side Resources.  To the extent

reasonably available, the utility shall develop and

include in its IRP the following information with respect

to supply-side resources that it investigates:

(a)  A comprehensive analysis of proposed compliance

with Title IV of the Clean Air Act Amendments of

1990 including:

(1)  Planned operation levels of all facilities

affected under either Phase I or II of Title

IV;

(2)  The expected emission reductions required

under both phases of Title IV;

(3)  An assessment of the least-cost means of

achieving this reduction, including

consideration of:

(i)  Fuel-switching (e.g., oil to gas, high-

sulphur to low-sulphur coal, and coal to

gas);

(ii) Retrofit of pollution control devices;

(iii)     Energy-efficiency improvements; and

(iv) Purchase or sale of emission allowances.

(b)  With respect to all existing supply-side resources,

identification and description, of such resources

including:

(1)  Name and location;

(2)  Rated capacity and net dependable capability;

(3)  Equivalent availability factors and capacity

factors;

(4)  Applicable heat rates;

(5)  Specification and description of fuel types,

including, with respect to resources using

coal, description of the quality of the

coal(s) used;

(6)  Expected remaining useful life;

(7)  Historical fuel prices for the past five years

plus projected fuel prices for the next three

years including high, base and low estimates

and justification thereof;

(8)  Historical fixed and variable costs of

producing energy for the past five years, and

projected fixed and variable costs of

producing energy for the next three years; and

(9)  Emission rates (expressed in pounds emitted

per Kwh generated) of the following sub-

stances:

(i)    oxides of sulphur;

(ii)   oxides of nitrogen and nitrous oxides;

(iii)  carbon dioxide;

(iv)   carbon monoxide;

(v)    volatile organic hydrocarbons;

(vi)   particulates;

(vii)  methane;

(viii)    chlorofluorocarbons and other ozone-

depleting substances; and

(ix)   air toxics, as defined in Title III of

the Clean Air Act.

(10) A description of the impacts on land

(including solid-waste disposal) and water

resources.

(11) A description of any significant future

changes to items (1) through (10) that are

presently known.

(c)  With respect to existing supply-side resources not

owned by the utility, identification and

description of these resources including name, fuel

type, contract capacity, remaining life of the

contract, cost per megawatt and per megawatt-hour

and, to the extent available to the filing utility,

emission of substances specified in subsection

(b)(9)(i)-(ix) and land and water impacts as

specified in subsection (b)(10).

(d)  Description of the role of existing utility-owned

resources as future resources, including a

discussion of the potential costs of, and schedules

for, repowering, fuel switching, life extension,

and improvement in efficiencies including, among

other areas, heat rates and thermal efficiency.

(e)  With respect to potential new utility-owned

generating facilities, identification and

description of options for meeting load during the

planning period including:

(1)  With respect to any new supply-side resource

project that a utility has already identified,

the utility shall provide information for such

resource as specified in subsection 5.03(b) as

well as construction cost, construction

schedule, and expected in-service date; and

(2)  With respect to other new supply-side

resources, the utility shall describe the

potential for development of these options by

technology and fuel type, addressing the

likely costs of construction and production

(including a range of projected fuel prices),

environmental and other impacts, and

availability of these options during the 20-

year planning period.

(f)  With respect to potential new non-utility-owned

generating facilities, identification and

description of such options likely to be available

during the planning period, including a description

of the potential for such facilities by technology

and fuel type, addressing the likely amounts of

capacity and energy available from such facilities

at various assumed prices, the environmental

impacts of such facilities, and  the availability

of such capacity and energy during the 20-year

planning period.

(g)  With respect to improvements in the efficiency of

supply of electricity, identification and

description of the potential costs of, and

schedules for, such improvements in the 20-year

planning period.

(h)  With respect to new resource-related transmission-

related investments, identification and description

of the potential costs of, and schedules for, such

investments, including the location of the

investment and derivation of the resource

capability that such investment is intended to add

to the system in the 20-year planning period.

(i)  Identification and description of the resource

potential and costs of additional power pooling and

other forms of coordination with other utilities.

(j)  In addition to currently cost-effective renewable

resources, analysis and discussion of the potential

benefits and costs of a two percent set aside of

its annual load growth to be provided by additional

renewable resources in such manner and detail that

the Commission may approve the additional two

percent renewable resource investment if it

determines it to be in the public interest to do

so.

(k)  Analysis of the potential of curtailable and

interruptible service offerings to its customers in

order to improve system capacity utilization.

(l)  When a utility has excess capacity, analysis of how

it intends to increase efficiency through

management of off-system sales contracts.

5.04 Demand-Side Resource Assessment

(a)  The utility shall conduct an assessment of the

technical potential for future demand-side measures

as a guide for developing comprehensive demand-side

programs.  The utility shall carry out such

assessment for each major customer class and end

use.

(b)  The utility shall estimate the demand-side

resources available for use in developing an

integrated resource plan.  In the development of

such estimates, a utility shall be guided by the

following principles:

(1)  All cost-effective DSM programs, as defined in

sections 5.05 and 5.06 below, shall be

included in the estimate for the 20-year

planning period;

(2)  DSM programs shall contain monitoring and

evaluation components;

(3)  The utility's DSM programs shall strive toward

the development of a diverse set of DSM

programs that encompasses all customer

classes, including low-income customers;

(4)  The utility's DSM programs shall strive to

discourage free-riders;

(5)  The utility's DSM programs shall strive to

minimize lost-opportunities;

(6)  The utility's DSM programs shall strive to

avoid cream skimming; and

(7)  The utility's DSM programs shall examine the

effects of its DSM programs on rates and

reliability.

(c)  The utility shall provide estimates of

participation rates, costs (including program

administration as well as measure costs), net and

total energy, and load impacts over the 20-year

analysis period for each DSM program.

(d)  The utility shall provide the information in

subpart 5.04(c) for each major rate class.

5.05 Avoided Costs.  The utility's avoided cost calculations

shall include both the marginal energy and the capacity

costs arising from resources for which an alternative

supply-side or demand-side resource may be substituted.

(a)  The utility's resource plan shall completely

explain and document its avoided cost calculations.

Avoided costs should be reported annually for the

forecast period.  Avoided cost calculations should

reflect timing factors specific to the resources

being considered such as project life and seasonal

operation factors.

(b)  Avoided costs shall include:

(1)  Avoided generating capacity costs adjusted for

transmission and distribution (both primary

and secondary) losses and reserve margin

requirements;

(2)  Avoided transmission capacity costs;

(3)  Avoided distribution capacity costs;

(4)  Avoided operating costs, including fuel, plant

operations and maintenance, and transmis-

sion/distribution operations and maintenance,

adjusted for transmission and distribution

(both primary and secondary) losses; and

(5)  Net avoided environmental and other

externalities as well as other economic

impacts as may be established to the

satisfaction of the Commission consistent with

Section 5.11.

5.06 Assessment of All Demand-Side Resources Through Use of

Cost Effectiveness Tests.

(a)  The utility shall perform an initial assessment of

all demand-side resources assessed pursuant to

section 5.04 (a) utilizing the following tests:

(1)  Participant Test:  This test measures the

quantifiable benefits and costs to the custom-

er due to participation in the DSM program.

The benefits include rebates from the utility,

lower customer bills, and avoided capital and

operating costs.  The costs include out of

pocket expenses paid by the customer and any

increases in customer bills from DSM programs

or increased customer usage later.

(2)  Ratepayer Impact Measure Test:  This test

measures what happens to customer rates due to

changes in utility revenues and operating

costs caused by a DSM program.  The costs are

those associated with DSM program implementa-

tion, incentives paid to participants, incen-

tives paid to the utility for DSM, and the net

change in utility revenues after loads have

changed.

(3)         The Utility Cost Test:  This test

measures the net costs of a DSM program

based on the costs incurred by the

utility to offer the DSM program and

any increased supply costs for periods

when load is increased.  The benefits

are avoided supply costs when there is

a load reduction.

(4)  Total Resource Cost Test:  This test measures

the net costs of a DSM program based on both

the utility's costs and the costs incurred by

the participants.  It is a summation of the

Ratepayer Impact Measure Test and the Partici-

pant Test where the revenue change and the

customer incentive terms should match each

other except for differences in the net and

gross savings.  The benefits are net avoided

supply costs.

(b)  The utility or an intervenor may supply the Commis-

sion with information regarding the assessment of a

demand-side resource utilizing the Societal Cost

Test.  This is an analytical test that is used to

identify resources that provide net benefits

considering all economic, environmental, and social

factors.  A resource option is cost-effective under

this test when the present value life-cycle

benefits exceed the present value life-cycle costs.

(c)  The IRP shall include complete documentation of how

equity between participants and non-participants

was addressed, and how the assessment was performed

by the utility for DSM technologies.

5.07 Load Building Programs.  The utility shall provide a

detailed description of all programs it has, or plans to

have, that increase load (including industrial-

development and other special rates, as well as other

marketing efforts), including the costs of the programs

and their effects on electricity use and peak demands.

This requirement includes programs that encourage the

substitution of the use of electricity for the use of

gas, or the substitution of the use of gas for the use of

electricity, in meeting the demand for energy services.

5.08 Load Retention Programs.  The utility shall provide a

detailed description of all programs it has, or plans to

have, that retain load, including those intended to

prevent bypass through contracts under CRS § 40-3-104.3

with a customer expressing the intention to meet all or

part of its electric needs by an alternative means.

5.09 Fuel-switching.

(a)  The utility that sells both natural gas and

electricity shall analyze the costs and benefits of

the substitution of natural gas for electricity or

vice versa in meeting the demand for energy

services.

(b)       The analysis required by subsection (a) shall

address the following factors:

(1)  A statement of the estimated amount of

kilowatts, kilowatt-hours, or MCFs to be

substituted; and

(2)  The impact on equity between electric and gas

customers, including changes in electricity

and gas prices; and

(3)  The impact on utility revenues by such

substitution.

5.10 Electricity Pricing.  The utility shall explain whether

current rate designs for each major customer class are

consistent with the utility's IRP.  The utility shall

also explain whether possible future changes in rate

design will facilitate integrated resource planning

goals.

5.11 Environmental and Other Impacts.  For each resource

considered for inclusion in the utility's portfolio of

resources to be acquired in the action plan or projected

to be acquired in the IRP, the utility shall identify

environmental and other impacts of the resource and any

other resources considered but not selected.  The utility

shall show how qualitative consideration of these factors

was utilized by the utility in developing its plans.

5.12 Description and Justification.  The utility shall fully

explain, justify, and document the data, assumptions,

methodologies, models, determinants and all other inputs

on which it relied to develop the information required by

this section.  Also, a utility shall fully explain,

justify and document the way in which the criteria set

forth in section 5.01 et seq. were applied to each

resource assessed.

6.00 Development of Integrated Resource Plans

6.01 Development of Integrated Resource Plans.  The utility

shall develop integrated resource plans and supporting

explanation, justification, and documentation for

submission to the Commission.

(a)  In developing an IRP, the utility shall treat all demand-

and supply-side resources consistently and

equitably.

(b)  Integrated Resource Plans shall be developed

pursuant to the following procedure:

(1)  Using the resources assessed pursuant to

section 5.00 et seq., the utility shall

develop plans to meet the need for energy and

capacity for each of the demand forecasts

established in section 4.02;

(2)  The utility shall develop the plans required

by 6.01 so that they maximize the positive

value of the Total Resource Cost Test.  For

any demand-side resource included in the

plans, the utility shall supply the results of

the four tests listed in Section 5.06 (A)

(1)-(4).  In developing plans that optimize

the Total Resource Cost Test, the utility

shall show how externalities have been

considered in developing such plans.  The

utility shall explain, justify, and document

the manner in which these plans were

developed, including all financial, regulatory

and other significant assumptions.

(3)  In consultation with the Working Group

established in section 7.00, the utility shall

develop such additional plans designed to meet

different objectives that it deems

appropriate.

(4)  The utility shall conduct additional analysis

to examine the risks and uncertainties

associated with meeting the energy service

needs in each forecast.  Items of risk and

uncertainty to be considered include, but are

not limited to:

(i)     Fuel prices for electricity production

and for customer end uses;

(ii)    In-service dates of supply and demand

resources;

(iii)   Unit availability;

(iv)    Market penetration rates for, and the

cost-effectiveness of, demand-side

programs;

(v)     Inflation in plant construction costs

and the cost of capital;

(vi)    Use of risk-adjusted discount rates;

(vii)   Availability and cost of purchased

power;

(viii)  Possible federal or state legislation

or  regulation;

(ix)    New technological developments; and

(x)     Unit decommissioning or dismantlement

costs.

(5)  The utility shall, to the extent feasible,

report results on each of the plans it

develops with respect to the following crite-

ria:

(i)     The expected capital and operating

costs of the resource plan and its

effect on utility revenue require-

ments;

(ii)    Impact on electricity prices;

(iii)   Impact on the environment, including

environmental externalities consistent

with section 5.11;

(iv)    Effects on fuel and technology

diversity and other factors affecting

the plan's ability to respond to

unforeseen changes;

(v)     Reliability of the system;

(vi)    Impact on the utility's financial

condition;

(vii)   Impact on the Colorado and local

economies, to the extent feasible;

(viii)  Use of renewable resources; and

(ix)    Sustainability.

6.02 The Preferred Plan. The utility shall develop a preferred

plan for submission to the Commission on the basis of the

analysis required in section 6.01 and any other analysis

which the utility believes to be appropriate.  The

utility shall fully explain, justify and document the

manner in which it developed this preferred plan,

including an explanation of how it ensured internal

consistency in avoided costs and retail electricity

prices.  If the utility's preferred plan differs from the

plan that minimizes total resource costs in meeting

electric-energy service needs, the utility shall explain

fully the reasons for its choice of a different resource

plan.

6.03 Short-term Action Plan.  The utility shall file a short-

term action plan that sets forth the steps that it will

take to implement the preferred long-run plan prior to

the next IRP filing, including proposed budgets for these

steps as well as an explanation and justification of the

need to take such steps.  The action plan shall also

present the data collection and analysis activities the

utility plans to conduct to improve its resource-planning

capabilities.  The short-term action plan shall cover

each of the three years beginning with the year the plan

is filed with the Commission.

6.04 Description and Justification.  The utility shall fully

explain, justify, and document the data, assumptions,

methodologies, models, and any other inputs on which it

relied to develop the information required by this

section.

7.00 Public Participation

(a)  At the time of filing its request to open a docket

pursuant to Rule 8.01(a), a Working Group shall be

formed and shall consist of representatives of the

utility, the Staff of the Commission, the Office of

Consumer Counsel, and all other interested parties.

(b)  The utility shall afford all interested persons the

opportunity to participate fully throughout the

development of the utility's IRP.

(c)  All meetings of the IRP Working Group shall be open

to the persons and parties described in section

7.00 (a) and (b).

(d)  Unless otherwise ordered by the Commission, the

utility or its designee shall chair the IRP Working

Group, schedule meetings, and develop agendas for

these meetings.

(e)  IRP Working Group meetings shall be scheduled on a

periodic basis.  The purposes of the IRP Working

Group are for the utility to provide information on

the status of its plan development and for

non-utility parties to provide input to, comments

on, and appropriate public dissemination of

information regarding the utility's IRP process

including assumptions, models, and results.  Topics

to be discussed at the Working Group meetings

include, but are not limited to, the utility's

progress in implementing its latest IRP, key

assumptions and data used in the planning process,

the models and other analytical techniques used by

the utility, the results of the plan, and the

topics covered in sections 4.00, 5.00, and 6.00 of

this rule.  In addition, the utility shall run its

computer models to develop alternative resource

plans based on inputs and assumptions from the

Working Group.

(f)  The utility shall prepare a summary of the agendas

and discussions held during the Working Group

meetings.  The summaries, as well as the utility's

responses to the inputs from the Working Group

shall be included in the utility's IRP filing.

(g)  The utility shall have the right to require members

of the working group to execute nondisclosure

agreements to govern proprietary information before

disclosing any such information to the members.

8.00 Filing Procedures and Commission Review

8.01 Pre-IRP Filing Procedures.

(a)  At least 180 days prior to filing its IRP pursuant

to section 3.02, a utility shall file with the

Commission a request to open a docket for the

purpose of resolving resource planning issues for

that utility.  Those entities that intervene in

this docket shall be known as the "parties".

(b)  The utility shall strive to create opportunities

for informal discussions between it and the other

parties throughout the preparation of its plan, as

discussed in section 7.00.  At a minimum, a utility

shall prepare and provide to the parties a

Preliminary Plan, including a preferred plan, an

action plan, and alternative plans, at least 90

days prior to filing its IRP pursuant to section

3.02.  This Preliminary Plan shall be comprised of

the same documents, in draft, as are required to be

submitted by section 3.02.

(c)  Any party may conduct informal or formal discovery

of the utility with respect to the Preliminary

Plan, pursuant to the Commission's Rules of

Practice and Procedure, except that the time in

which the utility shall respond to the discovery

requests of the parties shall be 21 days.

(d)  Any party shall have a reasonable opportunity to

have the utility run the models it uses to develop

plans with assumptions specified by such party.

The utility shall have an opportunity to schedule

any such activities, and to coordinate and limit

such requests, so as to manage the burden imposed

by this requirement.  However, the utility shall

not be required to run such models during the 45

day period prior to its IRP filing.

(e)  Requests for any information that the utility deems

to be privileged shall be governed by a Commission-

approved protective agreement which allows limited

access and distribution of such information to the

parties to the IRP proceeding.  This agreement

should be developed and filed with the Commission

at least 80 days prior to the date on which the

utility will file its IRP with the Commission.

8.02 Commission Review of the IRP

(a)  The utility shall file an IRP that is complete and

reviewable pursuant to these rules.  The Commission

shall review the plan that is filed under this

rule.  After this review, the Commission shall

determine whether the utility plan is complete and

reviewable within 15 days following the filing of

the IRP by the utility.  If the Commission

determines that the IRP is not complete and

reviewable, it shall reject the IRP and require

that the utility file a new IRP within 90 days of

such rejection.

(b)  Upon receiving a complete and reviewable IRP, the

Commission may hold a hearing.  Based upon the evi-

dence of record, as consistent with the purpose of

these rules (Section 1.01), the Commission shall

render a decision either approving the IRP,

approving it in part and rejecting it in part, or

rejecting it.

8.03 Effect of Commission Approval on an Electric Utility's

Integrated Resource Plan in Future Proceedings

(a)  At the time of a proceeding on a utility's request

to the Commission for recovery of investment and

expenses incurred or approval of certain actions

taken pursuant to the conditions set forth in its

IRP short term action plan, whether in an advice

letter, application, or certificate proceeding, the

utility has the burden of going forward to submit

prima facie evidence that its actions are or were

consistent with its plan.

(b)  Upon the utility meeting its initial burden of pre-

senting prima facie evidence of action consistent

with the plan, the burden of going forward shall

shift to intervenors who wish to challenge the

propriety of the utility's actions.

(c)  In order to meet the utility prima facie evidence,

an intervenor must present evidence that the

utility's actions are not or were not consistent

with the plan, or due to changed circumstances or

other factors, the utility's actions are or were

improper, not in the public interest, or resulted

or will result in unjust or unreasonable rates.

(d)  Upon a showing by an intervenor of the matters set

forth in subsection (c), the utility shall have the

ultimate burden of proof to show that its actions

are or were in compliance with its last Commission

approved IRP and are or were appropriate and in the

public interest.

(e)  The utility proposing certain actions which are

inconsistent with its approved short-term action

plan shall have the burden of explaining the

reasons for the inconsistency and shall demonstrate

that its proposed action is in the public interest.

(f)  The approval of a utility's IRP by the Commission

under the provisions of section 8.02 shall not

preclude an independent finding by the Commission

which differs from the utility's approved IRP in a

subsequent proceeding in which the utility seeks

the recovery of revenue for actions taken

consistent with its IRP (e.g. rate case review, or

application for cost recovery) under C.R.S. 40-3-

101 et seq., or the granting of a certificate of

public convenience and necessity as required by

C.R.S. § 40-5-101 et seq.

8.04 Amendment to Approved Plan Outside of Rate or CPCN

Proceedings.

The utility may, at any time, file an application to

amend an approved IRP.  The application shall contain a

demonstration of why the utility seeks to amend the

approved plan.  For good cause shown, the Commission

shall institute procedures to determine whether the

utility's approved plan should be amended.  The

Commission shall publish notice of the procedures and

shall give reasonable time for interested parties to

prepare for them.  The Commission may hold a hearing on

the application and shall render, within 90 days after

the conclusion of any hearing, a decision either

approving the amended IRP as consistent with the purposes

of these rules (Section 1.01), approving it subject to

stated conditions or modifications, approving it in part

and rejecting it in part, or rejecting it.

9.00 Waivers

9.01 General Waivers.  The utility may file an application for

a waiver or variance from a provision or provisions of

this rule.  Any such application shall demonstrate the

basis for the utility's contention that it should be

granted a waiver or variance, including documentation

regarding the costs and benefits of compliance.  For good

cause shown and if not contrary to law, the Commission

may grant a waiver or variance if the Commission finds

that compliance with such provision is impracticable or

unreasonable, provided that the plan that the  utility

will file is likely to otherwise be consistent with the

purpose of this rule.

9.02 Small Utility Waiver.  Any electric utility with annual

electric retail sales in Colorado of less than 1,750 Gwh

may request a waiver or variance from a portion or those

portions of this rule for which the cost of compliance is

likely to exceed the benefits of compliance.  In all such

cases, the utility seeking the waiver must demonstrate

that, if the waiver or variance is granted, its IRP is

likely to otherwise be consistent with the purpose of

this rule.