# Decision No. C01-577

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

in the matter of the designation of electric utility transmission facilities and electric utility generation facilities for which an application to obtain a certificate of public convenience and necessity is required, or the filing of a formal determination that no certificate is required.

order of the commission
giving notice of filing

Mailed Date:  June 8, 2001

Adopted Date:  May 30, 2001

## I.	by the commission

Statement

    - Rule 18 of the Commission’s Electric Utility Rules, 4 Code of Colorado Regulations 723-3, requires each Colorado electric utility to file with the Commission, no later than April 30 of each year, information on its proposed new construction or extensions of transmission and generation faciliites for the next three calendar years, as described in §§ 18(d) and 18(e).

    - Rule 18(g) provides that the information filed by each utility shall be public information, available for inspection at the offices of the Commission, during regular business hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or corporations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the data filed with the Commission within 15 days of the filing of data.  Because 15 days from the filing of some of the data have expired, the Commission will allow comments to be filed 15 days after the mailing of this decision.

    - The following utilities have filed information on proposed construction projects as listed:

- INVESTOR-OWNED UTILITIES

- Public Service Company of Colorado

- 1.	Plains End Project 108MW Generating Facility and 230 kV Transmission Line (New Reporting)

- 2.	Steamboat Looped 230 kV Transmission (New Reporting)

- 3.	South East Denver Area to Pueblo Area High Capacity Transmission Line (230 kV or 345 kV Transmission Line) (New Reporting)

- 4.	Calpine Combined Cycle Generation Addition (New Reporting)

- 5.	Green Valley-Box Elder-Calpine Double Circuit 345 kV Transmission Line (New Reporting)

- 6.	Cherokee-Fort Lupton 115 kV to 230 kV Conductor Upgrade (New Reporting)

- 7.	Denver Terminal-Dakota-Arapahoe 230 kV Transmission Line (New Reporting)

- 8.	San Luis Valley-Walsenburg 230kV Transmission Line (New Reporting)

- 9.	Tower-48th & Chambers Double Circuit 345 kV Transmission Line (New Reporting)

- 10.	Sky Gen/Calpine Combustion Turbine Generation Addition (New Reporting)

- WestPlains Energy

- 1.	Pueblo 1941 Repower Generation Addition (New Reporting)

- 2.	Reader 115 kV Capacitor Bank (Previously Reported – CPCN not required per Decision No. C97-644)

- 3.	Squaw Mountain Substation (Previously Reported – CPCN not required per Decision No. C00-932)

- 4.	Canon West Substation (Previously Reported – CPCN not required per Decision No. C00-932)

- 5.	Canon West to Squaw Mountain 115 kV Transmission Line (Previously Reported – CPCN not required per Decision No. C00-932)

- Pueblo West Substation (New Reporting)

- Pueblo 10 MW Diesel Generation Addition (New Reporting)

- RURAL ELECTRIC ASSOCIATIONS

- Mountain View Electric Association, Inc.

- 1.	Paddock 115/69 kV Substation (Previously Reported – CPCN not required per Decision No. C99-676)

- 2.	Black Squirrel Substation (Previously Reported – CPCN not required per Decision No. C00-932)

- 3.	Meridian Ranch 115/69 kV to 12.5 kV Substation Transformer (New Reporting)

- San Miguel Power Association

- 1.	Oak Hill Substation (New Reporting)

- 2.	New Ouray Substation (Previously Reported – CPCN not required per Decision No. C00-932)

- 3.	Specie Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C99-676)

- 4.	Wilson Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C99-676)

- 5.	Burro Substation Installing Circuit Switchers (Previously Reported – CPCN not required per Decision No. C99-676)

- 6.	Telluride Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C98-533)

- 7.	Norwood Substation (Previously Reported – CPCN not required per Decision No. C98-533)

- 8.	Dallas Creek to Ouray Transmission Line (Previously Reported – CPCN not required per Decision No. C98-533)

- 9.	Dallas Creek Substation (Previously Reported – CPCN not required per Decision No. C97-644)

- Tri-State Generation and Transmission Association, Inc.

- 1.	Dacono – Dacono Tap 115 kV Line (Previously Reported – CPCN not required per Decision No. C99-676)

- Cahone-Nucla 115 kV Transmission Line Uprate (Previously Reported – CPCN not required Decision No. C98-533)

- Montrose-Nucla 115 kV Transmission Line Reconductor (Previously Reported – CPCN not required Decision No. C98-533)

- Granby-Windy Gap 138kV Transmission Line Project (Previously Reported – CPCN not required Decision No. C90-1125)

- Nucla-Telluride 115 kV Transmission Line (Previously Reported – Formal Application to Waive CPCN Required Decision No. C97-644)

- North Yuma-Red Willow 115 kV Line Reconductor (Previously Reported – Formal Application to Waive CPCN Required Decision No. C95-616)

- Colorado/New Mexico 230 kV Interconnection Project (Previously Reported - Formal Application to Waive CPCN Required Decision No. C99-676)

- I-25 Corridor 115 kV Loop Project (Previously Reported – CPCN not required Decision No. C00-932)

- Garnet Mesa Tap – Hotchkiss 115 kV Line Upgrade (Previously Reported – CPCN not required Decision No. C00-932)

- Fuller-Black Squirrel 69/115 kV Project (New reporting)

- Hotchkiss Spring Creed Tap 115 kV Line Uprate (New reporting)

- White River Electric Association

- 1.	White River City Substation (New Reporting)

## II.	order

  - The Commission Orders That:

    - Notice is hereby given that the above investor-owned utilities and rural electric cooperative associations have submitted information about the proposed construction of transmission and generation facilities in accordance with Rule 18 of the Rules Regulating the Service of Electric Utilities, 4 Code of Colorado Regulations 723-3.  Under that rule, you are notified that the information is available for inspection at the offices of the Commission during regular business hours.

    - Any interested person, firm, or corporation may file comments about the projects identified by the data now filed with the Commission within 15 days after the Mailed Date of this Decision.  The Commission will consider any comments in determining which projects do not require a certificate of public convenience and necessity and for which projects the utility will be required to file an application for a certificate of public convenience and necessity or a formal determination that a certificate is not required.

    - This Order is effective on its Mailed Date.

  - ADOPTED IN COMMISSIONERS’ WEEKLY MEETING
 	May 30, 2001.

THE PUBLIC UTILITIES COMMISSION
OF THE STATE OF COLORADO



RAYMOND L. GIFFORD
________________________________



POLLY PAGE
________________________________

Commissioners

COMMISSIONER JIM DYER ABSENT.

( S E A L )

ATTEST: A TRUE COPY

Bruce N. Smith
Director

g:\yellow\6396_053001.docPam Fischhaber