# Decision No. C98-533

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

IN THE MATTER OF THE DESIGNATION OF ELECTRIC UTILITY TRANSMISSION FACILITIES AND ELECTRIC UTILITY GENERATION FACILITIES FOR WHICH AN APPLICATION TO OBTAIN A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED, OR THE FILING OF A FORMAL DETERMINATION THAT NO CERTIFICATE IS REQUIRED.

Order of the commission pertaining
to certification of facilities

Mailed Date:  June 1, 1998

Adopted Date:  May 27, 1998

## I.	BY THE COMMISSION

- Statement

- 1.	Sections (d) and (e) of Rule 18 of the Commis-sion’s Electric Utility Rules, 4 Code of Colorado Regulations 723-3, require each Colorado electric utility to file with the Commission, no later than April 30 of each year, a schedule of its proposed new construction or extensions of generation and transmission facilities for the next three calendar years.

- 2.	Rules 18(d)(2) and (e)(2) further provide that the Commission shall issue its decision on whether a certificate of public convenience and necessity, or a formal determination regarding the necessity of a certificate, is required within 60 days of April 30 of the calendar year in which the data are filed.

- 3.	Rule 18(g) provides that the information filed by each utility shall be public information, available for inspec-tion at the offices of the Commission during regular business days and hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or cor-porations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the data filed with the Commission within 15 days of the filing of the data.

- 4.	Notice of the filing of the data was given by the Commission on May 15, 1998.  No comments were filed.

- 5.	The following utilities have submitted proposed construction schedules:

- Intermountain Rural Electric Association

- Mountain View Electric Association, Inc.

- Public Service Company of Colorado

- San Miguel Power Association, Inc.

- Tri-State Generation and Transmission Association, Inc.

- WestPlains Energy

- 6.	New projects were reported as listed below:

- Intermountain Rural Electric Association

- Shaffer’s Crossing Substation Modification – replace 
     high side fuses with a circuit switcher

- Castle Rock Substation Termination – terminate 115 kV 
     intertie from PSCo’s Daniels Park-Cottonwood 115 
     kV line

- Park View Substation – install new 115 kV facility

- Roxborough Substation - install new 115 kV facility

- Mountain View Electric Association, Inc.

- Black Forest Substation Second Transformer - install 
     second 69 kV transformer

- Public Service Company of Colorado

- Valmont-Broomfield 115 kV Transmission Line Conductor 
     Upgrade – replace existing structures on existing 
     right-of-way and install larger conductor

- Poncha Substation-Structure 120 Relocate 69 kV Trans-
     mission Line – remove off of existing forest serv-
     ice right-of-way and relocate to new right-of-way
     approximately nine miles of existing 69 kV 
     line

- Surrey Ridge Substation and Tap – tap the existing 
     Daniels Park-Smoky Hill 230 kV Transmission Line, 
     construct approximately one mile of  230 kV line, 
     and construct a new 230-13 kV substation

- Southwestern Public Service Company to Public Service 
     Company of Colorado Interconnection Project – con-
     struct a transmission line between Southwestern 
     Public Service Company’s system, based in

- Amarillo, Texas and Public Service Company of Colorado 
       based in Denver, Colorado

- San Miguel Power Association

- Dallas Creek-Ouray 44 kV Transmission Line Rebuild – 
     rebuild existing section of 44 kV line

- Norwood Substation 115 kV Upgrade - upgrade for 115 kV 
     operation

- Telluride Substation 115 kV Upgrade Phase II - upgrade 
     for 115 kV operation

- Tri-State Generation and Transmission Association, Inc.

- Cahone-Nucla 115 kV Transmission Line Uprate – replace 
     approximately 44 miles of existing conductor with 
     larger conductor

- Montrose-Nucla 115 kV Transmission Line Reconductor – 
     replace approximately 37 miles of existing con-
     ductor with larger conductor

- WestPlains Energy

- Penrose Substation Second Transformer - install second 
     69 kV transformer

## II.	ORDER

- A.	The Commission Orders That:

- 1.	No certificate of public convenience and necessity shall be required for the following Intermountain Rural Electric Association projects:

- Shaffer’s Crossing Substation Modification

- Castle Rock Substation Termination

- Park View Substation

- Roxborough Substation

- 2.	No certificate of public convenience and necessity shall be required for the following Mountain View Electric Asso-ciation, Inc., project:

- Black Forest Substation Second Transformer

- 3.	No certificate of public convenience and necessity shall be required for the following Public Service Company of Colorado project:

- Valmont-Broomfield 115 kV Transmission Line Conductor Upgrade

- Poncha Substation-Structure 120 Relocate 69 kV Transmission Line

- Surrey Ridge Substation and Tap

- 4.	Public Service Company of Colorado shall file for a certificate of public convenience and necessity or for a formal determination that no certificate of public convenience and necessity is required for the Southwestern Public Service Company to the Public Service Company of Colorado Interconnection Proj-ect.

- The filing shall include but not be limited to:

- a map showing the general area or actual locations that facilities will be constructed, population centers, major highways, state boundaries, county boundaries, and Public Service Company of Colorado’s service ter-ritory;

- electric one line diagrams;

- information on alternatives studied, costs for those alternatives, criteria used to rank or eliminate alter-natives;

- justification for the preferred alternative;

- demonstration that the public convenience and necessity require granting of the application; and

- a report of prudent avoidance measures considered and justification for the measures selected to be imple-mented.

- 5.	No certificate of public convenience and necessity shall be required for the following San Miguel Power Association projects:

- Dallas Creek-Ouray 44 kV Transmission Line Rebuild

- Norwood Substation 115 kV Upgrade

- Telluride Substation 115 kV Upgrade Phase II

- 6.	No certificate of public convenience and necessity shall be required for the following Tri-State Generation and Transmission Association, Inc., projects:

- Cahone-Nucla 115 kV Transmission Line Uprate

- Montrose-Nucla 115 kV Transmission Line Reconductor

- 7.	No certificate of public convenience and necessity shall be required for the following WestPlains Energy project:

- Penrose Substation Second Transformer

- 8.	This Order is effective on its Mailed Date.

- B.	ADOPTED IN Commissioners’ WEEKLY MEETING May 27, 1998.

| g:\order-wa\6396 ( S E A L ) ATTEST: A TRUE COPY ____________________ Bruce N. Smith Director | THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO ROBERT J. HIX ________________________________ R. BRENT ALDERFER ________________________________ COMMiSsioners COMMISSIONER VINCENT MAJKOWSKI ABSENT. |
| --- | --- |