BEFORE THE PUBLIC UTILITIES COMMISSION

OF THE STATE OF COLORADO

IN THE MATTER OF THE INVESTIGATION	)

INTO U S WEST COMMUNICATIONS, INC.’S	)	DOCKET NO. 97I-198T

COMPLIANCE WITH § 271 (C) OF THE 		)

TELECOMMUNICATIONS ACT OF 1996		)

SUPPLEMENTAL COLLOCATION COMMENTS OF COVAD COMMUNICATIONS COMPANY

# INTRODUCTION

These comments provide evidence regarding Qwest’s collocation policies that fail to satisfy the requirements of the collocation requirements of checklist item one of Section 271 of the Telecommunications Act of 1996 (“the Act”).  A number of these policies have yet to be extensively addressed in Colorado workshops, but have been discussed in Washington and other states.  Covad anticipates that Qwest will take the same positions in Colorado and, therefore, addresses these issues herein.  In particular, these comments will address Qwest’s policies regarding the following seven issues:      (1) connecting separate collocations in the same central office; (2) collocation space reservation; (3) remote and adjacent collocation; (4) forecasting requirements related to collocation intervals; (5) shared “cageless” collocation; (6) collocation completion and acceptance process; and (7) non-discriminatory access to collocated equipment.  The Affidavit of Michael Zulevic, Director, Network Deployment is attached hereto as Exhibit A.

Connecting Separate Collocations in the Same Central Office (§8.4.7)

Qwest has provided language in the SGAT which will allow for connecting collocations within the same building.  The provisions cover both “CLEC to CLEC” as well as connecting multiple collocations of a single CLEC.  Qwest has also properly distinguished between the two types of “connecting:”  those which require additional structural work (i.e., iron work, ladder racking, etc.); and those which only require the installation of one or more cables on existing cable racking.  Where this policy falls short is in the required provisioning process.  Qwest has required both types of “connecting” to follow the entire collocation process, including the new forecasting provisions.  While the type of “connecting” which requires structural work may appropriately belong in the existing collocation process, the second type which uses existing structure, should not require the long intervals and high application costs associated with the existing collocation process for the following reasons:

- Minimal, if any engineering involvement;

- No physical work in the central office;

- Collocations to be connected are often only a few feet apart;

- Often only a single small diameter cable will be installed; and

- Installation of cable is completed by the CLEC

As contiguous collocation space becomes more difficult to obtain, this issue will become more critical.  Covad has already encountered this situation in Minnesota.  Not only was the “connecting” delayed several months due to a lack of a Qwest process, but Covad was also forced to incur additional expense in the interim by having to duplicate circuits to the new collocation site until they could be connected.  These collocations were only twenty feet apart and connecting them could have been accomplished with a single cable in about thirty minutes on existing structure.  When possible, these “connecting” requirements will be included on the collocation request which installs the new collocation site, but there will be instances where connection requirements will not be known at the time the collocation request is submitted.  For this reason, CLECs must have a reasonable process for “connecting” once the collocation is completed.  It is also unlikely that a CLEC could accurately forecast this requirement to obtain a shorter interval, which is a requirement of the Qwest proposal.

In summary, the following points should be considered:

- “connecting” of collocations requiring additional structure should never take longer than 45 days;

- “connecting” cannot be accurately forecasted and should not be required;

- “connecting” where no new structure is required should take less than 30 days, as the process more closely resembles a service order request than a collocation request; and

- “connecting” where no new structure is required should cost only a fraction of the standard collocation application charge (less than $500)

### Space Reservation (§8.4.1.7)

Qwest has proposed a space reservation provision in the current SGAT which is generally acceptable and could be of value to many CLECs.  Covad takes exception, however, with the charge associated with making the reservation.  Qwest proposes that a CLEC apply for the exact collocation arrangement that it anticipates eventually installing (including cabling, power, space and other elements) and that 50% of the applicable non-recurring charges be paid as the reservation fee.  While Covad agrees that a charge should be associated with the reservation of central office space, the appropriate charge should reflect the cost related to the space, rather than all components of a collocation for the following reasons:

- CLECs will not always know the exact equipment to be collocated months in advance;

- CLECs could be inclined to understate collocation requirements to reduce the reservation fee;

- A standard “per-square-foot” reservation fee would be non-discriminatory; and

- Little, if any, engineering work is done by Qwest during the reservation period, as work typically begins with acceptance of the associated collocation request.

### Remote and Adjacent Collocation (§§8.4.5/.6)

Qwest has removed the language in the SGAT which would provide for “virtual” collocation in remote and adjacent locations.  It is Covad’s position that either “physical” or “virtual” collocation should be available at any technically feasible point in the network.  While the primary issue of virtually collocating equipment in remote locations will be discussed in more detail during the emerging services workshops, it is essential that language in the collocation section does not preclude this type of collocation.

### Forecasting Requirements Relating to Collocation Intervals (§8.4.2)

Covad fully understands the need to provide the best possible forecast to Qwest for collocation requirements.  Covad does not believe, however, that collocation intervals should be based upon Covad’s ability to “accurately” forecast in order to take advantage of currently required 45 and 90 calendar day intervals.  Any forecasting requirement placed upon CLECs must be off-set by a firm obligation to perform and penalties for non-performance on the part of Qwest.  If CLECs are “penalized” by longer intervals, Qwest should be penalized financially.

### Shared “Cageless” Collocation (§8.1.1.4)

Qwest has declined to offer shared collocation for arrangements other than “caged” physical collocation.  It is Covad’s position that any form of collocation should be available for sharing, including “cageless” physical and “virtual” collocation.  Just as sharing “caged” collocation will make more efficient use of available central office space, so will allowing shared “cageless” physical and virtual collocation.  In some cases, the only space available in a central office and allowing it to be shared will further competition by allowing a CLEC to serve customers where they would otherwise be denied space.

Collocation Completion and Acceptance

The current collocation completion and acceptance process is performed in a very loose and unprofessional manner.  This process should be conducted in a business-like fashion which would require Qwest to provide all necessary documentation at the time of acceptance.  This documentation must include written documentation of power fusing, transport cable termination, cable test results and any other information necessary to activate a collocation or augment.  Qwest’s recurring charges should never begin until this acceptance is completed and the CLEC is able to begin using the collocation space as it intended when the collocation request was originally submitted.

Non-Discriminatory Access to Collocated Equipment

CLECs must be able to access their physically collocated equipment on a 7 day a week, 24 hour a day basis, without having to deal with access cards or card readers that fail to function properly.  There have been many occasions where access cards have been “de-authorized” to access certain central offices.  It has taken up to two weeks to have cards “re-authorized.”  Qwest has access to other doors using keys that are not available to CLECs.  CLECs must have the same ability to access their equipment as Qwest.  Bell South has established a 7X24 toll free number for CLECs to call should they have access problems.  By properly identifying themselves, CLECs are given immediate access and resolution to the problem.  This “best practice” must be established in Qwest territory.

Dated this 9th day of January, 2001.

Respectfully submitted,

## COVAD COMMUNICATIONS COMPANY

# By:

# Laura A. Izon

Senior Counsel

Covad Communications Company

4250 Burton Street

Santa Clara, CA  95054

(408) 987-1105

(408) 987-1111 (facsimile)

e-mail:  lizon@covad.com

EXHIBIT A

AFFIDAVIT

STATE OF COLORADO			)

)

COUNTY OF 	ARAPAHOE			)

I, Michael Zulevic, Director, Network Deployment of Covad Communications Company (“Covad”), hereby certify that the information contained in Covad’s Supplemental Comments on Collocation, are true and correct to the best of my knowledge and belief.

/S/________________________

Michael Zulevic

SUBSCRIBED AND SWORN TO before me

on this 9TH day of January, 2001

/S/ Christine Boynton

NOTARY PUBLIC

CERTIFICATE OF SERVICE

I, Phil R. Ceguera, hereby certify that the foregoing Covad Communications Company’s Supplemental Comments on Collocation, in Docket No. 97I-198T, was filed via facsimile on this 9th day of January, 2001, and the original and five (5) copies of same will be sent via overnight delivery, on this 9th day of January, 2001, addressed to the following:

Bruce N. Smith, Director

Colorado Public Utilities Commission

Logan Tower, OL-2

1580 Logan Street

Denver, CO  80203

and a true and correct copy was served electronically and via first class U.S. Mail, postage pre-paid, on this 9th day of January, 2001, addressed to the following:

Joseph Molloy						Mana L. Jennings-Fader

Colorado Public Utilities Commission		Assistant Attorney General

1580 Logan Street, OL-2				1525 Sherman St., 5th Floor

Denver, CO 80203					Denver, CO 80203

and a true and correct copy was served electronically on January 9, 2001, to each person on the e-mail distribution list for this docket provided by Staff of the Colorado Public Utilities Commission.

The fully-executed original Affidavit of Michael Zulevic will be sent to the Commission under separate cover.  A true and correct copy of Michael Zulevic’s Affidavit will be sent to any Party on the Service List who requests same.

____/S/_________________________

Phil R. Ceguera