# Decision No. C05-1021

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

DOCKET NO. 00A-580E

IN THE MATTER OF THE APPLICATION OF TRI-STATE GENERATION AND TRANSMISSION ASSOCIATION, INC., P.O. BOX 33695, DENVER COLORADO 80233 FOR (A) A DECLARATORY RULING THAT NO CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED FOR TRI-STATE'S COLORADO-NEW MEXICO 230 KV INTERCONNECTION PROJECT, OR (B) IF SAID RULING IS TO THE CONTRARY, A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY AUTHORIZING THE PROJECT.

ORDER closing docket

Mailed Date:  August 30, 2005

Adopted Date:  August 24, 2005

## BY THE COMMISSION

### Statement

- This matter comes before the Commission for consideration of a Joint Motion filed by Tri-State Generation and Transmission Association, Inc. (Tri-State) and Public Service Company of Colorado (Public Service) filed on August 2, 2005.  The Joint Motion requests that the Commission find that Tri-State has complied with the terms of the Stipulation between Tri-State and Public Service approved in Decision No. C01-1279, and close the docket.

- The Stipulation required Tri-State to study the impacts of the Colorado – New Mexico 230 kV Interconnection Project (Interconnection) on the Colorado transmission system.  Upon completion of the study, Tri-State was required to disclose to the Commission, Public Service, and to all interested persons the adverse affect, if any, on Public Service’s electric system and on the electric systems of other Colorado utilities.  Tri-State was also required to resolve any adverse affects to the satisfaction of all interested persons.

- The Joint Motion states that Tri-State has complied with the Stipulation by conducting the study, sharing the results with Public Service, Staff of the Commission, and representatives of other utilities.  Tri-State represents that it agrees to a remedial action scheme to automatically trip the Interconnection during an outage of Tri-State’s Comanche-Walsenburg 230 kV transmission line.  Tri-State also represents that it agrees to pursue mitigation measures, up to and including the addition of a phase shifting transformer at Gladstone, if upon completion of the Interconnection inadvertent flows exceed unscheduled path flow allowances or if the Interconnection adversely affects the Public Service system.

- We accept the representations made in the Joint Motion.  No further action is required in this docket.  The terms of the Stipulation approved in Decision No. C01-1279 have been met by Tri-State.  Therefore, we now close this docket.

## ORDER

### The Commission Orders That:

- Tri-State Generation and Transmission Association, Inc. (Tri-State) has complied with the terms of the Stipulation approved in Decision No. C01-1279.

- Tri-State shall uphold its agreements regarding the remedial action scheme and the mitigation measures consistent with the discussion above.

- The docket is closed.

- This Order is effective upon its Mailed Date.

### ADOPTED IN COMMISSIONERS’ WEEKLY MEETING
August 24, 2005.

| (S E A L) ATTEST: A TRUE COPY Doug Dean, Director | - THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO GREGORY E. SOPKIN ________________________________ POLLY PAGE ________________________________ Commissioners COMMISSIONER CARL MILLER ABSENT. |
| --- | --- |

/tmp/in/input.doc:srs