Decision No. C10-0596

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

DOCKET NO. 10M-245E

IN THE MATTER OF COMMISSION CONSIDERATION OF PUBLIC SERVICE COMPANY OF COLORADO PLAN IN COMPLIANCE WITH HOUSE BILL 10-1365, “CLEAN AIR – CLEAN JOBS ACT.”

ORDER ADDRESSING REQUESTS FOR DATA.

Mailed Date:  June 16, 2010

Adopted Date:  June 9, 2010

## BY THE COMMISSION

### Statement

- The Commission opened Docket No. 10M-245E by Decision No. C10-0452, mailed May 7, 2010, in order to consider an emission reduction plan for coal-fired electric generating units expected to be filed by Public Service Company of Colorado (Public Service or the Company) in compliance with House Bill 10-1365, the “Clean Air – Clean Jobs Act” (HB 10-1365).  Pursuant to HB 10-1365, such emission reduction plan must be filed on or before August 15, 2010.

- By Decision No. C10-0545, mailed June 3, 2010, the Commission noted the interventions by right filed by Staff of the Colorado Public Utilities Commission, the Colorado Office of Consumer Counsel, and the Colorado Governor’s Energy Office and granted all of the petitions to intervene by permission that were timely filed.  Public Service and the intervenors are the parties to this proceeding.

- The Commission held a Commissioners’ Deliberation Meeting on June 8, 2010 to address various motions and comments filed by these parties.  The Commission continued its discussion at the Commissioners’ Weekly Meeting on June 9, 2010 and specifically addressed two written requests asking that the Commission order Public Service to produce additional documents.  The two requests were filed by Western Resource Advocates (WRA) and jointly by Noble Energy, Inc.; Chesapeake Energy, Inc.; and EnCana Corporation (the Gas Intervenors).  This order addresses these two data requests.

### Discussion

- In Decision No. C10-0452, the Commission ordered Public Service by to produce certain records and documents that would be helpful for the Commission, parties, amici curiae, and others in developing a record and recommendations for this proceeding.  Paragraph 29 of Decision No. C10-0452 identified the specific documents and data the Company was required to submit to the Commission.

- Public Service filed a Motion for Reconsideration and Clarification on May 18, 2010, which, among other requests, asked that the Commission modify or clarify paragraph 29 dealing with the production of those specified documents.

- The Commission granted, on a temporary basis, Public Service’s requests in its motion concerning Paragraph 29 by Decision No. C10-0501 mailed on May 19, 2010.  Public Service made an initial filing on June 2, 2010 of the requested data over which the Company raised no objections.

- The Commission addressed whether Public Service’s requests concerning paragraph 29 would be permanent at the Commissioners’ Deliberations Meeting on June 8, 2010.  A separate order will memorialize our ruling on this matter as well as our request that Public Service provide information such as emissions or financial data be provided in an executable electronic format (e.g., in spreadsheets).  We note here, however, that we generally granted the Company’s requested modifications to paragraph 29.

- Paragraph 38 of Decision No. C10-0452 allows interested persons, including non-parties, to file written requests to the Commission asking that the Commission order Public Service to produce additional documents.

- In its motion filed on May 18, 2010, Public Service requested that the Commission delete paragraph 38, arguing that it effectively allows any interested person to have the Commission conduct discovery on his or her behalf in advance of the Company’s August 2010 filing of its emission reduction plan.  Public Service further argued that the additional production of data pursuant to such requests would be potentially inefficient and would distract the Company at the expense of its preparation of its August 2010 emission reduction plan filing.

- The Commission addressed Public Service’s request concerning paragraph 38 at the Commissioners’ Deliberations Meeting on June 8, 2010.  While a separate order will memorialize our ruling on this matter, we note here that the Commission denied the Company’s request and paragraph 38 of Decision No. C10-0452 will remain unchanged.

- We further find, as a general matter, that § 40-2-106, C.R.S., establishes our authority to require that Public Service produce records and documents.  The Commission has the discretion to modify the written requests from interested persons filed in this proceeding asking us to order Public Service to produce such records and documents prior to its August 2010 filing of its emissions reduction plan.  We also note that our decision not to order Public Service to produce certain requested data under § 40-2-106, C.R.S., in no way prejudices a party if the same request is made pursuant to the discovery process in this proceeding.

- Accordingly, we now consider both WRA’s and the Gas Intervenors’ written requests for data filed pursuant to paragraph 38 of Decision No. C10-0452.

### WRA’s Data Request

- In its Response to Public Service’s Motion for Reconsideration and Clarification to Decision No. C10-0452, filed on May 25, 2010 (WRA Response), WRA suggested that the Commission order Public Service to produce the following supplemental information prior to the Company’s August 2010 filing of its emissions reduction plan:

- The Company’s current annual electric demand and energy forecasts for each year of the plan, such as the information described in Rule 3606, WRA Response at 5;

- An evaluation of existing resources developed pursuant to Rule 3607, WRA Response at 5;

- Feasibility, technical, or economic assessments, studies, or plans regarding any transmission or reliability issues that would need to be overcome if coal capacity in the Denver metro area were retired, WRA Response at 5;

- Planning reserve margins as described in Commission Rule 3604(d), WRA Response at 5;

- Independent Power Producer contract information, WRA Response at 6;

- Data on the Craig and Comanche power plants, WRA Response at 6;

- Projected emissions information in paragraph 29 of Decision No. C10-0452 for each year of the plan, both the emissions rate and total annual emissions, WRA Response at 6-7;

- Studies and board meeting records relating to conversion of a generic or specific single-cycle combustion turbine to a combined-cycle combustion turbine, WRA Response at 7;

- General arrangement drawings for natural gas-fired units, WRA Response at 7;

- Information on existing pipeline capacity for natural gas-fired generation units owned by, in any way controlled by, or under contract with Public Service, WRA Response at 7;

- Annual data regarding net dependable capacity, capacity factor, average heat rate, variable O&M cost, fixed costs, fuel cost and basis, average variable cost ($/MWh), and capital cost for each existing coal or natural gas-fired unit, for each year in the planning period (40 years), including the natural gas and coal costs, where such values are producing using current electric demand and energy forecasts, WRA Response at 7-8; and

- Depreciated book value, annual capital expenditures, and revenue requirements for each existing Colorado generating unit owned or controlled by Public Service in the planning period, WRA Response at 7.

- Public Service objects to WRA’s data request, arguing that this proceeding is not a resource planning docket but is instead a more limited docket concerning the reduction of emissions at 900 MW of coal-fired facilities.  See Public Service’s Response to Western Resource Advocates filed on June 2, 2010.  Public Service states that WRA’s data request stems from a fundamental misunderstanding of HB 10-1365 and that the data requested by WRA may be irrelevant, is too extensive, and thus burdensome to produce, is unnecessary since HB 10-1365 does not contemplate alternative plans submitted by intervening parties such as WRA, and may involve highly confidential and commercially sensitive information.

- In  consideration of WRA’s data request and in light of Public Service’s concerns, we find it reasonable to order Public Service to file with the Commission under § 40-2-106,

- C.R.S., the following, so long as such records and documents exist, they are readily available, and they do not include confidential or customer-specific information:

- The Company’s current annual electric demand and energy forecasts for each year of the plan;

- Minutes of all board meetings, including associated presentations, and all feasibility, technical, or economic assessments, studies, or plans regarding the conversion of a generic or specific single-cycle combustion turbine to a combined-cycle combustion turbine; and

- Documentation of existing pipeline capacity for natural gas-fired generation units owned by, in any way controlled by, or under contract with Public Service.

- We find such data would be helpful for the Commission, parties, and amici curiae in developing a record and recommendations for this proceeding. We decline at this time to order Public Service to produce, pursuant to Decision No. C10-0452, all of the other data requested by WRA in its response filed on May 25, 2010.  However, we reiterate that WRA may request the same information, if it so wishes, pursuant to the discovery process established for this proceeding.

### Gas Intervenors’ Data Request

- In their Supplemental Response to Motion of PSCO for Reconsideration and/or Clarification of Commission Decision No. C10-0452 (Gas Intervenors’ Supplemental Response), filed May 21, 2010, the Gas Intervenors propose the Commission order production of the following additional data:

- The STRATEGIST base input files it is using for its analyses of various potential scenarios for retiring existing coal fired power plants, Gas Intervenors’ Supplemental Response at 5-7 and 18;

- Demand and energy forecasts, Gas Intervenors’ Supplemental Response at 14;

- Minimum output levels or unit dispatch parameters, Gas Intervenors’ Supplemental Response at 14-15;

- Reserve margins (to account for wind), Gas Intervenors’ Supplemental Response at 15;

- Hourly wind generation patterns per month, Gas Intervenors’ Supplemental Response at 15-16;

- Capital cost estimates and lead times for CC and CT units, Gas Intervenors’ Supplemental Response at 16;

- Fixed charges for Purchased Power Agreements, Gas Intervenors’ Supplemental Response at 17;

- All data and analyses in its possession regarding the range of potential costs of retrofitting coal fired units on its system with air pollution control equipment that may be required under impending Clean Air Act requirements, Gas Intervenors’  Supplemental Response at 9-10; and

- All system data required to conduct reliability analyses relating to various retirement scenarios, Gas Intervenors’ Supplemental Response at 17-18.

- Public Service objects to the Gas Intervenors’ data request in the Company’s Reply to Gas Intervenors Response and Supplemental Response to Motion of Public Service filed on June 2, 2010.  First, Public Service explains that it has always taken the position the STRATEGIST model data base and inputs are highly confidential and that, under license agreements, the Company cannot legally provide parties with the model.  Public Service further asserts that making such information publicly available could damage its position in contracting for competitive fuel and purchased power and in selling power in wholesale markets.  Public Service also questions the propriety of providing such information to current and potential gas suppliers to the Company.

- Second, Public Service implies that since there is no time for the Commission to consider alternative scenarios that might be proposed by the Gas Intervenors and other parties, there is no point in providing the parties the detailed data needed to develop intervenor-proposed alternatives.

- Third, with respect to the other data requests set forth in the Gas Intervenors’ comments, Public Service states that it views them as a subset of the request for the STRATEGIST files and therefore argues that the Commission should reject the requests for the same reasons as discussed above.  Public Service also objects to the Gas Intervenors’ request for information needed to conduct reliability analyses as vague,  highly confidential, and as information properly acquired from the Western Electricity Coordinating Council.

- Consistent with the discussion above concerning WRA’s request for energy sales and demand forecasts, we find it reasonable to order Public Service to file with the Commission under § 40-2-106, C.R.S., the demand and energy forecasts for the period to be addressed by the emissions reduction plan, so long as such records and documents exist, they are readily available, and they do not include confidential or customer-specific information.  In addition, we order the Company to produce all feasibility, technical, or economic assessments, studies, or plans regarding the range of potential costs of retrofitting coal fired units on its system with air pollution control equipment that may be required under impending Clean Air Act requirements, so long as records and documents exist, they are readily available, and they do not include confidential information.  We find that such data would be helpful for the Commission, parties, and amici curiae in developing a record and recommendations for this proceeding.

- We decline at this time to order Public Service to produce, pursuant to Decision No. C10-0452,  the other data requested by the Gas Intervenors in their Response and Supplemental Response.  However, we reiterate that the Gas Intervenors may request the same information, if they so wish, under the discovery process established for this proceeding.

## ORDER

### The Commission Orders That:

- Public Service Company of Colorado shall produce the documents described above no later than seven calendar days following the effective date of this Order.

- This Order is effective upon its Mailed Date.

### ADOPTED IN COMMISSIONERS’ WEEKLY MEETING
June 9, 2010.

| (S E A L) ATTEST: A TRUE COPY Doug Dean, Director | - THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO JAMES K. TARPEY ________________________________ - MATT BAKER ________________________________ - Commissioners CHAIRMAN RONALD J. BINZ ABSENT. |
| --- | --- |

The last business day prior to the August 15, 2010 deadline is Friday, August 13, 2010.

Chairman Ronald J. Binz was not present at the Commissioners’ Weekly Meeting on June 9, 2010.

The Commission’s Electric Resource Planning (ERP) Rules are set forth at 4 Code of Colorado Regulations 723-3-3600, et seq.

At the June 8, 2010 Commissioners’ Deliberation Meeting, we granted Public Service’s request in its Motion for Reconsideration and Clarification filed on May 18, 2010 not to include information on Craig and Comanche in its response to paragraph 29 of Decision No. C10-0452.