# Decision No. C99-482

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

IN THE MATTER OF THE DESIGNATION OF ELECTRIC UTILITY TRANSMISSION FACILITIES AND ELECTRIC UTILITY GENERATION FACILITIES FOR WHICH AN APPLICATION TO OBTAIN A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED, OR THE FILING OF A FORMAL DETERMINATION THAT NO CERTIFICATE IS REQUIRED.

ORDER OF THE COMMISSION
GIVING NOTICE OF FILING

Mailed Date:  May 14, 1999

Adopted Date:  May 12, 1999

## BY THE COMMISSION

Statement

    - Rule 18 of the Commission’s Electric Utility Rules, 4 Code of Colorado Regulations 723-3, requires each Colorado electric utility to file with the Commission, no later than April 30 of each year, information on its proposed new construction or extensions of transmission and generation facilities for the next three calendar years, as described in §§ (d) and (e).

    - Rule 18(g) provides that the information filed by each utility shall be public information, available for inspection at the offices of the Commission, during regular business days and hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or corporations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the data filed with the Commission within 15 days of the filing of data.  Because 15 days from the filing of some of the data have expired, the Commission will allow comments to be filed 15 days after the mailing of this Decision.

    - The following utilities have filed information on proposed construction projects as listed:

- INVESTOR-OWNED UTILITIES

- Public Service Company of Colorado

- 1.	Interlocken Substation and 230 kV Transmission Line Tap Project (New Reporting)

- WestPlains Energy

- 1.	Pueblo 141 MW Combined Cycle Generation Addition (Previously Reported - CPCN granted per Decision No. R95-372)

- 2.	Pueblo Industrial Park 115 kV Conversion and Line Protection (Previously Reported - CPCN not required per Decision No. C89-1061)

- 3.	Pueblo Memorial Airport Substation 115 kV Line (Previously Reported as Airport Industrial Park 115 kV Loop by Southern Colorado Power – CPCN not required per Decision No. C87-1303)

- 4.	Un-named (WAPA) Substation – install a new 230/115 kV facility  with a 230/115 kV autotransformer (New Reporting)

- RURAL ELECTRIC ASSOCIATIONS

- Intermountain Rural Electric Association

- 1.	Bayou Substation Modification I Install 2nd 115 kV Transformer (New Reporting)

- 2.	Bailey Substation Modification I Install 44 kV Circuit Switcher (New Reporting)

- 3.	Peakview Substation Install New 115 kV Facility (Previously Reported as Park View Substation Install New 115 kV Facility – CPCN not required per Decision No. C98-533)

- 4.	Roxborough Substation Install New 115 kV Facility (Previously Reported – CPCN not required per Decision No. C98-533)

- 5.	Plum Creek Substation Modification Install 2nd 115 kV Transformer (New Reporting)

- 6.	Greenland Substation Modification II Upgrade From 44 kV to 69 kV (New Reporting)

- 7.	Delbert Substation Install New 115 kV Facility (New Reporting)

- 8.	Parker – Delbert 115 kV Radial Transmission Line (New Reporting)

- 9.	Parker Substation Install 2nd 115 kV Transformer (Previously Reported - CPCN not required per Decision No. C95-616)

- 10.	Elizabeth Substation Modification II Install 2nd 115 kV Transformer (New Reporting)

- Mountain View Electric Association, Inc.

- 1.	Forest Lakes Substation Install New 115 kV Facility (Previously Reported - CPCN not required per Decision No. C96-669)

- 2.	Palmer Divide Substation Install New 115 kV Facility (Previously Reported - CPCN not required per Decision No. C96-669)

- 3.	Elbert Substation and Tap Install New 69/115 kV Facility (Previously Reported - CPCN not required per Decision No. C96-669)

- 4.	Black Forest Substation Install 2nd 69 kV Transformer (Previously Reported – CPCN not required per Decision No. C98-533)

- 5.	Paddock Substation Install New 115 kV Facility to be initially operated at 69 kV (New Reporting)

- 6.	Falcon Substation Install 2nd 115 kV Transformer (New Reporting)

- San Miguel Power Association

- 1.	Dallas Creek Substation Install 115-44 kV Transformer (Previously Reported – CPCN not required per Decision No. C97-644)

- 2.	Ridgeway Reservoir 115 kV Transmission Line (Previously Reported – CPCN not required per Decision No. C97-644)

- 3.	Dallas Creek-Ouray 44 kV Transmission Line Rebuild (Previously Reported – CPCN not required per Deci

- 4.	Norwood Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C98-533)

- 5.	Specie Substation Upgrade to 115 kV (New Reporting)

- 6.	Wilson Substation Upgrade to 115 kV (New Reporting)

- 7.	Telluride Substation Upgrade to 115 kV Phase II (Previously Reported – CPCN not required per Decision No. C98-533)

- 8.	Burro Bridge Substation Install 115 kV Circuit Switchers (New Reporting)

- Tri-State Generation and Transmission Association, Inc.

- 1.	Fraser-Mill 115 kV Transmission Line (Previously Reported - CPCN granted per Decision No. C97-25)

- 2.	Prospect Valley-Sand Creek Tap 115 kV Transmission Line (Previously Reported - CPCN not required per Decision No. C96-669)

- 3.	Dallas Creek-South Canal 115 kV Transmission Line (Previously Reported by Colorado-Ute Electric Association, Inc. as Montrose-Colona 115 kV Transmis.sion Line - CPCN not required per Decision No. C91-949)

- 4.	Durango-Lost Canyon 115 kV Line Reconductor (Previously Reported - CPCN not required per Decision No. C96-669)

- 5.	Dacono-Dacono Tap 115 kV Line (New Reporting)

- 6.	Colorado/New Mexico 230 kV Interconnection Project (New Reporting)

- 7.	Nucla-Telluride 115 kV Transmission Line (Previously Reported as Nucla-Sunshine/Telluride 115 kV Transmission Line – CPCN determination required per Decision No. C97-644)

- 8.	Cahone-Nucla 115 kV Transmission Line Uprate (Previously Reported – CPCN not required per Decision No. C98-533)

- 9.	North Yuma-Red Willow 115 kV Line Reconductor (Previously Reported - CPCN determination required per Decision No. C95-616)

- 10.	Montrose-Nucla 115 kV Transmission Line Reconductor (Previously Reported – CPCN not required per Decision No. C98-533)

- 11.	Granby-Windy Gap 138kV Transmission Line Project (Previously Reported as McKenzie-Windy Gap 138kV Transmission Line Project and Granby Pump-Windy Gap 138kV Transmission Line Project – CPCN not required Decision No. C90-1125)

## ORDER

  - The Commission Orders That:

    - Notice is hereby given that certain investor-owned utilities and rural electric cooperative associations have submitted information about the proposed construction of transmission and generation facilities in accordance with Rule 18 of the Rules Regulating the Service of Electric Utilities, 4 Code of Colorado Regulations 723-3.  Under that rule, you are notified that the information is available for inspection at the offices of the Commission during regular business hours.

    - Any interested person, firm, or corporation may file comments about the projects identified by the data now filed with the Commission within 15 days after the Mailed Date of this Decision.  The Commission will consider any comments in determining which projects do not require a certificate of public convenience and necessity and for which projects the utility will be required to file an application for a certificate of public convenience and necessity or a formal determination that a certificate is not required.

    - This Order is effective upon its Mailed Date.

  - ADOPTED IN Commissioners’ WEEKLY MEETING May 12, 1999.

THE PUBLIC UTILITIES COMMISSION
OF THE STATE OF COLORADO



ROBERT J. HIX
________________________________



VINCENT MAJKOWSKI
________________________________



RAYMOND L. GIFFORD
________________________________

Commissioners

( S E A L )

ATTEST:  A TRUE COPY

____________________

Bruce N. Smith

Director

g:\yellow\