## Sheet1
Comparison of PSCo and OCC Proposed Increases
for Representative Customer, (final position)
One-hour Notice Primary Customer Unconstrained, no minimum hours of interruption
Maximum
Annual |  | PSCo |  | OCC
Hours | Current | Proposed | Increase | Proposed | Increase
40 | 2.04 | 4.88 | 139.2% | 3.7711 | 84.86%
80 | 2.85 | 5.63 | 97.54% | 4.3623 | 53.06%
160 | 3.45 | 6.18 | 79.13% | 4.8111 | 39.45%
10-minute Notice Primary Customer Unconstrained, no minimum hours of interruption
Maximum
Annual |  | PSCo |  | OCC
Hours | Current | Proposed | Increase | Proposed | Increase
40 | 5.16 | 9.39 | 81.98% | 7.4294 | 43.98%
80 | 6.85 | 10.78 | 57.37% | 8.54 | 24.67%
160 | 7.63 | 11.74 | 53.87% | 9.3213 | 22.17%
Note: current and proposed credits are annual average numbers based on Exhibit No. SBB-4

## Sheet2
Comparison of Foundation Value Calculation Taylor vs OCC
| (final position) basis for calculating credits for 10-minute notice customers | Final Post Hearing
|  | AST-7 as filed | OCC Proposed
1 | PSCo estimate LMS100 CT ($M, '08$) | 84.9 | 84.9
2 | Transmission ($M, '08$) | 4.659 | 4.659
3 | Total ($M, '08$) (line 2 + line 3) | 89.559 | 89.559
4 | Normalized ($/kW) Note 1 | 1163.1039 | 1057.3672
5 | Fixed Charge Rate Note 2 | 13.83% | 12.06%
6 | Annual ($/kW-yr) (line 5 * line 6) | 160.8573 | 127.5322
7 | Monthly ($/kW-yr) (line 7 / 12) | 13.4048 | 10.6277
8 | Energy Benefit ($/kW-mo) | 0.46 | 0.46
9 | Net cost (line 8 - line 9) | 12.9448 | 10.1677
10 | Adj reactive power | 0.25 | 0.25
11 | Adj AGC | 0.25 | 0.25
12 | Net cost (line10 - line 11 - line 12) | 12.4448 | 9.6677
13 | Transmission loss | 2.56% | 2.56%
14 | Net cost (line 13 * (line 14 + 1)) | 12.7634 | 9.9152
15 | Target Reserve | 16% | 16%
16 | Net cost ( line 15 * (line 16 + 1)) | 14.8 | 11.5016
17
Note 1: Taylor based on 77 MW Summer capacity, OCC based on 84.5 weighted average of year-round capacity.
Note 2: Taylor and Senger used Real Levelized Carrying Charge with different escalation rate and rate period assumptions.

## Sheet3
Comparison of Foundation Value Calculation Taylor vs OCC
| (final position) basis for calculating credits for one-hour notice customers | Final Post Hearing
|  | AST-5 as filed | OCC Proposed
1 | EIA estimate ($M, '05$) | 67.2 | 67.2
2 | Escalated to 2008 | 76.251 | 76.251
3 | Transmission ($M, '08$) | 4.659 | 4.659
4 | Total ($M, '08$) (line 2 + line 3) | 80.91 | 80.91
5 | Normalized ($/kW) Note 1 | 627.6959 | 572.2065
6 | Fixed Charge Rate Note 2 | 13.83% | 12.06%
7 | Annual ($/kW-yr) (line 5 * line 6) | 86.8103 | 69.0155
8 | Monthly ($/kW-yr) (line 7 / 12) | 7.2342 | 5.7513
9 | Energy Benefit ($/kW-mo) | 0.3 | 0.3
10 | Net cost (line 8 - line 9) | 6.9342 | 5.4513
11 | Adj reactive power | 0.25 | 0.25
12 | Adj AGC | 0.25 | 0.25
13 | Net cost (line10 - line 11 - line 12) | 6.4342 | 4.9513
14 | Transmission loss | 2.56% | 2.56%
15 | Net cost (line 13 * (line 14 + 1)) | 6.5989 | 5.078
16 | Target Reserve | 16% | 16%
17 | Net cost ( line 15 * (line 16 + 1)) | 7.6547 | 5.8905
Note 1: Taylor based on 128.9 MW Summer capacity, OCC based on 141.4 weighted average of year-round capacity.
Note 2: Taylor and Senger used Real Levelized Carrying Charge with different escalation rate and rate period assumptions.