THE
PUBLIC UTILITIES COMMISSION
OF THE
STATE OF COLORADO

RULES REGULATING 
TELECOMMUNICATIONS SERVICE PROVIDERS 
AND TELEPHONE UTILITIES

4 CODE OF COLORADO REGULATIONS (CCR) 723-2

723-2-2.49.1	Toll Limitation Service - means the furnishing of wither toll blocking or toll control for LECs incapable of providing both services. For LECs that are capable of providing both services, “toll limitation” denotes both toll blocking and toll control.

723-2-2.49.1.1	“Toll blocking” is a service provided by carriers that lets consumers elect not to allow the completion of outgoing toll calls from their dial tone line.

723-2-2.49.1.2	“Toll control” is a service provided by carriers that allows consumers to specify a certain amount of toll usage that may be incurred on their dial tone line per month or per billing cycle.

723-2-15.1.2	Each local central office, toll switching or tandem switching office, repeater huts, and microwave radio sites, and other interoffice facilities requiring power of a LEC shall contain a minimum of four eight hours of battery reserve backup power rated for peak traffic load requirements.  In central offices with capacity for more than 10,000 access lines, or in toll or tandem switching offices, a permanent auxiliary power unit shall be installed.  For central offices serving fewer than 10,000 lines,  repeater huts, and microwave radio sites, and other interoffice facilities requiring power, a mobile power source shall be available which normally can be delivered and connected within four hours.

RULE (4 CCR) 723-2-17.  BASIC TELEPHONE SERVICE STANDARD.

723-2-17.1	Basic Service Standard.  As part of its obligation to provide adequate Basic Local Exchange Service, each LEC shall construct and maintain its telecommunications network so that the instrumentalities, equipment and facilities within the network shall be adequate, efficient, just and reasonable in all respects in order to provide to each of its customers within its jurisdictional service area with the following services or capabilities:

723-2-17.1.1	Individual Line Service or its functional equivalent.  Each LEC shall construct and maintain sufficient message path capacity to meet the requirements of Rule 21.1.1;

723-2-17.1.2	Voice Grade Access to the public switched network;

423-2-17.1.3	Dual tone multifrequency signaling capability or its functional equivalent on the local access line;

723-2-17.1.4	Facsimile and data transmission capability of at least 2400

- Option 1: 9.6; or
Option 2: 14.4; or
Option 3: 28.8; or
Option 4: 56

kilobits per second with the public switched network when the customer uses modulation/demodulation devices rated for such capability;

723-2-17.1.5	Local Usage;

723-2-17.1.6	Access to Emergency Services;

723-2-17.1.7	Access to Toll Services:  Any  telecommunications service provider granted authority to serve in an area in which the incumbent telecommunications service provider has provided the capability for a customer to presubscribe to different MTS providers for the use of 1+ dialing capability shall also provide that capability to all customers served in such area;

723-2-17.1.8	Customer Billing; to the extent described in Rule 10;

723-2-17.1.9	Public Information Assistance to the extent described in Rule 11;

723-2-17.1.10	Access to Operator Services;

723-2-17.1.11	White page directory listing as described in Rules 12.1 and 12.2;

723-2-17.1.12	Access to directory assistance and intercept to the extent described in Rule 12.3;

723-2-17.1.13	In the event of a commercial power failure, the telecommunications service provider shall provide, until commercial power is restored, a minimum of eight hours of backup power rated for peak traffic load requirements from the telecommunications service provider's power source to the network interface in landline (coaxial, fiber, or copper) applications in order to support existing basic service to lines that utilize a traditional ringer.  A mobile power source shall be available which normally can be delivered and connected within four hours; and

723-2-17.1.14

Option 1: Call Waiting;

Option 2: Call Forwarding;

Option 3: Caller ID;

723-2-17.1.1415	At a minimum, all telecommunications service providers shall offer Basic Local Exchange Service (as defined in this Rule) by itself as a separate tariff offering.  This provision does not preclude the telecommunications service provider from also offering Basic Local Exchange Service packaged with other services.

723-2-17.2	Universal Service Availability Standard.  In order to maintain a reasonable uniformity between all localities in the state for adequate Basic Local Exchange Service in the ordinary course of its business pursuant to its certificate of public convenience and necessity, each LEC shall construct and maintain its telecommunications network so as to provide for universal (i.e. ubiquitous) availability of the following services or capabilities when requested by a customer within its jurisdictional serving area:

723-2-17.2.1	The basic service standard defined in Rule 17.1;

723-2-17.2.2	E911 service, either by providing the necessary facilities and identification (name/number, etc.) information to a basic emergency service provider or as provided by the LEC under Rules Prescribing the Provisions of Emergency Reporting Services for Emergency Telecommunications Service Providers and Telephone Utilities, 4 CCR 723-29 shall be available to any governing body upon request; and

723-2-17.2.3	Services to which the customer may voluntarily subscribe that deny access to MTS or other information service providers.  These services are defined as “Toll Limitation” services.

G:\YELLOW\input.doc