# Decision No. C00-765

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

in the matter of the designation of electric utility transmission facilities and electric utility generation facilities for which an application to obtain a certificate of public convenience and necessity is required, or the filing of a formal determination that no certificate is required.

order of the commission
giving notice of filing

Mailed Date:  July 18, 2000

Adopted Date:  July 12, 2000

## by the commission

Statement

    - Rule 18 of the Commission’s Electric Utility Rules, 4 Code of Colorado Regulations 723-3, requires each Colorado electric utility to file with the Commission, no later than April 30 of each year, information on its proposed new construction or extensions of transmission and generation faciliites for the next three calendar years, as described in §§ 18(d) and 18(e).

    - Rule 18(g) provides that the information filed by each utility shall be public information, available for inspection at the offices of the Commission, during regular business days and hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or corporations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the data filed with the Commission within 15 days of the filing of data.  Because 15 days from the filing of some of the data have expired, the Commission will allow comments to be filed 15 days after the mailing of this decision.

    - The following utilities have filed information on proposed construction projects as listed:

- INVESTOR-OWNED UTILITIES

- Public Service Company of Colorado

- 1.	Capital Hill-Harrison 115 kV Transmission Line (New Reporting)

- 2.	Platte Substation Relocation to Lacombe Substation (New Reporting)

- 3.	Cherokee-Smokey Hill 115 kV to 230 kV Conductor Upgrade (New Reporting)

- WestPlains Energy

- 1.	Pueblo 141 MW Combined Cycle Generation Addition (Previously Reported – CPCN granted per Decision No. R95-372)

- 2.	Reader 115 kV Capacitor Bank (Previously Reported – CPCN not required per Decision No. C97-644)

- 3.	Squaw Mountain Substation (New Reporting)

- 4.	Canon West Substation (New Reporting)

- 5.	Canon West to Squaw Mountain 115 kV Transmission Line (New Reporting)

- RURAL ELECTRIC ASSOCIATIONS

- Delta-Montrose Electric Association

- 1.	Juanita Substation-Sylvester Gulch Tap 115 kV Transmission Line (New Reporting)

- Mountain View Electric Association, Inc.

- 1.	Paddock 115/69 kV Substation (Previously Reported – CPCN not required per Decision No. C)

- 2.	Black Squirrel Substation (New Reporting)

- 3.	Falcon Substation Transformer Addition (Previously Reported – CPCN not required per Decision No. C99-676)

- 4.	Anderson Substation Transformer Change-out (Previously Reported – CPCN not required per Decision No. C94-810)

- San Miguel Power Association

- 1.	Ridgeway Reservoir Transmission Line Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C97-644)

- 2.	Dallas Creek to Ouray Transmission Line (Previously Reported – CPCN not required per Decision No. C98-533)

- 3.	New Ouray Substation (New Reporting)

- 4.	Specie Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C99-676))

- 5.	Wilson Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C99-676)

- 6.	Telluride Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C98-533)

- 7.	Burro Substation Installing Circuit Switchers (Previously Reported – CPCN not required per Decision No. C99-676)

- Tri-State Generation and Transmission Association, Inc.

- 1.	Dacono – Dacono Tap 115 kV Line (Previously Reported – CPCN not required per Decision No. C99-676)

- Cahone-Nucla 115 kV Transmission Line Uprate (Previously Reported – CPCN not required Decision No. C98-533)

- Montrose-Nucla 115 kV Transmission Line Reconductor (Previously Reported – CPCN not required Decision No. C98-533)

- Granby-Windy Gap 138kV Transmission Line Project (Previously Reported – CPCN not required Decision No. C90-1125)

- Nucla-Telluride 115 kV Transmission Line (Previously Reported – Formal Application to Waive CPCN Required Decision No. C97-644)

- North Yuma-Red Willow 115 kV Line Reconductor (Previously Reported – Formal Application to Waive CPCN Required Decision No. C95-616)

- Colorado/New Mexico 230 kV Interconnection Project (Previously Reported - Formal Application to Waive CPCN Required Decision No. C99-676)

- I-25 Corridor 115 kV Loop Project (New Reporting)

- Garnet Mesa Tap – Hotchkiss 115 kV Line Upgrade (New Reporting)

## order

  - The Commission Orders That:

    - Notice is hereby given that the above investor-owned utilities and rural electric cooperative associations have submitted information about the proposed construction of transmission and generation facilities in accordance with Rule 18 of the Rules Regulating the Service of Electric Utilities, 4 Code of Colorado Regulations 723-3.  Under that rule, you are notified that the information is available for inspection at the offices of the Commission during regular business hours.

    - Any interested person, firm, or corporation may file comments about the projects identified by the data now filed with the Commission within 15 days after the Mailed Date of this Decision.  The Commission will consider any comments in determining which projects do not require a certificate of public convenience and necessity and for which projects the utility will be required to file an application for a certificate of public convenience and necessity or a formal determination that a certificate is not required.

    - This Order is effective on its Mailed Date.

  - ADOPTED IN COMMISSIONERS’ WEEKLY MEETING
 	July 12, 2000.

THE PUBLIC UTILITIES COMMISSION
OF THE STATE OF COLORADO



RAYMOND L. GIFFORD
________________________________



ROBERT J. HIX
________________________________



POLLY PAGE
________________________________

Commissioners

( S E A L )

ATTEST: A TRUE COPY

Bruce N. Smith
Director

g:\yellow\