Attachment A:

Questions for Participants in October 1, 2014 Panel on Net Metering

- What are the system benefits from residential on-site solar?  What additional, 
non-system benefits do residential systems provide?

- What methodology do you propose to calculate the benefits of residential, on-site solar?

- What is the total annual benefit provided by residential on-site solar systems?

- In what ways do residential solar systems use or provide support to the grid?  For example, how does a resident with on-site solar use energy and voltage support from the grid?  How does that same house provide support to the grid? How should that relationship be quantified in terms of the cost and benefits that the Commission is considering in this proceeding?

- How will the projected growth of residential solar described by Public Service at the July 24 Panel Discussion impact the level of benefits?

- What are the benefits provided by residential on-site solar systems compared to the benefits provided by community solar gardens, commercial, and industrial systems?