# Decision No. R21-0387

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

PROCEEDING NO. 20R-0516E

IN THE MATTER OF THE PROPOSED AMENDMENTS TO RULES REGULATING ELECTRIC UTILITIES, 4 CODE OF COLORADO REGULATIONS 723-3, RELATING 
TO DISTRIBUTION SYSTEM PLANNING.

RECOMMENDED DECISION OF 
Hearing commissioner 
megan gilman
amending and Adopting RULES

Mailed Date:  	July 8, 2021

TABLE OF CONTENTS

I.	STATEMENT	2

II.	FINDINGS AND DISCUSSION	5

A.	Adopted Rule Amendments.  Rule 3525. Applicability.	5

1.	Rule 3526. Overview and Purpose.	6

2.	Rule 3527. Definitions.	8

a.	Rule 3527(a). Ancillary Services	12

b.	Rule 3527(e). Direct Current Fast Charger	12

c.	Rule 3527(i). Grid Availability	13

d.	Rule 3527(s). Ratable procurement	13

3.	Rule 3528. Distribution System Plan Filing Requirements	13

4.	Rule 3529. Contents of the Distribution System Plan.	16

5.	Rule 3530. Distribution System Forecasts.	18

a.	Rule 3530(a)(IX). Scenarios.	21

6.	Rule 3531. Assessment of Existing Distribution System.	23

a.	Rule 3531(a)(II). Hosting Capacity Analysis.	26

7.	Rule 3532. Grid Needs Assessment	29

a.	Rule 3532(d)(II). Exemptions for Short-Term Planning Needs	31

8.	Rule 3533. Grid Innovation	32

9.	Rule 3534. NWA Suitability Screening	34

10.	Rule 3535. NWA Cost Benefit Analysis	35

11.	Rule 3535. NWA Coordinator	37

12.	Rule 3536. Action Plan	41

13.	Rule 3537. NWA Solicitation Process (Phase II)	43

14.	Rule 3538. Approvals and Cost Recovery	44

15.	Rule 3539. Security Assessment	48

16.	Data Access and Protection	49

a.	Participants’ Comments on Data Issues	49

b.	Treatment of Data in DSP Processes	52

17.	Rule 3540. Data Access, Privacy, and Confidentiality	55

18.	Rule 3541. Web Portal	58

a.	Terminology	60

b.	Rule 3541(b). Access Restrictions	60

c.	Rule 3541(c). Information Presented on Web Portal	63

d.	Rule 3541(d). Implementation of the Web Portal	64

e.	Rule 3541(e)-(f). Future Updates	69

19.	Rule 3542. Evaluation and Reporting	70

B.	Conclusion.	70

III.	ORDER	71

A.	The Commission Orders That:	71

## STATEMENT

- This rulemaking satisfies the requirements of Senate Bill (SB) 19-236, codified at § 40-2-132, C.R.S., requiring the Commission to adopt rules regarding Distribution System Planning. Specifically, SB 19-236 directs the Commission to promulgate rules establishing, for the first time, that utilities must file Distribution System Plans (DSPs) and evaluate Non-Wires

- Alternatives (NWA). Section 40-2-132, C.R.S., specifies that the Commission shall promulgate rules establishing the filing of a DSP, and that the rules must include:

- 1)	a methodology for evaluating the costs and net benefits of using Distributed Energy Resources (DER) as NWA;

- 2)	a determination of the threshold for the size of new distribution projects requiring NWA analysis for any new neighborhood or housing development; and

- 3)	a determination of what information should be set forth in a DSP filing, including the consideration of NWA regarding new development (greater than 10,000 residences), the consideration of increases in load forecasts resulting from beneficial electrification programs, a forecast of DER growth, a summary of the utility’s planning process for cyber and physical security risks, a proposed cost-recovery method, anticipated new distribution system expansion investments, a process to evaluate DSP feasibility and economic impacts of NWA for certain projects, and an estimate of peak demand growth or DER growth that merits analysis of new NWA projects.

- Section 40-2-132, C.R.S., also provides that the Commission may adopt criteria, benchmarks, or accountability mechanisms to evaluate the success of any NWA investment authorized pursuant to a DSP.

- On December 3, 2020, the Colorado Public Utilities Commission issued a Notice of Proposed Rulemaking (NOPR) to amend the Commission’s Rules Regulating Electric Utilities, 4 Code of Colorado Regulations 723-3 (Electric Rules). The proposed amendments develop these new rules regarding DSP. The Commission noticed the proposed rules, provided with Decision No. C20-0837, available to the public through the Commission's Electronic Filings (E-Filings) system.

- The Commission has developed these proposed rules to enhance transparency and accountability in the DSP process. To be an effective tool, a Distribution System Plan needs

- to be comprehensive in terms of examining the entire grid and all the potential options for improving the grid from a reliability, resilience, and cost effectiveness standpoint. We stress that utilities must also enable the safe and timely interconnection of DERs by customers and third parties and strive to optimize the use of new resources, NWAs, and emerging grid technologies, while reasonably balancing the risks and opportunities.

- The NOPR adopted a schedule for filing comments and invited interested participants to file initial comments no later than January 29, 2021 and to file reply comments no later than February 19, 2021.  A public rulemaking hearing was scheduled for March 11 and 12, 2021.  The Commission referred this matter to Hearing Commissioner Megan Gilman to preside over rulemaking hearings and for the issuance of a recommended decision.

- On January 29, 2021, initial comments were filed by the City and County of Denver (Denver); the Colorado Energy Office (CEO); Tri-State Generation and Transmission Association, Inc.; the Advanced Energy Economy Institute (AEEI); Western Resource Advocates (WRA); the Colorado Solar and Storage Association and the Solar Energy Industries Association (COSSA/SEIA); Southwest Energy Efficiency Project (SWEEP); Black Hills Colorado Electric, LLC (Black Hills); the Colorado Office of Consumer Counsel (OCC); the Colorado Energy Consumers Group (CEC); Karey Christ-Janer; Public Service Company of Colorado (Public Service); and on February 5, 2021 by the City of Boulder (Boulder).

- On February 19, 2021, reply comments were filed by CEO, AEEI, WRA, OCC, CEC, Public Service, SWEEP, COSSA/SEIA, Black Hills, SunShare, LLC (SunShare), and WRA.

- A public comment hearing was held on March 11, 2021.

- On April 9, 2021, Closing Comments were filed by Boulder.  On April 16, 2021, post-hearing comments were filed individually by WRA, CEC, Black Hills, Karey Christ-Janer, Denver, COSSA/SEIA, Public Service, and Joint Post-Hearing comments and redline rules were filed by AEEI, CEO, COSSA/SEIA, SWEEP, and WRA (the Joint Stakeholders).

- Additional written comments were filed on April 27, 2021 by COSSA/SEIA, April 29, 2021 by Black Hills, and May 7, 2021 by Public Service.

- By these rule amendments, we lay out the objectives of the DSP process and set forth the mechanisms to accomplish those objectives, including a two-phase application that draws on principles from the Commission’s industry-leading electric resource planning (ERP) process and a web portal developed based on stakeholder engagement. With this framework as a starting point, we anticipate that utilities’ capabilities related to DSP, and the interactions between DSP and other planning processes, will evolve over time.

## FINDINGS AND DISCUSSION

### Adopted Rule Amendments.  Rule 3525. Applicability.

- Proposed Rule 3525 describes the applicability of the DSP Rules.

- CEO recommends that the applicability section be clarified to include language specifying that electric utilities subject to the DSP Rules are those that own “distribution facilities.” CEO’s proposed changes also make clear that in particular, these rules do not apply

- to the municipally owned electric utilities and cooperative electric associations that have voted to exempt themselves from the Public Utilities Law pursuant to § 40-9.5-104, C.R.S.

- We agree with CEO’s rationales and make the subsequent editorial changes.

#### Rule 3526. Overview and Purpose.

- Proposed Rule 3526 summarizes the general purpose of a DSP proceeding. After reviewing the proposed rule language, as well as the many comments supporting the need for purpose statements, we believe the purpose of a DSP is to conduct a transparent review of utility investments in the distribution grid to ensure that they cost-effectively support grid adequacy, reliability, and resilience, while simultaneously supporting diversification of energy supply through DERs, expanding the utilization of NWA that reduce the need for conventional distribution grid investment, and preparing for new expectations upon the system.  DSP 
will yield quantitative and qualitative benefits, ranging from integrating grid technologies 
that support reliability and resiliency, emissions reductions, energy efficiency, demand flexibility, and load management, and will continue to modernize grid monitoring and control technologies and processes. DSP is intended to be complementary to, but not a replacement for, existing 
Demand-Side Management (DSM) planning and programs and/or distributed generation acquisition processes approved as part of Renewable Energy Standard (RES) plans, as well as Transportation Electrification Plans which are themselves elements of ERP.

- Public Service recommends minor modifications to reinforce that the expansion of NWAs should not be the goal of the process. Rather, DSP Rules should provide a forum for the evaluation of such an option and its cost effectiveness.

- CEO recommends changing the word “review” to “review and evaluate,” as to better reflect that the Commission will be active in its assessment of the plan. Second, CEO recommends adding that one purpose of a DSP is to support state policy goals, including reducing greenhouse gas (GHG) emissions. CEO also suggested clarifying the term “new expectations upon the system” by replacing it with “new technologies on the system.”

- WRA argues it is important to articulate that a distinct goal in Rule 3526 is emission reductions due to DER program design and deployment, which can impact the emission reduction benefits of DERs. WRA argues the Commission should strive to utilize DER in a manner that maximizes emission reduction potential. COSSA/SEIA agrees with WRA and CEO, arguing that Rule 3526 should recognize the carbon reduction benefits of DSP.

- The Joint Stakeholders, in their Post-Hearing Comments, support CEO’s recommended changes to Rule 3526, which they argue better clarify the purpose of DSP Rules that the Commission strove to establish in Decision No. C20-0837.

- We agree with the Joint Stakeholders regarding the need for some limited modifications and make several of their subsequent editorial and clarifying changes. We elected, though, to retain the phase “new expectations on the system” rather than the proposed “new technologies on the system.”  While we may see new technologies emerge in the coming years, “new expectations” is a more appropriate characterization of the entirety of the upcoming changes. In large part, we may see existing technologies deployed in a more extensive way or with increased customer interaction, setting up new expectations on the system and system operator, whether or not the technologies themselves are new. In addition, we add language stressing the importance of transparency and the timely sharing of information as key aspects of the distribution system, as increased information-sharing is an important part of developing NWA solutions and DER deployment in line with state policy goals.

#### Rule 3527. Definitions.

- SB 19-236 requires the Commission to define Distributed Renewable Electric Generation, Energy Storage Systems Connected to the Distribution Grid, Microgrids, Energy Efficiency Measures, and Demand Response Measures. It also requires us to define Non-Wires Alternatives. The Commission proposed 18 new definitions modeled after the proposed definitions submitted by participants in the DSP Stakeholder Outreach Proceeding. The Commission also added “Demand Flexibility” and “Locational Value” to proposed Rule 3527. The Commission found that it is important to provide a definition for Demand Flexibility as a unique concept from traditional Demand Response.

- In Initial Comments, CEO, WRA, and COSSA/SEIA provide several recommendations for language changes and additional definitions. In Post-Hearing comments, the Joint Stakeholders provide summaries and recommendations previously developed in Initial comments by the participants. First, the Joint Stakeholders recommend “Capacity Need” remove the qualifier “load growth,” as factors other than load growth could lead to constraints on the system that could require updates or changes that should be included in DSP plans. The Joint Stakeholders also recommend the Commission modify the requirement in the definition of “Demand Flexibility” so that it includes projects that deliver end-use services at the same or better quality and deliver “net benefits to the system, customers, or society,” instead of requiring a project to deliver end-use services at a “lower cost.” The Joint Stakeholders believe this helps clarify that benefits accruing to various entities shall be considered in addition to costs, which will allow for reasonable expenditures for demand flexibility projects, as long as the benefits of the projects outweigh the costs.

- The Joint Stakeholders also request the Commission clarify that a “Major Distribution Grid Project” refers to any planned, proposed, or potential capital projects, ensuring that all three stages of grid projects are considered for NWAs. In addition, they suggest the Commission eliminate the last sentence in the definition of “major distribution grid project” as unnecessary as it is explained in paragraph 3534(a) addressing NWA Suitability Screening.

- In its Initial Comments, CEO requested the Commission remove the qualifier “load growth” from the definition of “capacity need.” CEO believes that several factors other than load growth could lead to constraints on the system that could require updates or changes that should be included in DSP plans. CEO also suggests the Commission modify the definition of “energy efficiency measures” to clarify that energy efficiency measures are implemented through programs and projects, and do not include all actions that result in a decrease in electricity usage of customers, such as conservation efforts. CEO also requested a change to the definition of “hosting capacity” to remove the word “significant” when referring to infrastructure upgrades. As written, this term is not defined, thus CEO believes that the meaning is not clear, and it would be appropriate for the utility to report all hosting capacity on the system that would not require any upgrade. The Joint Stakeholders adopted these recommendations in Post-Hearing Comments.

- Public Service believes the term “Capacity need” should be omitted because the term is unnecessary and the need for capacity exists in multiple planning contexts (e.g., generation, distribution, and transmission) and across different time horizons. Public Service believes that the term “Demand flexibility” should be removed as it falls under demand response measures. Public Service also states that “Energy storage system” is already defined in 
Rule 3001(l), and it is a general term that can be used by other rule sections. If the Commission decides to keep this term, then Public Service suggests using the same definition from 
Rule 3001(l).

- Public Service notes that the term “Locational value” is highly contextual, as it is typically used to describe benefits that can be provided to the distribution system to meet geographically specific constraints identified in the distribution planning process. Public Service also recommends removing the terms “Pilot,” “Program,” “Reliability Need,” and “Resilience.”

- Public Service suggests minor edits to eliminate some of the ambiguity in the proposed definition of “Hosting capacity.” They suggest replacing the word “accommodated” with the more technically accurate term “interconnected.” Public Service also clarifies in its proposed edits that hosting capacity only describes these conditions under current and normal system configurations (e.g., not N-1 contingency conditions that may lead to system switching and reconfiguration). Public Service emphasizes that hosting capacity analysis is an initial guide and does not replace the DER engineering screens or system impact screens described in the interconnection rules.

- Public Service also suggests a clarification as N-1 is a general term applicable to both transmission and distribution system planning and operations that describes the loss or failure of a single system component. Public Service suggests striking the second sentence of the proposed definition as it does not define an N-1 event, but rather may or may not be a potential implication of an N-1 event.

- Black Hills proposes to add a definition for Critical Electric/Energy Infrastructure Information (CEII) based on that used by the Federal Energy Regulatory Commission (FERC). Upon defining CEII, Black Hills would reference it within other rules as a rationale under which the utility could withhold information from both the DSP filing and the utility web portal. We decline to adopt Black Hills’ proposal. The record is insufficient on the impacts of modifying a definition that was developed by FERC for application to the bulk power system to the distribution grid level, especially given that the FERC process relies on managing CEII data releases through an independent central data coordinator, which is not a component of the Commission’s rules. While COSSA/SEIA acknowledged that a utility should be allowed to protect CEII, they refer to FERC-defined CEII, rather than Black Hills’ Colorado-specific definition. Furthermore, Black Hills’ definition is unnecessary. As we discuss below, the Colorado rules do not need to refer specifically to a federal practice to allow regulated utilities to make reasonable protective claims associated with that practice. Should a regulated utility seek to protect FERC-defined CEII, it may do so through the motions process laid out in Rule 3540.

- We adopt several recommended changes to 3527(c) “Demand Flexibility” for improved clarity and adjust the definition to indicate that demand flexibility often includes communication or control technology, rather than in every situation. We adopt clarifying language in 3527(f) “Distributed energy resources,” 3527(h) “Energy efficiency measures,” 3527(k) “Hosting capacity,” and 3527(I) “Locational value.”

- We agree with Public Service that as “Energy storage system” is already defined in Rule 3001(l), it is a general term that can be used by other rule sections.

- Based on suggestions by Public Service, we delete language regarding office software or hardware language. Public Service argues it is unclear how including these elements in the definition is consistent with the NWA processes in this rule. Public Service argues this language could create confusion as solutions such as Distributed Energy Resource Management Systems are in fact software that could support NWA, not solutions to be avoided through NWA.

- We also add clarifying language to 3527(p), “Non-Wires Alternative” or “NWA,” and delete the redundant term “cost-effective.”

##### Rule 3527(a). Ancillary Services

- We add a definition for “Ancillary services,” as the term is used in reference to Rule 3532, Grid Needs Assessment.

##### Rule 3527(e). Direct Current Fast Charger

- WRA recommends the Commission adopt a new definition within Rule 3527 that would define the term “direct current fast charger” for use elsewhere in the rules. The Joint Stakeholders adopt this proposed new rule in its post-hearing comments.

- We adopt this definition as we expect utilities to identify locations where substation transformers and feeders have sufficient capacity for hosting multiple direct current fast chargers in Rule 3533.

##### Rule 3527(i). Grid Availability

- The Joint Stakeholders proposed a new definition for “grid availability” to help enable reporting on the availability of the grid as it applies not only to load but also to 
customer-side resources, such as distributed generation and demand response. They state that the goal of adding this definition, as well as the related reporting requirement in Rule 3531, is to help ensure that the grid remains available as much as possible and customer-side resources do not face unnecessary outages. We agree with this addition.

- The Joint Stakeholders also propose a new definition for “grid need” to clarify the underpinnings for the required grid needs assessment in Rule 3532. We agree with this addition.

##### Rule 3527(s). Ratable procurement

- The Joint Stakeholders propose a new definition for “ratable procurement” which they state is the procurement of incremental DER capacity to defer or avoid long-term grid needs. We agree with this addition, as this term is included in Rule 3532 related to the grid needs assessment. We made a minor modification to the proposed definition to clarify that the purpose would be to defer or avoid traditional utility infrastructure, more specifically.

#### Rule 3528. Distribution System Plan Filing Requirements

- The Commission proposed that the utility file a DSP as an application every two years, with the first plan to be submitted on or before January 31, 2022. Rule 3528(d)(I-IV) was proposed to allow for flexibility for certain filing requirements that may not yet be practicable or are cost-prohibitive in the early stages of DSP.

- Several participants recommend changing the date of the first filing in order to allow utilities adequate time to develop their plans, given that the timeline of this proceeding may have exceeded the timeline that was envisioned when the Commission issued the notice of proposed rulemaking.

- Participants also agreed that a two-phase litigated DSP process is the best path forward for DSP Rules. Under the Joint Stakeholders proposal, the utility will file a “Phase I DSP” as an application, including the components of the DSP filing that are listed in proposed paragraph 3529(a). In the Joint Stakeholders’ proposed Rules, Commission Staff, the utility, and any other parties will participate in a litigated proceeding, and the Commission will issue a decision approving, modifying, or denying the Phase I plan. If the Phase I plan identifies Major Distribution Grid Projects that meet the NWA suitability screening criteria and proceed to solicitation, then the utility is required to submit a Phase II filing as described in proposed 
Rule 3529(b) after completion of the solicitation process. Parties will have the ability to submit two rounds of comments following the Phase II filing, and the Commission will issue a second decision. The Joint Stakeholders have removed the opportunity for limited discovery that was originally proposed in response comments in order to move towards consensus with the utilities. The Joint Stakeholders believe that this framework strikes the appropriate balance between allowing for a comprehensive review and feedback process and achieving procedural efficiency. Public Service proposes additional language to allow for even more flexibility in Rule 3528(c). Public Service explains that it has purchased distribution system planning software and is training staff on the use of a more sophisticated load forecasting software program (LoadSEER).  Public Service explains that they are currently proactively integrating this more advanced planning software that will ultimately allow it to produce better quality DSPs in future cycles. However, Public Service notes that this software will not be fully implemented in time for the first DSP filing.

- Black Hills presents language that enables a staggered filing cycle between a large- and smaller-sized utility. We agree with Black Hills and stagger the DSP filings by the size of utilities in 3528(a).

- The OCC adds additional requirements to the stakeholder process in 3528.

- The Joint Stakeholders propose a new paragraph in the Consensus Rules, encouraging stakeholder engagement to discuss DSP topics and resolve issues to the extent possible outside the litigated proceeding. The Joint Stakeholders state that proactive stakeholder engagement can increase efficiencies and have accordingly proposed this rule to require at least one meeting prior to the Phase I filing and to encourage further meetings as needed.  The Joint Stakeholders also propose that utilities be required to describe how they engage with communities of “historically underserved customers” and how they incorporate goals related to equity in their DSP process.  We acknowledge this principle, but suggest clarifying language. We use the term “disproportionately impacted communities” instead of “historically underserved customers.” While the term “disproportionately impacted communities” is defined for use by Colorado Department of Public Health and the Environment (CDPHE) at § 25-7-105(1)(e)(III), C.R.S., recent Commission decisions have recognized CDPHE’s approach to interpreting this term, and recently signed SB 21-272 which sets forth a path for the Commission to incorporate it more specifically.  Accordingly, we use this term throughout the rules, in the interests of consistency across state agencies and with emerging state policy.

- We agree with the Joint Stakeholders’ recommended language changes to 
Rules 3528(a) and (b), with their proposed new requirements in 3528(c)(I) and (II), with their proposed new requirement to file a final Action Plan in 3528(e), and language establishing guidelines for the stakeholder process in 3528(g). In addition to language regarding 
the stakeholder process, we specify that utilities shall make all reasonable efforts to engage 
local governments and community organizations representing disproportionately impacted communities. We believe that engaging such communities early in the process will result in improved programs and pilot projects with local and impacted community input. Early engagement with disproportionately impacted communities should also allow for the best opportunity for equity and environmental justice to be structurally incorporated in future planning processes.

- We decline to adopt OCC’s additional language as we believe those topics are covered in the modified language proposed by the Joint Stakeholders, and note that the Commission has discretion to require utilities to host stakeholder discussions regarding specific DSP topics.

#### Rule 3529. Contents of the Distribution System Plan.

- SB 19-236 directed the Commission to determine what must be included in a 
DSP filing, which at a minimum must include system and substation historical data, peak demand, forecasts of DER adoption, and current distribution investments. Proposed Rule 3529 lists the required contents of each plan.

- The Joint Stakeholders propose a new subparagraph 3529(a)(III), which requires a description of the utility’s vision for how existing utility DSM measures and programs, as well as existing DER offerings, shall or could be utilized to meet DSP needs, in order to integrate existing utility offerings that have been approved by the Commission within the DSP process. They also add a subparagraph 3529(a)(XV), which requires a description of the stakeholder engagement process described in paragraph 3528(f).

- The Joint Stakeholders also propose subparagraph 3529(a)(XVI), requiring a description of how the utility has engaged, and plans to engage, on DSP with communities, particularly those consisting of historically underserved customers, and how the utility has incorporated community climate, equity, and resilience goals and priorities into the DSP and action plan. Boulder and Denver also propose language to ensure that the DSP process include stakeholder and local government consultation. They believe distribution system planning 
can support critical community needs such as public safety, natural disaster resilience, and coordination of distribution system work with other community planning and development activities.

- The OCC also provides redline rules that require utilities to engage stakeholders. The OCC recommends the rules require a utility to preview its upcoming plan with stakeholders and solicit feedback and suggested modifications for incorporation into its upcoming plan. The OCC also proposes that the utility be required to hold specific stakeholder reviews of system forecasting and hosting capacity. At a minimum, the utilities should solicit input from stakeholders on the following topics: (1) the load and DER forecasts; (2) proposed five-year distribution system investments; (3) anticipated capabilities of system investments and customer benefits derived from proposed actions in the next five years; and (4) any other relevant areas proposed in the DSP.

- Public Service provides redline edits to Rule 3529 to reflect the conceptually agreed upon Phase I process and included additional redlines to align the rule with the 
agreed-upon Phase I process.

- We agree with the recommended language by the utilities and the Joint Stakeholders that add “programs and other electrification” when discussing beneficial electrification. We adopt the Joint Stakeholders’ proposed language in 3529(a)(III) regarding the integration of DSM and other DERs, so that it can be utilized to meet distribution needs. We also adopt the proposed language surrounding the stakeholder process in 3529(a)(XIV) and (IV).

- For clarity, we also add Rule 3529(a)(XIII), which requires the utilities to submit a proposal for implementation of a web portal as further described in Rule 3541.

#### Rule 3530. Distribution System Forecasts.

- SB 19-236 requires the utility to provide “a forecast of the growth of distributed energy resources for the years covered by the plan.” The Commission proposed an approach in Rule 3530 using Multiple Load, DER Growth, and NWA scenarios to assess current system capabilities, identify incremental infrastructure requirements, and enable analysis of the locational value of DERs and NWA. All the forecasts would project load ten years into the future, with data to be provided for each year over the ten-year span. We further requested that the utilities provide a reference to the load growth scenario modeled in their latest ERP to allow the Commission to see consistency across proceedings, or to understand if a different scenario is presented.

- The Joint Stakeholders recommend several modifications in the Consensus Rules related to distribution system forecasts that build off the recommendations made by CEO in its Initial Comments. They agree with the Commission that a DSP should include a forecast of DER growth, but believe that the current rule could be clarified, and they suggest several revisions to paragraph 3530(a) that they believe are consistent with the Commission’s intent to provide a forward-looking view of changes that may impact the distribution grid but also clarify the data and information that must be provided in each scenario.

- In its Post-Hearing Comments, WRA recommends that the rules require utilities to file ten-year forecasts in their DSPs. WRA highlights a nuance within the comments about forecast timeframes in this Proceeding and during the Public Comment Hearing. WRA argues that Public Service’s comments that the provision of ten-year forecasts will be of limited use to the Commission due to inherent uncertainty would also lead to avoiding the assessment of potential grid investments in that five- to ten-year timeframe. WRA argues that without ten-year forecasts, it would be impossible to provide a grid needs assessment for a ten-year timeframe, as described in proposed Rule 3532. Consequently, there would be no opportunity to consider pilots or NWAs relevant to grid needs within this period.

- SunShare notes that the NOPR stated that a key step in the DSP process is to characterize the capabilities and limitations of the existing distribution system, which requires a detailed review of the capacity of existing infrastructure, as well as known problems, limitations, and areas of concern.” SunShare states community solar garden (CSG) interconnection has plagued a large percentage of distributed renewable energy development in Colorado approved in RES Plans and this topic represents “known problems, limitations, and areas of concern.” SunShare argues that a key step in the DSP process is to characterize the capabilities and limitations of the existing distribution system, which requires a detailed review of the capacity of existing infrastructure, as well as known problems, limitations, and areas of concern. SunShare believes that a utility’s DSP should effect a general increase in available CSG interconnection capacity on the distribution system through expanded or new substations, protective equipment to avoid issues to load serving stations, and facilitate visibility into the hosting capacity of the system where that capacity reaches areas conducive to solar development. In addition, they note that the DSP process should include not only major projects such as new substations, but also for installing equipment on existing substations that facilitates both increased rooftop DER as well as CSG, without one (or the last) cost causer having to pay for it.

- SunShare notes that COSSA/SEIA previously argued that:

- the Commission should require utilities to provide a forecast of any needed additional hosting capacity, including to support clean DER such as community solar that advance state policy goals because ensuring grid adequacy is necessary to enable beneficial electrification and will increase dynamic load management capabilities through the increased installation of the DER that are necessary to better integrate large scale variable renewable resources and to provide other grid services.

SunShare states its proposed language builds on COSSA/SEIA’s comments but provides needed specificity to provide direction and notice to utilities of DSP expectations specific to CSGs.

- We adopt WRA’s recommendation to require forecasts for a ten-year planning period. We also adopt several participants’ editorial and clarifying changes in 3530(a)(I-VI). While longer planning horizons likely require more speculation in the later years, a shorter time horizon is not likely to provide the sort of holistic, forward-looking approach that is intended with the DSP process. We agree with WRA that the ten-year planning period is necessary to provide the intended benefits of the process.

##### a.	Rule 3530(a)(IX). Scenarios.

- The Joint Stakeholders recommend that the Commission reconsider the scenarios that a utility is required to present. The Joint Stakeholders suggest that the rules require a “State Policy Goal Scenario” that assumes alignment with state policy goals. They recommend one additional scenario labeled “Growth Scenario,” which represents growth in the use of DER and beneficial electrification that goes beyond state policy goals. The Joint Stakeholders argue that scenarios could be realized for reasons such as meeting expedited interim utility milestones, satisfying federal targets related to additional or expedited long-term GHG reductions, demand flexibility, distribution reliability, resiliency, or transmission system needs, or market transformation successes such as the transition to zero emission vehicles. The Joint Stakeholders do not propose a third scenario, though its proposed language leaves this option open for utilities.

- The Joint Stakeholders also recommend a new paragraph 3530(b) requiring the utility to provide all assumptions and methodologies that are inputs into the forecasting scenarios in paragraph 3530(a). This will allow the Commission and stakeholders to subject the scenarios to a full and complete review. In addition, this information will enable stakeholders to propose modifications to assumptions and methodologies, which may bolster the accuracy and utility of a forecasted scenario or scenarios and ultimately further state policy goals.

- Public Service argues that prudent planning processes include possibilities that explore outcomes on both sides of the “expected” outcome and argue their proposed changes implement such a forecasting process. Public Service argues that many of the data and procedural items required in the proposed “high adoption” scenario are not readily available, provide marginal benefit, or contain confidential information. Public Service argues that in order to meet the high DER adoption scenario, significant investments into grid-edge infrastructure and technologies may be required. They further argue that if this is to be a proactive deployment, there are challenges associated with determining which customers will adopt the technology 
and subsequently which assets to upgrade proactively. Public Service concludes that this can lead to overbuilding the system and adding unnecessary costs, which, under the current planning paradigm, would be socialized amongst all customers.

- We adopt a two-scenario process for forecasting DER and NWA growth, including a business-as-usual case based on current state policy, as well as a High Growth scenario. We agree with CEO, who proposed “State Policy Goal Scenario” that assumes alignment with state policy goals such as GHG reduction targets, EV deployment levels DSM, and RES targets needed to achieve the State’s policy goals. One example of a state policy scenario is Governor Polis’ Greenhouse Gas Reduction Roadmap (Roadmap) which provides an assumed pathway for achieving Colorado’s science-based climate goals, established by House Bill 19-1261. However, state policy goals may evolve over time and each DSP application, along with its scenarios, should take into account the state policy goals in place at the time of the application.  We agree with CEO and WRA that the Roadmap’s trajectory should be assumed in a business-as-usual scenario. Each forecast must be based on the current state policy goals, including the GHG reduction targets, at the time the forecast is developed. The Commission plays an important role in achievement of the State’s statutory climate goals and achievement of these goals is a necessary base assumption for any scenarios that are evaluated. The State’s policy goals should be treated as the floor, not the ceiling, for planning of the State’s utility infrastructure. This baseline is also important to enable better planning and information-sharing across proceedings with a foundational set of assumptions aligning strategies and tactics to aid in the pursuit of those goals.

- We also agree with the Joint Stakeholders’ “Growth Scenario” which represents growth in the use of DER and beneficial electrification that goes beyond state policy goals. As they point out in Post-Hearing Comments, this scenario could be realized for reasons such as meeting expedited interim utility milestones, satisfying federal targets related to additional or expedited long-term GHG reductions, demand flexibility, distribution reliability, resiliency, or transmission system needs, or market transformation successes such as the transition to zero emission vehicles. It is reasonable to assume that the cost and accessibility of many key DER technologies may continue to improve and could lead the uptake to exceed the state policy scenarios in speed or depth. It is important for the utilities, Commission, and stakeholders to acknowledge that possibility and understand how those scenarios would impact distribution system planning.

- We also adopt the Joint Stakeholders’ proposed language in 3530(b) that requires utilities to provide all assumptions and methodologies that are inputs into the forecasting scenarios.

#### Rule 3531. Assessment of Existing Distribution System.

- SB 19-236 requires that a utility’s DSP report certain data on its distribution system, including: system and substation historical data, peak demand, adoption of Distributed Energy Resources, and Distribution System Investments. Proposed Rule 3531(a)(I) requires each utility to identify and assess major distribution grid capacity needs by providing a map of

- existing and planned substations within its service territory, as well as tabular information about the current design capacity and performance of each substation and substation transformer. The maps would be made available on the utility’s web portal as described in Rule 3541. The assessment should also include the status of advanced metering infrastructure deployment by customer class and updates on meter data management systems.

- Public Service states that it requests clarification from the Commission on the use cases and functional outcomes that provision of this data will enable. Public Service argues that some of the Rule 3531 information does not exist or requires manually intensive efforts to collect and consolidate, and that there are also potential security concerns with providing detailed mapped data.

- The Joint Stakeholders recommend amending subparagraph 3531(a)(I)(E) to ensure that the number of available feeder buses and circuit breaker bays are included among the reporting requirements. Because utilities sometimes reserve feeder buses or circuit breaker bays for specific purposes, not all feeder buses or circuit breaker bays that are unused may be treated as available. For example, a utility may reserve certain facilities for future load growth, rejecting applications from distributed generation projects that seek to interconnect at those locations. Providing advance notice to distributed generation developers that locations are not available for their use will help to promote optimal siting, reduce the soft costs of site development, and expedite the interconnection of distributed generation at sites with available feeder buses and circuit breaker bays. Disclosing these details can also increase the Commission’s ability to ensure the efficient use of existing grid infrastructure, through increased transparency.

- The Joint Stakeholders recommend adding a requirement to subparagraph 3531(a)(I)(J) that the utility report the percentage of time that the grid is available to load as well as to customer-sited resources, such as distributed generation and demand response. The Joint Stakeholders believe that disclosing this information regarding total grid availability will shed light on the status of such outages, highlight any trends that may need to be addressed, and help to ensure that the grid is adequately and comparably available across the state in all geographic areas and applicable utility territories.

- The Joint Stakeholders recommend adding a requirement at subparagraph 3531(a)(I)(K) to report minimum daytime load. They state that this is a commonly used industry measurement that refers to electricity demand from 9 a.m. to 5 p.m. and add that daytime minimum load can be used to help calculate the benefits or limitations of solar photovoltaic (PV) generation in a given geographic area.

- Finally, the Joint Stakeholders suggest adding a new subparagraph 3531(a)(I)(R), requiring the utility to provide an estimate of flexible demand capacity on the system and historic utilization of those flexibility capabilities. They argue that proactive utilization of demand flexibility will be key to ensuring that new load is added to the system in a way that is “smart from the start,” reducing cumulative grid demands and avoiding excessive cost impacts. The Joint Stakeholders believe demand flexibility data may prove particularly valuable when paired with the electric vehicle (EV) and charging infrastructure data listed in Commission proposed subparagraph 3531(a)(I)(O), comparison of these data may reveal opportunities for adding demand flexibility to accommodate EV adoption in certain areas while minimizing grid impacts.

- We adopt several changes proposed by Public Service and the Joint Stakeholders in 3531(a)(I). We also add new requirements for percentage of grid availability, minimum daytime load, and estimated demand flexibility capacity proposed by the Joint Stakeholders. We believe that this additional information will allow greater transparency into the current distribution system.

- We agree that disclosing information regarding total grid availability will shed light on the status of outages, highlight any trends that may need to be addressed, and help to ensure that the grid is adequately and comparably available across the state in all geographic areas and applicable utility territories. The added demand flexibility data may prove particularly valuable when paired with the EV and charging infrastructure data which may reveal opportunities for adding demand flexibility to accommodate EV adoption in certain areas while minimizing grid impacts.

##### a.	Rule 3531(a)(II). Hosting Capacity Analysis.

- Rule 3531(a)(II) specifies that the utility shall also provide a detailed narrative describing the utility’s progress towards providing publicly available, real-time hosting capacity data. This should include discussion on how its HCA currently advances customer-sited DER (in particular, solar PV and electric storage systems), how the utility anticipates the HCA identifying interconnection points on the distribution system and necessary distribution upgrades to support the continued development of distributed generation resources, and any other method in which the utility anticipates customer benefit stemming from HCA.

- Public Service states that due to a lack of available secondary and substation infrastructure mapping, and protection of transmission system data, it is limited to analyzing the distribution feeder system only. Public Service’s current tools for processing and calculating hosting capacity data are unable to accurately analyze hosting capacity on a feeder-by-feeder basis, which does not take into account the available capacity or DER on other feeders including contingency situations due to switching or other load transfer capabilities. Public Service argues that the time and money spent developing and updating hosting capacity analyses will not produce the value that interconnecting customers expect.

- Black Hills states that it does not have current capabilities to comply with Commission requirements regarding HCAs and asserts that while the proposed rules deliver a strong signal to Black Hills that it should pursue new technologies, this will in turn impose new customer costs. Black Hills encourages the Commission to consider modifying its proposed rules to permit, rather than require, certain technology requirements. Black Hills believes that moving the rules towards permissive requirements will ensure that prudent utility decisions are made based on costs and benefits, rather than prescribed Commission directives. Black Hills proposes language that requires smaller utilities to provide an Excel spreadsheet by feeder of either daily daytime minimum load or, if daytime minimum load is not available, daily peak load with the time granularity specified.

- COSSA/SEIA argue that the Commission should require substantiation of any utility claims that providing access to data would be too costly, including a comprehensive 
cost-benefit analysis. COSSA/SEIA believe that in the case of Public Service, certain additional data can be provided quickly at little or no additional cost as Public Service appears to have licensed access to the same ArcGIS mapping system that serves as the HCA platform for both Minnesota and Colorado. COSSA/SEIA note that in Colorado, Public Service has not made available to the public, layered data that exists within the ArcGIS mapping tool. Making that layered information available to the public via an existing, already-licensed tool should be quick

- and the utility should incur little if any additional cost. In addition, COSSA/SEIA point out that Public Service has recently begun to use more advanced planning tools like LoadSEER in its Minnesota service territory, which allows for more inputs into forecasting and helps to provide more granular, locational forecasting.

- We agree with several stakeholders, including WRA and CEO, that the HCA process should evolve over time based on user feedback and a robust stakeholder process. As part of this stakeholder process, utilities should solicit feedback from stakeholders on the topic of HCA, among other topics. We agree with WRA, who argue that stakeholders can offer suggestions about how to improve a utility’s HCA and data validation process within the stakeholder process and also as part of the litigated DSP process itself. For its first HCA as a result of this rulemaking, and as further described in the context of Proposed Rule 3541, the utility must include the following data on its HCA map and in downloadable spreadsheet format: Transformer Name, Transformer Absolute Min, Load Tap Changer or Regulator, Feeder Absolute Min, and Network or Radial. These data points match what is currently being required by the Minnesota Public Utilities Commission.

- We believe a smaller utility such as Black Hills should develop its HCA in a phased approach, as we recognize Black Hills currently does not have software capability to provide hosting capacity maps.  We agree with WRA, who points out that one such model for this may be requiring all utilities to participate in exploration and discussion activities, but offering a delayed implementation schedule for service territories where HCA remains uneconomic or infeasible. However, we want to emphasize that we believe working towards deployment of robust HCA and, in turn, better coordination on the distribution system, should yield long-term savings, rather than net costs, for all utilities. These requirements for smaller utilities are found in proposed Rule 3531(a)(II)(G).

#### Rule 3532. Grid Needs Assessment

- Proposed Rule 3532, based on WRA’s proposed rule, requires a Grid Needs Assessment (GNA) to identify the need for critical capacity additions or NWAs that will be needed for substation transformers and feeders that are forecasted to have insufficient capacity to adequately serve peak load over the ten-year horizon. The utility should present this data in megawatt values in tables, in a logical spreadsheet form and graphically as a map for the purpose of the application. The GNA would also identify locations where substation transformers and feeders have sufficient capacity for hosting multiple EV fast charging stations.

- Both the Joint Stakeholders and Public Service recommend the Commission eliminate the proposed subparagraphs 3532(d)(III) and (IV). The Joint Stakeholders argue this clarification is needed so that where Major Distribution Grid Projects are screened using the NWA suitability screening criteria in Rule 3534, these projects will not be subject to any criteria related to the NWA cost-benefit methodology. These proposed changes will allow the NWA 
cost-benefit analysis methodology to be used to evaluate the costs and benefits of the NWA bids from the solicitation process and compare these to the traditional solutions.

- The Joint Stakeholders also recommend adding a requirement for 3532(d)(V) to identify any long-term grid needs that may be avoided or deferred by ratable procurement, defined as the incremental addition on an annual basis of geographically targeted DER deployments, as recommended by COSSA/SEIA in their Initial Comments. They argue that by identifying grid needs that are long-term in nature, but that can be deferred or avoided by 
short-term additions of these types of resources, the utility can reduce costs for ratepayers, promote the beneficial use of demand flexibility and DERs, and resolve long-term needs in an efficient manner before they begin to present reliability concerns.

- SunShare explains that the purpose of Proposed Rule 3532 is to identify where constraints exist on the distribution system and set a pathway for a more transparent review process so stakeholders can understand where constraints are, what kind of investment is being directed towards addressing those constraints, and whether NWAs can provide a more 
cost-effective solution to traditional pole-and-wire solutions. SunShare proposes language to have DSP plans explicitly address the issue of matching distribution system capacity to the amount of CSG capacity approved and expected to be interconnected to the distribution system.

- We agree with the Joint Stakeholders and Public Service that proposed subparagraphs 3532(d)(III) and (IV) should be eliminated for clarifying which projects will 
be subject to the NWA cost-benefit analysis methodology. We also add the evaluation of 
vehicle-grid integration opportunities, including vehicle-to-grid, as potential NWA projects in 3532(d)(IV).  EV adoption metrics should be coordinated across proceedings, wherever possible. Therefore, it is expected that the potential load and capacity anticipated for EVs by major milestone dates would be coordinated with the Transportation Electrification Plan proceedings and any variation in projections being explained.

- We also agree with the Joint Stakeholders’ proposed addition to 3532(d)(V) regarding ratable procurement. We believe this process has the potential to identify grid needs that are long-term in nature, but can be deferred or avoided or otherwise satisfied by short-term additions of these types of resources. Therefore, the utility can reduce costs for ratepayers, promote the beneficial use of demand flexibility and DERs, and resolve long-term needs for traditional utility infrastructure in an efficient manner before they begin to present reliability concerns.

- We agree with SunShare that additional language in 3532(d)(I)(F) will allow the Commission to determine whether the Action Plan requires specific investments that will enable cost-effective and efficient interconnection of expected CSG capacity.  We expand upon this concept to more generally also include DER capacity, which may include other DER project types, which are also important in pursuit of State policy goals.

##### a.	Rule 3532(d)(II). Exemptions for Short-Term Planning Needs

- Public Service proposes a new exception to help utilities maintain the flexibility to address planning needs as they are identified (whether through traditional solutions or NWA) to serve customers in a timely and cost-effective manner. Public Service explains that under its current planning process, it maintains flexibility to address planning needs with solutions and mitigations as early as January of the current planning cycle (approximately three months after the planning cycle begins in September). Public Service argues that the ability to serve new loads expediently could become increasingly important in supporting the State’s energy policy goals as the transportation and building sectors become increasingly electrified. Similarly, several pending and future economic development activities that create jobs and associated revenues for the State are dependent upon the timely and cost-effective ability to connect new loads. For new load requests, where customers are seeking new or expanded service within the next 36 months from the date of that request, Public Service requests that the Commission provide an exemption for these projects. Public Service notes that in moving to a litigated Phase I process, which will introduce additional delays for major projects, an exemption becomes increasingly necessary.

- We agree with Public Service and add the modified language regarding exemptions for short-term planning needs in Rule 3532(d)(II). We do add language that specifies that as part of its assessment, the utility must adequately explain why this grid need was not previously identified. It is our goal that utilities have an ability to expeditiously meet needs when necessary, but to balance that with the concept that the regular course should be for grid needs to be identified earlier and to follow the outlined process.

#### Rule 3533. Grid Innovation

- Proposed Rule 3533 adopts WRA’s proposed language with some modifications and additions. Rule 3533 includes a subparagraph on new pilot projects (Rule 3533)(a)(I)(A-J), new proposed programs, updates on existing programs, as well as a discussion of any barriers to deployment of DERs and NWA, including regulatory, economic, and technical barriers. These programs may include a focus on identifying locational benefits of DER, energy storage, and enhancing demand flexibility.

- The Joint Stakeholders recommend including guidelines related to how third parties may propose pilots or programs to the utility and how this information should be included in the DSP.  As COSSA/SEIA explained in opening comments, establishing a process for third parties to propose pilots and programs will strengthen the pool of options and provide avenues for third party innovation. This will also ensure that the utility does not bear the sole burden of pilot and program development. Having multiple market actors providing ideas is very likely to garner more innovative ideas than allowing only monopoly utilities to design such pilots and programs.

- The Joint Stakeholders recommend an addition to the Commission’s proposed subparagraph 3533(a)(III), which encourages utilities to consider whether any existing reporting obligations would be more appropriately reported in DSP proceedings, and it allows them to centralize their reporting in the first DSP. The Consensus Rules also add an additional subparagraph, which requires that new proposed pilots include a description of how the pilot will provide health, safety, environmental, or financial benefits to underserved communities.

- Finally, the Joint Stakeholders’ Consensus Rules include additional language in paragraph 3533(b) that clarifies NWAs, and pilots may include the use of targeted incentive payments to not only encourage DER adoption in a particular geographic area, but also to optimize the use of existing DERs by customers in specific locations, in order to provide locational value to the system, including through the use of existing DERs.

- Public Service states that it recognizes the importance of piloting and integrating innovative technologies and solutions where it can be done while ensuring the safe, reliable, and secure operations of the distribution grid. Public Service largely agrees with the proposed rules’ approach to piloting and larger program design (which may build upon lessons learned from those pilots) and has suggested only slight modifications.

- We agree with Public Service’s modifications in 3533(a)(I) and (II) that help clarify the role of both pilot and new programs as part of its DSP. We also adopt the Joint Stakeholders’ proposed language in 3533(a)(IV) that helps to integrate the development 
of third-party pilots or programs to be evaluated within a DSP. This language will also 
improve the transparency of the utility process. The language suggested in proposed subparagraph 3533(a)(III) should help the utilities, stakeholders, and the Commission evaluate the appropriate proceeding for pilots, programs, and projects related to DSPs, which may be initially proposed in other proceedings.

- We also agree with the Joint Stakeholders’ proposed addition in 3533(a)(V). We agree with COSSA/SEIA, who explained in initial comments that establishing a process for third parties to propose pilots and programs will strengthen the pool of options and provide avenues for third party innovation. This will also ensure that the utility does not bear the sole burden of pilot and program development and may likely garner more innovative ideas than allowing only utilities to design such pilots and programs.

#### Rule 3534. NWA Suitability Screening

- SB 19-236 instructs the Commission to develop a methodology for evaluating the costs and net benefits of using DER as an NWA and to determine a threshold for the size of a new distribution project for when a utility must consider implementation of an NWA.  Proposed Rule 3536 requires the utility to identify Major Distribution Grid Projects in the utility’s Grid Needs Assessment conducted pursuant to Rule 3532. Such projects would be subject to an 
NWA Suitability Screening to determine if NWAs may be suitable alternatives to conventional solutions.

- The Joint Stakeholders propose Consensus Rule 3534 “Non-Wires Alternatives,” which is a broader rule designed to consolidate the provisions related to NWAs. The Joint Stakeholders believe that centralizing this information clarifies the rules regarding NWAs. This section includes information on the suitability screening process and criteria, the NWA 
cost-benefit analysis methodology, NWA bid solicitation and evaluation, and the NWA coordinator role and reporting.

- Public Service proposes additional language in its proposed rules regarding additional flexibility to preserve reliability, serve economic development needs, or to meet other unforeseen circumstances where an NWA cannot provide the planning constraint. Public Service also proposes to exclude projects such as wildfire mitigation, relocations, and asset health and renewal projects from suitability screening.

- We adopt some of the language from both the Joint Stakeholders and Public Service. We believe the modified rule language provides both additional direction and added flexibility for the utilities related to the performance of NWA suitability screening. We add to Public Service’s proposed language in 3534(b)(IV), which requires utilities to show why the NWA suitability screening is not possible or could not reasonably result in an alternative to traditional utility infrastructure. Again, it is our intent to balance the needs of the utility with a robust, transparent process for distribution system planning. The NWA suitability screening process is intended to be the typical pathway for investments meeting the criteria and justification would be required to identify why that process cannot or should not be followed in specific instances.

#### Rule 3535. NWA Cost Benefit Analysis

- SB 19-236 requires the Commission to develop a methodology for evaluating the costs and net benefits of using DER as an NWA. Proposed Rule 3534 directs the utility to provide an assessment of the proposed NWA solution using the cost-benefit analysis (CBA) methodology put forward in the most recent version of the National Standard Practice Manual (NSPM) and specifically include certain costs and benefits. The Proposed Rule is intended to provide flexibility so that the utility may also propose an alternative or adjusted CBA methodology if it concludes that the full costs and benefits of the NWA solution are not 
being accounted for. We expect the NWA CBA methodology to evolve over time as more experience is gained with the process of evaluating NWA against traditional utility investments and, accordingly, we expect stakeholders to work together to suggest improvements and provide lessons learned.

- The Joint Stakeholders provide language to clarify that the utility will submit a proposed CBA methodology within the Phase I DSP. They argue that while the NSPM provides valuable guidance regarding cost-benefit analyses, the framework is not sufficient to be a standalone methodology. The Joint Stakeholders acknowledge that the utility will need to develop a CBA methodology, while maintaining that the methodology should align with the NSPM.

- The OCC believes the proposed CBA methodology is too limited in scope. First, they argue that a DSP will include a wide variety of distribution investments and opportunities and NWA applications are just one type of investment. OCC also argues that within previous proceedings, the utilities have also suggested that very few of the proposed distribution investments would be of the type for evaluation of NWA and that most distribution investments will fall under the proposed investment (dollar) threshold and therefore will not need to be evaluated for NWA. From the OCC’s perspective, CBA is the key component for understanding consumer value in distribution investments. Additionally, OCC argues it is a useful tool in decision-making to identify the proper scope, size, technology, and larger system relevance of investments. As a result, the OCC proposes the addition of a rule to require a comprehensive DSP CBA that looks at individual investments and system investments as a whole to create a full picture of how these plans will support decarbonization.

- Public Service states that it appreciates the flexibility that the Proposed Rule 3535 is intended to provide, and it generally agrees with the framework set forth in the NSPM. However, Public Service argues the NSPM should serve as a guiding set of principles, 
rather than an exhaustive checklist. Public Service also agrees with the Commission that CBA methodologies will evolve over time as more experience is gained, and new information may become available.

- We adopt several of Public Service’s recommend language additions. As Public Service notes in its Reply Comments, no commission in any other jurisdiction has required utilities to apply externally facing and externally scrutinized CBAs to the entirety of their distribution system capital plans as part of integrated distribution planning proceedings, as 
doing so would create inefficiencies and add labor costs. We believe that the flexibility provided in Proposed Rule 3535 will allow the utilities and stakeholders to develop robust CBA methodologies over time.

- We also adopt some of OCC’s proposed language in 3535(a)(II) and (IV), that expands the information required for the description of the CBA methodology required to be filed within each DSP. In addition to these clarifications, we reorganize Rule 3535 for greater clarity.

#### Rule 3535. NWA Coordinator

- The Joint Stakeholders propose that an NWA Coordinator may provide input regarding the CBA methodology. The Joint Stakeholders emphasize that the NWA Coordinator is not intended to have decision-making power that undermines the utilities, as the utilities are ultimately responsible for the safety and reliability of the grid. Under the Consensus Rules, the utility is able to propose distribution grid investments that differ from the recommendations of the NWA Coordinator, which will be discussed in more detail in Section XI. However, the 
NWA Coordinator is intended to increase transparency and ensure an impartial review of potential grid investments.

- The Joint Stakeholders believe that an NWA Coordinator is important to the successful execution of the solicitation process, particularly if the Commission allows the utilities to own or operate NWAs, as proposed by both Public Service and Black Hills. The more proactive role of the NWA Coordinator stands in contrast to the role of a bid monitor as proposed in the NOPR and the role of an Independent Evaluator (IE), which is used in the Colorado 
ERP process. While a bid monitor or an IE could provide oversight of a solicitation process, these roles would not go far enough to create a fair and impartial process because they would not include conducting the solicitation and performing the cost-benefit analysis for NWAs.  The Joint Stakeholders reiterate that the NWA Coordinator has the potential not only to enhance the efficiency and transparency of the DSP process, but also facilitate the successful identification of NWAs that provide net benefits to customers.

- In its comments, Public Service states that it does not support the Joint Stakeholders’ proposed Phase II process which is contingent upon the use of an NWA Coordinator role in the NWA solicitation process. In response, Public Service proposes an alternative Phase II process which includes the use of an IE to ensure an objective and fair process for NWA solicitations. Public Service clarifies that its proposed IE role in the Phase II process includes more oversight than the “bid monitor” role reflected in the Commission’s Proposed Rule 3539(b) and is more analogous to the responsibilities of the IE that has long been part of the ERP solicitation process.

- Further, Public Service also clarifies from Commissioner Gilman’s hearing inquiry that it would not only plan to use an IE for all NWA solicitations that meet the Major Distribution and Transmission Project thresholds and meets the NWA suitability screening criteria, but that the use of the IE would be consistent across all major grid project solicitations, regardless of whether it intends to submit a bid. Public Service envisions that the IE would oversee the request for proposals (RFP) and the bid evaluation process, including the application of the utility’s litigated and CBA framework to all bids. Public Service describes the use of an IE in its proposed Rule 3537, the Phase II NWA Solicitation Process.

- Public Service believes that the role of the IE and an NWA Coordinator are functionally similar—that is, to ensure that all parties are subject to a transparent, fair, and impartial NWA solicitation process. Public Service states that it fully supports these objectives and believes that they can be achieved through use of an IE model which has been tested and proven to be successful in Colorado’s well-regarded ERP process. Public Service also notes that the evidentiary process in Phase I offers a full opportunity to work out potentially contentious issues such as the number of NWA opportunities, CBA methodologies, model RFPs, and model contracts. Furthermore, within the specific context of soliciting NWAs, the IE model has proven to be effective in other states like California.

- Public Service questions the need for a third-party to develop its own CBA methodology given that it has committed to collaboratively developing a CBA framework (which will likely leverage many of the best practices set forth in the NSPM) appropriate for Colorado ahead of the first DSP filing. To the extent that consensus cannot be reached in developing the CBA prior to Phase I, the litigation and discovery process that it has agreed to in Phase I would allow stakeholders to further help refine the CBA. At the end of a litigated Phase I process, the CBA methodology should be established and the application of it to specific NWA solutions should be straightforward, transparent, and easily judged fair or not by the Commission which will have the benefit of third-party IE oversight of the application of the CBA under Public Service’s proposal.

- Finally, Public Service argues that applying an NWA Coordinator construct which is largely still theoretical today, and certainly not tested within the Colorado regulatory environment is the antithesis of efficiency. COSSA/SEIA argue in their reply comments that allowing the utility to conduct an NWA solicitation and potentially bid into an NWA RFP would foster an “anti-competitive” approach and that removal of the NWA Coordinator would require full litigation in Phase II. Public Service disagrees with this assessment based upon experiences and other observations from the ERP process in Colorado, in which it is also allowed to submit its own bids. In that process, Public Service’s observations are affirmed by independent, 
non-partisan analysis.

- We do not adopt the proposed language that established the role of an NWA Coordinator as described by the Joint Stakeholders. We believe that regardless of terminology and structure, the intended role of the IE, Bid Monitor, or NWA Coordinator is to ensure that all parties are subject to a transparent, fair, and impartial NWA solicitation process. As Public Service points out, these objectives can likely be achieved through use of an IE model which has been tested and proven to be successful in Colorado’s ERP process. We also agree with Public Service that with their commitment to collaboratively developing a CBA methodology, there is not a necessary role for a third-party to develop its own CBA methodology at this stage in the process. If the development of a CBA methodology through the stakeholder process does not result in a satisfactory outcome to participants or if there are substantial concerns about the fairness of the evaluation, the Commission may need to expand or revise the role of the neutral third-party in these areas in the future.

- We are also cognizant that Public Service’s proposed IE has more responsibility and oversight than what the Commission initially proposed with its Bid Monitor role. We acknowledge that Public Service proposes to not only use an IE for all NWA solicitations that meet the Major Distribution and Transmission Project thresholds and meets the NWA suitability screening criteria, but that the use of the IE would also be consistent across all major grid project solicitations—regardless of whether Public Service intends to submit a bid. As proposed by Public Service and adopted in this Decision, the IE will oversee the RFP and the bid evaluation process, including the application of the utility’s litigated CBA framework to all bids.

#### Rule 3536. Action Plan

- Proposed Rule 3536 requires the utility to provide a five-year Action Plan for distribution system investments and activities, including the plans for soliciting the deployment of DERs, as well as plans for permitting, constructing, preparing required reports, and other significant activities where replacement, upgrades, or expansion of utility infrastructure has been identified as the best option.

- The Joint Stakeholders recommend separating the Action Plan rule into two parts to reflect how the Action Plan will be incorporated into Phase I and Phase II differently. The rule clarifies that the Action Plan in Phase I is not intended to include information regarding NWA that have not yet been solicited. The Phase I Action Plan will include the sequence of events and timelines for each action that will not require a solicitation process following Phase I, including the implementation of proposed pilots and programs; the construction of conventional solutions to Major Distribution Grid Projects that were determined to be the best option to address grid needs.

- The Joint Stakeholders Consensus Rules propose a new paragraph 3535(c) that describes the purpose of the Action Plan in Phase II. The Phase II Action Plan will include the sequence of events and timelines for NWAs identified in the solicitation process, including: the implementation of NWAs identified through the NWA analysis process; an updated system interoperability and communications strategy; costs and plans associated with obtaining data necessary for the evaluation of NWAs; and interaction of planned or proposed NWA investments with other utility programs and the effects on existing utility programs and tariffs. The Phase II Action Plan will be the final Action Plan that can be used as a reference for the Commission and stakeholders as the DSP is implemented.

- SunShare submits that each RES Plan may create a need to expand the distribution system to accommodate CSG interconnection. In such cases, SunShare argues that an Action Plan must include provisions regarding the planned build-out to accommodate more community solar capacity. SunShare believes that if Action Plans create new points of interconnection in line with best available sites for CSGs, it will result in increased certainty to developers, improve the CSG development pipeline for customers and public policy goals, and lead to decreased prices for CSG customers. SunShare proposes that 3536(b)(VII) be explicit in directing where the DSP must address the long-term strategy for deployment of CSG capacity.

- COSSA/SEIA suggest that the Commission add a requirement under Rule 3535 that the utility identify a strategy to ensure adequate hosting capacity is available for DER, including identifying any potential NWA or grid updates that may be necessary to ensure such hosting capacity in order to ensure that access to DER is not constrained by hosting limitations.

- Public Service maintains that its Action Plan application will be a central focus of the overall DSP effort and represents the actions that the utility is planning to take to address capacity needs and Major Distribution Grid Projects, whether through traditional utility upgrades or NWA. Public Service modifies the proposed rules to ensure that the Action Plan will also include proposed pilots and programs.

- We adopt the Joint Stakeholder proposed language in 3536(c) that requires an updated Action Plan within the Phase II process. We believe the modified rule language clarifies the sequence of events and timelines for NWA, as well as the implementation of proposed projects, pilots, and programs.

- We also adopt SunShare’s recommended rule language in 3536(b)(VII) with a minor addition to refer to all DER, not only CSGs. We believe that it will be vital for additional hosting capacity to be consistent with state policy for clean energy. This language will allow the utility to identify a strategy to ensure adequate hosting capacity is available for DER, including CSGs, including identifying any potential NWA or grid updates that may be necessary to ensure such hosting capacity, in order to prevent hosting limitations from constraining access to DER and CSGs.

#### Rule 3537. NWA Solicitation Process (Phase II)

- Public Service proposes a new section to Rule 3537, which describes the Phase II NWA Solicitation process. Public Service expects to reflect NWA selections from the solicitation process in an updated Action Plan as per it’s Proposed Rule 3537(e), and allow stakeholders to file comments on the final contracts in a non-litigated fashion. This process would be similar to how electric generation resource selections are reflected in the 120-day report during the 
ERP process. Similarly, Public Service envisions the proposed IE would publish a report within approximately 30 days, with a follow-on stakeholder review and comment period of 15 days.  The process would offer the same benefits that it does in the ERP – namely that bidders can bid into an opportunity with thorough information in place from the just-litigated Phase I process, and also that the bidding process is not itself entangled in lengthy litigation so that successful bids can be implemented in a reasonable timeframe. In this way, this process gives bidders an ideal platform to confidently submit competitive bids.

- We believe that Public Services’ proposed Rule 3537 is a more appropriate path forward for the Phase II DSP process than the Joint Stakeholders’ proposed NWA Bid Solicitation and Evaluation process. First, we agree that the Commission’s current ERP process should serve as a model for the DSP bid evaluation. We agree with Public Service, which points out that there are many parallels between the all-source ERP process and the technology-neutral solicitation process for NWAs pursuant to the proposed rules. Public Service notes that with regard to objective evaluation of NWA bids, the Commission rules for retaining an IE in the 
ERP process were created to ensure oversight and result in a fair process. IEs in the past have conducted processes with high integrity and there have been no formal allegations that the resulting processes have not been fair. We agree that in these initial stages of the DSP process, there is no reason to believe that a similar IE role and process could not be successfully applied within the context for NWA.

#### Rule 3538. Approvals and Cost Recovery

- Proposed Rule 3537 is based upon the proposed rules filed by Public Service, WRA, and CEO. We agree with Public Service that a utility may seek any necessary approvals for an NWA or pilot through other proceedings such as DSM, RES, TEP, or other appropriate regulatory mechanisms.

- Public Service agrees with the Commission’s inclusion of flexible cost recovery provisions as reflected in the Commission’s Proposed Rule 3537. Public Service states it appreciates the diversity of mechanisms for cost recovery that are available to utilities including the use of performance incentive mechanisms (PIMs), creation of regulatory assets, and return on regulatory assets. Public Service also agrees that there are numerous synergies between the 
DSP process and other proceedings, and the proposed rule recognizes the potential linkages to RES, TEP, and DSM planning processes. Public Service agrees that there are efficiencies and benefits which can be realized by aligning DSP to these proceedings.

- WRA argues in its Initial Comments that filing for approval of NWAs outside of the DSP proceeding presents several process-related issues: (1) it leads to a lack of centralized information on grid-related projects, effectively reducing transparency; (2) it obscures the funding source for the project; and (3) it may introduce confusion regarding the CBAs and PIMs for NWAs, which will likely be different than those applied to projects in DSM, RES, or TEP proceedings.

- The CEC states that WRA claims that a “catchall” provision in 
§ 40-2-132(1)(e)(X), C.R.S., “any other information that the commission deems relevant” justifies including Proposed Rules 3537(e) and 3537(f), which would permit utilities to propose placing certain investments into a regulatory asset upon which the utility can earn a return. CEC disagrees with WRA’s argument and urges the Commission to revise these rules to comply with

- the plain language of SB 19-236. CEC argues that its revisions align the language with the 
DSP statute, while preserving an intended and critical ratepayer protection – that only costs outside the ordinary course of business should be eligible for non-traditional ratemaking treatment, rather than afford non-traditional ratemaking treatment in an overbroad manner.

- The Joint Stakeholders also propose removing the language in the Commission’s proposed Rule 3537(a) that allows utilities to seek Commission approval for NWAs or pilots in a variety of different proceedings. Having NWA and pilot approvals spread out across multiple proceedings will lead to unnecessary confusion, duplication of effort, and inefficiency. The Joint Stakeholders recommend that funding for NWAs come from traditional distribution grid capital budgets, and not other program funds. As previously explained by several participants in Proceeding No. 19M-0670E and the instant Proceeding, NWAs should be paid for in the same way as conventional distribution grid upgrades, not out of DSM, RES, or TEP budgets. The Joint Stakeholders argue that keeping these budgets separate will ensure that DSM, RES, and TEP budgets are not inadvertently diverted to NWA projects, thereby monopolizing limited funding for those efforts and potentially undermining the aim to provide equitable access to DSM, RES, and TEP programs to all utility customers, regardless of their geographic location.

- We adopt several modifications to what is now proposed Rule 3538 proposed by the Joint Stakeholders and Public Service, and make several modifications on our own. We disagree with the Joint Stakeholders that the Commission should not allow approvals for an NWA, pilot, or program in other existing proceedings. The Commission and stakeholders will continue to have to grapple with the increasing interrelationship between different proceeding types and we feel it is premature to preclude other options for approval and cost recovery at this time.

- The Commission is interested in seeing a significant effort by the utilities in NWA implementation. Approaches to serve grid needs that limit expenses and work towards the State’s energy policy goals are widely supported and a broader approach to cost recovery may allow for that to happen more quickly and thoroughly. We believe this more inclusive approach allows for more flexible timing and potentially quicker recovery, further encouraging the utilities to pursue these alternative options, where they may provide sufficient benefits to the system and/or ratepayers. While we understand concerns about a decentralization of DSP efforts, allowing too little flexibility may limit adoption by limiting avenues for application and review of potential DSP projects, thereby inhibiting efficiencies we are trying to build.

- To the extent that expenditures, programs, or pilots have a shared benefit with another program objective, the allocation of the expenses should be allowed to be considered in the appropriate proceeding without our prejudgment in this rulemaking of where an interrelated issue should best fit. Each specific instance should have its approval and costs allocated based on what is the most logical with the facts of that proceeding, as it occurs. Finally, we are sympathetic to the Joint Stakeholders’ concerns about ensuring other program areas are not adversely impacted and, therefore, we added clarification in this area. The prospect of funding for NWA solutions through another program area should not adversely impact the opportunity for equal access to those programs nor compromise the goals of those programs.

- In the end, cost recovery should only be provided through one of the mentioned programs or riders if there is sufficient evidence that the expenditure is aligned with and beneficial to the overall objectives and strategy within that program, but allowing the flexibility for that to potentially occur may allow us to see more successful outcomes in our quest to serve all ratepayers and stakeholders optimally in pursuit of the State’s clean energy goals.

#### Rule 3539. Security Assessment

- SB 19-236 requires utilities to provide a high-level summary of their planning process for addressing cyber and physical security risks. The bill also provides that the utility need not report any confidential, proprietary, or other information in the plan. Proposed 
Rule 3538 requires the utility to provide a narrative assessment of the reliability and resilience of the distribution grid with respect to cybersecurity and physical security. This information should include the status of distribution grid reliability and plans for improving reliability, including areas of the grid where reliability problems have been identified. A list of major outages involving 10,000 customers or more for each year for the past three years should be compiled. An analysis of cybersecurity issues or other threats to the distribution system and what efforts the utility is taking to ensure the distribution system is secure, as well as risks posed by natural disasters, should be conducted. Finally, the utility should describe any plans, pilots, or programs aimed at increasing reliability and resiliency, through the use of microgrids or other technology.

- Public Service states that third-party access to some distribution grid data is in the public interest because it can facilitate the development of DERs or increase the transparency of a utility’s electric service to customers. Public Service supports providing access to this information to the extent it is reasonable, tied to specific use cases, and provided in a manner that does not compromise the security of the physical assets and systems. In the redline suggestions, Public Service deletes Proposed Rule 3538(a)(I).

- We make minor changes to what is now Proposed Rule 3539(a)(II) and (IV). We do not adopt Public Service’s proposal to delete 3538(a)(I) as it did not provide justification for its deletion in its filed comments.

#### Data Access and Protection

- Many participants raised concerns regarding what data should be accessible to stakeholders, and under what conditions a utility should be able to protect certain data. While participants generally agree that a successful DSP process will involve significant amounts of data and greater transparency than has previously been available regarding electric distribution systems, they generally disagree over the specifics. Prior to addressing amendments to the 
rules, we consider participants’ broader comments and our overarching expectations for the 
DSP process.

##### a.	Participants’ Comments on Data Issues

- Non-utility participants argue that electric utilities should be required to provide significant data transparently to achieve DSP objectives. COSSA/SEIA presented numerous benefits associated with improved data accessibility, including streamlined interconnection of DERs; development of locational price signals for DERs; reduced DER siting and planning costs and better use of developers’ time; efficient use of grid infrastructure; and achievement of State policy goals related to GHG reductions. OCC believes that data availability is in the public interest and will lead to customer benefits, innovation, and creative solutions to public policy goals.

- Participants recognize that utilities may need to implement protections related 
to privacy, confidentiality, or physical/cybersecurity, but they express concerns that these protections should not be overly broad such that they impede achievement of DSP objectives. The OCC, for example, opposes leaving too much discretion to utilities as it relates to data, and recommends that the Commission set terms for making data available and invite broader inquiry related to data access, particularly to anonymized data.

- COSSA/SEIA argue that the Commission should require utilities to provide any information that is not protected by FERC regulations as CEII. They state that utilities in Minnesota, California, New York, and Washington, D.C., are required to produce data in usable formats. COSSA/SEIA argue that “genuine” confidentiality and security concerns can be addressed through practices like aggregation and anonymization of data, and should not lead to blanket exclusions. They suggest that utilities overgeneralize their concerns, and the Commission should require “meaningful substantiation” of attempts to exclude data. To be useful to DER developers—who may otherwise have to make guesses about site viability and even secure access to multiple sites—COSSA/SEIA recommend that data should be geographic, centralized, updated, specific, and interactive.

- WRA further states that data for feeders or feeder sections serving only one customer should not be revealed, but that the locations of substations and main feeder trunks can be identified through Google Earth and other software tools. WRA argues that the Commission should not allow the utility to use arguments about feeders serving few customers “to exclude information that is needed to make the DSP effective.”

- Public Service’s Initial Comments and attachments raise concerns regarding physical security and cybersecurity that it argues are connected to the availability of DSP data. It thus proposes a risk-benefit framework that would weigh the importance of the data to the public interest against the consequences of potential misuse. It draws on its internal information lifecycle management policy to propose three categories for treatment of data with increasing protections based on an assessment of their risk: Unrestricted (or Public), Confidential Information (CI), and Confidential Restricted Information (CRI). It further categorizes proposed data requirements from the Commission’s NOPR based on these concepts. Public Service acknowledges that it must provide more data as part of the DSP process, but it does question the usefulness of some of the data that the DSP Rules would require it to produce, and it considers significant amounts of data risky from a security or privacy perspective, particularly when mapped and reproduced on its website.

- In Post-Hearing Comments, Public Service more specifically recommends what protective practices it suggests be applied to Public, CI, and CRI data tiers. However, it calls these recommendations “illustrative” and states that it reserves the right to request the Commission to further limit disclosure through other mediums, such as secure and encrypted email. It suggests non-disclosure agreements (NDAs) and usernames and passwords be required to access CI, and that a background check may be appropriate for access to CRI. Subsequently, Public Service characterized its proposal as an effort to engage stakeholders in a productive, consensus-oriented discussion, and clarified that it does not intend to withhold data.

- In Initial Comments, Black Hills stated that it is premature to advise on which specific data or metrics have the greatest privacy risks or may include proprietary information. It recommended a workshop on data and information security and proposed that the Commission consider a rulemaking on protecting critical energy infrastructure. Black Hills subsequently indicated support for Public Service’s proposals related to data privacy, confidentiality, and security, and its closing comments recommended that the Commission incorporate a definition 
of CEII like that used by the FERC within the rules. Black Hills suggested that this would 
help the Commission avoid “unnecessary disputes” around what information should be public in DSP filings.

##### b.	Treatment of Data in DSP Processes

- DSP processes will involve the collection and production of new and granular data, both spatially and temporally. In particular, geospatial mapping may allow new insights and innovation but also create new challenges to important values like privacy, confidentiality, and security. As such, DSP processes should continue to emphasize how to reach a thoughtful balance among these areas.

- We believe utilities have overstated or confused some of the issues associated with the data that the DSP process will require. For example, Public Service shares its fear of cyber-attacks perpetrated by foreign nations that can result in direct manipulation of its corporate information technology systems. Without at all diminishing this valid and significant concern, this issue is not analogous to providing information to DER developers that they can use to improve the value that their systems provide to the overall distribution grid. While we appreciate Public Service’s concerns related to physical and cybersecurity, and recognize their criticality as a component of providing safe and reliable service, we believe there are many ways these concerns can be managed while still achieving the goals of the DSP process. Public Service

- declined to provide any kind of specific analysis related to data requirements in the prior two years of stakeholder engagement that led up to this Proceeding, despite frequent discussions as to potential data needs. Furthermore, utility participants sometimes cite broad concerns that are unrelated to the specific issues at hand or provide too little support for their concerns to be properly vetted.

- At the same time, we lack robust information in this record to assess the trade-offs associated with directing specifically how data should be presented and protected, both in the DSP Application pursuant to Proposed Rule 3540, and in the Web Portal pursuant to Proposed Rule 3541. For their part, the utilities have real concerns about the cyber and physical risks 
to the system associated with releasing detailed information. Since these risks are nearly all prospective, and are sometimes highly speculative, it is hard to understand their potential severity and how to compare that with the potential benefits of the data being more accessible and usable. Conversely, while other participants support significant increases to data availability, it is not clear if they have been selective in the information they are seeking, particularly in being specific about information that is useful and not beyond the granularity or frequency that is necessary to meet the objectives of DSP. Regardless of whether data is sensitive, if its value in achieving the objectives of the DSP process is unclear or extremely limited, then the merits of its inclusion should be questioned in more depth.

- The decision before the Commission is not black-and-white, such that all data should be decreed public, or that there is a particular standard that is appropriate for managing such diverse concerns as privacy, security, and confidentiality, regardless of whether information is in a PDF, in E-Filings, or on a periodically refreshed mapping website. That is not the reality of data management, and such decisions are difficult to make in the abstract, without the Commission having litigated a DSP proceeding yet and without seeing the data in question. Prescriptive statistical practices set forth in rules are likely to be insufficiently flexible to manage a large and growing amount of data, especially in a field that is rapidly evolving. The DSP process should not remove utilities’ existing obligations to protect personal information and customer data, but it should require them to apply more thoughtful and balanced practices. These practices may vary depending on a variety of factors, including the granularity of data, the frequency of updates to data, whether data is presented in tabular or geospatial format, and which data points are presented together. De-identified (i.e., anonymized) data may be appropriate for some use cases, heat maps for others, release of statistical properties but not exact data for others, aggregation to particular geographies for others, and actual data that is protected to verified users for others.

- Accordingly, we believe that DSP objectives can best be met where we craft a process that allows utilities to recommend data protections based on meaningful engagement with stakeholders, with the Commission resolving disputes based on a complete and specific record. We do not have a complete or specific record here upon which to do so.  We thus amend the rules to coordinate the development of the web portal with each utility’s first DSP application. This will create consistency in how data is treated and updated between the application and the web portal; allow for clearer discussions related to data treatment and protection; and enable the Commission to assess the web portal’s use and usability over time to reflect the dynamic nature of the data that may be necessary to meet the DSP objectives.

- The web portal developed under Proposed Rule 3541 is anticipated to be dynamic, with the ability to navigate geospatially, view layers, and present information associated with elements like substations or feeders, among other features. To implement appropriate protections for this data, we must understand its potential uses, what granularity and specificity is needed to achieve those uses, whether that data is actually or potentially sensitive (alone or in combination with other relevant data), and whether there are protections that enable its release that are appropriate with consideration to its usefulness and sensitivity. This record must be developed by engaging potential users of the web portal. Accordingly, the amended rule requires utilities to engage potential users to develop a proposal for implementation that includes use cases that achieve DSP objectives. The engagement should occur both before and during the DSP filing itself to come to consensus wherever possible and to bring more detailed information about the risks and benefits associated with each data point into the upcoming DSP proceedings, to allow the Commission to make a determination about the proper treatment of the data within the web portal.

- In subsequent DSP filings, utilities should also engage in an upfront process with web portal users and stakeholders to identify any updates needed to the web portal, including any changes to the inclusion or treatment of data.  This process should allow for appropriate stakeholder input in the evolution of the web portal to ensure it is properly serving its purpose, even as we may see the data or means to serve that purpose adapt over time.

#### Rule 3540. Data Access, Privacy, and Confidentiality

- Proposed Rule 3540 addresses the treatment of data within the DSP Rules. Upon consideration of parties’ comments and a review of the Commission’s existing processes as 
they may be applied to the DSP Rules, we find that Proposed Rule 3540 should be refined. 
An overarching concept is that Proposed Rule 3540 should now apply clearly to both 
DSP applications pursuant to Proposed Rule 3529, and to web portals developed pursuant to Proposed Rule 3541, unless otherwise specified, to better align the discussion of data treatment in the web portal with the DSP application process.

- First, we title the Proposed Rule “Data Access, Privacy, and Confidentiality.” We adopt “access” as proposed by COSSA/SEIA because facilitating reasonable access to data is a priority for the DSP process. We do not believe it is necessary to add the term “Security” to the title as proposed by Public Service to authorize utilities to make claims regarding the potential sensitivity of data based on physical or cybersecurity considerations. Furthermore, “data security” has connotations of information technology issues that are not intended to be addressed by this Proposed Rule. Since the Commission has existing rules related to privacy and confidentiality that are referenced in Proposed Rule 3540, we retain those terms in the rule title.

- Proposed paragraph (a) clarifies that utilities subject to the DSP Rules shall disclose data necessary to implement these rules, with consideration toward sensitivity and public benefit. It thus incorporates language proposed by Public Service and recognizes that a utility may apply a risk-benefit framework for evaluating data protection and release. Such a change is reflective of the Commission’s evolving perspective around data access, which must be more dynamic and must continue to transition away from binary views on data treatment. We further find that it is not necessary to retain a presumption that data in a DSP application be considered non-confidential, as that is the Commission’s existing practice in the absence of protections sought by utilities or specific rules related to confidentiality and privacy.

- Proposed paragraph (a) also clarifies that as utilities identify sensitive information and address how it will be treated both in the DSP application and in the web portal, they must consider the overall objectives of the DSP process. Given the diversity of options we previously described for balancing data access with data protections, we will be taking a careful look at proposals for treatment of data in the DSP application or in the web portal that withhold or obfuscate data to the degree that they impede the objectives of DSP.

- Proposed paragraph (b) confirms that utilities have a continuing obligation to protect certain types of data, including personal information (e.g., customer names or payment information) and customer data (e.g., energy usage). The NOPR proposal waived Rules 3025 through 3035 in their entirety. Both Public Service and Black Hills raised concerns that this broad waiver was inappropriate for the DSP Rules. We agree, but only in part, and we retain a specific waiver as to the applicability of Rule 3033(b). Much of the data being provided through the DSP process is likely to be considered “aggregated,” thus invoking the “15/15 Rule.” We do not believe this is an appropriate default practice, as it may be overly protective in some settings and insufficiently protective in others.

- Consistent with the discussion above, in adopting this waiver, we decline to prescribe specific statistical practices that were developed years prior to the implementation of the DSP process. We both lack information indicating that the 15/15 Rule is appropriate for the data the DSP process requires, and suspect that there will be a variety of practices that may be appropriate that both meaningfully protect customer data and allow for the objectives of DSP to be met. Should future DSP proceedings reveal that our existing rules related to data privacy and confidentiality are inappropriately calibrated to balancing reasonable access and reasonable protections for customers such that they impede achievement of critical state energy policies, we may find it necessary to revise them.

- Proposed paragraph (c) specifically addresses the filing of a DSP application pursuant to Proposed Rule 3529. Participants expressed general support for using the Commission’s existing motions process under Rule 1101 of the Rules of Practice and Procedure to address concerns related to data confidentiality. In our revision, we borrow language from Rule 3604(j), on ERPs. As with ERPs, we anticipate that DSP proceedings will involve a significant amount of data, but it is unclear at this stage how extensive claims related to confidential or highly confidential treatment may be. As modified, this paragraph would require utilities to provide a list of information claimed to be both confidential and highly confidential, to facilitate a more streamlined consideration of appropriate treatment in DSP proceedings. 
As we previously stated, a claim related to CEII status could be made under this provision, regardless of express direction.

- Finally, we address proposals from Public Service related to access provisions, which were made in response to prior paragraph (c), as part of Proposed Rule 3541 to reduce duplication.

#### Rule 3541. Web Portal

- Proposed Rule 3541 directs the utility to develop a web portal with stakeholders that will help achieve the objectives of the DSP process. The web portal is intended to foster transparency, clarity, and convenience for stakeholders. As Public Service has stated in this and prior proceedings related to DSP, it has many different policies, programs, and reporting requirements related to the distribution grid. There has not been any effort to provide this large amount of information into a single, secure source where energy consumers and other stakeholders can benefit.

- We propose significant changes to the original web portal rule based on participants’ comments throughout this Proceeding. The web portal would be the main means by which the public and many stakeholders could access distribution system information.  As such, this has been an area of contention, with the utilities arguing to keep more information confidential (or potentially protected in some way) and the other parties stressing the importance of as much transparency in the data as possible.

- As a foundational concept, we believe that the DSP web portal should be designed to help regulated utilities and stakeholders achieve the objectives of the DSP process. Proposed Rule 3526 and this Decision lay out objectives for the DSP process that include evaluating a utility’s investments in the distribution grid, diversifying energy supply through DERs, and preparing for changing expectations as they relate to distribution technologies and customers. The web portal could have many applications within this context, but we believe that at least four objectives emerge from participants’ comments, and reflect our priorities for this rule:

- The web portal should enable DER developers to optimize the selection of sites and design of systems that will deliver value to the grid, thus promoting a more transparent interconnection process;

- The web portal should enable the acquisition and deployment of 
cost-effective NWAs;

- The web portal should enable customers and communities to understand how utilities are progressing toward achieving state energy policy goals; and

- The web portal should enable customers and service providers to quickly and easily identify what programs, incentives, and/or tariffs are available to allow them to participate in the deployment of DERs.

- To achieve these objectives and to manage information technology costs and expectations, utilities must engage stakeholders and potential users in detailed workshops or stakeholder processes about the web portal functionalities and usefulness. While there was often agreement among participants regarding what information should be placed on the web portal, we believe that incorporating highly prescriptive rule requirements related to specific metrics could result in unnecessary expense and lock-in design rather than allowing it to move with technology and evolve with use cases. Accordingly, our revision to the rule focuses less on specific metrics that must be produced, and more on establishing a process by which a web portal can be proposed, approved, evaluated, and updated as needs and software capabilities evolve—always with a focus on engaging users and fulfilling the objectives of DSP.

##### a.	Terminology

- The NOPR used the term “web portal” to convey that the intention is to centralize relevant data and provide jumping-off points for more information. Public Service proposes to replace “portal” with “site” as it states that portal conveys two-way access, whereas it would not be providing users with access to its systems and databases. We agree with Public Service that the intent is not to provide users with access to a utility’s systems and databases. However, we retain the term “web portal” to convey that the tool created pursuant to Proposed Rule 3541 may be a central hub for information that may include log-in access for some elements.

##### b.	Rule 3541(b). Access Restrictions

- Public Service expresses concern that the current rule language does not allow it to control access to its website or reduce the risk of anonymous use, given the security concerns it has mentioned. It argues that full public disclosure of grid data is risky and that by providing and maintaining up-to-date maps of asset and feeder locations, load data, and electrical connectivity in a single, integrated, and unprotected venue like a hosting capacity or load 
map—electric utilities are effectively “connecting the dots” for bad actors, making it easier to plan coordinated attacks. Public Service states it is not suggesting that it prohibit the disclosure of data which may provide public benefit. However, appropriate safeguards and protocols must be implemented to minimize the opportunity for bad actors to leverage data for nefarious purposes. Accordingly, Public Service needs to maintain the right to monitor and mediate access to critical grid information.

- Public Service recommends changes to rule language that would allow it to apply the following practices at its discretion, based on whether it classifies data as Public, CI, or CRI:

- a)	Requiring all users to acknowledge terms of service;

- b)	Requiring users seeking certain kinds of data to register and create a username and password;

- c)	Requiring users seeking certain kinds of data to sign an NDA; and/or

- d)	Requiring users seeking certain kinds of data to pass a background check.

- Public Service does not describe how an NDA would be developed or applied. It states that two utilities, PSEG-LI and SDG&E, require a background check to access online maps, and it provides a link to the PSEG-LI process which implies that the CLEAR check is typically completed within 24 hours. Public Service provides an illustrative table in which access to information that is designated CRI would require a background check. This could include data like class coincident peak, substation maps, SCADA capabilities, NWA suitability, and historic and projected capital budgets.

- COSSA/SEIA originally opposed registration processes, but in supplemental comments, they amended this position to clarify that they are not opposed to registration that is

- designed to reduce anonymity and enable appropriate access to information rather than to preclude access. COSSA/SEIA note that two-factor authentication or similar practices may be appropriate and do not specifically mention background checks or NDAs. In initial comments, Boulder similarly proposed that there be a public dataset with less transparency and a dataset with “limited availability and greater protection for those that desire to take a deeper dive.”

- Public Service characterizes the issue before the Commission as follows: “Before the Commission is a determination of whether less information should be provided on the utility website in order to maximize availability to the public or whether the utility decides who has access to the website.” This as an oversimplification, given the array of options for data treatment that we previously discussed. The proposed web portal would require Public Service to centralize and update information about the distribution grid and DERs. Website terms of use and registration processes—which may require creating an account with a username and password, as well as two-factor or multifactor authentication—are reasonable precautionary steps that utilities may implement to prevent fully anonymous use of such information for which there is at least some reasonable risk of misuse. The third parties that are contemplated to use the 
Rule 3541 web portal to access more detailed system information, such as DER developers, NWA bidders, state or local agencies, and academics, should not have difficulty with the proposed registration requirements. Locational information about distribution infrastructure and DERs is often publicly available through websites like Google Maps, but that does not mean that all distribution grid data needs to be available without any restrictions. Accordingly, we authorize utilities to propose steps like implementing terms of use and registration requirements when they

- bring forward proposals to implement a web portal. Access restriction is allowed, but not required, as we do not want to set the expectation that every metric will be available only by a log-in, given the objectives for the web portal that we laid out previously. To prevent duplication, we also move language from prior Rule 3540 related to terms of use and denial of access, which are more appropriate for this rule.

- We decline to authorize regulated utilities to propose or implement NDAs at this time. We are concerned that NDAs may be impractical for businesses like DER developers who must work with clients to make the data that they view on the web portal useful. Public Service has not put forward a proposal that any kind of NDA would be suitably tailored to allow reasonable use, including for market activities that are contemplated by the DSP process.

- We further decline to authorize regulated utilities to propose or implement background checks. Public Service has provided evidence that two utilities implement background checks. It has not explained what a background check would be designed to identify in an individual user’s record such that it would represent a meaningful but narrowly tailored security precaution. We are concerned that such requirements may represent hurdles that limit access to information without a clear showing as to their appropriateness or real potential to mitigate risk.

##### c.	Rule 3541(c). Information Presented on Web Portal

- Proposed paragraph (c) clarifies what kinds of information the web portal should provide. The version of this rule in the NOPR included a prescriptive list of content, such as distribution system characteristics and DER forecasts. We recognize that many of these metrics could be useful to participants, and indeed, they suggested others beyond what were originally set forth by the NOPR. However, upon review of participants’ comments, we are concerned that including overly prescriptive requirements for information in rules could result in a web portal that is either overbuilt or insufficient compared to what users need to accomplish the objectives of the DSP process, while becoming expensive to ratepayers. Furthermore, as the technologies and data on the system itself continue to develop, we find that an overly prescriptive list, in rule language, does not provide the type of dynamic, responsive treatment that these data issues will require. They will need to mature and respond to the situation and should be more flexible than prescriptive data points listed in a rule would allow for.

- In Post-Hearing Comments, COSSA/SEIA discussed the importance of hosting capacity maps to use cases like streamlining interconnection of DERs. Based on experience in other states as conveyed by participants, and based on the opportunities that additional data would provide for users of the web portal, we require that the web portal include at minimum the HCA as described in Proposed Rule 3531(a)(II); information about DER programs that customers can participate in; and additional content as directed by the Commission. As we previously directed, the HCA map presented on the web portal should include at least the information required by the Minnesota Public Utilities Commission. The web portal is a tool, but it is not the only tool to deploy DERs or NWAs. While we encourage utilities to develop more robust web portals that evolve over time to meet the objectives of the DSP process, we expect that process to occur through the implementation steps laid out in paragraph (d).

##### d.	Rule 3541(d). Implementation of the Web Portal

- Proposed paragraph (d) establishes a process for implementing and enhancing utilities’ web portals over time. Consistent with the discussion above, the intent of rearranging and revising this rule was to create logical steps for engaging users and coordinating the implementation of the web portal with the DSP application process. This will promote flexibility and allow for appropriate features of the web portal to be established specific to each utility’s technological capabilities, costs, and stakeholder needs. By allowing for web portal information, use cases, and functionalities to be developed utility-by-utility, we reject Black Hills’ proposal in its Supplemental Closing Comments to eliminate the web portal requirement for smaller utilities, although we note our prior allowance that smaller utilities may initially present their HCA in spreadsheet format.

- Subparagraph (d)(I) sets the expectation that the utility will engage potential users of its web portal from multiple sectors to develop a proposal for implementation. As is discussed above, the web portal should be designed to meet the overall objectives of the DSP process. Throughout this Proceeding, there have been calls for a workshop related to treatment of data in the DSP process. We do not believe that such a workshop would be useful in the abstract. However, in Post-Hearing Comments, COSSA/SEIA raised significant concerns with the accuracy and usability of Public Service’s existing online HCA tool. Therefore, we believe it appropriate to build specific stakeholder engagement requirements into the Web Portal rule. Because we declined to prescribe specific data protection practices for the DSP process under Proposed Rule 3540, it will be necessary for the utility to engage directly with potential users of the web portal, who have a role in making the DSP process successful, to understand what information they need and accordingly what practices are reasonable to apply from a protection standpoint.

- While we do not delineate specific sectors that should be engaged as part of the rule, our expectation is that this engagement should be substantive and should include representatives from diverse perspectives, including DER developers or service providers, 
DER program managers, future NWA bidders, state agencies, local governments, disproportionately impacted communities, and academia. Stakeholders should be selected with consideration to at least the four objectives for the web portal that we set forth previously.

- Subparagraph (d)(II) describes the web portal proposal that utilities should file within their first DSP applications. As previously mentioned with paragraph (c), we have transitioned many prescriptive requirements for functionalities into requirements for proposals addressing certain functionalities. The specifics of the web portal should be developed with consideration toward the objectives of the DSP process and the needs of users without being overly protective in an area where the risks or costs would not warrant that. While Proposed 
Rule 3541 provides for commonalities across electric utilities—such as the requirement that the web portal include the HCA—it allows for utility-specific variations. We encourage utilities to coordinate as they implement web portals to create consistency in how information is formatted, labeled, and presented.

- Subparagraph (d)(II)(B) would require the utility to describe the use cases it intends to implement through the web portal to meet the objectives of DSP, such as the four we proposed above. Again, the description of use cases should develop through engagement with stakeholders, and we include this language to emphasize how critical we believe stakeholder engagement to be. For example, engagement with stakeholders may reveal that some of the system and historical data required to be filed pursuant to Proposed Rule 3531(a)(I) should be included on the web portal, along with the HCA map, to achieve various use cases.

- Furthermore, we could envision that engaging representatives from disproportionately impacted communities in response to the objective related to identifying 
how utilities are performing as against State energy policies may lead to a proposal that 
DER deployment be mapped geospatially to understand whether particular geographic areas are underserved. Stakeholders may wish to understand if areas are underserved due to the need for distribution grid upgrades to accommodate DERs, or if innovative pilots would be appropriate to ensure that DER and NWA participation is more equitably distributed. By engaging with users, utilities could understand at what level this data may be useful to provide and whether components of it should be publicly available from a policy perspective (such as heat maps of DER participation) versus access-restricted (such as distribution grid status information). We do not presume that this specific use case will be filed in future DSP applications, but by this rule, we encourage utilities and stakeholders to work toward the web portal being a manageable and useful tool.

- Subparagraph (d)(II)(C) requires a utility to propose how it plans to treat 
data as publicly available or access-restricted, and whether there is data relevant to the web portal for which confidential or highly confidential treatment is being sought. As described in paragraph (c), we have reduced the initial data requirements associated with the web portal. However, by this paragraph, we clarify that the utility should be analyzing all of the data it puts forward in the DSP application more broadly as part of winnowing down to specifically what metrics, access restrictions, and data protections are proposed for the web portal in order to achieve the proposed use cases. We further expect that utilities will file as part of the proposal, the terms of use associated with the web portal and the processes associated with any account creation process, such as information required and turnaround times for account approval.

- The record in this Proceeding is insufficient for us to make findings about the treatment of whether certain types of data are potentially sensitive or should be treated in particular ways. However, we recognize COSSA/SEIA’s concern that claims for protective treatment must involve “meaningful substantiation.” Accordingly, utilities will be required to produce more specific analysis at the beginning of a DSP application proceeding. Both Public Service and COSSA/SEIA presented data considerations in matrix formats. In particular, the matrix format set forth by Public Service in Supplemental Attachment B to its Initial Comments could be a useful starting point for presentation of this kind of detailed information, albeit with more substantive feedback from potential users of the Web Portal. If parties to these future proceedings disagree with the proposed treatment by utilities, we expect them to be similarly precise in their arguments, so that we can understand why information is needed and the 
trade-offs associated with different treatments.

- Subparagraph (d)(II)(F) provides some flexibility in the frequency of data updates that allows for consideration of stakeholder need and challenges utilities may have in assembling, cleaning, and refreshing data. However, due to the centrality of the HCA use case, we provide that the HCA should be updated at least quarterly on the web portal. We view quarterly HCA updates as a temporary compromise between monthly and bi-annual. We recognize the significant investment into new software and training that will be involved in a more accurate and granular HCA. As the software and data availability improve over time, we expect that more frequent updates to the HCA will be necessary.

- Subparagraph (d)(II)(G) allows, rather than requires, the use of Application Programming Interface (API) capabilities. Developing APIs could allow for creative uses of data, such as a State agency combining data from multiple regulated utilities’ websites to present a fuller image of some issue, such as DER adoption, to the public. We see the value in moving in this direction and encourage utilities to look at APIs as an option for enhancing the usability of web portals. However, we decline to mandate a particular technological function prior to having utility-specific evaluations of capabilities, and knowing specific metrics for which users may have interest and need.

- Finally, subparagraph (d)(II)(H) requires utilities to include proposals for how to collect ongoing user feedback. Joint Stakeholders proposed language that the web portal shall provide a means for users to submit feedback on the accuracy and content of the HCA. We support the concept that regulated utilities must collect feedback on the accuracy and usability of the web portal and must discuss that feedback as part of their annual compliance reports, among other places. However, we decline to specify the means by which this feedback is collected, as regulated utilities have a variety of different venues by which they engage with potential users of the website. We would prefer substantive feedback and engagement as opposed to a prescriptive collection method. If this method does not provide a sufficient means for users and stakeholders to provide feedback and for that feedback to be taken seriously, these requirements could always be reevaluated at a later date.

##### Rule 3541(e)-(f). Future Updates

- Finally, paragraphs (e)-(f) set expectations for updating the web portal in subsequent DSP applications after the first. As a tool developed to meet a set of needs, we expect the web portal to be dynamic. The DSP application process can provide an opportunity to reevaluate its use cases, data treatment, and functionalities. However, we also expect that improvements to functionality may occur outside adjudicated applications and thus also establish an annual reporting mechanism that provides the Commission and stakeholders with insight to this ongoing process.

#### Rule 3542. Evaluation and Reporting

- Proposed Rule 3542 directs the utilities, beginning with their second 
DSP applications, to file a report that describes the progress on implementation of NWAs, a review of the NWA CBA methodology used, as well as proposed performance metrics and benchmarks to track successful implementation of the Plan. The report should also describe any lessons learned from the DSP process and identify ways to improve methodologies through research before the next filing.

- Public Service suggests that the existing distribution system and grid security assessments required under Commission Proposed Rule 3538 should be referenced to the Evaluation and Reporting section of rules. These reports could be filed contemporaneously with each Phase I Application, consistent with reporting requirements already required under the Commission’s Proposed Rule 3542.

- We agree with Public Service’s clarifying additions to Rule 3542.

### Conclusion.

- Attachment A of this Recommended Decision contains the rule amendments adopted by this Decision with modifications to the DSP Rules proposed in the NOPR indicated in redline and strikeout format (including modifications in accordance with this Recommended Decision).

- Attachment B of this Recommended Decision contains the rule amendments adopted by this Decision in clean and final format.

- The Hearing Commissioner finds and concludes that the Distribution System Planning proposed in the NOPR, as modified by this Recommended Decision, are just and reasonable and should be adopted.

- Pursuant to the provisions of § 40-6-109, C.R.S., it is recommended that the Commission adopt the attached DSP Rules.

## ORDER

### The Commission Orders That:

- The Distribution System Planning Rules contained in 4 Code of Colorado Regulations 723-3, set forth in legislative (redline and strikeout) format in Attachment A and in clean format in Attachment B, are adopted.  Both attachments are also available in the Commission’s E-Filings system at:

https://www.dora.state.co.us/pls/efi/EFI.Show_Docket?p_session_id=&p_docket_id=20R-0516E

- This Recommended Decision shall be effective on the day it becomes the Decision of the Commission, if that is the case, and is entered as of the date above.

- If this Recommended Decision becomes a Commission Decision, the relevant rules are adopted on the date the Recommended Decision becomes a final Commission Decision.

- As provided by § 40-6-109, C.R.S., copies of this Recommended Decision shall be served upon the participants and the representative group of participants, who may file exceptions to it.

  - If no exceptions are filed within 20 days after service of this Recommended Decision or within any extended period of time authorized, or unless the decision is stayed by the Commission upon its own motion, the Recommended Decision shall become the decision of the Commission and subject to the provisions of § 40-6-114, C.R.S.

  - If a party seeks to amend, modify, annul, or reverse basic findings of fact in its exceptions, that party must request and pay for a transcript to be filed, or the participants may stipulate to portions of the transcript according to the procedure stated in § 40-6-113, C.R.S.  If no transcript or stipulation is filed, the Commission is bound by the facts set out by the hearing commissioner and the participants cannot challenge these facts.  This will limit what the Commission can review if exceptions are filed. If exceptions to this decision are filed, they shall not exceed 30 pages in length, unless the Commission for good cause shown permits this limit to be exceeded.

| (S E A L) ATTEST: A TRUE COPY Doug Dean, Director | - THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO MEGAN M. GILMAN ________________________________ Hearing Commissioner |
| --- | --- |

Decision No. C20-0837 (issued on December 3, 2020).

Decision No. C21-0108-I issued February 26, 2021, Ordering Paragraph II.A.1 at page 1.

A “Proposed Rule” number corresponds to the Electric Rules proposed for adoption as shown in the attachments to this Decision.

CEO Initial Comments p. 3. January 29, 2021

WRA Initial Comments pp. 4-5. January 29, 2021

COSSA/SEIA Initial Comments, p. 7. January 29, 2021

Joint Stakeholders Post-Hearing Comments, p. 5. April 16, 2021

Ibid. p. 6.

Ibid. p. 6.

Ibid. p. 7.

CEO Initial Comments, p. 5 January 29, 2021.

Public Service Initial Comments, p. 15. January 29, 2021.

Ibid., p. 16.

Ibid., p. 16.

https://www.ferc.gov/enforcement-legal/ceii.

COSSA/SEIA Initial Comments p. 44.  January 29, 2021.

Public Service Initial Comments p 15. January 29, 2021

WRA Initial Comments, p 5. January 29, 2021

Joint Stakeholders Post-Hearing Comments, p. 6. April 16, 2021.

Ibid.

Joint Stakeholders Post-Hearing Comments, p. 9. April 16, 2021.

Public Service Post-Hearing Comments, p. 22. April 16, 2021

Joint Stakeholders’ Consensus Rules Att. A p. 5, April 16, 2021.

Decision No. C20-0837, at ¶ 77.

SunShare Reply, pp. 6-7. February 19, 2021.

COSSA/SEIA Opening Comments, p. 16. January 29, 2021.

Joint Stakeholders Post-Hearing Comments, p. 21. April 16, 2021.

Public Service Initial Comments, p. 32. January 29, 2021

Public Service Initial Comments, p. 33-35. January 29, 2021.

Black Hills Initial Comments p. 5, January 29, 2021

COSSA/SEIA Post-Hearing comments, p. 7. February 19, 2021

Minnesota Public Utilities Commission. Docket No. E-002/M-19-685. Order Accepting Report and Setting Further Requirements, Filed July 31, 2020.

Public Service Post-Hearing Comments, pp. 18-20. April 16, 2021.

OCC Initial Comments p. 7, January 19, 2021.

Public Service Initial Comments p. 49, January 19, 2021.

Public Service Reply Comments, p. 39-40, February 19, 2021.

§ 40-2-132, C.R.S.

COSSA/SEIA Post-Hearing Comments, p. 4, April 16, 2021.

OCC Initial Comments, p. 21, January 29, 2021.

OCC Initial Comments, pp. 21-22 January 29, 2021.

COSSA/SEIA Initial Comments, p 44, January 29, 2021.

COSSA/SEIA Reply Comments, pp. 6-7, February 19, 2021.

WRA Initial Comments, pp. 28 and 41, January 29, 2021.

Public Service Initial Comments, Attachment D, p. 22, January 29, 2021.

Public Service Initial Comments, Attachment C, pp. 8-9, January 29, 2021.

See generally Public Service, Supplemental Attachment B, February 2, 2021.

Public Service Supplemental Comments, p. 4 May 7, 2021.

Black Hills Initial Comments, p. 15, January 29, 2021.

Black Hills Post-Hearing Comments, pp. 6-8, April 16, 2021.

COSSA/SEIA Initial Comments, p. 44, January 29, 2021.

Public Service Closing Comments, p. 24, April 16, 2021.

See, e.g., WRA Closing Comments, p. 9, April 16, 2021.

Initial Comments of Public Service Company of Colorado (January 29, 2021) at p. 62.

Closing Comments of Public Service Company of Colorado (April 16, 2021) at 26:

(https://www.psegliny.com/aboutpseglongisland/ratesandtariffs/sgip/-/media/C6B9654A4B01497F860AE7BE086EE2FB.ashx).

See generally Public Service, Supplemental Attachment B, February 2, 2021.

Boulder Initial Comments, p. 16 February 5, 2021.

Public Service, Supplemental Initial Comments, p. 51, February 2, 2021.

COSSA/SEIA Post-Hearing Comments, Exhibit III, p. 2, April 16, 2021.

See, e.g., Black Hills Closing Comments, p. 2, April 16, 2021; Public Service Initial Comments p. 24, January 29, 2021.

COSSA/SEIA Reply Comments, p. 6-7, February 19, 2021

Joint Stakeholders’ Consensus Rules Att. A p. 17, April 16, 2021.