# Decision No. C02-624

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

in the matter of the designation of electric utility transmission facilities and electric utility generation facilities for which an application to obtain a certificate of public convenience and necessity is required, or the filing of a formal determination that no certificate is required.

order of the commission
giving notice of filing

Mailed Date:  May 31, 2002

Adopted Date:  May 29, 2002

## I.	by the commission

### Statement

    - Rule 18 of the Commission’s Electric Utility Rules, 4 Code of Colorado Regulations 723-3, requires each Colorado electric utility to file with the Commission, no later than April 30 of each year, information on its proposed new construction or extensions of transmission and generation faciliites for the next three calendar years, as described in Rules 18(d) and 18(e).

    - Rule 18(g) provides that the information filed by each utility shall be public information, available for inspection at the offices of the Commission, during regular business hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or corporations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the data filed with the Commission within 15 days of the filing of data.  Because 15 days from the filing of some of the data has expired, the Commission will allow comments to be filed 15 days after the mailing of this decision.

    - The following utilities have filed information on proposed construction projects as listed:

- INVESTOR-OWNED UTILITIES

- Public Service Company of Colorado

- 1.	Steamboat Looped Transmission, in-service October 2003

- 2.	Midway-Smoky Hill 345kV line, in-service June 2005 (formerly South East Denver Area to Pueblo Area High Capacity Transmission Line, 230 kV or 345 kV Transmission Line).

- 3.	Calpine Combined Cycle Generation Addition (covered in 1999 IRP).

- 4.	Rocky Mountain Energy Center 230/345kV Interconnection, in-service May 2004 (formerly Green Valley-Calpine Double Circuit 345kV Transmission Line)

- 5.	Green Valley-Spruce (formerly Box Elder)  230/345kV Transmission Line, in-service May 2004.

- Denver Terminal-Dakota-Arapahoe 230 kV transmission Line, in-service May 2004.

- Sky Ranch-Smoky Hill 230kV Transmission Line Connection to the Havana-East 115kV transmission line, in-service May 2004 (formerly Tower-48th & Chambers Double Circuit 345 kV Transmission Line)

- Sky Gen/Calpine Combustion Turbine Generation Addition (covered in 1999 IRP).

- Blue Spruce (formerly SkyGen) Interconnection, in-service May 2003.

- Cherokee-Derby 115kV to 230kV Upgrade, in-service May 2003.

- Valmont-Boulder Terminal 115kV Transmission Line upgrade, in-service June 2005.

- Bancroft-Gray Street 115kV Line Uprate, in-service May 2002.

- Bancroft-Kendrick 115kV Line Uprate, in-service May 2003.

- Lookout-West-Denver Terminal Line Uprate, in-service October 2003.

- Boone-Lamar Uprate, in-service December 2003.

- Lamar 345kV Tieline, in-service September 2004 (CPCN granted per Decision No. R01-604 with stipulations).

- Aquila (formerly WestPlains Energy)

- Squaw Mountain Substation, in-service November 2004 (CPCN not required per Decision No. C00-932).

- Canon West-Squaw Mountain 115 kV Transmission Line, in-service November 2004 (CPCN not required per Decision No. C00-932).

- Pueblo West Substation, in-service November 2003 - new reporting.

- RURAL ELECTRIC ASSOCIATIONS

- Intermountain Rural Electric Association, Inc.

- 1.	Grandview Substation (No CPCN required per Decision No. C01-746), in service April 2003.

- 2.	Grandview-Ponderosa 115 kV Transmission Line (No CPCN required per Decision No. C01-746), in service April 2003.

- 3.	Divide Substation, in service August 2002 – new reporting.

- 4.	Elizabeth Substation, in service December 2002 – new reporting.

- 5.	Orchard 230kV Substation (No CPCN required per Decision No. C01-746), in service July 2003.

- 6.	Lake George 115 kV Substation, in service December 2003 – new reporting.

- 7.	Crystal Valley 115 kV Substation (No CPCN required per Decision No. C01-746), in-service March 2004.

- 8.	Parker 115 kV Substation, in service, February 2003 – new reporting.

- 9.	Sulphur 230 kV Substation (this replaces Parker 230kV), in service April 2004.

- 10.	Sulphur-Parker 115 kV Transmission Line, in service April 2004 – new reporting.

- 11.	Divide Substation Modification, in service August 2003 – new reporting.

- 12.	Bayou Substation Modification, in service July 2003 – new reporting.

- 13.	Lemon Gulch 230 kV Substation, in service August 2004 – new reporting.

- 14.	Lemon Gulch 230 kV Transmission Line, in service August 2004 – new reporting.

- 15.	Bayou Substation, in service February 2004 – new reporting.

- 16.	Fairplay Substation, in-service July 2004 – new reporting.

- 17.	Wolfensberger Substation, in service November 2004 – new reporting.

- 18.	Greenland Substation Modification, in service October 2004 – new reporting.

- 19.	Castle Rock Substation Modification (No CPCN required per Decision No. C01-746), in service October 2004.

- Mountain View Electric Association, Inc.

- Paddock 115/69 kV Substation, in-service August 2003 (CPCN not required per Decision No. C99-676).

- Meridian Ranch 115/69 kV to 12.5 kV Substation Transformer, in-service August 2004 - new reporting.

- Apple Tree Substation, in-service August 2004 – new reporting

- San Miguel Power Association

- A response was filed but no projects were submitted

- Tri-State Generation and Transmission Association, Inc.

- 1.	Black Squirrel-Monument 69KV line Uprate, in-service December 2002 - new reporting.

- Cahone-Nucla 115 kV Transmission Line Uprate, in-service December 2003 (CPCN not required Decision No. C98-533).

- Montrose-Nucla 115 kV Transmission Line Reconductor, in-service December 2004 (CPCN not required Decision No. C98-533).

- Granby-Windy Gap 138kV Transmission Line Project, in-service 2005 (CPCN not required Decision No. C90-1125).

- Nucla-Telluride 115 kV Transmission Line, in-service December 2003 (CPCN granted per  Decision No. C01-1059).

- Colorado/New Mexico 230 kV Interconnection, in-service December 2003 (CPCN granted with stipulations per Decision No. R01-1074).

- Hotchkiss-Spring Creek Tap 115kV Line Uprate, in-service December 2004 (CPCN not required per Decision No. C01-661).

- Bayfield-Durango 115kV Line Uprate, in-service December 2005 –new reporting.

## Ii.	order

### The Commission Orders That:

    - Notice is hereby given that the above investor-owned utilities and rural electric cooperative associations have submitted information about the proposed construction of transmission and generation facilities in accordance with Rule 18 of the Rules Regulating the Service of Electric Utilities, 4 Code of Colorado Regulations 723-3.  Under that rule, you are notified that the information is available for inspection at the offices of the Commission during regular business hours.

    - Any interested person, firm, or corporation may file comments about the projects identified by the data now filed with the Commission within 15 days after the Mailed Date of this Decision.  The Commission will consider any comments in determining which projects do not require a certificate of public convenience and necessity and for which projects the utility will be required to file an application for a certificate of public convenience and necessity or a formal determination that a certificate is not required.

    - This Order is effective on its Mailed Date.

### ADOPTED IN COMMISSIONERS’ WEEKLY MEETING
May 29, 2002.

THE PUBLIC UTILITIES COMMISSION
OF THE STATE OF COLORADO



RAYMOND L. GIFFORD
________________________________



POLLY PAGE
________________________________



JIM DYER
________________________________

Commissioners

(S E A L)

ATTEST: A TRUE COPY

Bruce N. Smith
Director

g:\yellow\co2-draft-6396.docI.G. Dominguez