BEFORE THE PUBLIC UTILITIES COMMISSION

OF THE STATE OF COLORADO

*  *  *

| IN THE MATTER OF THE APPLICATION OF PUBLIC SERVICE COMPANY OF COLORADO FOR APPROVAL OF ITS 2009 RENEWABLE ENERGY STANDARD COMPLIANCE PLAN. | ) ) )) | Docket No. 08A-532E |
| --- | --- | --- |

ANSWER TESTIMONY AND EXHIBITS OF FRANK SHAFER ON BEHALF OF THE COLORADO OFFICE OF CONSUMER COUNSEL

February 23, 2009

TABLE OF CONTENTS

A.  Purpose and Summary of Testimony	1

B.  Request to True-up Costs within the ECA Deferred Account	2

C.  Request to Use Resource Planning Assumptions in the Calculation of the Retail Rate Impact and the “Lock Down” Calculation	4

D.  The WiP Forecasting Tool	12

E.  Concluding Comment	15

LIST OF EXHIBITS

FCS-1		Carbon Cost Adder Diagrams

FCS-2		OCC Discovery Question 2-1

FCS-3		OCC Discovery Question 1-12

FCS-4		OCC Discovery Question 1-7

Q.	PLEASE STATE YOUR NAME, TITLE, AND BUSINESS ADDRESS.

A.	My name is Frank Shafer.  I am a Financial Analyst with the Colorado Office of Consumer Counsel (“OCC”).  My business address is 1560 Broadway, Suite 200, Denver, CO, 80202.

Q.	HAVE YOU PREPARED AN APPENDIX THAT DESCRIBES YOUR QUALIFICATIONS?

A.	Yes.  An Appendix A is attached to this testimony.

## A.	Purpose and Summary of Testimony

Q.	WHAT IS THE PURPOSE OF YOUR WRITTEN TESTIMONY?

A.	The purpose of my written testimony is provide the OCC’s recommendations regarding Public Service Company of Colorado’s (“Public Service” or “Company”) 2009 Renewable Energy Standard (“RES”) Compliance Plan.

Q.	WOULD YOU PLEASE SUMMARIZE YOUR RECOMMENDATIONS?

A.	Certainly.  The OCC recommends that the Colorado Public Utilities Commission (“Commission”):  1) adopt a true-up process where the deferred accounts of both the Renewable Energy Standard Adjustment (“RESA”) and the Electric Commodity Adjustment (“ECA”) receive their fair respective share of actual costs associated with variations in production for either the increased or reduced wind and solar production as compared to the projected production; 2) not include a carbon cost adder in the determination of the retail rate impact calculation until actual carbon costs are “known and measurable;” 3) not include a carbon cost adder in the determination of the “locked down” net costs/net benefits until actual carbon costs are “known and measurable;” 4) allocate the revenue requirement costs of the Wind Predictor (“WiP”) Forecasting Tool between the RESA and the ECA on the basis of installed wind generation flowing through the respective adjustment clause; 5) allocate the costs associated with the WiP Forecasting Tool on the basis of on the relative penetration rate of wind generation on each of the Xcel operating companies’ system, and 6) recompute the allocation percentages to Xcel’s operating companies in third year of the WiP’s useful life based on a more current relative penetration rate of wind generation on each of the Xcel operating companies’ system.

## B.	Request to True-up Costs within the ECA Deferred Account

Q.	AS PART OF ITS 2009 COMPLIANCE PLAN, IS PUBLIC SERVICE PROPOSING TO CHANGE THE TRUE-UP PROCESS FOR ELIGIBLE ENERGY COSTS WITH RESPECT TO THE DEFERRED ACCOUNT?

A.	Yes.  Starting on page 12, line 18 of his Direct Testimony, Mr. Ahrens notes that in past year’s Compliance Reports, the actual costs of Eligible Energy have been reported and the difference between the projected total costs of Eligible Energy and the actual total costs of Eligible Energy have been “trued-up” by adjustments to the RESA deferred account.  Public Service is seeking Commission approval to change the true-up process of Eligible Energy resources from the RESA to the Company’s ECA.  Mr. Ahrens explains that although currently there are no wind costs recovered through the RESA, as more wind comes on-line to meet the RES requirements, Public Service is concerned that there will likely be more significant variations between actual wind output as compared to the projected wind output.  He contends that since the RESA is currently the “balancing” rate mechanism, the RESA deferred account will be impacted by the full costs of either the increased (actual production greater than projected production) or reduced (actual production less than projected production) as opposed to only the incremental cost of that generation.  Mr. Ahrens mentions that variations in solar resource generation would also impact the RESA at their full costs and not their incremental costs.  He concludes this discussion in his Direct Testimony on page 14 where he states that, in order to reflect only the incremental costs in the RESA, the variations caused by increases or decreases in Eligible Energy production should be accomplished through adjustments to the ECA and not the RESA.

Q.	WHAT IS THE OCC’S CONCERN WITH THIS PROPOSED TRUE-UP CHANGE?

A.	The OCC believes that if the ECA becomes the sole rate mechanism where variations in Eligible Energy production are trued-up then the RESA would not be charged its fair share (the incremental portion of the costs of either higher or lower production, as compared to the projected production).  While at the same time, the ECA would be charged more than its fair share (the full costs of either higher or lower production as compared to the projected production).  In my opinion, the practical effect of the Company’s request is to shield the RESA account from cost variances caused by variances in production.

Q.	WHAT WOULD THE OCC SUGGEST AS AN ALTERNATIVE TO PUBLIC SERVICE’S PROPOSAL?

A.	The OCC recommends that the Commission adopt a true-up process where the deferred accounts of both the RESA and the ECA receive their respective shares of the variations in production of either the increased costs (actual production greater than projected production) or reduced costs (actual production less than projected production) from Eligible Energy resources.  We believe that putting the entire deferred cost recovery into the ECA unduly burdens it to the benefit of the RESA.

Q.	HAS THE OCC DEVELOPED A METHOD TO ALLOCATE THE COSTS CREATED BY VARIANCES IN PROJECTED GENERATION VERSE ACTUAL GENERATION AS YOU HAVE SUGGESTED?

A.	No, but if the Commission agrees with the concept, then it could require Public Service to include a method which assigns some of the costs due to variances in Eligible Energy production to both the RESA and ECA in its next Compliance Plan filing.

## C.	Request to Use Resource Planning Assumptions in the Calculation of the Retail Rate Impact and the “Lock Down” Calculation

Q.	PLEASE DESCRIBE THE COMPANY’S LOCK DOWN PROPOSAL.

A.	Starting on page 19, line 9 of his Direct Testimony, Mr. Ahrens describes the concept of a time fence and how it factors into the determination of the costs and benefits of Eligible Energy resources.  He explains that at the time of acquisition of an Eligible Energy resource, the Company estimates the associated net incremental cost.  However, without a “lock down,” this resource’s net incremental cost will likely change in the future Compliance Plans due to the fluctuations in natural gas prices.  Mr. Ahrens contends that if the Company is forced to continually recalculate incremental costs that are driven by unavoidably imprecise gas price forecasts, there could be a situation where the RESA funds will be inadequate to pay for those incremental costs.  To avoid the possible changes in the net costs or net benefits, it proposes to lock down for each Eligible Energy resource–at either the time it files its Compliance Report or at the time it signs a contract–that resource’s net cost or net benefit.

Q.	WHAT IS THE OCC’S CONCERN WITH THE LOCK DOWN PROPOSAL?

A.	We are concerned that the resource acquisition planning assumption regarding the carbon cost adder should not be included in the lock down calculation until the actual carbon costs become “known and measurable.” To help better explain this concept, I have prepared three diagrams as Exhibit FCS-1.  I should first mention that the values shown on pages 2 and 3 of these diagrams are not based on actual numbers nor are the relative changes between the two scenarios (with and without a carbon cost adder) intended to be reflective of actual differences between the two.  However, I think they reasonably represent how carbon costs factor into the determination of what has been called “headroom,” which is the amount of Eligible Energy resources that can be added before the two percent retail rate cap is reached.

However, I would like to start with Page 1 of 3 of Exhibit FCS-1 to provide an overview of how a carbon adder affects the retail rate impact calculation.  This bar graph begins with the first green bar on the left-hand-side and it represents the No-RES plan with a carbon adder.  It has a height of 100 units.  The second green bar is the RES plan with a carbon adder.  It has a height of 102 units.  Under the retail rate impact cap, the RES plan can be up to two percent greater in cost than the No-RES plan’s cost, that is why it has a height of 102 units (100 units X 1.02).  The first blue bar is the No-RES plan without a carbon adder.  It has a height of 98 units.  I arbitrarily picked a value of two units to represent the lower cost of the portfolio when there is no carbon adder.  The second blue bar is the RES plan without a carbon adder.  It has a height of 99.96 units.  Its height is the product of 98 units times the 1.02 factor explain previously.  The red arrow between the top of the second blue bar (the RES Plan without a carbon adder) and the dashed green line, which represents the top of the second green bar (the RES Plan with a carbon adder) indicates that 2.04 units of headroom is created by including a carbon adder in the determination of the retail rate impact calculation.  The practical effect of this additional headroom is that more Eligible Energy resources can be acquired when a carbon adder is included in the retail rate impact calculation.

Page 2 of 3 of Exhibit FCS-1 shows the additional headroom concept and the additional Eligible Energy resources available when a carbon adder is included in a line graph format.  Beginning on the left-hand-side (in green text) of Page 2 of 3, Exhibit FCS-1 shows that the No-RES costs with a carbon cost adder is 26 on the hypothetical scale.  The same starting point on the right-hand-side (in blue text) for the No-RES costs without a carbon cost adder is 24.  In both scenarios, the cost of the resource portfolio after some fossil fuel resources are removed results in either a value of 21 under the carbon cost adder scenario or a value of 22 under the without a carbon cost adder scenario.  In the final step, Eligible Energy resources are added until the two percent retail rate cap is reached.  Again focusing on the hypothetical scale, the RES costs with a carbon cost adder reaches a cost of 29, while the RES costs without a carbon cost adder reaches a cost of 27.  Therefore the headroom created by the carbon cost adder is 8 units (29 - 21), while the headroom created without a carbon cost adder is 5 units (27 – 22).

On page 3 of 3 of Exhibit FCS-1, I develop the same type of comparative diagram for the development of the lock down.  On the left-had-side, in green text, the No-RES with a carbon cost adder scenario starts at 28, while on the right-hand-side, in blue text, the No-RES without a carbon cost adder scenario starts at 27.  Once the equivalent sized fossil fuel resource is removed the cost of the portfolio drops to 24 under the scenario with a carbon cost adder, while the cost of the portfolio without a carbon cost adder drops to 25.  Thus the ability for an Eligible Energy resource to achieve net benefits is greater since there is more “distance” when a carbon cost adder is included (4 units or 28 – 24) as compared to the scenario when no carbon cost adder is included (2 units or 27 – 25).

Q.	SO WHY DOES IT MATTER THAT MORE HEADROOM IS BEING CREATED BY THE CARBON ADDER?

A.	Because imputing a carbon cost when no actual carbon costs are currently being paid for by the customers on their bills artificially creates headroom that does not exist in the “real world.” The OCC believes that the method used to calculate the retail rate impact and the associated lock down amount should be based on assumptions which are more closely tied to what is actually impacting customer bills and not on resource planning assumptions which are used in the selection process of resources.

Q.	MR. SHAFER PLEASE DESCRIBE RES RULE 3661(E).

A.	This RES Rule provides that for purposes of calculating the retail rate impact, the utility shall use the same methodologies and assumptions it used in its most recently approved least-cost planning case unless otherwise approved by the Commission.

Q.	DO YOU KNOW WHAT CARBON COSTS WERE RECENTLY APPROVED BY THE COMMISSION IN PUBLIC SERVICE’S MOST RECENT ELECTRIC RESOURCE PLANNING PROCESS?

A.	I believe the Commission approved a carbon tax of $20 per ton starting in 2010 and escalating at seven percent per year.

Q.	IS THE OCC BASING ITS POSITION ON EXCLUDING THE CARBON COST ADDER FROM THE RETAIL RATE IMPACT CALCULATION ON THE LAST PHRASE IN YOUR EARLIER ANSWER REGARDING ‘UNLESS OTHERWISE APPROVED BY THE COMMISSION’?

A.	Yes and let me explain why.  To help put this into context, I want to discuss how the Electric Resource Planning (“ERP”) assumption regarding natural gas prices differ from a carbon cost adder assumption.  In the ERP process, the Commission does not approve specific natural gas prices, but instead approves a methodology, which is updated at the time the utility begins it resource selection process after it has received bids.  While it is unlikely that the updated natural gas prices will reflect actual prices when the resource comes on-line, it does not matter because customers ultimately pay whatever the actual natural gas prices are through the ECA and not the updated natural gas price that was used in the selection resource process.  However, carbon costs are not analogous to updated natural gas prices because, at least as of today, customers do not ultimately pay for the carbon costs that were used in the screening process or pay for the carbon costs included on their bills.

I am aware of a similar situation where an imputed value was used in the resource selection process, but when the actual costs of the wind resources were included in the RES/No-RES modeling it had the unintentional consequence of increasing the incremental energy costs recovered through the RESA.  The imputed value was an $8.75 per MWh Renewable Energy Credit (“REC”) for all renewable resources.  Attached as Exhibit FCS- 2 is OCC Discovery Question 2-1 where I asked Public Service to confirm my understanding of this outcome.  This exchange is presented in sub-part G of OCC Discovery Question 2-1.  In my opinion, this demonstrates why using imputed value or costs which are not being recovered through actual customer bills can present problems.

Q.	WHAT DOES THE OCC PROPOSE THE COMPANY DO FOR ITS 2009 RES COMPLIANCE PLAN AS IT RELATES TO THE LOCK DOWN CALCULATION OF NET COSTS OR NET BENEFITS OF ELIGIBLE ENERGY RESOURCES?

A.	Public Service should be allowed to calculate an associated lock down for an Eligible Energy resource’s net cost or net benefits as it has proposed with the exception that no carbon cost adder be included in the analysis.  We would also suggest that the Company be required to retain the associated data and modeling files used in these net cost or net benefit lock down calculations such that when carbon costs become more known and measurable, the associated lock downs can be recalculated for all prior Eligible Energy resources.  Then the updated lock down figures can be factored into future Compliance Plans.

Q.	IS THE OCC OPPOSED TO A UTILITY GETTING MORE ELIGIBLE ENERGY RESOURCES FOR CUSTOMERS?

A.	No.  We are concerned that the carbon cost adder should remain as a planning assumption for resource modeling purposes and should not be included in a net cost/benefit calculation until it becomes a known and measurable cost which customers pay.

Q.	ARE CARBON COSTS INCLUDED IN OTHER ANALYSES WITHIN PUBLIC SERVICE 2009 COMPLIANCE PLAN?

A.	Yes.  The use of the carbon cost adder in also factored into the revenue figures Public Service presents in Table 6-3.  Exhibit FCS-3 is OCC Discovery Question 1-12.  It shows that starting in 2010, the Company has estimated an additional $2,621,000 of additional RESA revenues attributable to the additional carbon dioxide costs above the 20 percent level and the additional carbon cost related revenues continue through the RES Planning Period of 2020.

Q.	IS THE OCC TAKING ISSUE WITH THIS ASPECT OF THE COMPANY’S 2009 COMPLIANCE PLAN?

A.	No. Because the effects of this inclusion does not start until 2010, I believe the 2010 Compliance Plan docket is the proper venue to discuss this issue.

Q.	IN ONE OF YOUR EARLIER ANSWERS YOU MENTIONED THAT BECAUSE THE CARBON ADDER IS NOT PART OF THE “REAL WORLD” IN TERMS OF CUSTOMERS’ BILLS THEN IT SHOULD NOT BE INCLUDED IN THE RETAIL RATE IMPACT CALCULATION.  DID I ACCURATELY REPRESENT YOUR POSITION ON THIS POINT?

A.	Yes.

Q.	MAY I TAKE THIS NEXT PORTION OF OUR DISCUSSION INTO THE REAL WORLD, AS YOU USE THAT TERM?

A.	Fair enough.

Q.	ISN’T THE COLLECTION OF ACTUAL RESA FUNDS SIMPLY THE RESA RIDER PERCENTAGE TIMES THE TOTAL VALUE OF A CUSTOMER’S ELECTRIC BILL?

A.	Yes.

Q.	SO WHY DOES IT MATTER THAT THERE COULD BE MORE HEADROOM AND THUS MORE ELIGIBLE ENERGY RESOURCES DEPLOYED UNDER A SCENARIO WHEN A CARBON ADDER IS INCLUDED IF THE MAXIMUM RESA CHARGE ON A CUSTOMER’S BILL IS FIXED AT TWO PERCENT?

A.	Described below is my current working theory of the interplay between the RESA modeling headroom and actual RESA collection through customer bills.  Using Page 1 of 3 of Exhibit FCS-1 as a way to put this into a visual context, although the differences between both the blue bars (1.96 units) and both the green bars (2 units) is two percent of the respective scenarios the relevant difference is between the two RES scenarios which is 2.04 units.   For purposes of the retail rate impact calculation with a carbon adder, we are using a larger base upon which to measure two percent from and to acquire more Eligible Energy resources.  However, in the real world that larger base does not exist because customers are not paying the associated carbon costs which made the green RES bar higher.  My suspicion is that by allowing more Eligible Energy resources to be acquired because carbon costs have been included, that in subsequent RESA Account reconciliations (comparing actual RESA collections from customers to the modeled incremental costs shown in Column H of Table 6-3) it might turn out that actual RESA collections will fall short of the model incremental costs of the Eligible Energy resources.  This would mean that the retail rate impact cap has been exceeded.  This is visually demonstrated on Page 1 of 3 with the modeling headroom of 2.04 units, but with the real world headroom (because carbon costs are not currently being charged to customers) of only 1.96 units.

## D.	The WiP Forecasting Tool

Q.	PLEASE DESCRIBE THE COMPANY’S PROPOSAL FOR THE WIND PREDICTOR FORECASTING TOOL?

A.	Through the use of the WiP Forecasting Tool, Public Service hopes to be able to more accurately forecast the wind.  As a result of these more accurate wind forecasts, Public Service believes that it can reduce its wind forecasting error percentage.  According to the Company, it currently has a wind forecasting error in the range of 18 percent and it hopes to reduce its wind forecasting error to 16 percent by using the WiP.  Public Service estimates that for every one percentage point reduction in the wind forecasting error it will result in cost savings of $1,379,000.  The estimated cost of the WiP is $2.6 million for the implementation of the weather models and $750,000 for the data acquisition hardware and software at the wind farms.  The Company states that since the three Xcel Energy operating companies will share this cost, Public Service’s share will only be $1,287,423 based upon allocating the costs using the relative levels of installed wind capacity as of 2008 on each of the three operating companies.  For this compliance filing, only $113,077 of WiP costs are included and the associated revenue requirement for this investment cost is $35,343.  According to the Company, this revenue requirement cost has been included as part of the RESA Program and Administrative Costs shown in Column L of Table 6.3.

Q.	WHAT ARE THE OCC’S CONCERNS WITH THE COMPANY’S PROPOSAL FOR WIND PREDICTOR FORECASTING TOOL?

A.	Currently Public Service has two wind generation facilities associated with its WindSource program – Ponnequin and Peetz Table.  These two wind farms have a total capacity of approximately 61 MW.  It is my understanding that under the WindSource settlement reached in Docket No. 08A-260E, these generation facilities will be considered “sunk” and will not affect the retail rate impact calculation.  Public Service has contracted for 162 MW of wind generation at the Colorado Green site, near Lamar, CO.  This wind generation facility is also considered sunk and does not affect the retail rate impact calculation.  Lastly, Public Service acquired 775 MW of wind from its 2005 All-Source acquisition process.  The Commission has ruled that these three wind generation facilities are sunk and thus do not affect the retail rate impact calculation either.  In total, the Company has approximately 998 MW of wind generation resources whose costs do not affect the RESA retail rate impact calculation.

Recently Public Service filed an application seeking approval of a new wind project called Northern Colorado Wind Energy.  According to the application, it will be a 151.8 MW facility.  I believe that this wind resource’s costs are included in Column D of Table 6-3, which is titled “New Wind Energy Costs,” since this wind project is scheduled to be on-line by November 2009 and costs appear starting in 2010.  When one does the math, there is only 13.2 percent (151.8 MW/ (998 + 151.8) MW) of wind costs that will be flowing through the RESA in the near term.

The OCC contends that it is inappropriate for the RESA to be responsible for the entire revenue requirement costs of the WiP Forecasting Tool since all of the wind generation costs currently flows through the ECA.  The OCC recommends that the associated revenue requirement costs of the WiP be allocated between the RESA and ECA adjustment clauses on the basis of installed wind generation attributable to the respective adjustment clauses.  Since currently all of the wind resources’ costs are recovered through the ECA, 100 percent of the WiP revenue requirement should be borne by the ECA until such time as the “new” wind costs are flowing through the RESA.

Our next concern is associated with the allocation of WiP costs among the Xcel operating companies.  The OCC asked discovery questions regarding the cost allocation process relating to the WiP Forecasting Tool.  Exhibit FCS-4 is the Company’s response to OCC Discovery Question 1-7 regarding the WiP Forecasting Tool.  I would like to focus on responses to sub-parts D, E, G and H.  According to Public Service, it intends to allocate the software cost based on the 2008 installed capacity and that those allocation percentages will not change over time.  The OCC believes that a more appropriate allocation methodology for the costs associated with the WiP Forecasting Tool would be to use the relative wind penetration rate on each of the operating companies’ system.  The basis for this recommendation is that as the level of wind generation increases on a utility’s system, there would be greater benefits (more savings) through a better dispatching of the wind generation.  Unfortunately, I was not able to issue follow-up discovery in time to receive the responses and learn whether this proposed allocation method would result in more costs being assigned to Public Service as compared to the Company’s proposed allocation method.

We are also concerned that the allocation percentages for the WiP between the Xcel operating companies is being fixed as of the 2008 values.  The OCC believes that it would be appropriate to update the allocation percentages at some future point in time during the WiP’s useful life.  The Company has indicated that the WiP Forecasting Tool has a five-year useful life.  The OCC recommends that the allocation percentages to Xcel’s operating companies be recomputed in third year of the WiP’s useful life based on a more current relative penetration rate of wind on each of the Xcel operating companies’ system or based on whichever method the Commission adopts in this proceeding.  Under this recommendation years four and five of the WiP’s useful life would use updated allocation percentages.

## E.	Concluding Comment

Q.	IS THERE SOMETHING ELSE YOU WANT TO SAY?

A.	Yes.  The common theme through my testimony is that I am challenging proposals that Public Service has made in this Compliance Plan filing which helps the RESA and the retail rate impact cap calculation.  I contended that: 1) the variations in generation between forecasts and actual need to be shared between the deferred accounts for the RESA and the ECA instead of being exclusively assigned only to the ECA; and 2) that carbon costs should not be included in the retail rate impact calculation or the lock down calculation until they are known and measurable and being charged to customers, instead of using the estimated carbon costs from Public Service’s most recent ERP case;

The OCC believes that in order for the retail rate cap to have meaning, costs that should appropriately be “charged” to the RESA should not be charged to the ECA and that estimated carbon costs should not be included in the determination of rates until carbon costs are actually being charged to customers.  The OCC wants the utilities to succeed at meeting the RES, but we need to be true to what the voters have indicated they are willing to pay.

The OCC believes that not every renewable energy facility’s cost needs to flow through the RESA, but that and finding ways to move costs and savings around does not serve the process in the long-run.  The OCC has advocated in a prior Public Service Compliance Plan docket that the Commission has the authority to find that it is in the public interest for a utility to acquire a resource mix with more Eligible Energy resources than can be acquired within the two percent rate cap.

Traditionally when the Commission has approved a fossil fuel resource, the costs for that resource (fixed and operating) flowed through a combination of base rates and adjustment clauses. Should the Commission decide on an renewable energy resource mix which would exceed the retail rate impact cap, the OCC believes that the Commission could designate those additional renewable energy resources (those above the two percent retail rate impact cap) as non-RES resources and their associated costs would flow through a combination of base rates and non-RESA adjustment clauses just as a fossil fuel resource’s cost would have in the past.

We also believe that the RECs produced from these Eligible Energy resources could not be used for compliance since the RESA was not charged a portion of the costs.  Instead, those RECs should be deemed to be something like “Merchant RECs” and any profits from those Merchant REC sales would flow exclusively into the ECA.

Q.	DOES THIS CONCLUDE YOUR TESTIMONY?

A.	Yes.

The associated RESA program administrative costs are in both scenarios, but have been ignored for this explanation.

The RES Rules are found at 4 Code of Colorado Regulations 723-3-3650 to 723-3-3665.

There is a pending RES Rulemaking case, Docket No. 08R-424E, where the reference to the Commission’s least-cost planning process is changed to the current electric resource planning process.

See, Decision No. C08-0929, paragraph 270.

Docket No 07A-462E.

See, Company witness Mr. Park’s Direct Testimony, page 4 line 21 to 23.

It is my understanding that 5.1 MW of the Ponnequin wind farm is under a purchase power contract, while the rest is owned by Public Service.

When a resource is sunk its costs flow through the ECA instead of the RESA because its costs are included in both the RES and No-RES scenario.

Docket No. 09A-020E.

See, Hearing Exhibit No. 23 in Docket No. 07A-462E, pages 12-14.

To the extent there are fixed costs.