EXHIBIT A

Rocky Mountain Climate Organization

Response to Docket No. 08I-420EG Appendix A Questions

INVESTIGATION OF REGULATORY AND RATE INCENTIVES FOR CUSTOMERS OF GAS AND ELECTRIC UTILITIES

Submitted to

Colorado Public Utilities Commission

October 31, 2008

RCI-5. Inverted Block Rates to Fund Energy Efficiency

# Policy Description

This option uses tiered, increasing surcharges to simultaneously provide a source of funding for energy efficiency and a financial incentive to adhere to high energy efficiency (low energy intensity) standards. Unlike a traditional public benefits charge, the surcharge grows with increasing use above target levels. High efficiency consumers will pay no surcharge.

# Policy Design

Goals: Standard rates up to the first threshold (set at 50% of the Architecture 2030 energy consumption reduction targets), 2 cents/kWh surcharge for kWh above the first threshold up to the second threshold (set at twice the first threshold), and 5 cents/kWh surcharge for all kWh in excess of the second threshold. Proceeds are to be used to fund energy efficiency programs in the Residential and Commercial sectors.

These thresholds are based on recent investor owned utility (IOU) experience with inverted block rates in California.

Timing: Starting in 2010.

Coverage: Rates are applicable statewide for the Residential and Commercial sectors.

# Implementation Mechanisms

Implementation to be consistent with the implementation mechanisms established by HB07-1037. Municipal utilities and cooperatives would have the option of participating in a System Benefits Charge (SBC).

# Related Policies/Programs in Place

Inverted block rates in California as documented in: SCE. Residential Baseline Allocation, available at http://www.sce.com/NR/rdonlyres/DF137120-E263-459E-96F4-0B4F4BA60520/0/597R0906ResidentialBaseline.pdf

# Type(s) of GHG Reductions

Reduction in GHG emissions (largely CO2) from avoided electricity production

# Estimated GHG Savings and Costs per MtCO2e

|  | GHG Reductions (MMtCO2e) |  |  | Gross Costs (Million $) | Gross Benefits (Million $) | Net Present Value 2007–2020 (Million $) | Cost-Effectiveness ($/tCO2e) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2012 | 2020 | Total 2007- 2020 |  |  |  |  |
| RCI-5 | 1.6 | 6.7 | 38.2 | $690 | –$1,825 | –$1,135 | –$30 |

# Data Sources, Methods, and Assumptions

## Data Sources:

- Price elasticity of electricity: EIA, Price Responsiveness in the AEO2003 NEMS Residential and Commercial Buildings Sector Models, available at www.eia.doe.gov/oiaf/analysispaper/elasticity/index.html and www.eia.doe.gov/oiaf/analysispaper/elasticity/table1.html

- Electricity prices: same sources as used for RCI-1.

- Return on investment in efficiency measures: same sources as used for RCI-1.

The California Public Utilities Commission requires IOUs to establish inverted block rates for residential customers. In this rate structure, the baseline consumption or threshold that covers basic needs of residential customers are set higher than those originally set for RCI-5 based on Architecture 2030. The baseline consumption allocation typically covers 60-70% of the average residential energy use in each region.

## Quantification Methods:

Estimate base electricity consumption levels that are not subject to surcharges based on 50% of Architecture 2030 energy consumption reduction targets (first threshold). Per capita annual electric consumption for residential and per square foot annual electric consumption are used to estimate the base consumption levels. Estimate electricity consumption levels that are equal to twice the first consumption threshold (second threshold). Allocate projected total electricity consumption by residential and commercial sectors among (1) base consumption (less than or equal to the first threshold); (2) above the first threshold but less than or equal to the second threshold; and (3) greater than the second threshold. Project change in electricity consumption based on price elasticity and revenues available for energy efficiency programs. Estimate energy savings based on price elasticity as well as new energy efficiency programs funded by inverted block rates. (See the data sources, quantification methods, and assumptions for RCI-1 for an explanation of the analysis of RCI-5’s enhanced energy efficiency benefits)

The Architecture 2030 energy consumption reduction targets are defined as 60% of the Year 2003 regional or national average electricity consumption during the period between 2010 and 2014, 70% of the Year 2003 average consumption between 2015 and 2019, and 80% of the Year 2003 consumption in 2020. Thus, 50% of the Architecture 2030 energy consumption reduction targets equals 30% of the Year 2003 regional or national average electricity consumption between 2010 and 2014, and 35% between 2015 and 2019, and 40% in 2020.

## Key Assumptions:

| Parameter | Value | Notes |
| --- | --- | --- |
| Price elasticity of electricity: | –0.2 Residential, –0.1 Commercial | Source: Short-term price elasticity from EIA, www.eia.doe.gov/oiaf/analysispaper/elasticity/table1.html. In reality, price elasticity differs widely among consumers. For simplicity, we assume that these price elasticity data used by EIA represent price elasticity for the entire residential sector and the entire commercial sector. |
| 50% of Architecture 2030 Challenge Site EUI energy consumption reduction targets | 30% in 2010, 35% in 2015, 40% in 2020 | Architecture 2030 calls for reduction in fossil fuel energy use in all buildings by 60% by 2010, by 70% by 2015, and by 80% by 2020. For this policy option, base electric consumption is set at twice these targets (half the reduction) on a per capita basis for residential and per square foot basis for commercial use for the first threshold. The second threshold is twice the first. |
| Substitution effect for heating fuel (cross price elasticity) | none | This effect was not considered for this analysis. EIA reports that cross-price elasticity for electricity to natural gas for the residential sector is 0.01; for the commercial sector, it is 0.01. (AEO2003) |
| Assumed cost of implementation of inverted-block tariffs | $0/MWh | In practice, there will be some costs associated with implementing inverted-block tariff structures, including program administration costs and changes to billing systems. These costs are not explicitly accounted for in this analysis, but are likely to be quite small relative to the electricity cost savings achieved through the policy. |
| Avoided electricity cost (residential and commercial) | $61/MWh | Electricity avoided costs are based on Xcel’s Colorado DSM Market Potential Assessment, March 2006 and include energy and capacity costs. |
| Levelized cost of electricity savings | 2.5 cents/kWh (2005$ levelized) | See notes under RCI-1. |
| Electricity savings per $ of program investment (first year savings) | 4.1 MWh/$1000 spent, or $247/MWh 1st yr savings | See notes under RCI-1. |
| Retail electric rates | 9 cents/kWh for residential and 7.5 cents/kWh for commercial | Colorado average retail price in 2006 from EIA “Current and Historical Monthly Retail Sales, Revenues, and Average Retail Price by State and by Sector (Form EIA-826)” available at www.eia.doe.gov/cneaf/electricity/epa/‌epat7p4.html |
| Electricity emissions factors | Near-term (<2012): 0.92 tCO2e/MWh Long -term (>2012): 0.79 tCO2/MWh |  |

- Energy savings are assumed to continue until 2020 with no decay of program effects, because the study period is less than the average lifetime of the program measures.

- Annualized program costs (amortized over a period of 13 years or longer, consistent with the life of the asset) are included in the analysis through 2020.

# Key Uncertainties

PUC, consumers, and utilities may be averse to adopting steep inclining block rates. Provisions for low income consumers may be required (e.g., PG&E has separate tiered rates for low income schedules.)

# Additional Benefits and Costs

- Reducing dependence on imported fuel sources

- Reducing energy price increases and volatility

- Reducing peak demand and improving the utilization of the electricity system

- Reducing the risk of power shortages

- Enabling avoidance of energy supply projects

- Reducing water consumption by power plants

- Reducing pollutant emissions by power plants and improving public health

# Feasibility Issues

For IOUs, this policy must go through a regulatory process. For utilities not under PUC authority, this policy may require legislation.

As constructed, this policy has received objections from some PWG members representing utilities. Cost recovery for energy supply could be difficult and complex under this policy where additional charges for higher consumption are used to fund energy efficiency, which in turn has the effect of reducing energy sales. An alternative policy construction that includes a cost-based inverted block rate consistent with ratemaking principles may find stronger support among the PWG.

This policy is mutually exclusive to RCI-7 and RCI-11.

# Status of Group Approval

Approved by those CAP members present and voting, with seven objections.

# Level of Group Support

Objections concerned feasibility issues on the one hand, and concerns that the policy is insufficiently aggressive with the given targets on the other. One CAP member objected on the basis that the policy is essentially structured as an electricity use tax.

# Barriers to Consensus

Utility representatives do not support a rate structure that is designed to recover more than the cost of service. Proponents of the policy support it as an effective price signal to consumers.

RCI-11. Cost of Service Inverted Block Rates

# Policy Description

This option is an increasing block rate design that would solely be structured to recover cost of service, as in traditional ratemaking. Such a policy might encourage greater levels of energy efficiency based on a price elasticity effect, but would provide no excess funds to specifically promote energy efficiency programs.

# Policy Design

Goal: Consider implementing inverted block rates to encourage the efficient use of electricity .

Timing: Starting in 2010.

Parties Involved: Rates are applicable statewide, Residential and Commercial sectors.

# Implementation Mechanisms

For IOUs: Inverted rate applied to cost of service as approved by the PUC.

For other load serving entities: Inverted rate applied to cost of service as approved by the relevant authority.

Statewide implementation would likely require legislative change.

# Related Policies/Programs in Place

None noted.

# Type(s) of GHG Reductions

Reduction in GHG emissions (largely CO2) from avoided electricity production or on-site fuel combustion.

# Estimated GHG Savings and Costs per MtCO2e

Not applicable.

# Data Sources, Methods, and Assumptions

Data Sources: Not applicable.

Quantification Methods: This policy was not analyzed.

Key Assumptions: Not applicable.

# Key Uncertainties

None noted.

# Additional Benefits and Costs

Potential additional benefits:

- Reducing dependence on imported fuel sources.

- Reducing energy price increases and volatility.

- Reducing peak demand and improving the utilization of the electricity system.

- Reducing the risk of power shortages.

- Enabling avoidance of energy supply projects.

- Reducing water consumption by power plants.

- Reducing pollutant emissions by power plants and improving public health.

# Feasibility Issues

For IOUs, this policy must go through a regulatory process. For utilities not under PUC authority, this policy would require approval by other authorities.

This policy is mutually exclusive to RCI-5 and RCI-7.

# Status of Group Approval

Unanimous consent of those CAP members present and voting.

# Level of Group Support

No objections.

# Barriers to Consensus

None identified.

RCI-7. Pricing and Purchasing

# Policy Description

Adopt smart metering, combined with time-of-use rate schedules and in-home displays, to enable electricity consumers to better manage energy use.

Initial expectation is to reduce electricity consumption 4% to 15%.

# Policy Design

Goals: Implement time of use rates with smart meters and in-home displays of energy use, cost, and associated GHG emissions for 100% of electricity customers in Colorado (including customers of investor-owned utilities, cooperatives, and municipal utilities).

Timing: Start up in 2009, targeting 10% of industrial, commercial, and residential consumers, ramping up to 100% by 2013.

Parties Involved: All industrial, commercial, and residential electricity customers in Colorado.

# Implementation Mechanisms

- A legislatively-prescribed Colorado Public Utilities Commission study of a mandatory investor-owned utility program combining advanced metering infrastructure, time-of-use electricity rates, and end-user energy displays. The study would weigh the energy cost savings, peak reduction benefits, and greenhouse gas benefits against the cost of the program. Costs would be considered from both the customer and the utility perspective. The study would use Colorado-specific assumptions to determine the most cost-effective technologies and programs to apply by customer class, and

- Based upon the results of the study, adoption of mandatory time-of-use rates for all commercial and industrial customers, as well as residential customers, and

- Installation of advanced metering infrastructure with two way communications (smart meters), and

- Installation of end-user energy displays with hourly usage, pricing, and greenhouse gas emissions display capabilities, and

- Allowing full recovery for the costs of the program through the utility ratemaking process if the program is proven cost-effective.

# Related Policies/Programs in Place

Xcel’s Critical Peak Pricing pilot and Saver’s Switch program

# Type(s) of GHG Reductions

Reduction in GHG emissions (largely CO2) from avoided electricity production

# Estimated GHG Savings and Costs per MtCO2e

|  | GHG Reductions (MMtCO2e) |  |  | Gross Costs (Million $) | Gross Benefits (Million $) | Net Present Value 2007–2020 (Million $) | Cost-Effectiveness ($/tCO2e) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2012 | 2020 | Total 2007- 2020 |  |  |  |  |
| RCI-7 | 2.0 | 2.6 | 25.4 | $347 | –$1,191 | –$844 | –$33 |

# Data Sources, Methods, and Assumptions

## Data Sources:

### Impacts of Different Types of Smart Metering:

- “Smart Metering Study Summary” (smart-metering-append.pdf) compiled by CU Denver for the City and County of Denver

- Primen, Inc. 2004. California Information Display Pilot Technology Assessment, www.ucop.edu/ciee/dretd/documents/idp_tech_assess_final1221.pdf

- Summit Blue Consulting, Inc. 2006. Evaluation of the 2005 Energy-Smart Pricing PlanSM, prepared for Community Energy Cooperative, August 2006, available at www.energycooperative.org/pdf/ESPP-Evaluation-Executive-Summary-2005.pdf and www.energycooperative.org/energy-smart-pricing-plan.php

### Cost of Metering

- Primen, Inc. 2004. California Information Display Pilot Technology Assessment, www.ucop.edu/ciee/dretd/documents/idp_tech_assess_final1221.pdf

- Idaho Power 2005. Phase One AMR Implementation Status Report under IPC-E-02-12, December 30, 2005

- CA PUC 2006. Advanced Metering Infrastructure (AMI) Update, available at www.cpuc.ca.gov/Static/hottopics/1energy/ami_update+june+2006.pdf

Quantification Methods: Cost will be based on costs of smart metering experienced by other states/localities. Economic savings in reduced energy use will also be estimated.

## Key Assumptions:

| Parameter | Value | Notes |
| --- | --- | --- |
| Cost of smart meters and in-home displays | $250 | The Cost of smart metering infrastructure appears to range from $200 to $300 per meter. This range is based on the following studies: The Primen, Inc. 2004. California Information Display Pilot Technology Assessment, www.ucop.edu/ciee/‌dretd/‌documents/idp_tech_assess_final1221.pdf Idaho Power 2005. Phase One AMR Implementation Status Report under IPC-E-02-12, December 30, 2005 CA PUC 2006. Advanced Metering Infrastructure (AMI) Update, available at www.cpuc.ca.gov/Static/‌hottopics/1energy/ami_update+june+2006.pdf |
| Economic life of smart meters and in-home displays | 20 years | Assumes equipment lasts for 20 years. |
| Energy reduction due to real time pricing and in-home display | 5% | Primen (2004) cites studies documenting that useful feedback can result in energy reduction by 4% to 15%. “Smart Metering Study Summary” (smart-metering-append.pdf) compiled by CU Denver for the City and County of Denver indicate that savings differ widely from 0% to 26%. Five percent savings is a conservative or reasonable estimate given that some of these studies might be only reporting peak energy use or demand reduction. |
| Real discount rate for levelized cost of natural gas savings | 5% | Consistent with utility operation of program |
| Emissions factors | Electricity near-term (2008–2011): 0.92 tCO2e/MWh Electricity long-term (2012–2020): 0.79 tCO2/MWh |  |

- Energy savings are assumed to continue until 2020 with no decay of program effects, because the study period is less than the average lifetime of the program measures.

- Annualized program costs (amortized over a period of 13 years or longer, consistent with the life of the asset) are included in the analysis through 2020.

# Key Uncertainties

The level of energy savings is uncertain. Since 5% savings is a conservative estimate, actual savings might be higher.

Technological progress in this field is very fast and cost-effectiveness (benefit-cost ratio) of each technology is uncertain. Thus stakeholders, utilities, and the public utility commission need to be careful about the choice of technology.

Time-of-Use rates tend to encourage consumers to shift electricity usage to off-peak times. A policy that moves consumption from peak to off-peak times may or may not decrease GHG emissions, depending on whether the generation avoided during times of reduced consumption has lower emissions than the generation that is dispatched when consumption is increased.

# Additional Benefits and Costs

- Reducing peak demand and improving the utilization of the electricity system

- Electric utilities can save operating and maintenance expense through this measure. Examples include (1) reduced labor cost due to remote meter reading, (2) better outage management, and (3) more accurate meter reading and consumption forecasting.

- Consumers may be able to have more flexible retail choice under this program.

- Reducing the risk of power shortages

- Reducing energy price increases and volatility

- Enabling avoidance of energy supply projects

- Reducing water consumption by power plants

- Reducing pollutant emissions by power plants and improving public health

# Feasibility Issues

Implementing meters and in-home displays for all electric customers will cost ratepayers significantly. Some consumer groups might oppose this program.

This policy is mutually exclusive to RCI-5 and RCI-11.

# Status of Group Approval

Unanimous consent of those CAP members present and voting.

# Level of Group Support

No objections.

# Barriers to Consensus

None identified.

SCE. Residential Baseline Allocation, available at http://www.sce.com/NR/rdonlyres/DF137120-E263-459E-96F4-0B4F4BA60520/0/597R0906ResidentialBaseline.pdf