Decision No. C95-0518

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

IN THE MATTER OF THE DESIGNATION OF ELECTRIC UTILITY TRANSMISSION FACILITIES AND ELECTRIC UTILITY GENERATION FACILITIES FOR WHICH AN APPLICATION TO OBTAIN A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED, OR THE FILING OF A FORMAL DETERMINATION THAT NO CERTIFICATE IS REQUIRED.

ORDER OF THE COMMISSION GIVING NOTICE OF FILING

Mailed Date:  June 2, 1995

Adopted Date: May 31, 1995

I.	BY THE COMMISSION:

A.	Statement

1.	On November 30, 1983, in Case No. 5320, the Commission by Decision No. C83-1791 modified Rule 18 of the Commission's Electric Utility Rules, 4 Colorado Code of Regulations 723-3.  Rule 18 requires each Colorado electric utility to file with the Commission, no later than April 30 of each year, a schedule of its proposed new construction or extensions of generation and transmission facilities for the next three calendar years, as described in Sections (d) and (e) of Rule 18.

2.	Rule 18 further provides that within 30 days following the submission of the information, the Staff of the Commission ("Staff") shall make its recommendations to the Commission on whether an application for a certificate of public convenience and necessity, or formal determination that no certificate is needed.  The new construction or extension of transmission projects and facilities which will result in a ten-megawatt or greater increase in generating or transmission capacity for the utility, and which is scheduled to begin in the next calendar year, are the projects which are included in Rule 18.

3.	Rule 18 also provides that the Commission shall issue its decision on whether or not a certificate is required, or whether an application for a certificate of public convenience and necessity, or a formal determination that no certificate is required, within 60 days of April 30 of the calendar year in which the data are filed.

4.	Rule 18(g) provides that the information filed by each utility shall be public information, available for inspection at the offices of the Commission, during regular business days and hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or corporations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the data filed with the Commission within 15 days of the filing of the data.  Because 15 days from the filing of data will have expired and the Commission has been unable to give notice until now, the Commission will allow comments to be filed 15 days after the mailing of this decision.

5.	The following utilities have submitted proposed construction projects as listed:

Investor-owned Utilities

Public Service Company of Colorado

1.	FT. SAINT VRAIN-BARR LAKE 230KV LINE - NEW REPORTING

WestPlains Energy

1.	PUEBLO INDUSTRIAL PARK SUBSTATION - 115KV CIRCUIT BREAKERS AND CONTROLS - PREVIOUSLY REPORTED

2.	PUEBLO MEMORIAL AIRPORT SUBSTATION - CONVERT TO 115KV - PREVIOUSLY REPORTED

3.	HYDE PARK SUBSTATION - INCREASE TRANSFORMER CAPACITY - PREVIOUSLY REPORTED

4.	READER SUBSTATION - LINE TERMINATION AND CONTROLS - PREVIOUSLY REPORTED

5.	READER TO PUEBLO AIRPORT 115KV LINE - CONVERT 8.2 MILES  FROM 69KV TO 115KV AND ADD 3.3 MILES OF 115KV - PREVIOUSLY REPORTED

6.	MIDWAY SUBSTATION INTERCONNECTION - ESTABLISH INTERCONNECTIONS WITH TRI-STATE, WAPA & COLORADO SPRINGS - NEW REPORTING

7.	PUEBLO 141 MW COMBINED CYCLE GENERATION ADDITION - NEW REPORTING

8.	NORTH CANON-VICTOR 69KV LINE UPGRADE - IMPROVE MECHANICAL AND ELECTRICAL PERFORMANCE - NEW REPORTING

9.	LA JUNTA SUBSTATION INTERCONNECTION - ESTABLISH INTERCONNECTION WITH TRI-STATE LA JUNTA SUBSTATION - NEW REPORTING

Rural Electric Associations

Intermountain Rural Electric Association

1.	ELIZABETH-KIOWA 115KV TRANSMISSION LINE – PREVIOUSLY REPORTED

2.	PLUM CREEK SUBSTATION - NEW REPORTING

3.	DAVIDSON SUBSTATION - REPLACE PRESENT TRANSFORMER WITH A HIGHER CAPACITY TRANSFORMER - NEW REPORTING

4.	DIVIDE SUBSTATION - UPGRADE FROM 69KV TO 115KV - NEW REPORTING

5.	PARKER SUBSTATION - ADD TRANSFORMER - NEW REPORTING

6.	WOODLAND PARK SUBSTATION - MODIFY FOR FUTURE CONVERSION FROM 69KV TO 115KV - NEW REPORTING

7.	WOLFENSBERGER SUBSTATION - ADD TRANSFORMER – NEW REPORTING

8.	WOODLAND PARK SUBSTATION - REPLACE EXISTING 69KV TRANSFORMER WITH A 115KV TRANSFORMER - NEW REPORTING

Tri-State Generation and Transmission Association, Inc.

1.	EMPIRE-CORTEZ-BLUEDOOR TRANSMISSION LINES - REBUILD AND UPGRADE FROM 46KV TO 115KV - PREVIOUSLY REPORTED.

2.	BLUEDOOR SUBSTATION - ADD TWO LINE BAYS - NEW REPORTING

3.	COMANCHE-WALSENBURG 230KV TRANSMISSION LINE - PREVIOUSLY REPORTED.

4.	FRASER VALLEY LOOP SERVICE - NEW 115KV LINE FROM FRASER  SUBSTATION TO AN EXISTING SUBSTATION (NOT YET DETERMINED) - PREVIOUSLY REPORTED

5.	MONTROSE-COLONA TRANSMISSION LINE - REBUILD AND UPGRADE FROM 46KV TO 115KV - A PORTION OF THE MONTROSE-RIDGEWAY PROJECT - PREVIOUSLY REPORTED.

6.	CASCADE-SILVERTON-BURRO BRIDGE TRANSMISSION LINE - CHANGE OPERATION FROM 69KV TO 115KV - PREVIOUSLY REPORTED.

7.	BURRO BRIDGE-TELLURIDE 115KV LINE ACQUISITION FROM SAN MIGUEL - NO CONSTRUCTION - NEW REPORTING

8.	LOST CANYON E. CORTEZ 115KV LINE ACQUISITION FROM EMPIRE - NO CONSTRUCTION - NEW REPORTING

9.	MONUMENT-EMIL ANDERSON 115KV LINE ACQUISITION FROM MOUNTAIN VIEW  NO CONSTRUCTION - NEW REPORTING

10.	FALCON-MONUMENT 69/115KV CONVERSION - NEW REPORTING

11.	N. YUMA-RED WILLOW 115KV LINE RECONDUCTORING – NEW REPORTING

San Miguel Power Association, Inc.

1.	DALLAS CREEK SUBSTATION - BUILD NEW SUBSTATION TO 115KV BUT INITIALLY OPERATE AT 46KV - NEW REPORTING

2.	DALLAS CREEK TRANSMISSION - REBUILD 3 MILES OF 46KV LINE TO 115KV STANDARDS BUT INITIALLY OPERATE AT 46KV - NEW REPORTING

Wheatland Electric Cooperative, Inc.

REPORTED THAT NO NEW CONSTRUCTION IS PLANNED IN THE COLORADO SERVICE AREA

II.	ORDER

A.	The Commission Orders That:

1.	Notice is hereby given that certain investor-owned utilities and rural electric cooperative associations have submitted information about the proposed construction of transmission and generation facilities in accordance with Rule 18 of the Rules Regulating the Service of Electric Utilities to the Public Utilities Commission of the State of Colorado.  Under that rule, you are notified that the information is available for inspection at the offices of the Commission during regular business days and hours.

2.	Any interested person, firm, or corporation may file comments about the projects identified by the data now filed with the Commission, under Rule 18(f) of the Commission's Electric Utility Rules, 4 Colorado Code of Regulations 723-3, within 15 days after the Mailed Date of this Decision.  The Commission will consider any comments in determining which projects do not require a certificate of public convenience and necessity and which projects the utility will be required to file an application for a certificate of public convenience and necessity or a formal determination that a certificate is not required.

3.	This Order is effective on its Mailed Date.

B.	ADOPTED IN OPEN MEETING May 31, 1995.

THE PUBLIC UTILITIES COMMISSION

OF THE STATE OF COLORADO

Commissioners