# Decision No. C98-475

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

IN THE MATTER OF THE DESIGNATION OF ELECTRIC UTILITY TRANSMISSION FACILITIES AND ELECTRIC UTILITY GENERATION FACILITIES FOR WHICH AN APPLICATION TO OBTAIN A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED, OR THE FILING OF A FORMAL DETERMINATION THAT NO CERTIFICATE IS REQUIRED.

ORDER OF THE COMMISSION
GIVING NOTICE OF FILING

Mailed Date:  May 15, 1998

Adopted Date:  May 13, 1998

## I.	BY THE COMMISSION

- A.	Statement

1.	Rule 18 of the Commission’s Electric Utility Rules, 4 Code of Colorado Regulations 723-3, requires each Colorado electric utility to file with the Commission, no later than April 30 of each year, information on its proposed new construction or extensions of transmission and generation facili-ties for the next three calendar years, as described in Sec-tions (d) and (e).

2.	Rule 18(g) provides that the information filed by each utility shall be public information, available for inspec-tion at the offices of the Commission, during regular business days and hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or corporations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the data filed with the Commission within 15 days of the filing of data.  Because 15 days from the filing of some of the data have expired, the Commission will allow comments to be filed 15 days after the mailing of this Decision.

3.	The following utilities have filed information on proposed construction projects as listed:

- INVESTOR-OWNED UTILITIES

- Public Service Company of Colorado

- 1.	Valmont-Broomfield 115 kV Conductor Upgrade (New Reporting)

- 2.	Poncha Substation-Structure 120 Relocate 69 kV Transmission Line (New Reporting)

- 3.	Surrey Ridge Substation and Tap Install New 230 kV Facility (New Reporting)

- Southwestern Public Service Company to Public Serv-ice Company of Colorado Interconnection Project (New Reporting)

- WestPlains Energy

- 1.	Pueblo 141 MW Combined Cycle Generation Addition (Previously Reported - CPCN granted per Decision No. R95-372)

- 2.	Victor Substation Autotransformer (Previously Re-ported CPCN not required per Decision No. C97-644)

- 3.	Pueblo Industrial Park 115 kV Conversion and Line Protection (Previously Reported - CPCN not required per Decision No. C89-1061)

- 4.	Pueblo Memorial Airport Substation 115 kV Line (Previously Reported as Airport Industrial Park 115 kV Loop by Southern Colorado Power– CPCN not required per Decision No. C87-1303)

- 5.	Penrose Substation – Install 2nd 69 kV Transformer (Previously Reported in 1997 however no action was taken by the Commission on this project)

- RURAL ELECTRIC ASSOCIATIONS

- Intermountain Rural Electric Association

- 1.	Elizabeth-Kiowa 115 kV Transmission Line (Pre-viously Reported - CPCN not required per Decision No. C84-1218)

- 2.	Parker Substation Install 2nd Transformer (Pre-viously Reported - CPCN not required per Decision No. C95-616)

- 3.	Wolfsenberger Substation Install 2nd Transformer (Previously Reported - CPCN not required per Deci-sion No. C95-616)

- 4.	Castle Rock Substation Changeout Existing Trans-former (Previously Reported – CPCN not required per Decision No. C97-644)

- 5.	Ponderosa Substation (Previously Reported – CPCN not required per Decision No. C97-644)

- 6.	Woodland Park Substation Install 2nd 115 kV Trans-former (Previously Reported – CPCN not required per Decision No. C97-644)

- 7.	Shaffer’s Crossing Substation Modification to Replace High Side Fuses With a Circuit Switcher (New Reporting)

- 8.	Castle Rock Substation Terminate 115 kV Intertie from PSCo’s Daniels Park-Cottonwood 115 kV Line (New Reporting)

- 9.	Park View Substation Install New 115 kV Facility (New Reporting)

- 10.	Roxborough Substation Install New 115 kV Facility (New Reporting)

- Mountain View Electric Association, Inc.

- 1.	Forest Lakes Substation Install New 115 kV Facility (Previously Reported - CPCN not required per Deci-sion No. C96-669)

- 2.	Palmer Divide Substation Install New 115 kV Facil-ity (Previously Reported - CPCN not required per Decision No. C96-669)

- 3.	Elbert Substation and Tap Install New 69/115 kV Facility (Previously Reported - CPCN not required per Decision No. C96-669)

- 4.	Black Forest Substation Install 2nd 69 kV Trans-former (New Reporting)

- San Miguel Power Association

- 1.	Dallas Creek Substation Install 115-44 kV Trans-former (Previously Reported – CPCN not required per Decision No. C97-644)

- 2.	Ridgeway Reservoir 115 kV Transmission Line (Pre-viously Reported – CPCN not required per Decision No. C97-644)

- 3.	Molas Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C97-644)

- 4.	Coalbank Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C97-644)

- 5.	Cement Creek Substation Upgrade to 115 kV (Pre-viously Reported – CPCN not required per Decision No. C97-644)

- 6.	Sunshine Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C97-644)

- 7.	Telluride Substation Upgrade to 115 kV (Previously Reported – CPCN not required per Decision No. C97-644)

- 8.	Dallas Creek-Ouray 44 kV Transmission Line Rebuild (New Reporting)

- 9.	Norwood Substation Upgrade to 115 kV (New Report-ing)

- 10.	Telluride Substation Upgrade to 115 kV Phase II (New Reporting)

- Tri-State Generation and Transmission Association, Inc.

- 1.	Dallas Creek-South Canal 115 kV Transmission Line (Previously Reported by Colorado-Ute Electric Asso-ciation, Inc. as Montrose-Colona 115 kV Transmis-sion Line - CPCN not required per Decision No. C91-949)

- 2.	Cascade-Telluride Conversion to 115 kV Operation (Previously Reported – CPCN not required per Deci-sion No. R98-342)

- 3.	Fraser-Mill 115 kV Transmission Line (Previously Reported - CPCN granted per Decision No. C97-25)

- 4.	Prospect Valley-Sand Creek Tap 115 kV Transmission Line (Previously Reported - CPCN not required per Decision No. C96-669)

- 5.	Falcon-Fuller 69/115 kV Conversion (Previously Reported as Falcon-Monument 69/115 kV Conversion - CPCN determination required per Decision No. C95-616)

- 6.	Durango-Lost Canyon 115 kV Line Reconductor (Pre-viously Reported - CPCN not required per Decision No. C96-669)

- 7.	Nucla-Telluride 115 kV Transmission Line (Pre-viously Reported as Nucla-Sunshine/Telluride 115 kV Transmission Line – CPCN determination required per Decision No. C97-644)

- 8.	Cahone-Nucla 115 kV Transmission Line Uprate (New Reporting)

- 9.	North Yuma-Red Willow 115 kV Line Reconductor (Pre-viously Reported - CPCN determination required per Decision No. C95-616)

- 10.	McKenzie-Windy Gap 138kV Transmission Line Project (Previously Reported as Granby Pump-Windy Gap 138kV Transmission Line Project – CPCN not required Deci-sion No. C90-1125)

- 11.	Montrose-Nucla 115 kV Transmission Line Reconductor (New Reporting)

## II.	ORDER

### A.	The Commission Orders That:

1.	Notice is hereby given that certain investor-owned utilities and rural electric cooperative associations have sub-mitted information about the proposed construction of transmis-sion and generation facilities in accordance with Rule 18 of the Rules Regulating the Service of Electric Utilities, 4 Code of Colorado Regulations 723-3.  Under that rule, you are notified that the information is available for inspection at the offices of the Commission during regular business hours.

2.	Any interested person, firm, or corporation may file comments about the projects identified by the data now filed with the Commission within 15 days after the Mailed Date of this Decision.  The Commission will consider any comments in deter-mining which projects do not require a certificate of public convenience and necessity and for which projects the utility will be required to file an application for a certificate of public convenience and necessity or a formal determination that a cer-tificate is not required.

- 3.	This Order is effective upon its Mailed Date.

### B.	ADOPTED IN Commissioners’ WEEKLY MEETING May 13, 1998.

THE PUBLIC UTILITIES COMMISSION
OF THE STATE OF COLORADO



ROBERT J. HIX
________________________________



VINCENT MAJKOWSKI
________________________________



R. BRENT ALDERFER
________________________________

Commissioners

( S E A L )

ATTEST:  A TRUE COPY

____________________

Bruce N. Smith

Director

g:\yellow\input.doc:SS - 12/13/2004 07:00:00 PM