# Decision No. C98-53

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

DOCKET NO. 97A-603E

IN THE MATTER OF THE APPLICATION OF PUBLIC SERVICE COMPANY OF COLORADO FOR WAIVER RELATING TO RULE 29 OF THE PUBLIC UTILITIES COMMISSION’S RULES REGULATING THE SERVICE OF ELECTRIC UTILITIES FOUND AT 4 CCR 723-3.

DECISION GRANTING APPLICATION FOR WAIVER

Mailed Date:  January 20, 1998

Adopted Date:  January 14, 1998

## BY THE COMMISSION:

- Statement

- This matter comes before the Commission for con-sideration of the Application for Waiver and Request for Short-ened Notice Period filed by Public Service Company of Colorado (“Public Service”) on December 11, 1997.  The Request for Short-ened Notice Period was granted at the Weekly Meeting on Decem-ber 17, 1997.  The Commission issued notice of the application on December 19, 1997 and no requests for intervention were filed.  The application was deemed complete at the Weekly Meeting on January 7, 1998.  Now being duly advised in the matter, we will grant the application.

- In the present application, Public Service, a pub-lic utility subject to the Commission’s jurisdiction, requests a waiver of the requirements of Rule 29, Rules Regulating the Service of Electric Utilities, 4 Code of Colorado Regulations (“CCR”) 723-3.  That rule sets forth testing requirements for electric meters.  Public Service is currently operating under waivers of Rule 29.  These waivers allow Public Service to use a statistical Selective Testing Program rather than the periodic testing required by Rule 29 for approved electronic meters.  The waivers for the periodic testing to the Selective Testing Program have resulted from the increased reliability of metering equip-ment available.

- Public Service, in the present application, re-quests that we allow it a one-year additional waiver (1998) of the Selective Testing Program with the periodic testing continued as defined in Rule 29 during this period, excluding all currently effective waivers that have been approved and are in place.  Pub-lic Service is implementing an Automated Metering Reading (“AMR”) program in the Denver Metro area.  To accomplish this, an Encoded Receiver and Transmitter (“ERT”) module is attached to the meter.  The meter must either be removed and replaced with a new tested meter to which is attached an ERT, or pulled, fitted with an ERT module, tested, and then replaced in the field.  The application suggests that the customers will ultimately benefit from the economies of the proposed waiver and that revenue will not be affected by this request.

- Rule 1 of the Rules Regulating the Service of Electric Utilities, 4 CCR 723-3, allows for waivers from Rule 29 for good cause shown.  We find that the Selective Testing Program will not be compromised as a result of this waiver since all meters are being replaced and/or tested under the AMR program.

## ORDER

  - The Commission Orders That:

  - The Application for Waiver by Public Service Com-pany of Colorado filed on December 11, 1997 is granted.  The testing procedures provided by Rule 29, Rules Regulating the Service of Electric Utilities, 4 Code of Colorado Regulations 723-3, shall be modified in this case in accordance with the pro-posal in the application.  In particular, the Selective Testing Program will be waived for one additional year (1998), for the completion of the Automated Meter Reading Program.

  - The 20-day time period provided for by § 40-6-114(1), C.R.S., to file an application for rehearing, reargument, or reconsideration begins on the first day following the Mailed Date of this Decision.

  - This order is effective on its Mailed Date.

  - ADOPTED IN COMMISSIONERS’ WEEKLY MEETING January 14, 1998.

THE PUBLIC UTILITIES COMMISSION
OF THE STATE OF COLORADO



 ROBERT J. HIX
________________________________



 VINCENT MAJKOWSKI
________________________________



 R. BRENT ALDERFER
________________________________

Commissioners

g:\yellow\input.doc:PUCSRS - 1/16/1998 11:57:00 AM