# Decision No. C10-0050

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

DOCKET NO. 09M-392E

IN THE MATTER OF THE DESIGNATION OF ELECTRIC UTILITY TRANSMISSION FACILITIES AND ELECTRIC UTILITY GENERATION FACILITIES FOR WHICH AN APPLICATION TO OBTAIN A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED OR THE FILING OF A FORMAL DETERMINATION THAT NO CERTIFICATE IS REQUIRED.

order REGARDING public service
company of colorado’s Plainview-Leyden Site 115kV Line Rebuild Project

Mailed Date:  January 19, 2010

Adopted Date:  December 2, 2009

## BY THE COMMISSION

### Statement

- This matter comes before the Commission to consider the Response to Decision No. C09-0897 filed by Public Service Company of Colorado (Public Service) on September 14, 2009.

- Prior to issuing Decision No. C09-0897 in this matter, the Commission issued Decision No. C09-0861.  Decision No. C09-0861 is the 2009 version of the Commission’s annually issued order addressing the filings made by Colorado’s electric utilities pursuant to Rule 3206(c) of the Commission’s Rules Regulating Electric Utilities, 4 Code of Colorado Regulations 723-3.

- Decision No. C09-0681, inter alia, listed Public Service’s new projects requiring either an application for a certificate of public convenience and necessity (CPCN) or an application for a formal determination that no CPCN is required.  Public Service’s Plainview-Leyden Site 115kV Line Rebuild Project (Plainview Rebuild Project) was listed as needing a formal CPCN determination on the ground that Public Service needed to provide more information that considers 230kV construction for the Plainview Rebuild Project.

- Public Service timely filed an Application for Rehearing, Reargument, or Reconsideration (Application for RRR) of Decision No. C09-0861.

- By Decision No. C09-0897, the Commission granted, in part, Public Service’s Application for RRR.  The Commission determined that, based on the explanation provided by Public Service in its Application for RRR as to why the Plainview Rebuild Project should be deemed a normal course of business project, Public Service should be provided the opportunity to submit additional information on the Plainview Rebuild Project.  We then identified areas of inquiry to assist in reaching a determination on whether to require a formal CPCN determination.

- We now consider Public Service’s Response to Decision No. C09-0897 and, being duly advised in the premises, determine to change the conclusion set forth at Ordering Paragraph No. 6 of Decision No. C09-0861.  This Order is the “further order” identified at Ordering Paragraph No. 2 of Decision No. C09-0897.

### Findings and Conclusions

- The Plainview Rebuild Project is a modification of the “Eldorado-Plainview-Ridge 115kV Line Rebuild/Removal Project” proposed in Public Service’s 2008 Rule 3206 filing.  In the docket addressing the 2008 Rule 3206 filing, the Commission ordered Public Service to submit the “Eldorado-Plainview-Ridge 115kV Line Rebuild/Removal Project” and the “Eldorado-Valmont-Ridge 115kV Line Removal/Rebuild Project” for CPCN determinations to consider 230kV construction.  See Decision No. C08-0676.  The requirement in Decision No. C08-0676 that Public Service considers 230kV construction was to enable the Commission to see how these projects, being new construction, would fit in the long term needs of the load serving transmission network.  Subsequently, the 2008 “Eldorado-Valmont-Ridge 115kV Line Removal/Rebuild Project” was cancelled and changed in scope to add intermediate structures to increase ground clearances making it a normal course of business project.  Further, the “Eldorado-Plainview-Ridge 115kV Line Rebuild/Removal Project” was downsized in 2009 to become the Plainview Rebuild Project.

- In support of its position that the Plainview Rebuild Project be deemed a normal course of business project that does not require a CPCN, Public Service, in its Response to Decision No. C09-0897, explains it did not pursue uprating the line to 230kV since much of the line in question was built in 1910 and modifying the towers or the conductor would not be prudent from a structural engineering standpoint.  Public Service contends that it is best to use as much of the existing line as possible and rebuild only those segments not presently capable of achieving a 150 MVA loading.

- Next, Public Service explains that it has no plans to do anything other than continue operating the Plainview to Leyden 115kV line as a radial line to service Tri-State Generation and Transmission Association, Inc.’s United Power customers.  Moreover, the long-term transmission plan submitted by the Colorado Long Range Planning Group reflects no plans to make the Leyden to Plainview line segment a 230kV line or to loop it at lower voltage based on the needs of the interconnected system.

- Finally, Public Service explains it has no viable reason to upgrade the Plainview to Leyden segment to 230kV based on the loads (growth forecast) in the area and the adequacy of the existing 115kV systems for load serving responsibility.  For these reasons Public Service has not performed any extensive studies as to how this line fits into the long term plans of the Ridge/Lookout to Valmont system, especially at 230kV.

- In addition to the above, Public Service’s Application for RRR states Public Service’s belief that building the line at 230kV with 115kV operation is not necessary since 230kV construction would lead to a higher expense and delay with no corresponding benefits.  According to Public Service, the increased cost is in the range of 25 percent.  Further, the likely delay would be attributable to the additional time required for a CPCN process and the additional permitting time needed to acquire the additional rights-of-way.  Public Service further states that the line feeds a small Tri-State Generation and Transmission Association, Inc. load (United Power) and that it is not aware of any load growth that would justify construction at 230kV.

- Considering all of the above, and especially the load serving nature of this 115kV project and its narrow scope, the Commission concludes that the Plainview Rebuild Project is in the ordinary course of business and therefore no CPCN is required.

## ORDER

### The Commission Orders That:

- Based on the information provided by Public Service Company of Colorado as described above, the Commission determines that no certificate of public convenience or necessity is required for the Plainview-Leyden Site 115kV Line Rebuild Project as it is deemed to be in the ordinary course of business.

- The conclusion reached in this Order supersedes and replaces that portion of Ordering Paragraph No. 6 of Decision No. C09-0681 with respect to the Plainview-Leyden Site 115kV Line Rebuild Project.

- The 20-day period provided for in § 40-6-114, C.R.S., within which to file applications for rehearing, reargument, or reconsideration begins on the first day following the effective date of this Order.

- This Order is effective upon its Mailed Date.

### ADOPTED IN COMMISSIONERS’ WEEKLY MEETING
December 2, 2009.

| (S E A L) ATTEST: A TRUE COPY Doug Dean, Director | - THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO RONALD J. BINZ ________________________________ JAMES K. TARPEY ________________________________ - MATT BAKER ________________________________ - Commissioners |
| --- | --- |

/tmp/in/input.doc:SRS