PROPOSED QUESTIONS FOR PANEL PARTICIPANTS

- I.	Storage

- What is the current cost ($/kWh) of storage for residential, commercial, and industrial customers?  At what price is storage economic for those respective customers?

- Based on the assumptions above, what growth rate do you project for storage in Colorado?

- Quantify the impact of residential storage on the cost-benefit calculation for net metering.

- What regulatory changes are necessary to encourage storage projects?

- II.	Distribution System Design and Ancillary Benefits

- Are there changes to distribution grid design that would enable delivery of more (or better) benefits from on-site solar to the utility?  To solar-PV customers?  To non-solar customers?

- Quantify the costs and benefits of implementing those changes.

- Explain any policy change that will facilitate this transition.

- III.	System Sizing and Panel Orientation

- If residential PV systems were sized to meet no more than 100 percent of customer’s average annual use, would that mitigate the under recovery from solar customers by utilities and therefore reduce the shift in costs from solar to non-solar customers?

- What percent of current peak load is being met with on-site solar?  What percent of peak load growth will be offset by on-site solar?

- Would changing panel orientation (e.g., shifting toward a west facing panel orientation) reduce the system peak and by how much?  What is the economic value of that reduction?

- What is the appropriate incentive level to encourage west facing panel orientation?

- When will residential PV systems reach grid parity in Colorado and should systems installed at that point no longer receive either a REC payment or net metering bill credit?

- IV.	Minimum Bill

- Explain the level of minimum bill you would propose.

- Quantify the impact of a minimum bill on the cost and benefits of net metering to solar and 
non-solar customers.

- Would implementation of a minimum bill effect the growth of Solar*Rewards projected in previous filings in this proceeding?