# Decision No. C17-0539

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

PROCEEDING NO. 17M-005E

IN THE MATTER OF THE DESIGNATION OF ELECTRIC UTILITY TRANSMISSION FACILITIES FOR WHICH AN APPLICATION TO OBTAIN A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED OR THE FILING OF A FORMAL DETERMINATION THAT NO CERTIFICATE IS REQUIRED.

decision REGARDING 
CERTIFICATION OF FACILITIES

Mailed Date:  	June 30, 2017

Adopted Date:  	June 28, 2017

## BY THE COMMISSION

### Statement

- Rule 3206 (d) of the Colorado Public Utilities Commission’s (Commission) Rules Regulating Electric Utilities, 4 Code of Colorado Regulations 723-3, requires each Colorado electric utility to file with the Commission, no later than April 30 of each year, information on proposed new construction or extensions of transmission facilities for the next three calendar years.

- The following utilities filed Rule 3206 reports into this proceeding:

- Black Hills/Colorado Electric Utility Company, L.P.;

- Grand Valley Power;

- Intermountain Rural Electric Association, Inc.;

- Public Service Company of Colorado; and

- Tri-State Generation and Transmission Association, Inc.

- Commission Decision No. C17-0373-I issued May 12, 2017, provided notice of the filings, informed parties that specific information of each utility’s filings was on file with the Commission, and established an opportunity for interested parties to file comments on or before June 15, 2017.   No comments were filed.

- New projects that were filed in 2017 under Rule 3206(d) are listed below by utility with a brief description of each project:

- Black Hills/Colorado Electric Utility Company, L.P. Inc. (Black Hills)

- Boone-La Junta 115 kV Line Rebuild, to rebuild the 45 mile line with new single circuit 115 kV construction.  This facility will be designed by the utility to meet the Rule 3206 noise and magnetic field requirements.  Black Hills requested an affirmative determination by the Commission that a certificate of public convenience and necessity (CPCN) is not required for this project.

- Grand Valley Power

- Expansion of the existing Orchard Mesa substation with an additional 69/12.5 kV, 10.5 MVA transformer.  The utility considers this project to be within the ordinary course of business.

- Intermountain Rural Electric Association (IREA)

- Meadows 115 kV Substation, a new substation to provide additional capacity for anticipated loads in the Promenade/Meadows area. The Substation will tap the existing IREA Plum Creek to the Wolfensberger 115kV transmission line. The facility will be the utility's standard configuration of two 30/40/50 MVA, 115/12.47 kV transformers and metal clad switchgear.

- Franktown 115 kV Substation, a new substation to provide additional capacity for anticipated loads in the Franktown area. The Substation will tap the existing IREA Bayou to Castle Rock 115kV transmission line. The Substation location is still to be determined. The facility will be IREA's standard configuration of two 30/40/50 MVA, 115/12.47 kV transformers and outdoor 12.4kV bus.

- Roberts Tunnel to Shawnee 44 kV transmission line upgrade, to upgrade approximately 8.3 miles of line between Roberts Tunnel and Shawnee from 44 kV to 115 kV.

- Public Service Company of Colorado (Public Service)

- NREL Substation, consisting of building a new substation which taps the existing Plainview-Eldorado 115 kV line south of Boulder, Colorado.  Transmission service to this customer is necessary because the customer is increasing its generation capacity.  This substation will allow the customer to interconnect via a new customer owned 115 kV transmission line.  Public Service will ensure that this project meets noise and magnetic 
field level requirements as per CPUC Rules 3206(e) and (f). The utility requested the Commission find this project to be in the ordinary course of business.

- Two Basins Relocation Project, consisting of the relocation of three existing 115 kV transmission lines (consisting of both overhead and underground lines) exiting the North substation.  This relocation project is necessary to accommodate the City and County of Denver’s Two Basins storm water drainage project which will provide 100-year storm protection for certain areas of the city.  Public Service will ensure that this project meets noise and magnetic field level requirements pursuant to 
Rules 3206(e) and (f). The utility requested the Commission find this project to be in the ordinary course of business.

- Tri-State Generation and Transmission Association, Inc. (Tri-State)

- Burlington-Burlington KCEA 115kV Transmission Line Rebuild line, consisting of rebuilding and reconductoring the existing 1.94 miles of 115 kV transmission line between Tri-State’s Burlington Substation and KCEA’s Burlington Substation. Audible noise and magnetic fields associated with the project will not exceed the levels set forth in Rules 3206(e) and (f).  The utility requests that the Commission issue a decision finding that this project is in the ordinary course of business and does not require a CPCN.

- Gateway 115/12.47 kV Delivery Point, consisting of building a new 115 kV line and associated distribution substation in Larimer County west of I-25 in the general vicinity of Larimer County Road (CR) 16 to serve new load growth in Poudre Valley Rural Electric Association’s (PVREA) service area. The utility requests that the Commission issue a decision finding that this project is in the ordinary course of business and does not require a CPCN.

- Lazy Dog Substation, consisting of building a new green field substation located in Weld County near the intersection of CR 6 and CR 7. It will be served via WAPA’s Erie-Terry Street 115kV line. The substation will contain a 115-13.2kV 36/48/60 MVA transformer. The utility requests that the Commission issue a decision finding that this project is in the ordinary course of business and does not require a CPCN.

- Parkway Substation-T2 Installation, consisting of the installation of a 
115-13.2 kV 36/48/60 MVA distribution transformer with associated metering, SCADA, and telecom equipment. The utility requests that the Commission issue a decision finding that this project is in the ordinary course of business and does not require a CPCN.

- Sunshine-Telluride Transmission Line Uprate and Reactor Addition.  This project will energize the existing Sunshine-Telluride 69 kV line at 115 kV, remove the Sunshine 115-69 kV transformer and 69 kV circuit breaker, and install a new 16 MVAR reactor at Sunshine in place of the removed Sunshine 115-69 kV transformer. The utility requests that the Commission issue a decision finding that this project is in the ordinary course of business and does not require a CPCN.

- Commission Rules 3206(b)(II)(A) and (B) state that transmission facilities designed at 115 kV or 138 kV require a CPCN if the facilities do not meet the noise and magnetic field thresholds established in Commission rules, or if the Commission determines that the facilities are not in the ordinary course of business.

- Commission Rule 3206(d) allows utilities to request a decision that certain projects are in the ordinary course of business and do not require a CPCN.  Three of the filing utilities specifically requested the Commission find certain projects to be in the ordinary course of business and not require a CPCN.

- All the proposed projects filed to meet the Rule 3206 April 30, 2017 deadline are designed for operation at 115 kV or below, and will be designed to be in compliance with the magnetic fields and audible noise Rules 3206(e) and 3206(f) respectively.  The Commission finds all the proposed projects filed to meet the Rule 3206 April 30, 2017 deadline to be in the ordinary course of business.  The Commission will also rule these projects to not require a CPCN.

## ORDER

### The Commission Orders That:

- The following Black Hills/Colorado Electric Utility Company, L.P. Inc. project is in the ordinary course of business and does not require a Certificate of Public Convenience and Necessity (CPCN):

  - Boone-La Junta 115 kV Line Rebuild.

- The following Grand Valley Power project is in the ordinary course of business and does not require a CPCN:

  - Orchard Mesa Substation Expansion.

- The following Intermountain Rural Electric Association projects are in the ordinary course of business and do not require a CPCN:

  - Meadows 115 kV Substation;

  - Franktown 115 kV Substation; and

  - Roberts Tunnel to Shawnee 44 kV Transmission Line Upgrade.

- The following Public Service Company of Colorado projects are in the ordinary course of business and do not require a CPCN:

  - NREL Substation; and

  - Two Basins Relocation Project.

- The following Tri-State Generation and Transmission Association, Inc. projects are in the ordinary course of business and do not require a CPCN:

  - Burlington-Burlington KCEA 115kV Transmission Line Rebuild;

  - Gateway 115/12.47 kV Delivery Point;

  - Lazy Dog Substation;

  - Parkway Substation-T2 Installation; and

  - Sunshine-Telluride Transmission Line Uprate and Reactor Addition.

- 10.	The 20-day period provided for in § 40-6-114, C.R.S., within which to file applications for rehearing, reargument, or reconsideration begins on the first day following the effective date of this Decision.

- 11.	This Decision is effective on its Mailed Date.

### ADOPTED IN COMMISSIONERS’ WEEKLY MEETING 
June 28, 2017.

| (S E A L) ATTEST: A TRUE COPY Doug Dean, Director | - THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO JEFFREY P. ACKERMANN ________________________________ FRANCES A. KONCILJA ________________________________ WENDY M. MOSER ________________________________ Commissioners |
| --- | --- |