# Decision No. R19-0450

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

PROCEEDING NO. 18A-0824G

IN THE MATTER OF THE VERIFIED JOINT APPLICATION OF BLACK HILLS GAS DISTRIBUTION, LLC AND BLACK HILLS/COLORADO GAS UTILITY COMPANY, INC. FOR A COMMISSION DECISION APPROVING A QUALITY OF SERVICE PLAN.

Recommended decision OF 
ADMINISTRATIVE LAW JUDGE 
CONOR F. FARLEY 
GRANTING-IN-pART AND dENYING-IN-PART APPLICATION AND CLOSING PROCEEDING

Mailed Date:  	May 29, 2019

TABLE OF CONTENTS

I.	STATEMENT	2

A.	Summary	2

B.	Background	5

1.	Decision No. R16-0058 Issued in Proceeding No. 15A-0667G	5

2.	This Proceeding	6

II.	ANALYSIS	9

A.	Burden of Proof	9

B.	Conferrals by BH Colorado Gas and Staff and Delay in Filing Application	9

C.	Interpretation of Decision No. R16-0058	11

1.	Prevention of Service Degradation Versus Continuous Improvement	11

a.	Parties’ Positions	11

b.	Analysis	12

2.	Positive and Negative Incentives	13

a.	Parties’ Positions	13

b.	Analysis	14

D.	QSP	17

1.	Safety Metrics – Damage Prevention and Emergency Response Time	18

a.	Parties’ Positions	18

b.	Analysis	19

2.	Reliability Metric – Outage Frequency	19

a.	Parties’ Positions	19

b.	Analysis	20

3.	Adequacy of Service Metrics	20

a.	Call Abandonment Rate	20

(1)	Parties’ Positions	20

b.	Analysis	21

4.	Average Time to Answer Customer Calls	22

a.	Parties’ Positions	22

b.	Analysis	22

5.	Billing Accuracy Rate	23

a.	Parties’ Positions	23

b.	Analysis	23

6.	On-Time Rate for Non-Emergency Service Calls.	23

a.	Parties’ Positions	23

b.	Analysis	24

7.	Efficiency of Service	24

a.	Parties’ Positions	24

b.	Analysis	24

E.	Duration of the QSP	25

F.	Variance from Decision No. R16-0058’s Six-Month Requirement	25

III.	ORDER	25

A.	The Commission Orders That:	25

## STATEMENT

### Summary

- This Decision addresses the Verified Application for a Commission Decision Approving a Quality of Service Plan filed by Black Hills Gas Distribution, LLC (BH Gas Distribution) and Black Hills/Colorado Gas Utility Company, Inc. (BH Gas Utility) (collectively, BH Colorado Gas) on November 21, 2018 (Application).  As explained in detail below, Decision No. R16-0058 that issued on January 22, 2016 in Proceeding No. 15A-0667G required BH Colorado Gas and Staff of the Colorado Public Utilities Commission (Staff) to confer regarding a quality of service plan (QSP) and file an application seeking the Commission’s approval thereof.  However, due to multiple oversights by both BH Colorado Gas and Staff, BH Colorado Gas did not seek the Commission’s approval of the QSP until November 21, 2018 – over two years after Decision No. R16-0058 issued.  The parties conferred intermittently from June to November 2018 but were unable to reach agreement on a QSP.  They then jointly decided that BH Colorado Gas would file the Application and Staff would intervene and oppose it.

- The record in this proceeding is not as fulsome as it could have been.  This is a result of the over three-year delay in the parties’ conferral about the Commission-mandated QSP, but also the positions taken by the parties in this proceeding.  BH Colorado Gas has maintained that the QSP ordered in Decision No. R16-0058 does not require a penalty provision if BH Colorado Gas’s customer service does not satisfy the metrics created in this proceeding.  Further, BH Colorado Gas resolutely refused to provide evidence of the appropriate penalty level or the framework governing the administration of penalties.

- For its part, Staff decided not to provide detailed evidentiary support for any portion of its preferred QSP.  This includes the appropriate penalty level(s) and administrative framework for penalties for failure to hit the QSP metrics, which Staff maintains is required by Decision No. R16-0058.  Instead, Staff has focused its advocacy on requesting the Commission to: (a) provide answers to two issues that have divided the parties in their negotiations; (b) deny the Application; and (c) order the parties back to the bargaining table to hammer out an agreement regarding a QSP.  The end-result is that the record on both the appropriate penalty level(s) and administrative framework and all other aspects of the QSP is not as robust as it could have been.

- In addition, given that the previous negotiations between the parties resulted in this contested proceeding, it is unclear why the Commission should share Staff’s confidence that any further negotiation between the parties would be successful.  Given the tenor of some of the testimony in this proceeding, it is not unreasonable to conclude that the parties’ ability to negotiate successfully (at least on a QSP) may be compromised.  If the Administrative Law Judge (ALJ) were to adopt Staff’s proposal, it seems equally likely that the parties would return with another contested proceeding, which would result in further delay in instituting the QSP ordered by the Commission over three years ago.

- Based on this background, and as explained in detail below, the undersigned ALJ recommends granting-in-part and denying-in-part the Application.  Specifically, the ALJ first concludes that the QSP ordered by Decision No. R16-0058 must include negative financial incentives (or penalties), but not positive financial incentives, and that the metrics must be designed to prevent service degradation, not continuous service improvement.  The ALJ then approves the QSP metrics proposed by BH Colorado Gas with modifications, but declines to establish the appropriate penalties for violations of the QSP metrics or the framework governing their imposition due to the flawed record and the complexity of those issues.  Instead, the ALJ orders the parties to confer regarding those issues and then BH Colorado Gas to file an Application seeking the Commission’s approval of the results of the conferral within six weeks after the Commission’s final decision in this proceeding.

### Background

#### Decision No. R16-0058 Issued in Proceeding No. 15A-0667G

- On January 22, 2016, Administrative Law Judge Paul C. Gomez issued Decision No. R16-0058 in Proceeding No. 15A-0667G, which addressed a Joint Application filed by Rocky Mountain Natural Gas, LLC (RMNG), SourceGas Distribution LLC (SourceGas Distribution), SourceGas LLC (SourceGas), SourceGas Holdings LLC (SourceGas Holdings) (collectively, SourceGas Companies), and Black Hills Utility Holdings, Inc. (BHUH).  At the time, SourceGas Holdings owned 100 percent of the ownership interests in SourceGas, which, in turn, owned 100 percent of the ownership interests in SourceGas Distribution and RMNG, which were jurisdictional public utilities.  In the Joint Application, the parties sought permission for BHUH to acquire SourceGas Holdings.  Post-transaction, SourceGas Distribution and RMNG would become subsidiaries of BHUH, thereby joining BHUH’s Colorado-based jurisdictional public utility subsidiary, Black Hills/Colorado Gas Utility LP.  Staff and the OCC intervened in Proceeding No. 15A-0667G.

- Decision No. R16-0058 approved in part a Settlement Agreement between BHUH, Staff, and the OCC in which BHUH agreed “to strive to maintain or enhance the quality of its service to customers.”  The Commission nevertheless found that BHUH’s mere agreement provided insufficient protections to ratepayers.  As a result, Decision No. R16-0058 required “BHUH . . . to implement a Quality of Service Plan (QSP) in consultation with Staff that establishes certain metrics which will be evaluated on an annual basis for no less than five years.”  The decision identified several metrics that were required to be included in the QSP, but emphasized that others could be included, and further required BHUH to provide annual reports to the Commission detailing BHUH’s compliance with the metric parameters.  It also required BHUH to meet with Staff within 90 days, and “to file and implement a Commission-approved” QSP within six months, of the closing of the transaction.

- No party filed exceptions to Decision No. R16-0058.  As a result, Decision No. R16-0058 became the decision of the Commission on February 11, 2016.  SourceGas Distribution and RMNG became subsidiaries of BHUH.  SourceGas Distribution’s name was subsequently changed to Black Hills Gas Distribution, LLC (BH Gas Distribution).  Black Hills Colorado Gas, Inc. (BH Colorado Gas) later became the successor-in-interest to BH Gas Utility and BH Gas Distribution.

#### This Proceeding

- Notwithstanding the requirement in Decision No. R16-0058 to file an application seeking approval of a QSP within six months of the closing of the transaction, BH Colorado Gas did not file the application until November 21, 2018.  That application initiated this proceeding.  BH Colorado Gas filed the direct testimony of Frederic C. Stoffel with the Application.

- The Commission issued Notice of the Application on November 21, 2018.

- On December 20, 2018, Staff filed a Notice of Intervention as of Right, Entry of Appearance, Notice Pursuant to Rule 1007(a) and Rule 1401, and Request for Hearing.

- On January 4, 2019, in Decision No. C19-0019-I, the Commission deemed the Application complete and referred the proceeding to an ALJ.  In so doing, the Commission stated:

- [i]n conjunction with Black Hills’ request for a variance from certain QSP-related requirements in Decision No. R16-0058, and based on statements in the Application regarding the Company’s conferrals with Staff prior to the filing of its Application, we direct the ALJ to examine and describe in the recommended decision the nature and outcome of the conferrals and their impact on the timing and contents of the Application filing.

The proceeding was subsequently assigned to the undersigned ALJ.

- On January 16, 2019, the Administrative Law Judge issued Decision 
No. R19-0065-I that scheduled both a joint prehearing conference with Proceeding 
No. 18A-0823G for January 25, 2019 at 9:00 a.m. and the hearing in this proceeding for April 5, 2019, and ordered the parties to confer regarding a schedule for this proceeding and to file a report regarding the results of the conferral on January 24, 2019.

- On January 24, 2019, the parties filed the report ordered in Decision 
No. R19-0065-I.

- On January 25, 2019 at 9:00 a.m., the ALJ conducted the prehearing conference ordered in Decision No. R19-0065-I.  BH Colorado Gas, RMNG, and Staff attended.

- On January 29, 2019, the ALJ issued Decision No. R19-0119-I that vacated and reset the hearing to April 10 and 11, 2019 and established the prehearing and posthearing schedules in this proceeding.  The schedule included deadlines of March 6 and 27, 2019 for written answer and rebuttal testimony, respectively.

- Staff timely filed the written answer testimony of Gene L. Camp and Marianne Ramos, and BH Colorado Gas timely filed the written rebuttal testimony of Mr. Stoffel, Crystal A. Cooley, and Kimberley A. Schneider.

- On April 9, 2019, the Office of Consumer Counsel (OCC) filed a Motion to Participate as Amicus Curiae and Request for Shortened Response Time (Motion).  In its Motion, the OCC stated that it opposes the use of monetary incentives in a Quality of Service Plan because “the use of incentives can cause utility rates to increase.”  The OCC stated that if permitted to participate as an amicus curiae, it would file its legal argument by April 25, 2019.

- The hearing took place as scheduled on April 10, 2019.  Mr. Stoffel, Ms. Schneider, and Ms. Cooley testified on behalf of BH Colorado Gas, and Mr. Camp and Ms. Ramos testified on behalf of Staff.  Exhibits 2, 4, 6, 8, 9, 11, 13, and 15 through 17 were admitted into the evidentiary record.  At the outset of the hearing, the parties made an oral motion to conduct the hearing as a joint hearing with Proceeding No. 18A-0823G due to the overlap of the evidence and issues in the two proceedings.  For the sake of efficiency, the ALJ granted the motion.

- On April 16, 2019, Staff filed a Response to the OCC’s Motion stating that it opposed the Motion because it was filed too late.

- On April 25, 2019, the ALJ issued Decision No. R19-0373-I that denied the OCC’s Motion.

- On April 25, 2019, BH Colorado Gas and Staff filed Statements of Position (SOPs).

## ANALYSIS

### Burden of Proof

- Except as otherwise provided by statute, the Administrative Procedure Act imposes the burden of proof in administrative adjudicatory proceedings upon “the proponent of an order.”  BH Colorado Gas, as the party seeking an order by the Commission, bears the burden of proof by a preponderance of the evidence.  The evidence must be “substantial evidence,” which is defined as “such relevant evidence as a reasonable [person’s] mind might accept as adequate to support a conclusion ... it must be enough to justify, if the trial were to a jury, a refusal to direct a verdict when the conclusion sought to be drawn from it is one of fact for the jury.”  This standard requires the finder of fact to determine whether the existence of a contested fact is more probable than its non-existence.

### Conferrals by BH Colorado Gas and Staff and Delay in Filing Application

- As noted above, notwithstanding the requirement in Decision No. R16-0058 to file and implement the QSP within six months of the closing of the acquisition of the SourceGas Companies, BH Colorado Gas did not file an application seeking approval of its QSP until November 21, 2018.  BH Colorado Gas met with Staff on May 11, 2016 and July 1, 2016 to discuss a QSP.  Following the meetings in 2016, BH Gas Utility and BH Gas Distribution filed their QSP on July 12, 2016 in the proceeding in which Decision No. R16-0058 issued, but did not ask the Commission to approve the QSP.  BH Colorado Gas states that its failure to seek the Commission’s approval in 2016 was an unintentional error.  Because the proceeding was effectively closed, Staff was not monitoring the proceeding.  For this reason, and because BH Colorado Gas did not inform Staff of the filing, Staff was unaware that the QSP had been filed.

- In the QSP, BH Colorado Gas agreed to monitor certain metrics for calendar years 2017 through 2021 and to file an annual report with the Commission on May 15 following each calendar year.  On May 15, 2018, BH Colorado Gas filed its first annual report.  Prior to filing the annual report, Black Hills met with Staff on May 14, 2018 to discuss the report.  This was the first time that Staff became aware that the QSP had been filed in 2016.  Thereafter, BH Colorado Gas and Staff agreed that the QSP needed to be approved by the Commission.  BH Colorado Gas met with Staff on September 4, 2018, September 27, 2018, October 19, 2018, and November 2, 2018 to discuss, among other things, an agreed-upon QSP plan that both BH Colorado Gas and Staff could present to the Commission pursuant to an Application.

- BH Colorado Gas and Staff could not agree on a QSP plan.  In November 2018, Mr. Camp told Mr. Stoffel that they were at an impasse and he recommended that BH Colorado Gas file an Application for the approval of the QSP preferred by BH Colorado Gas, Staff would intervene, and the Commission would have to adjudicate the differences between BH Colorado Gas and Staff.  BH Colorado Gas then filed the Application that initiated this proceeding on November 21, 2018.

### Interpretation of Decision No. R16-0058

- The parties disagree over two fundamental questions: whether the QSP required by Decision No. 16-0058 must include: (a) metrics designed to ensure avoidance of service degradation or incentivize the continuous improvement of service; and (b) positive and/or negative incentives.  Each question is addressed in turn.

#### Prevention of Service Degradation Versus Continuous Improvement

##### Parties’ Positions

- The parties disagree on whether the QSP ordered by Decision No. R16-0058 is required to include metrics designed to prevent service degradation or incentivize the continuous improvement of service.  Specifically, BH Colorado Gas argues that Commission Decision No. R16-0058 requires a QSP that focuses on preventing service degradation, not on incentivizing continuous service improvement.  Based on this approach, BH Colorado Gas has focused on developing performance metrics, measuring the metrics before or soon after the transaction to develop a baseline, and then measuring the metrics over time and comparing them to the baseline to determine whether service degradation has occurred.

- Staff, on the other hand, believes that the QSP must incentivize continuous service improvement.  The three general areas in which Staff has argued for continuous improvement are safety, reliability, and adequacy of service.  Citing Decision Nos. R16-0058, R15-1247, 
C18-0736-I, and R18-0972, Staff asserts that the Commission “now expects Colorado utilities to actively and continuously pursue ongoing operational enhancements” in these three areas.  Staff thus could not agree with BH Colorado Gas that the QSP ordered by the Commission need only include metrics focused on avoiding degradation of service.

##### Analysis

- The ALJ concludes that Decision No. R16-0058 requires a QSP that prevents service degradation, not continuous improvements in service.  The plain language and intent of Decision No. R16-0058 compels this conclusion. As noted above, BHUH agreed in the Settlement Agreement to, among other things, “strive to maintain or enhance the quality of its service to customers”  The legal standard applied in Decision No. R16-0058 permitted approval of the Settlement Agreement, and thus the acquisition, if it was not contrary to the public interest.  This required, in turn, a determination that approval would balance ratepayer and utility shareholder interests and not result in net harm to customers.

- In the application of the “no net harm” part of this standard, the Commission first noted that:

- [q]uality of service is of paramount consideration in a merger or asset transfer, and a major factor in determining the “not contrary to public interest” standard. Certainly, any potential or actual degradation in quality of service as a result of a merger would be considered harmful to ratepayers. Without safeguards to ensure that quality of service remains a priority, it is not possible to determine that no harm to ratepayers will occur as a result of the transaction.

Decision No. R16-0058 then found that BHUH’s agreement merely “to strive to maintain or enhance the quality of its service to customers” was “inadequate to ensure ratepayers are protected and that no degradation of service occurs as a result of the acquisition transaction.”  Instead, Decision No. R16-0058 determined that a “safeguard” in the form of a QSP was necessary to ensure that ratepayers suffered no net harm as a result of the acquisition.  Decision No. R16-0058 thus ordered BHUH to implement a QSP as a condition of approving the Settlement Agreement and, thus, the acquisition.

- Based on the foregoing, the ALJ concludes that the plain language of the decision and the legal standard applied in Decision No. R16-0058 compels the conclusion that the purpose of the QSP is to prevent degradation, not promote continuous improvement, in service quality.

#### Positive and Negative Incentives

##### Parties’ Positions

- BH Colorado Gas believes that Decision No. R16-0058 merely requires it to develop a QSP with metrics and then measure and report the values of the metrics over the five years required by Decision No. R16-0058.  According to BH Colorado Gas, Decision 
No. R16-0058 does not require any monetary incentives to punish degradation, or reward improvement, of service.  Instead, if the performance of BH Colorado Gas falls below the requirements of the metrics in the QSP, BH Colorado Gas states that its annual report will indicate as much and Staff can then open an investigation, attempt to resolve the issue with BH Colorado Gas, and then file a complaint with the Commission if it cannot resolve it with the company.

- In contrast, Staff believes that “[n]egative incentives (i.e. penalties) are essential to any QSP that claims to help ensure no degradation of service occurs.”  According to Staff, “[m]erely reporting and putting the onus on Staff and the Commission to act if they discover actual degradation is not what Staff believes the Commission envisioned.”  As a result, Staff believes that a penalty provision must be included in the QSP, but does not advocate for a specific amount.  Staff also believes that positive financial incentives in the form of financial rewards for BH Colorado Gas improving its performance by exceeding the metric thresholds should be included, but does not offer any detail regarding the level of the incentives or how they would be administered.

##### Analysis

- The ALJ concludes that the QSPs ordered in Decision No. R16-0058 are required to have negative financial incentives or penalties, but not positive financial incentives.  While the decision does not specially address the question of financial incentives, the ALJ’s conclusion is the most consistent with the language of the decision, the context within which it was reached, and the purpose of the QSP requirement.  As noted above, Decision No. R16-0058 equated “any potential or actual degradation in quality of service” with harm to ratepayers, which would have required the denial of the Application seeking approval of the acquisition of the SourceGas Companies by BHUH. Given the importance of the prevention of service quality degradation to

- the approval of the acquisition, the ALJ cannot conclude that Decision No. R16-0058 meant that penalties were not required if BH Colorado Gas violated the QSP.

- Similarly, the ALJ cannot conclude that Decision No. R16-0058 required BH Colorado Gas only to file an annual report stating whether its service quality had satisfied the QSP metrics, which would then put the burden on Staff to investigate, file a complaint against BH Colorado Gas, and then prove that the failure of BH Colorado Gas to comply with the metrics is deserving of one or more penalties.  As the parties are aware, such a process is 
time-consuming, expensive, and, by placing the burden of proof on Staff, uncertain.  Given that Decision No. R16-0058 stressed the need “to ensure . . . that no degradation of service occurs as a result of the acquisition transaction,” the ALJ cannot conclude that Decision No. R16-0058 intended such an outcome.  For the same reason, the ALJ cannot conclude that Decision No. R16-0058 required positive financial incentives for BH Colorado Gas to improve its quality of service.

- Finally, the context within which Decision No. R16-0058 was decided supports this conclusion.  The QSPs that the Commission had approved and that were in effect at the time of Decision No. R16-0058 included negative financial incentives or penalties.  Specifically, two separate QSPs governed Public Service Company of Colorado’s (PSCo) gas and electric operations in 2016.  They included penalties payable as bill credits to affected ratepayers if PSCo failed to meet the QSP’s performance metrics for two consecutive years.  In addition, Black Hills’ predecessor-in-interest – Aquila, Inc., doing business as Aquila Networks-WPC (Aquila) –

- had a QSP in effect from 2005 through 2013 that also included penalties payable as bill credits to affected ratepayers if Aquila failed to meet the QSPs performance metrics.  None of these QSPs had positive financial rewards to incentivize the improvement of service quality and, in fact, the decision approving the QSP for Aquila rejected a proposal to include positive financial incentives.

- Accordingly, based on the foregoing context within which Decision 
No. R16-0058 was decided, the ALJ concludes that Decision No. R16-0058 required the QSP to include one or more negative financial incentives or penalties for failure to meet the QSP’s performance metrics.  The ALJ further concludes that Decision No. R16-0058 did not require the QSP to include positive financial incentives for BH Colorado Gas to improve performance.

- However, given the less-than-perfect record on these issues, the ALJ will not determine the appropriate amount(s) for the penalty(ies) or the framework governing their imposition.  Before the hearing, BH Colorado Gas refused to stray from its position that no financial incentives are required by Decision No. R16-0058 and refused to provide any evidence concerning a penalty amount or the framework for the imposition of the penalties.  During questioning by the ALJ at the hearing, BH Colorado Gas argued that the $250,000 penalty amount used in PSCo’s QSPs is too high for BH Colorado Gas and offered that a $25,000 penalty amount was in the realm of reasonableness given that BH Colorado Gas is approximately one-tenth the size of PSCo.  Nevertheless, BH Colorado Gas did not specify whether its calculation of the relative sizes of the two companies was based on customer counts, revenues, or some combination of the two.  And, BH Colorado Gas continues to maintain that a penalty provision is inappropriate in this proceeding.

- In addition, the penalty provisions included in PSCo’s and Aquila’s QSPs are very complex.  It is likely that their complexity was driven, at least in part, by concerns over incentivizing the “correct” behavior, and not behavior that would lead to unintended results.  Given the complexity of incentives, the less-than-perfect record in this proceeding on that issue, and the risk of financial harm and incentivizing unintended behavior by imposing a penalty framework without a full record, the ALJ will not decide the amount of the penalties or the framework governing their imposition.  Instead, the ALJ will order the parties to confer and submit an Application seeking the Commission’s approval of both the penalties and the framework that will govern their imposition.

### QSP

- The QSP proposed by BH Colorado Gas includes two safety metrics, one reliability metric, four adequacy of service metrics, and one efficiency of service metric.  Staff does not propose any additional metrics.  The metrics proposed by BH Colorado Gas are described below.

#### Safety Metrics – Damage Prevention and Emergency Response Time

##### Parties’ Positions

- In the general category of safety metrics, BH Colorado Gas proposes specific damage prevention and emergency response time metrics. The damage prevention metric counts the number of times a pipe is hit during locates.  The goal proposed by BH Colorado Gas is 2.7 pipe hits per 1,000 locates.  The historical data for 2015 through 2017 shows that BH Colorado Gas experienced 3.28 pipe hits per 1,000 locates.

- The emergency response time metric measures the amount of time it takes BH Colorado Gas service personnel to respond to customer-initiated field emergencies, including customer-initiated odor reports.  The goal proposed by BH Colorado Gas is to respond to 98 percent of customer-initiated field emergencies within 60 minutes.

- Staff opposes BH Gas’ proposed safety metrics, but while it offers some basis for its opposition, it does not propose any alterations to the proposed metrics.  As justification, Staff states that it

- is trying to be respectful of the fundamentals of the QSP process, which allows that all parties are expected to agree on an acceptable performance outcome.  If the Commission desires, Staff can provide recommendations on appropriate values and bandwidths for each of the Commission approved performance metrics.  However, Staff is hopeful that the Commission will provide further clarification and specific direction as part of this Proceeding as to its expectations for a QSP.  This would allow the parties to continue discussions with a mutual understanding, rather than a fundamental disagreement, about what they are trying to accomplish.

Staff thus requests that the Commission deny BH Colorado Gas’s Application and order the parties to negotiate a QSP and present it in a new application filed within three months of a final Commission decision in this proceeding.

##### Analysis

- The ALJ concludes that the safety metrics proposed by BH Colorado Gas are effectively unrebutted and reasonable.  If Staff wanted to propose alternative metrics or provide a more robust record supporting its argument that BH Gas’ proposed metrics are inadequate, it should have done so in this proceeding.  Over three years have transpired since Decision No. R16-0058 required the parties to confer and file an application for the approval of a QSP.  Requesting the Commission to deny the Application in this proceeding and engage in further negotiations is unreasonable under the circumstances.  Accordingly, the ALJ finds and concludes that the metrics proposed by BH Gas are reasonable and shall be adopted.

#### Reliability Metric – Outage Frequency

##### Parties’ Positions

- In the general reliability category, BH Colorado Gas proposes an outage frequency metric.  This metric measures the number of outages caused by actions of Company personnel impacting service to 25 or more customers.  The annual goal proposed by BH Colorado Gas is two such outages per year, the reasonableness of which is supported by ten years of data.

- Staff responds that an outage frequency metric is inappropriate for BH Colorado Gas because outages on a distribution system are typically localized and affect a limited number of ratepayers, unlike a transmission line outage that can affect a significantly higher number of customers.  Staff thus proposes to eliminate this metric.  While Staff states that another reliability metric should take its place, Staff does not suggest one.

##### Analysis

- The ALJ concludes that the outage frequency metric proposed by BH Colorado Gas shall be adopted.  Based on the record in this proceeding, the limit of two outages per year is reasonable.

#### Adequacy of Service Metrics

- BH Colorado Gas proposes four adequacy of service metrics: (a) call abandonment rate; (b) average time to answer customer calls; (c) billing accuracy rate; and (d) on-time rate for non-emergency service calls.  Each is addressed in turn.

##### Call Abandonment Rate

###### Parties’ Positions

- The call abandonment rate is the percentage of all inbound calls abandoned by the caller for slow response time.  In December 2016, BH Colorado Gas replaced the legacy telephone system used by the SourceGas Companies with a new “Genesys Telephone Technology System.”  BH Colorado Gas claims that it cannot validate the call abandonment data generated by the legacy SourceGas telephone system, or normalize the data generated by both the legacy and new Genesys systems, because “many variables impact the reported data and how it was collected and calculated.”  The data collected from the Genesys system since it went online in December 2016 indicates that the call abandonment rate was approximately 4.5 percent in 2017 and 4.2 percent in 2018.  Based on this data, BH Colorado Gas argues that the goal for the annual call abandonment rate should be 4.5 percent of all inbound calls, which includes calls from ratepayers in the eight states in which the Genesys system is used.  BH Colorado Gas states that it can isolate the data from the inbound calls from Colorado ratepayers, but that it has used the larger data set because “the Colorado gas-only results will show little difference from the multi-state aggregate reporting results.”

- Staff states that the call abandonment rate should be based solely on inbound calls from the Colorado service area.  In addition, Staff states that a 4.5 percent call abandonment rate represents a decrease in service quality based on the data from the Genesys system, which averaged a 4.35 percent call abandonment rate in 2017 and 2018.  When data from the legacy telephone systems is relied upon, which shows an average call abandonment rate by the Black Hills companies of 2.7 percent and by the SourceGas companies of 1.5 percent from 2012 through 2016, the decrease in performance proposed by BH Colorado Gas is more significant.  However, Staff does not propose a specific call abandonment rate to be included in the QSP.

##### Analysis

- The ALJ concludes that a call abandonment rate of 2.7 percent is reasonable and shall be adopted.  The Black Hills companies achieved an average call abandonment rate of 2.7 percent over the four years preceding the acquisition of the SourceGas Companies.  In comparison, the SourceGas Companies achieved a call abandonment rate of 1.6 percent during

- the same period.  However, the evidence is that Black Hills has had difficulty validating data from the legacy systems used by SourceGas.  Using 2.7 percent for the call abandonment rate against which future performance will be measured will provide an accurate picture of whether the performance on the call abandonment metric has degraded since the acquisition.

#### Average Time to Answer Customer Calls

##### Parties’ Positions

- Time to Answer Calls is the average time it takes to answer inbound calls.  BH Colorado Gas proposes to calculate the average answer time using both Interactive Voice Response (IVR)-handled and agent-handled calls.  The IVR calls are handled by a computerized automated system, not a human.  BH Colorado Gas proposes an annual goal of 40 seconds for all calls (IVR-handled and agent-handled) and further proposes that all inbound calls to Black Hills’ call centers from ratepayers in all eight states served by Black Hills be included in the calculation of the average.  Staff suggests that the metric be limited to Colorado calls and that IVR-handled calls should be excluded from the calculation of this metric.  But, Staff does not offer an alternative to the 40-second metric proposed by BH Colorado Gas.

##### b.	Analysis

- The ALJ concludes that the 40 seconds metric shall be used, the calls used to calculate the metric shall be IVR-handled and agent-handled calls, and the calls used to calculate the metric shall be limited to Colorado.  The ALJ concludes that such data will provide the best picture of BH Colorado Gas’ service in responding to customer calls.  Limiting the metric to agent-handled calls would not provide an accurate picture of the customer experience.

#### Billing Accuracy Rate

##### Parties’ Positions

- Billing Accuracy is the percentage of bills that were not re-issued.  BH Colorado Gas proposes the billing accuracy metric be 99 percent.  Staff notes that the performance from 2011 through 2015 by BH Colorado Gas and the SourceGas Companies averaged 99.67 percent and 99.23 percent, respectively.  Again, Staff does not propose a different percentage, but notes that the service metric will decrease from the pre-merger numbers if the proposal by BH Colorado Gas is adopted.

##### Analysis

- The ALJ concludes that the billing accuracy metric shall be 99.45 percent.  This will give a baseline to determine whether billing accuracy has declined since the acquisition.

#### On-Time Rate for Non-Emergency Service Calls.

##### Parties’ Positions

- To be on-time for non-emergency calls means that service personnel arrive before, or within, the scheduled appointment window.  Black Hills Colorado Gas proposes that its 
on-time rate for non-emergency calls be set at 87 percent.  In recommending a rate of 94 percent, Staff relies on data showing that the on-time rate for Black Hills Colorado Gas from 2015 through 2016 was 84 percent and for the SourceGas Companies from 2013 through 2016 was 94 percent.  Black Hills Colorado Gas states that the data cited by Staff is unreliable and cannot be relied on in setting metric.

##### Analysis

- The ALJ concludes that 87 percent is the appropriate value to use for this metric.  Given the problems encountered by Black Hills Colorado Gas in validating the historical data, it is not reasonable under the circumstances to use the higher number proposed by Staff.  Assuming that the SourceGas historical data is correct, using 87 percent for the metric represents an improvement in service quality over the performance of SourceGas.

#### Efficiency of Service

##### Parties’ Positions

- Black Hills Colorado Gas proposes this metric be the sum of three separately weighted inputs: (a) service line extensions installed within 15 business days (35 percent); (b) service connections completed within 10 business days (35 percent); and (c) refunds after signing of Contribution-in-Aid-of-Construction contracts provided within 150 days (30 percent).  Black Hills Colorado Gas proposes that the annual goal for this metric be 80 percent.  Staff does not propose any alterations to this proposal

##### Analysis

- The ALJ concludes that this proposal by Black Hills Colorado Gas shall be adopted.

### Duration of the QSP

- Decision No. R16-0058 required that the QSP be in place and “evaluated on an annual basis for no less than five years.”  As explained below, BH Colorado Gas will have 30 days following the Commission’s final decision in this proceeding to file, on not less than one-day’s notice to the Commission, tariff pages implementing the QSP approved here.  Once it is implemented, BH Colorado Gas will evaluate its performance with respect to the metrics in the QSP on an annual basis for no less than five years.

### Variance from Decision No. R16-0058’s Six-Month Requirement

- As noted above, Decision No. R16-0058 required BH Colorado Gas to implement a Commission-approved QSP within six months of the closing of the acquisition of the SourceGas Companies by BHUH.  Obviously, we are well past the six-month deadline.  For this reason, BH Colorado Gas requests a variance of the deadline imposed by Decision 
No. R16-0058.  The request shall be granted.

## ORDER

### The Commission Orders That:

- Consistent with the discussion above, the Verified Application for a Commission Decision Approving a Quality of Service Plan (QSP) filed by Black Hills Gas Distribution, LLC and Black Hills/Colorado Gas Utility Company, Inc.  (BH Colorado Gas) on November 21, 2018 (Application) is granted-in-part and denied-in-part.

- BH Colorado Gas shall file, on not less than one-day’s notice to the Commission, tariff pages implementing the QSP approved above.

- Consistent with the discussion above, BH Colorado Gas shall confer with Staff of the Commission and file an Application seeking approval of the penalty provisions of the QSP discussed above within six weeks after the Commission’s final decision in this proceeding.

- BH Colorado Gas’s request for a variance from the requirement in Decision No. R16-0058 to implement a Commission-approved QSP within six months of the closing of the acquisition addressed in that proceeding, is granted.

- Proceeding No. 18A-0823G is closed.

- This Recommended Decision shall be effective on the day it becomes the Decision of the Commission, if that is the case, and is entered as of the date above.

- As provided by § 40-6-109, C.R.S., copies of this Recommended Decision shall be served upon the parties, who may file exceptions to it.

- If no exceptions are filed within 20 days after service or within any extended period of time authorized, or unless the decision is stayed by the Commission upon its own motion within 20 days after service, the recommended decision shall become the decision of the Commission and subject to the provisions of § 40-6-114, C.R.S.

- If a party seeks to amend, modify, annul, or reverse basic findings of fact in its exceptions, that party must request and pay for a transcript to be filed, or the parties may stipulate to portions of the transcript according to the procedure stated in § 40-6-113, C.R.S.  If no transcript or stipulation is filed, the Commission is bound by the facts set out by the administrative law judge and the parties cannot challenge these facts.  This will limit what the Commission can review if exceptions are filed.

- If exceptions to this Decision are filed, they shall not exceed 30 pages in length, unless the Commission for good cause shown permits this limit to be exceeded.

| (S E A L) ATTEST: A TRUE COPY Doug Dean, Director | - THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO CONOR F. FARLEY ________________________________ Administrative Law Judge |
| --- | --- |

Hearing Exhibit 16 at 2 (¶ 1), 12 (¶ 37).  Black Hills/Colorado Gas Utility LP subsequently became BH Gas Utility.  Black Hills Colorado Gas, Inc. (BH Colorado Gas) is the successor-in-interest to BH Gas Utility and BH Gas Distribution.  See RMNG’s SOP at 3.

Hearing Exhibit 5, Attach. FCS-4 at 8 (¶ 12.F).

Hearing Exhibit 16 at 34-35 (¶ 106).

Id. at 35 (¶ 109).

Id. (¶¶ 108-109).

Id. at 35 (¶ 109), 39 (Ordering ¶ 8).

See BH Colorado Gas’s Statement of Position (SOP) at 1.

Decision No. C19-0019-I at 4 (¶ 13).

Motion at 2 (¶ 3).

§ 24-4-105(7), C.R.S.

Section 24-4-105(7), C.R.S.; § 13-25-127(1), C.R.S.; Rule 1500 of the Rules of Practice and Procedure, 4 Code of Colorado Regulations 723-1.

See, e.g., City of Boulder v. PUC, 996 P.2d 1270, 1278 (Colo. 2000) (quoting CF&I Steel, L.P. v. PUC, 949 P.2d 577, 585 (Colo. 1997)).

Swain v. Colorado Department of Revenue, 717 P.2d 507 (Colo. App. 1985).

See Hearing Exhibit 11, Attach. GLC-3.

Hearing Exhibit 11, Attach. GLC-2.

Hearing Exhibit 6 at 8:10-21.

Hearing Exhibit 11 at 18:3-20.  See Transcript at 132:13-134:15.

Hearing Exhibit 11, Attach. GLC-4 at 1.

Hearing Exhibit 11, Attach. GLC-4 at 1-2

Hearing Transcript at 129:25-130:20.

Hearing Exhibit 6 at 5:13-6:18.

Id.

Hearing Exhibit 6:14-13.

Decision No. R15-1247 was issued in Proceeding No. 15A-0662EG on November 23, 2015; Decision No. C18-0736-I was issued in Proceeding No. 17AL-0363G on August 29, 2018; and Decision No. R18-0972 was issued in Proceeding No. 18AL-0305G on November 1, 2018.

Hearing Exhibit 13 at 15:6-13, n. 9 (emphasis omitted).

Hearing Exhibit 6, Attach. FCS-4 at 8 (¶ 12.F).

Hearing Exhibit 16 at 35 (¶ 107) (emphasis added).

Hearing Exhibit 6, Attach. FCS-4 at 8 (¶ 12.F) (emphasis added).

Hearing Exhibit 16 at 34-35 (¶¶ 105-106) (emphasis added).

Id.

Hearing Transcript at 45:13-46:7; RMNG’s SOP at 23-24.

Hearing Transcript at 17:3-18:2; 48:1-9.

Staff’s SOP at 9.

Id. at 8.

Hearing Exhibit 13 at 5:13-145.  But see id. at 45:7-9 (“Staff advocates for $250,000 per year for each performance metric for both penalties and incentives.”).

Staff’s SOP at 9.

Exhibit 16 at 35 (¶ 107).

Id. at 34-35 (¶ 106) (emphases added).

BH Colorado Gas’s SOP at 6 (“When interpreting a Commission decision, the context . . . often is important to understand.”).

See Decision No. R13-0734 issued in Proceeding No. 12A-778EG on June 18, 2013.

See Decision No. R05-0313 issued in Proceeding No. 04A-046E on March 17, 2005; September 30, 2013 Annual Report and Cover Letter filed in Proceeding No. 04A-046E.

Id. at 12 (¶ 33).

Hearing Transcript at 49:17-51:14.

See Decision No. R13-0734 at 5-7 (¶¶ 20-24), 8 (¶ 27), 11 (¶ 37); Decision No. R05-0313 at 11-2 
(¶¶ 32-33).

See Hearing Transcript at 45:13-46:20.

See id. at 42:25-52:4.

Hearing Exhibit 4 at 9:10-11.

Hearing Exhibit 8 at 2:20-21.

Hearing Transcript at 20:14-16; 77:16-19.

Hearing Exhibit 13 at 45:13-46:2.

Staff’s SOP at 6, 11-12.

Hearing Exhibit 8 at 3:9-11; 8:20-9:21.

Hearing Exhibit 13 at 34:7-10.

Hearing Exhibit 9 at 7:3-18.

Hearing Exhibit 4, Attach. FCS-3 at 7; Hearing Transcript at 41:13-42:20 (discussing that the precise numbers shown on the graphs in Attach. FCS-3 are difficult to ascertain from the graphs).

Hearing Exhibit 9 at 7:20-8:1.

Hearing Exhibit 13 at 30:16-31:3.

Id. at 31:3-9.

Id. at 31:9-32:3.

Hearing Exhibit 9 at 3:19-22.

Hearing Exhibit 13 at 32:4-10.

Hearing Exhibit 9 at 4:6-7, 8:13-17.

Hearing Exhibit 13 at 32:11-33:3.

Hearing Exhibit 9 at 3:6-9.

Hearing Exhibit 13 at 33:4-34:6.

Hearing Transcript at 75:20-76:17.

Hearing Exhibit 16 at 35 (¶ 107).