# Decision No. C02-716

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

IN THE MATTER OF THE DESIGNATION OF ELECTRIC UTILITY TRANSMISSION FACILITIES AND ELECTRIC UTILITY GENERATION FACILITIES FOR WHICH AN APPLICATION TO OBTAIN A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED OR THE FILING OF A FORMAL DETERMINATION THAT NO CERTIFICATE IS REQUIRED.

Order of the commission pertaining
to certification of facilities

Mailed Date:  July 5, 2002

Adopted Date:  June 27, 2002

## I.	BY THE COMMISSION

### Statement

    - Sections (d) and (e) of Rule 18 of the Commission’s Electric Utility Rules, 4 Code of Colorado Regulations 723-3, require each Colorado electric utility to file a schedule of its proposed new construction or extensions of generation and transmission facilities for the next three calendar years no later than April 30 of each year.

    - Rules 18(d)(2) and (e)(2) further provide that the Commission shall issue its decision on whether a certificate of public convenience and necessity, or a formal determination regarding the necessity of a certificate, is required within 60 days of April 30 of the calendar year in which the data are filed.

    - Rule 18(g) provides that the information filed by each utility shall be public information, available for inspection at the offices of the Commission during regular business days and hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or corporations.  Any interested person, firm, or corporation may file comments about the identified projects within 15 days of the filing of the data.

    - The Commission noticed the data filing on May 31, 2002, and a 15-day period for comments ended June 17, 2002.  No comments were filed.

    - The following utilities submitted proposed projects:

- Mountain View Electric Association, Inc.

- Public Service Company of Colorado

- Intermountain Rural Electric Association, Inc.

- Tri-State Generation and Transmission Association,
  Inc.

- Aquila, Inc. (formerly WestPlains Energy)

    - New projects were reported as listed below:

- Mountain View Electric Association, Inc.

- Apple Tree Substation

- Public Service Company of Colorado

- Sky Gen/Calpine Combustion Turbine Generation Addition

- Blue Spruce Interconnection

- Cherokee-Derby 115kV to 230kV Upgrade

- Valmont-Boulder Terminal 115kV Transmission Line 
  Upgrade

- Bancroft-Gray Street 115kV line Uprate

- Bancroft-Kendrick 115kV line Uprate

- Lookout-West-Denver Terminal 230kV line Uprate

- Boone-Lamar 230kV line Uprate

- Intermountain Rural Electric Association, Inc.

- Divide Substation

- Elizabeth Substation

- Lake George 115kV Substation

- Parker 115kV Substation

- Sulphur 230kV Substation (this replaces Parker 230kV)

- Sulphur-Parker 115kV Line

- Divide Substation Modification

- Bayou Substation Modification

- Lemon Gulch 230kV Substation

- Lemon Gulch 230kV Transmission Line

- Bayou Substation

- Fairplay Substation

- Wolfensberger Substation

- Greenland Substation Modification

- Tri-State Generation and Transmission Association, 
  Inc.

- Black Squirrel-Monument 69kV Line Uprate

- Bayfield-Durango 115kV Line Uprate

- Aquila, Inc. (formerly WestPlains Energy)

- Pueblo West Substation

## II.	ORDER

### The Commission Orders That:

    - No certificate of public convenience and necessity shall be required for the following Mountain View Electric Association, Inc., project:

- Apple Tree Substation, in-service August 2004

    - No certificate of public convenience and necessity shall be required for the following Public Service Company of Colorado projects:

- Calpine Combined Cycle Generation Addition – covered in the 1999 IRP.

- Rocky Mountain Energy Center 230/345kV Interconnection, in-service May 2004 (formerly Green Valley-Calpine Double Circuit 345kV Transmission Line) – covered in 1999 IRP.

- Green Valley-Spruce (formerly Box Elder) 230/345kV Transmission Line, in-service May 2004, - covered in 1999 IRP.

- Sky Gen/Calpine Combustion Turbine Generation Addition - covered in 1999 IRP.

- Blue Spruce (formerly SkyGen) Interconnection, in-service May 2003 - covered in 1999 IRP.

- Cherokee-Derby 115kV to 230kV Upgrade, in-service May 2003.

- Valmont-Boulder Terminal 115kV Transmission Line upgrade, in-service June 2005.

- Bancroft-Gray Street 115kV Line Uprate, in-service May 2002.

- Bancroft-Kendrick 115kV Line Uprate, in-service May 2003.

- Lookout-West-Denver Terminal Line Uprate, in-service October 2003.

- Boone-Lamar Uprate, in-service December 2003.

    - No certificate of public convenience and necessity shall be required for the following Intermountain Rural Electric Association, Inc., projects:

- Divide Substation, in-service August 2002

- Elizabeth Substation, in-service December 2002

- Lake George 115kV Substation, in-service December 2003

- Parker 115kV Substation, in-service February 2002

- Sulphur-Parker 115kV Line, in-service April 2004

- Divide Substation Modification, in-service August 2003

- Bayou Substation Modification, in-service July 2003

- Bayou Substation, in-service February 2004

- Fairplay Substation, in-service July 2004

- Wolfensberger Substation, in-service November 2004

- Greenland Substation Modification, in-service October 2004

    - Public Service Company of Colorado shall file for a certificate of public convenience and necessity or for a formal determination that no certificate of public convenience and necessity is required for the following projects:  a) Steamboat Looped Transmission, in-service October 2003; b) Midway-Smoky Hill 345kV Line, in-service June 2005 (formerly South East Denver Area to Pueblo Area High Capacity Transmission Line); c) Denver Terminal-Dakota-Arapahoe 230 kV Line, in-service May 2004; and d) Sky Ranch-Smoky Hill 230kV Transmission Line Connection to the Havana-East 115kV Transmission Line, in-service May 2004 (formerly Tower-48th & Chambers 230kV Transmission Line).  The filing shall include, but shall not be limited to:

- (a)	a map showing the general area or actual locations where facilities will be constructed, population centers, major highways, state boundaries, county boundaries;

- (b)	electric one line diagrams including substation one line diagrams;

- (c)	information on alternatives studied, costs for those alternatives, criteria used to rank or eliminate alternatives;

- (d)	justification for the preferred alternative, including technical and/or economic studies;

- (e)	demonstration that the public convenience and necessity of Colorado consumers require granting of the application; and

- a report of prudent avoidance measures considered and justification for the measures selected to be implemented.

    - Intermountain Rural Electric Association, Inc., shall file updated project information as part of its future Rule 18 filings for determination of whether a certificate of public convenience and necessity or for a formal determination that no certificate of public convenience and necessity is required, for the following projects:

- Sulphur 230kV Substation, in-service April 2004

- Lemon Gulch 230kV Substation, in-service August 2004

- Lemon Gulch 230kV Transmission Line, in-service August 2004

    - No certificate of public convenience and necessity shall be required for the following Tri-State Generation and Transmission Association, Inc., projects:

- Fuller-Black Squirrel-Monument 69kV Line Uprate

- Bayfield-Durango 115kV Line Uprate

    - No certificate of public convenience and necessity shall be required for the following Aquila, Inc., project:

- Pueblo West Substation

    - This Order is effective on its Mailed Date.

### ADOPTED IN Commissioners’ WEEKLY MEETING
June 27, 2002.

THE PUBLIC UTILITIES COMMISSION
OF THE STATE OF COLORADO



RAYMOND L. GIFFORD
________________________________



POLLY PAGE
________________________________



JIM DYER
________________________________

Commissioners

(S E A L)

ATTEST: A TRUE COPY

Bruce N. Smith
Director

G:\YELLOW\C02-CPCN_6396.DOC
Inez G. Dominguez