Decision No. C96-0669

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

IN THE MATTER OF THE DESIGNATION OF ELECTRIC UTILITY TRANSMISSION FACILITIES AND ELECTRIC UTILITY GENERATION FACILITIES FOR WHICH AN APPLICATION TO OBTAIN A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED, OR THE FILING OF A FORMAL DETERMINATION THAT NO CERTIFICATE IS REQUIRED.

ORDER OF THE COMMISSION PERTAINING TO 
CERTIFICATION OF FACILITIES

Mailed Date:  July 2, 1996

Adopted Date:  June 26, 1996

I.	BY THE COMMISSION:

Statement

1.	Sections (d) and (e) of Rule 18 of the Commission's Electric Utility Rules, 4 Code of Colorado Regulations 723-3, require each Colorado electric utility to file with the Commission, no later than April 30 of each year, a schedule of its proposed new construction or extensions of generation and transmission facilities for the next three calendar years.

2.	Rules 18(d)(2) and (e)(2) further provides that the Commission shall issue its decision on whether a certificate is required or whether an application for a certificate of public convenience and necessity, or a formal determination regarding the necessity of a certificate, is required within 60 days of April 30 of the calendar year in which the data are filed.

3.	Rule 18(g) provides that the information filed by each utility shall be public information, available for inspection at the offices of the Commission, during regular business days and hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or corporations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the data filed with the Commission within 15 days of the filing of data.

4.	Notice of the filing of the data was given by the Commission on May 24, 1996.  In addition, notice of the filing of late filed data by Mountain View Electric Association, Inc., was given on June 7, 1996.  One set of comments was filed.

5.	The following utilities have submitted proposed construction schedules:

Intermountain Rural Electric Association

Mountain View Electric Association, Inc.

Public Service Company of Colorado

San Miguel Power Association, Inc.

Tri-State Generation and Transmission Association, Inc.

WestPlains Energy

6.	New projects were reported as listed below:

Mountain View Electric Association, Inc.

FOREST LAKE 115-12.5KV SUBSTATION - construct new 115-12.5kV substation located approximately 2 miles west of I-25 adjacent to PSCo's 115kV transmission line.

PALMER DIVIDE 69/115-12.5KV SUBSTATION - construct new 115-12.5kV substation to be initially operated at 69kV, located approximately 0.5 mile south of Palmer Divide Road adjacent or under existing Monument-Russellville 69kV transmission line.

PEYTON SUBSTATION - install second 69kV transformer (bus work will be constructed for 115kV).

ELBERT 69/115KV TRANSMISSION LINE AND SUBSTATION - construct new 115-12.5kV substation to be initially operated at 69kV, located approximately 0.5 mile south of the Town of Elbert.  Construct 115kV transmission line to be operated at 69kV from new Elbert Substation to existing Russellville Substation.

Public Service Company of Colorado

SHOSHONE-RIFLE 69KV/115KV UPGRADE - construct Hopkins-Roaring Fork-Glenwood 115kV transmission line; remove existing Shoshone-Glenwood 69kV transmission line; rebuild Glenwood-Rifle 69kV transmission line for 115kV.

PAWNEE TURBINE BLADE UPGRADE - upgrade the turbine steam path by replacing turbine blades and controls resulting in 16MW of increased capacity.

Tri-State Generation and Transmission Association, Inc.

PROSPECT VALLEY-SAND CREEK TAP 115KV TRANSMISSION LINE - construct 7 miles of 115kV transmission line from Morgan County Rural Electric Association's existing Prospect Valley Substation to the Sand Creek Tap on Western Area Power Administration's existing Hoyt-Terry 115kV transmission line.

DURANGO-LOST CANYON 115KV LINE UPGRADE - reconductor existing Durango-Lost Canyon 115kV line with 477 MCM conductor.

WestPlains Energy

PUEBLO READER SUBSTATION - install 115kV line termination and associated protection facilities for Reader-Power Plant new 115kV line.

BLENDE SUBSTATION - install 69kV line termination, insulated for 115kV, and associated protection facilities for Reader-Blende 69kV line.

READER-BLENDE 69KV LINE RE-ROUTE - re-route a section of existing 69kV transmission line to Blende Substation.  Re-route will be insulated for 115kV.

CRIPPLE CREEK SUBSTATION - install second 69/13.8kV transformer (bus work will be constructed for 115kV).

II.	ORDER

A.	The Commission Orders That:

1.	No certificate of public convenience and necessity shall be required for the following Mountain View Electric Association, Inc., projects:

Forest Lake 115-12.5kV Substation - New Facility

Palmer Divide 69/115-12.5kV Substation - New Facility

Peyton Substation - 2nd Transformer

Elbert 69/115kV Transmission Line and Substation - New Facility

2.	No certificate of public convenience and necessity shall be required for Public Service Company of Colorado’s Shoshone-Rifle 69kV/115kV Upgrade project.  Public Service Company of Colorado shall file for a certificate of public convenience and necessity or for a determination that no certificate of public convenience and necessity is required for the Pawnee Turbine Blade Upgrade project.

3.	No certificate of public convenience and necessity shall be required for the following WestPlains Energy projects:

Pueblo Reader Substation - 115kV Line Termination For Reader-Power Plant New 115kV Line

Blende Substation - 69kV Line Termination

Reader-Blende 69kV Line Re-route

Cripple Creek Substation 2nd Transformer

4.	No certificate of public convenience and necessity shall be required for the following Tri-State Generation and Transmission Association, Inc., projects:

Prospect Valley-Sand Creek Tap 115kV Transmission Line

Durango-Lost Canyon 115kV Line Upgrade

5.	This Order is effective on its Mailed Date.

B.	ADOPTED IN OPEN MEETING June 26, 1996.

THE PUBLIC UTILITIES COMMISSION

OF THE STATE OF COLORADO

Commissioners

COMMISSIONER VINCENT MAJKOWSKI ABSENT.