# Decision No. C97-456

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

DOCKET NO. 97A-118E

In the Matter of the Application of Public Service Company of Colorado for a Certificate of Public Convenience and Necessity, or, for a determination that no Certificate of Public Convenience and Necessity is required for the pawnee-story 230kv reconductor project.

Order Deeming Application Incomplete

Mailed Date:  May 2, 1997

Adopted Date:  April 30, 1997

## BY THE COMMISSION

- Statement

    - This matter comes before the Commission for con-sideration of the completeness of the application filed by Appli-cant Public Service Company of Colorado ("Public Service") in this docket.  In accordance with Rule 70(a), Commission Rules of Practice and Procedure, 4 Code of Colorado Regulations (“CCR”) 723-1, and Rule 18(i-j), Commission Rules Regulating Electric Utilities, 4 CCR 723-3, we now determine that the application in this case is incomplete.  Rule 18(i) provides that an electric utility shall include the concept of prudent avoidance with respect to planning, siting, construction, and operation of transmission facilities.  Rule 18(j) provides that with respect to transmission facilities, the Applicant shall describe those actions and techniques being evaluated pursuant to the requirements of section (i) of Rule 18.  We find that the appli-cation does not contain a report of prudent avoidance measures considered and the justification for the measures selected with respect to the project proposed in the application.

    - Although not the basis for the present finding of incompleteness, the Commission requests that Public Service also supplement the application with an engineering feasibility study containing:  a map of the area showing the existing transmission line, major highways, population centers, county boundaries, and the Applicant's service territory; and information relating to the purpose of the project including a summary of power flow studies and path rating for the existing conditions and the pro-posed project, and economic analysis for any alternatives con-sidered.

## ORDER

  - The Commission Orders That:

    - The present application is deemed incomplete.  The application will be held in abeyance pending submission by Public Service Company of Colorado of the report relating to prudent avoidance.

    - This Order is effective on its Mailed Date.

  - ADOPTED IN Commissioners’ WEEKLY MEETING April 30, 1997.

| g:\yellow\input.doc:PUCSRS - 12/12/2002 06:36:00 PM ( S E A L ) ATTEST: A TRUE COPY ____________________ Bruce N. Smith Director | THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO ROBERT J. HIX ________________________________ VINCENT MAJKOWSKI ________________________________ R. BRENT ALDERFER ________________________________ Commissioners |
| --- | --- |