# Decision No. C97-644

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

IN THE MATTER OF THE DESIGNATION OF ELECTRIC UTILITY TRANSMISSION FACILITIES AND ELECTRIC UTILITY GENERATION FACILITIES FOR WHICH AN APPLICATION TO OBTAIN A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED, OR THE FILING OF A FORMAL DETERMINATION THAT NO CERTIFICATE IS REQUIRED.

Order of the commission pertaining
to certification of facilities

Mailed Date:  June 27, 1997

Adopted Date:  June 25, 1997

## BY THE COMMISSION

  - Statement

    - Sections (d) and (e) of Rule 18 of the Commis-sion’s Electric Utility Rules, 4 Code of Colorado Regulations 723-3, require each Colorado electric utility to file with the Commission, no later than April 30 of each year, a schedule of its proposed new construction or extensions of generation and transmission facilities for the next three calendar years.

    - Rules 18(d)(2) and (e)(2) further provides that the Commission shall issue its decision on whether a certificate of public convenience and necessity, or a formal determination regarding the necessity of a certificate, is required within 60 days of April 30 of the calendar year in which the data are filed.

    - Rule 18(g) provides that the information filed by each utility shall be public information, available for inspec-tion at the offices of the Commission during regular business days and hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or cor-porations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the data filed with the Commission within 15 days of the filing of the data.

    - Notice of the filing of the data was given by the Commission on May 23, 1997.  No comments were filed.

    - The following utilities have submitted proposed construction schedules:

- Intermountain Rural Electric Association

- Public Service Company of Colorado

- San Miguel Power Association, Inc.

- Tri-State Generation and Transmission Association, Inc.

- WestPlains Energy

    - New projects were reported as listed below:

- Intermountain Rural Electric Association

- Davidson Substation Transformer - changeout existing transformer

- Castle Rock Substation Transformer - changeout existing transformer

- Ponderosa Substation Transformer - changeout existing transformer

- Woodland Park Substation Second Transformer - install second 115 kV transformer

- Public Service Company of Colorado

- Washington Substation and Tap - tap the existing Cherokee-Ft. Lupton 230 kV line and construct a new 230-13 kV substation

- Ft. Lupton-Godfrey Tap 115 kV Transmission Line Upgrade - increase tower heights on existing line to allow operation at capacity rating

- Silverthorne Substation and Tap - tap the existing Dillon-Blue River 230 kV line and construct a new 230-25 kV substation

- Lafayette-Erie Tap 115 kV Transmission Line Upgrade - replace existing conductor with larger conductor

- San Miguel Power Association

- Dallas Creek Substation Transformer - install 115-44 kV transformer

- Ridgeway Reservoir 115 kV Transmission Line Upgrade - reinsulate for 115 kV operation

- Molas Substation 115 kV Upgrade - upgrade for 115 kV operation

- Coalbank Substation 115 kV Upgrade - upgrade for 115 kV operation

- Cement Creek Substation 115 kV Upgrade - upgrade for 115 kV operation

                - Sunshine Substation 115 kV Upgrade - upgrade for 115 kV operation

                - Telluride Substation 115 kV Upgrade - upgrade for 115 kV operation

                - Tri-State Generation and Transmission Association, Inc.

                - Nucla-Sunshine/Telluride 115 kV Transmission Line - construct approximately 45 miles of new 115 kV line

                - WestPlains Energy

                - Reader 115 kV Capacitor Banks - install two 14.4 MVAR capacitor banks

                - Victor Substation Autotransformer - install an auto-transformer

## ORDER

  - The Commission Orders That:

    - No certificate of public convenience and necessity shall be required for the following Intermountain Rural Electric Association projects:

                - Davidson Substation Transformer

                - Castle Rock Substation Transformer

                - Ponderosa Substation Transformer

                - Woodland Park Substation Second Transformer

    - No certificate of public convenience and necessity shall be required for the following Public Service Company of Colorado projects:

                - Washington Substation and Tap

                - Ft. Lupton-Godfrey Tap 115 kV Transmission Line Upgrade

                - Silverthorne Substation and Tap

                - Lafayette-Erie Tap 115 kV Transmission Line Upgrade

    - No certificate of public convenience and necessity shall be required for the following San Miguel Power Association projects:

                - Dallas Creek Substation Transformer

                - Ridgeway Reservoir 115 kV Transmission Line Upgrade

                - Molas Substation 115 kV Upgrade

                - Coalbank Substation 115 kV Upgrade

                - Cement Creek Substation 115 kV Upgrade

                - Sunshine Substation 115 kV Upgrade

                - Telluride Substation 115 kV Upgrade

    - Tri-State Generation and Transmission Association, Inc., shall file for a certificate of public convenience and necessity or for a formal determination that no certificate of public convenience and necessity is required for the Nucla-Sunshine/Telluride 115 kV Transmission Line project.

    - No certificate of public convenience and necessity shall be required for the following WestPlains Energy projects:

                - Reader 115 kV Capacitor Banks

                - Victor Substation Autotransformer

    - This Order is effective on its Mailed Date.

  - ADOPTED IN Commissioners’ WEEKLY MEETING June 25, 1997.

| g:\order-wa.6396.doc ( S E A L ) ATTEST: A TRUE COPY ____________________ Bruce N. Smith Director | THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO ROBERT J. HIX ________________________________ VINCENT MAJKOWSKI ________________________________ R. BRENT ALDERFER ________________________________ Commissioners |
| --- | --- |