THE
PUBLIC UTILITIES COMMISSION
OF THE
STATE OF COLORADO

RULES REGULATING THE SERVICE
OF
ELECTRIC UTILITIES

4 Code of Colorado Regulations 723-3

- BASIS, PURPOSE AND AUTHORITY.

The purpose of this rule addition is to prescribe new customer information requirements applicable to jurisdictional electric utilities which provide electric services to end-use customers.  In general, the rules require the dissemination of information regarding the cost of the various components of electricity service and the sources of electric supply associated with the electric energy purchased by the utility.

The statutory authority for this rule is §§ 40-2-108, 40-3-102, 40-3-111, C.R.S.

723-3-10 (f)	Itemized electricity cost components and fuel source information shall be provided to all end-use customers on at least a quarterly basis.  This itemized information may be provided to customers in the form of a bill insert or a separate mailing. The following individual items must be included:

723-3-10(f)(1)	The current percentage components of the total average delivered price of electricity attributable to generation, transmission and distribution, shall be listed.  Percentage components shall be provided which apply to an average residential and commercial bill, including the fixed and variable components of the bill, averaged over a 12 month period.

723-3-10(f)(2)	Each utility shall disclose to customers its generation fuel source composition for the previous calendar year.  The mixture of fuel sources, expressed as a percentage of average annual power production, shall be listed.  At a minimum, fuel mixture information shall be provided using the following fuel type categories and in the following order, rounded to the nearest tenth of one percent:

a)	Renewable (Bio-mass and waste, Geothermal, Solar, Wind )

b)	Hydroelectric

c)	Coal

d)	Natural gas

e)	Nuclear

f)	Other

723-3-10(f)(3)	FORMAT:  Price components and sources of power supply shall appear together in a format no larger than one page and shall be clearly legible.  The suggested format for the information disclosure is as follows:

| ELECTRICITY FACTS |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Price Components Percentage components of average monthly bill for Residential and Commercial use. |  |  |  |  |  |  |  |  |  |
|  |  |  | Type of Use |  | Residential |  | Commercial |  |  |
|  |  |  | Generation |  | xx% |  | xx% |  |  |
|  |  |  | Transmission |  | xx% |  | xx% |  |  |
|  |  |  | Distribution |  | xx% |  | xx% |  |  |
| Supply Mix Fuel sources used to generate power for the period from 1/1/97xx to 12/31/97xx |  |  |  | Fuel Type |  | % |  |  |  |
|  |  |  |  | Renewable |  | x.x% |  |  |  |
|  |  |  |  | Hydroelectric |  | x.x% |  |  |  |
|  |  |  |  | Coal |  | x.x% |  |  |  |
|  |  |  |  | Natural Gas |  | x.x% |  |  |  |
|  |  |  |  | Nuclear |  | x.x% |  |  |  |
|  |  |  |  | Other |  | x.x% |  |  |  |
|  |  |  |  | Total |  | 100% |  |  |  |

G:\yellow\DisRule2.doc