# Decision No. C05-0621

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

in the matter of the designation of electric utility transmission facilities and electric utility generation facilities for which an application to obtain a certificate of public convenience and necessity is required, or the filing of a formal determination that no certificate is required.

order of the commission
giving notice of filing

Mailed Date:  May 31, 2005

Adopted Date:  May 25, 2005

## by the commission

### Statement

- Rule 18 of the Commission’s Electric Utility Rules, 4 Code of Colorado Regulations 723-3, requires each Colorado electric utility to file with the Commission, no later than April 30 of each year, information on its proposed new construction or extensions of transmission and generation facilities for the next three calendar years, as described in Rules 18(d) and 18(e).

- Rule 18(g) provides that the information filed by each utility shall be public information, available for inspection at the offices of the Commission, during regular business hours.  The rule further provides that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or corporations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the data filed with the Commission within 15 days of the filing of data.  Because 15 days from the filing of some of the data has expired, the Commission will allow comments to be filed 15 days after the mailing of this decision.

- The following utilities have filed information on proposed construction projects as listed:

- INVESTOR-OWNED UTILITIES

- Public Service Company of Colorado

- 1.	Denver Terminal-Dakota-Arapahoe 230 kV transmission Line, in-service May 2006, CPCN granted per Decision No. C03-0946.

- Chambers 230/115kV Transmission Intertie Project, in-service May 2007, CPCN granted per Decision No. C03-1055.

- Valmont-Boulder Terminal 115kV Transmission Line upgrade, in-service May 2007, no CPCN required per Decision No. C02-716.

- Broomfield-Semper 115kV Double Circuit Transmission Line, in-service May 2006, no CPCN required per Decision No. C03-0707.

- Comanche-Reader 115kV transmission Line Upgrade, in-service December 2005, no CPCN required per Decision No. C03-0707.

- Conoco-Sandown 115kV Circuit, in-service September 2005, no CPCN required per Decision No. C04-0725.

- Shoshone-Rifle 69KV to 115kV Upgrade, in-service May 2007, no CPCN required per Decision No. C03-0707.

- Comanche-Midway-Daniels Park 345kV line, in-service April 2009, CPCN application pending before the Commission.

- Comanche No. 3 750MW Coal fired Generation, in-service October 2009, CPCN granted per Decision No. C05-0049.

- Sandown-Leetsdale 115kV Line, in-service May 2009 – new filing.

- Capitol Hill-North 115kV Transmission Line Upgrade, in-service December 2005 – new filing.

- Aquila, Inc. (formerly WestPlains Energy)

- Arequa Gulch Substation (formerly Squaw Mountain Substation), in-service 4th quarter 2007, no CPCN required per Decision No. C00-932.

- Canon West-Arequa Gulch (formerly Squaw Mountain) 115 kV Transmission Line, in-service 4th quarter 2007, no CPCN required per Decision No. C00-932.

- Colorado Springs Water Project, in-service 3rd quarter 2007, no CPCN required per Decision No. C03-0707.

- West Station Breaker Addition, in-service 2nd quarter 2005, no CPCN required per Decision No. C03-0707.

- Reader Substation Upgrade, in-service 4th quarter 2005, no CPCN required per Decision No. C03-0707.

- Airport Industrial Park Substation Addition, in-service 2nd quarter 2005, no CPCN required per Decision No. C03-0707.

- Burnt Mill Substation, in-service 3rd quarter 2007, no CPCN required per Decision No. C04-0725.

- East Canon Substation, in-service 3rd quarter 2006, no CPCN required per Decision No. C04-0725.

- RURAL ELECTRIC ASSOCIATIONS

- Grand Valley Power

- 1.	Adobe Substation, in-service March 2006, no CPCN required per Decision No. C04-0725.

- Holy Cross Energy

- No filing submitted.

- Intermountain Rural Electric Association, Inc.

- 1.	Lemon Gulch 230 kV Substation, in service August 2005, no CPCN required per Decision No. C03-0707.

- 2.	Lemon Gulch 230 kV Transmission Line, in service August 2005, no CPCN required per Decision No. C03-0707.

- 3.	Crystal Valley-Greenland-Palmer Lake 115kV Transmission Line, in-service February 2006, no CPCN required per Decision No. C03-0707.

- Palmer Lake Substation Modification, in-service February 2006, no CPCN required per Decision No. C03-0707.

- Bennett Substation Modification, in-service September 2005, no CPCN required per Decision No. C03-0707.

- Strasburg Substation Upgrade, in-service December 2005, no CPCN required per Decision No. C03-0707.

- Strasburg Transmission Substation Upgrade, in-service December 2005, no CPCN required per Decision No. C03-0707.

- Greenland Substation Modification, in-service November 2005, no CPCN required per Decision No. C01-746.

- Como Substation, in-service August 2006, no CPCN required per Decision No. C04-0725.

- Shawnee Substation, in-service October 2006, no CPCN required per Decision No. C04-0725.

- Sulphur Substation, in-service June 2006, no CPCN required per Decision No. C04-0725.

- Sulphur Substation, in-service March 2006 – new filing.

- Plum Creek Substation, in-service June 2006 – new filing.

- Homestead Substation, in-service October 2006 – new filing.

- Happy Canyon Substation, in-service June 2007 – new filing.

- Soda Lakes Substation, in-service May 2007 – new filing.

- Brick Center Substation, in-service November 2007 – new filing.

- Brick Center to Bennett Transmission Line, in-service November 2007 – new filing.

- Comanche 3 Generation, ownership share, in-service 4th quarter of 2009 – new filing.

- La Plata Electric association, Inc.

- No filing was submitted.

- Mountain View Electric Association, Inc.

- Meridian Ranch 115/69 kV to 12.5 kV Substation Transformer, in-service August 2006, no CPCN required per Decision No. C03-0707.

- Apple Tree Substation, in-service August 2006, no CPCN required per Decision No. C02-716.

- City of Colorado Springs Water Pumping Station, in-service 2007, no CPCN required per Decision No. C03-0707.

- Black Squirrel to Peyton Transmission Line Upgrade, in-service August 2007, no CPCN required per Decision No. C04-0725.

- Poudre Valley Rural Electric Association, Inc.

- No filing was submitted.

- San Miguel Power Association

- 1.	A response was filed but no projects were submitted.

- Tri-State Generation and Transmission Association, Inc.

- Cahone-Nucla 115 kV Transmission Line Uprate, in-service December 2008, no CPCN required per Decision No. C98-533.

- Nucla-Telluride 115 kV Transmission Line, in-service December 2007, CPCN granted per Decision No. C01-1059.

- Colorado/New Mexico 230 kV Interconnection, in-service December 2007, CPCN granted with stipulations per Decision No. R01-1074.

- Hotchkiss-Spring Creek Tap 115kV Line Uprate, in-service December 2006, no CPCN required per Decision No. C01-661.

- Bayfield-Durango 115kV Line Uprate, in-service December 2005, no CPCN required per Decision No. C02-716.

- Granby Pumping Plant-Windy Gap 138/69kV Double Circuit Loop Project (formerly Transmission Line Project), in-service December 2006, no CPCN required per Decision No. C90-1125.

- Delta County 115kV Transmission Line Improvement (formerly Garnet Mesa 115kV Loop Service), in-service December 2006, no CPCN required per Decision No. C03-0707.

- Red Willow-Wages (formerly Wauneta) 115kV Line Reconductor, in-service December 2006, no CPCN required per Decision No. C03-0707.

- Richard Lake-Wellington 115kv Loop Project, in-service December 2005, no CPCN required per Decision No. C03-0707.

- Archuleta County System Improvement Project (formerly Bayfield-Pagosa 115kV Loop Project), in-service December 2006, CPCN determination required per Decision No. C03-0707.

- Durango-Hesperus 115kV Loop, in-service December 2006, CPCN determination required per Decision No. C03-0707.

- United Power System Improvement Project – Phase II, in-service December 2005, no CPCN required per Decision No. C04-0725.

- United Power System Improvement Project – Phase III, in-service December 2006, no CPCN required per Decision No. C04-0725.

- Crested Butte 115kV Network Service (formerly Loop Alternative Project), in-service December 2006, no CPCN required per Decision No. C04-0725.

- Wray Tap #2-Wray (WAPA) 115kV Backup, in-service December 2006, no CPCN required per Decision No. C04-0725.

- Black Squirrel-Peyton 115kV Delivery Point, in-service December 2007, no CPCN required per Decision No. C04-0725.

- Montrose-Nucla 115kV Line Reconductor, in-service December 2008, no CPCN required per Decision No. C98-0533.

- Deering Lake-Wray (T-S) 115kV Reliability Additions, in-service December 2006 – new filing.

- San Luis Valley 230kV Loop (formerly San Luis Valley-Walsenburg 230kV Line), in-service December 2009, CPCN determination required per Decision No. C03-0707.

- White River Electric Association, Inc.

- 1.	Corral Gulch Substation, in-service October 2005 – new filing.

- 2.	Meeker Gas Plant, in-service October 2006 – new filing.

- 3.	Exon Mobil Gas Plant, in-service October 2006 – new filing.

## order

### The Commission Orders That:

- Notice is hereby given that the above investor-owned utilities and rural electric cooperative associations have submitted information about the proposed construction of transmission and generation facilities in accordance with Rule 18 of the Rules Regulating the Service of Electric Utilities, 4 Code of Colorado Regulations 723-3.  Under that rule, you are notified that the information is available for inspection at the offices of the Commission during regular business hours.

- Any interested person, firm, or corporation may file comments about the projects identified by the data now filed with the Commission within 15 days after the Mailed Date of this Decision.  The Commission will consider any comments in determining which projects do not require a certificate of public convenience and necessity and for which projects the utility will be required to file an application for a certificate of public convenience and necessity or a formal determination that a certificate is not required.

- This Order is effective upon its Mailed Date.

### ADOPTED IN COMMISSIONERS’ WEEKLY MEETING
May 25, 2005.

| (S E A L) ATTEST: A TRUE COPY Doug Dean, Director | THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO GREGORY E. SOPKIN ________________________________ POLLY PAGE ________________________________ CARL MILLER ________________________________ Commissioners |
| --- | --- |

/tmp/in/input.doc:srs