# Decision No. C06-0595

BEFORE THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO

CASE NO. 6396

IN THE MATTER OF THE DESIGNATION OF ELECTRIC UTILITY TRANSMISSION FACILITIES AND ELECTRIC UTILITY GENERATION FACILITIES FOR WHICH AN APPLICATION TO OBTAIN A CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY IS REQUIRED OR THE FILING OF A FORMAL DETERMINATION THAT NO CERTIFICATE IS REQUIRED.

order of the commission
giving notice of filing

Mailed Date:  May 26, 2006

Adopted Date:  May 24, 2006

## by the commission

### Statement

- Rules 3205 and 3206 of the Commission’s Electric Utility Rules, 4 Code of Colorado Regulations 723-3, requires each Colorado electric utility to file with the Commission, no later than April 30 of each year, information on its proposed new construction or extensions of transmission and generation facilities for the next three calendar years, as described in Rules 3205(c) and 3206(c).

- Rules 3205(d) and 3206(f) provide that the Commission will give notice of the filing of data to all those who, in the opinion of the Commission, are interested persons, firms, or corporations.  Any interested person, firm, or corporation may file comments in regard to the projects identified by the information filed with the Commission within 15 days of the filing of the required information.  Because 15 days from the filing of some of the data has elapsed, the Commission will waive that requirement and instead allow comments to be filed within 15 days after the effective date of this Order.

- The following utilities have filed information on proposed construction projects as listed:

- INVESTOR-OWNED UTILITIES

- Public Service Company of Colorado

- 1.	Denver Terminal-Dakota-Arapahoe 230 kV transmission Line, in-service May 2007, CPCN granted per Decision No. C03-0946.

- Chambers 230/115kV Transmission Intertie Project, in-service May 2008, CPCN granted per Decision No. C03-1055.

- Comanche-Midway-Daniels Park 345kV line, in-service May 2009, CPCN application pending before the Commission.

- Comanche No. 3 750MW Coal fired Generation, in-service late 2009-early 2010, CPCN granted per Decision No. C05-0049.

- Sandown-Leetsdale 115kV Line, in-service May 2009.  CPCN application filed May 2, 2006.

- Front Range 230-13.8kV Substation – new filing, in-service May 2007.

- Isabelle 230-13.8kV Substation – new filing, in-service May 2007.

- Powhaton 230-13.8kV Substation – new filing, in-service May 2008.

- Highly Confidential – Data Sets 1, 2, 3, and 4 have been granted highly confidential status.  These are transmission line projects associated with generation of the Least Cost Planning request for proposals/bidding process which are still under negotiation.  The projects will be made public when the generation contracts are signed.

- Aquila, Inc. (formerly WestPlains Energy)

- Arequa Gulch Substation (formerly Squaw Mountain Substation), in-service 4th quarter 2007, no CPCN required per Decision No. C00-932.

- Canon West-Arequa Gulch (formerly Squaw Mountain) 115 kV Transmission Line, in-service 4th quarter 2007, no CPCN required per Decision No. C00-932.

- Colorado Springs Water Project, in-service 3rd quarter 2007, no CPCN required per Decision No. C03-0707.

- Burnt Mill Substation, in-service 3rd quarter 2007, no CPCN required per Decision No. C04-0725.

- East Canon Substation, in-service 3rd quarter 2006, no CPCN required per Decision No. C04-0725.

- Freemary Substation – new filing, in-service June 2008.

- Reader to Airport 115kV Transmission Line – new filing, in-service September 2009.

- RURAL ELECTRIC ASSOCIATIONS

- Grand Valley Power

- No filing was submitted.

- Holy Cross Energy

- No filing was submitted.

- Intermountain Rural Electric Association, Inc.

- 1.	Daniels Park Substation 30/40/50 MVA 115/12.47kV Transformer – new filing, in-service May 2007.

- 2.	Crowfoot Valley Substation – new filing, in-service July 2007.

- 3.	Soda Lakes Substation, in-service March 2007, no CPCN required per Decision No. C05-0826.

- Brick Center Substation, in-service December 2007, no CPCN required per Decision No. C05-0826.

- Brick Center to Bennett Transmission Line, in-service December 2007, no CPCN required per Decision No. C05-0826.

- Comanche 3 Generation, ownership share, in-service late 2009-early 2010, CPCN granted per Decision No. C05-0049.

- Delbert Substation – new filing, in-service July 2008.

- Hartsel Substation – new filing, in-service September 2008.

- Hartsel-Fairplay 115kV Transmission Line – new filing, in-service October 2008.

- Fairplay Substation – new filing, in-service October 2008.

- Shawnee Substation – new filing, in-service October 2008.

- Como Substation – new filing, in-service September 2009.

- Fairplay-Como 115kV Transmission Line – new filing, in-service September 2009.

- Happy Canyon Substation – new filing, in-service June 2009.

- Victory Substation – new filing, in-service September 2009.

- Victory 115kV transmission Tap – new filing, in-service September 2009.

- Dawson Ridge Substation – new filing, in-service December 2009.

- Wolfensberger-Dawson Ridge 115kV Transmission Line – new filing, in-service December 2009.

- Pine Junction Substation – new filing, in-service September 2009.

- La Plata Electric Association, Inc.

- No filing was submitted.

- Mountain View Electric Association, Inc.

- Meridian Ranch 115/69 kV to 12.5 kV Substation Transformer, in-service August 2007, no CPCN required per Decision No. C03-0707.

- Apple Tree Substation, in-service August 2008, no CPCN required per Decision No. C02-716.

- City of Colorado Springs Water Pumping Station, in-service 2008, no CPCN required per Decision No. C03-0707.

- Black Squirrel to Peyton Transmission Line Upgrade, in-service August 2007, no CPCN required per Decision No. C04-0725.

- Anderson Substation – new filing, in-service August 2007.

- Lorson Ranch Substation – new filing, in-service August 2006.

- Rolling Hills Substation – new filing, in-service August 2006.

- Santa Fe Springs Substation and 115kV Transmission Line – new filing, in-service August 2007.

- Schriever Air Force Base Substation #2 and 115kV Transmission Line – new filing, in-service 2008.

- Poudre Valley Rural Electric Association, Inc.

- No filing was submitted.

- San Miguel Power Association

- No filing was submitted.

- Tri-State Generation and Transmission Association, Inc.

- Cahone-Nucla 115 kV Transmission Line Uprate, in-service 1stQ 2009, no CPCN required per Decision No. C98-533.

- Nucla-Telluride 115 kV Transmission Line, in-service 1stQ 2008, CPCN granted per Decision No. C01-1059.

- Colorado/New Mexico 230 kV Interconnection, in-service December 2007, CPCN granted with stipulations per Decision No. R01-1074.

- Hotchkiss-Spring Creek Tap 115kV Line Uprate, in-service 1stQ 2007, no CPCN required per Decision No. C01-661.

- Bayfield-Durango 115kV Line Uprate, in-service 1stQ 2007, no CPCN required per Decision No. C02-716.

- Granby Pumping Plant-Windy Gap 138/69kV Double Circuit Loop Project (formerly Transmission Line Project), in-service 1stQ 2008, no CPCN required per Decision No. C90-1125.

- Delta County 115kV Transmission Line Improvement (formerly Garnet Mesa 115kV Loop Service), in-service 1stQ 2008, no CPCN required per Decision No. C03-0707.

- Red Willow-Wages (formerly Wauneta) 115kV Line Reconductor, in-service 1stQ 2007, no CPCN required per Decision No. C03-0707.

- Richard Lake-Waverly 115kv Loop Project, in-service 1stQ 2008, no CPCN required per Decision No. C03-0707.

- Archuleta County System Improvement Project (formerly Bayfield-Pagosa 115kV Loop Project), in-service 1stQ 2011, CPCN determination required per Decision No. C03-0707.

- Durango-Hesperus 115kV Loop, in-service 1stQ 2008, CPCN determination required per Decision No. C03-0707.

- United Power System Improvement Project – Phase II, in-service 1stQ 2007, no CPCN required per Decision No. C04-0725.

- United Power System Improvement Project – Phase III, in-service 1stQ 2007, no CPCN required per Decision No. C04-0725.

- Wray Tap #2-Wray (WAPA) 115kV Backup, in-service December 2006, no CPCN required per Decision No. C04-0725.

- Black Squirrel-Peyton 115kV Delivery Point, in-service 1stQ 2007, no CPCN required per Decision No. C04-0725.

- Montrose-Nucla 115kV Line Reconductor, in-service 1stQ 2009, no CPCN required per Decision No. C98-0533.

- Deering Lake-Wray (T-S) 115kV Reliability Additions, in-service 1stQ 2008, no CPCN required per Decision No. C05-0826.

- San Luis Valley 230kV Loop (formerly San Luis Valley-Walsenburg 230kV Line), in-service 1stQ 2010, CPCN determination required per Decision No. C03-0707.

- East Montrose 115kV delivery Point – new filing, in-service 1stQ 2008.

- Erie 230/115kV Substation – new filing, in-service 1stQ 2010.

- Story 230kV Tie Line and 230kV Line Bay- new filing, in-service 1stQ 2010.

- Boomerang 115kV Delivery Point Project – new filing, in-service 4Q 2007.

- Comanche-Stem Beach-Walsenburg 115kV Line – new filing, in-service 1stQ 2009.

- White River Electric Association, Inc.

- 1.	Corral Gulch Substation, in-service June 2006, no CPCN required per Decision No. C05-0826.

- 2.	Meeker Gas Plant, in-service September 2006, no CPCN required per Decision No. C05-0826.

- 3.	Exon Mobil Gas Plant, in-service October 2007, no CPCN required per Decision No. C05-0826.

- 4.	Wolf Ridge Substation and 138kV Line – new filing, in-service December 2006.

- 5.	Wolf ridge-Yankee Gulch 138kV transmission Line – new filing, in-service September 2006.

## order

### The Commission Orders That:

- Notice is hereby given that the above investor-owned utilities and rural electric cooperative associations have submitted information concerning the proposed construction of transmission and generation facilities in accordance with Rules 3205 and 3206 of the Rules Regulating the Service of Electric Utilities, 4 Code of Colorado Regulations 723-3.  Pursuant to that rule, you are notified that the information is available for inspection at the offices of the Commission during regular business hours.

- Any interested person, firm, or corporation may file comments about the projects identified by the information now filed with the Commission within 15 days after the effective date of this Order.  The Commission will consider any comments in determining which projects do not require a certificate of public convenience and necessity, for which projects the utility will be required to file an application for a certificate of public convenience and necessity, or a formal determination that a certificate is not required.

- This Order is effective upon its Mailed Date.

### ADOPTED IN COMMISSIONERS’ WEEKLY MEETING
May 24, 2006.

| (S E A L) ATTEST: A TRUE COPY Doug Dean, Director | THE PUBLIC UTILITIES COMMISSION OF THE STATE OF COLORADO GREGORY E. SOPKIN ________________________________ POLLY PAGE ________________________________ CARL MILLER ________________________________ Commissioners |
| --- | --- |

/tmp/in/input.doc:SRS