COLORADO DEPARTMENT OF REGULATORY AGENCIES

Public Utilities Commission

4 Code of Colorado Regulations (CCR) 723-3

PART 3
RULES REGULATING ELECTRIC UTILITIES

*	*	*

[indicates omission of unaffected rules]

3102.	Certificate of Public Convenience and Necessity for Facilities.

(a)	A utility seeking authority to construct and to operate a facility or an extension of a facility pursuant to § 40-5-101, C.R.S., shall file an application pursuant to this rule.

(I)	If the facility is not a transmission facility, the utility need not apply to the Commission for approval of construction and operation of the facility or an extension of the facility which is in the ordinary course of business.  The utility shall apply to the Commission for approval of construction and operation of a facility or an extension of a facility which is not in the ordinary course of business.

(II)	If the facility is a transmission facility, in addition to the requirements in paragraph (b) of this rule, the utility shall comply with rule 3206.

(b)	An application for certificate of public convenience and necessity to construct and to operate facilities or an extension of a facility pursuant to § 40-5-101, C.R.S., shall include, in the following order and specifically identified, the following information, either in the application or in appropriately identified attached exhibits:

(I)	The information required in paragraphs 3002(b) and 3002(c).

(II)	A statement of the facts (not conclusory statements) relied upon by the applying utility to show that the public convenience and necessity require the granting of the application or citation to any Commission decision that is relevant to the proposed facilities.

(III)	A description of the proposed facilities to be constructed.

(IV)	Estimated cost of the proposed facilities to be constructed.  If the facility is a transmission facility, the estimated costs shall be itemized as land costs, substation costs, and transmission line costs.

(V)	Anticipated construction start date, construction period, and in-service date.

(VI)	A map showing the general area or actual locations where facilities will be constructed, population centers, major highways, and county and state boundaries.

(VII)	As applicable, electric one-line diagrams.

(VIII)	As applicable, information on alternatives studied, costs for those alternatives, and criteria used to rank or eliminate alternatives.

(IX)	As applicable, a report of prudent avoidance measures considered and justification for the measures selected to be implemented.

*	*	*

[indicates omission of unaffected rules]

3206.	Construction or Extension of Transmission Facilities.

(a)	Applicability.  No utility and no cooperative electric association that has voted to exempt itself pursuant to § 40-9.5-103, C.R.S., may commence new construction, or extension of transmission facilities or projects until either the Commission notifies the utility or cooperative electric association that such facilities or projects do not require a certificate of public convenience and necessity (CPCN) or the Commission issues a certificate of public convenience and necessity.  Cooperative electric associations that have elected to exempt themselves from the Public Utilities Law pursuant to § 40-9.5-103, C.R.S., do not need a CPCN for new construction or extension of transmission facilities or projects when such construction or expansion is contained entirely within the cooperative’s certificated area.

(b)	CPCN requirements for new transmission facilities.  New transmission facilities that require a CPCN pursuant to this paragraph (b) are not in the ordinary course of business.  Further, the utility or cooperative electric association may request a CPCN for any new transmission facility that does not require a CPCN under this paragraph (b).  For all utilities and electric cooperative associations subject to paragraph (a) of this rule, a CPCN will be required for all new transmission facilities that meet one of the following criteria:

(I)	Transmission facilities designed at 230 kV and above, even if initially operated at a lower voltage. However, a radial transmission line designed at 230 kV and above that serves a single customer and terminates at that customer’s premises will not require a CPCN.

(II)	Transmission facilities designed at115 kV or 138 kV, if:

(A)	They do not meet the noise and EMF (electromagnetic field) thresholds in paragraphs (f) and (g) of this rule;

(B)	They are not consistent with the near term and conceptual long range plans described in paragraph (h); or

(C)	The Commission determines that they are not in the ordinary course of business because of their unusual system impact or expense.

(c)	CPCN requirements for extension of transmission facilities.  The utility or cooperative electric association may request a CPCN for any extension of transmission facilities not otherwise requiring a CPCN under this paragraph (c).  For all utilities and electric cooperative associations subject to paragraph (a) of this rule, the following modifications are not in the ordinary course of business and shall require a certificate of public convenience and necessity:

(I)	Modification to any existing transmission facility if either the noise or magnetic field thresholds in paragraphs (f) and (g) of this rule are exceeded or increased beyond previously approved levels.

(II)	Modification of the transmission facility so that it will be operated at a higher voltage, with or without conductor replacement:

(A)	If a CPCN has already been obtained for the operation of the transmission facility at the higher voltage, an additional CPCN shall not be required.

(B)	If the upgrade is to a voltage less than 230 kV and the noise and magnetic field thresholds in paragraphs (f) and (g) are met, a CPCN shall not be required.

(d)	Annual report for planned transmission facilities.  No later than April 30 of each year, each electric utility and each cooperative electric association that has voted to exempt itself pursuant to § 40-9.5-103, C.R.S., shall file with the Commission its proposed new construction or extension of transmission facilities for the next three calendar years, commencing with the year following the filing.  This filing shall also include projects with an in-service date within five years of the filing.  The filing shall contain a reference to all such proposed new construction or extensions, regardless of whether the utility or cooperative electric association has referenced such new construction or extensions in prior annual filings.  Further, amended filings or filings of an emergency nature outside the April 30 timeframe are permitted.  By submitting the proper information, the report can request a determination that 115 kV or 138 kV projects that meet the requirements outlined in paragraphs (b) and (c) of this rule do not need a CPCN.   For each project, the filing shall contain the following:

(I)	The name, proposed location, and function or purpose of the project, including:

(A)	If the project is a substation or related facility, the voltage level and the continuous MVA rating of transformers and shunt capacitors.

(B)	If the project is a transmission line, the voltage, the length in miles, the continuous MVA rating, and the substation termination points.

(II)	The estimated cost of the project.

(III)	The projected date for the start of construction, the estimated date of completion, and the estimated in-service date.

(e)	Annual report for ongoing transmission projects.  In addition to the information provided in paragraph (d) of this rule, the filing shall provide an update of the status of, and any changes to (including cancellations) all projects referenced in prior filings.  Once a project is reported as completed or cancelled, its status can be removed in subsequent filings.

(f)	Electromagnetic fields.  This paragraph (f) applies to any application for a CPCN or any filing made pursuant to paragraph (d) of this rule for which the Commission is requested to determine that a 115 kV or 138 kV project does not need a CPCN.  The filing shall include the expected maximum level of EMF that could be experienced under normal conditions at the edge of the transmission line right-of-way or substation boundary, at a location one meter above the ground.

(I)	For a right-of-way containing a single circuit, the EMF level will be presented at the continuous MVA rating of that circuit.

(II)	For a right-of-way containing multiple circuits, the EMF level will be presented with all circuits at their continuous MVA rating.

(III)	Proposed EMF levels of 150 mG (milliGauss) and below are deemed reasonable by rule, and need not be mitigated to a lower level.  Proposed EMF levels above 150 mG will be subject to further review.

(IV)	If the  EMF level for the proposed project is above 150 mG, then the filing must present an alternative (e.g., different spatial arrangement of conductors, higher structures, wider rights-of-way, undergrounding lines), and associated costs, that reduces the EMF level to 150 mG.  The applicant may also present other alternatives yielding intermediate EMF levels for the Commission’s consideration.

(V)	In the instance where the EMF level cannot be reduced to 150 mG, then the filing must present an alternative, and associated costs, that would reduce the EMF level to the lowest possible level.  The applicant may also present other alternatives yielding intermediate EMF levels for the Commission’s consideration.

(VI)	If either subparagraph (f)(IV) or (f)(V) is applicable, then the filing must also describe the efforts and associated costs to route the line away from concentrated population and group facilities such as schools and hospitals.

(VII)	If either subparagraph (f)(IV) or (f)(V) is applicable, the Commission shall weigh the societal, engineering, and economic considerations of the project as originally proposed, and the alternatives, in determining whether the CPCN should be granted.

(g)	Noise.  This paragraph (g) applies to any application for a CPCN or any filing made pursuant to paragraph (d) of this rule for which the Commission is requested to determine that a 115 kV or 138 kV project does not need a CPCN.  The filing shall include the projected level of noise radiating beyond the property line or right-of-way (as applicable) at a distance of 25 feet.

(I)	The filing shall provide computer studies which show the potential level of noise expressed in db(A).  These computer studies shall be the output of utility standard programs, such as EPRI’s EMF Workstation 2.51 ENVIRO Program -- Bonneville Power Administration model and use the assumption that the proposed facility is operating at its highest continuous design voltage.

(II)	Proposed levels of noise at or below the values listed are deemed reasonable by rule and need not be mitigated to a lower level.

(A)	Residential			50 db(A)

(B)	Commercial			55 db(A)

(C)	Light industrial			65 db(A)

(D)	Industrial			75 db(A)

(III)	If the zoning designation assigned by the local zoning regulatory agency is not listed in subparagraph (g)(II), the applicant shall reference the noise threshold corresponding to the zoning designation listed in subparagraph (g)(II) that most closely represents the predominant use of the land used for the transmission project.  To support its selection of the applicable noise threshold, the applicant shall present information related to, among other things, the projected use of the land and surrounding areas in the near term future.  However, the noise level will not be subject to further review if the applicant proposes a noise threshold of 50 db(A) or below regardless of the use of the land.

(IV)	If the projected level of noise does not meet the threshold limits in subparagraph (g)(II), then the filing must present an alternative (larger conductors, bundled conductors, different spatial arrangement of conductors, higher structures, wider rights-of-way), and associated costs, that reduces the level of noise to the proper threshold value,  The applicant may also present other alternatives yielding intermediate noise levels for the Commission’s consideration.

(V)	In the instance where the level of noise cannot be reduced to the threshold levels in subparagraph (g)(II), then the filing must present an alternative, and associated costs that would reduce the level of noise to the lowest possible level.  The applicant may also present other alternatives yielding intermediate noise levels for the Commission’s consideration.

(VI)	If either subparagraph (g)(IV) or (g)(V) is applicable, the Commission shall weigh the societal, engineering, and economic considerations of the project as originally proposed, and the alternatives in determining whether the CPCN should be granted.

(h)	Near term and conceptual long range planning.  This paragraph (h) applies to any application for a CPCN or any filing made pursuant to paragraph (d) of this rule for which the Commission is requested to determine that a 115 kV or 138 kV project does not need a CPCN.  The filing shall explain how the proposed project is compatible with the electric utility’s or cooperative electric association’s near term and conceptual long range needs of the transmission system.

(I)	If the proposed project is a transmission line, then the discussion should address the initial and ultimate design operating voltage, the initial and ultimate right-of-way needs, and the initial and ultimate noise and EMF projections.

(II)	If the proposed project is a substation, then the discussion should describe the initial and ultimate electrical configuration, the initial and ultimate property requirements, and initial and ultimate noise and EMF projections.

(III)	If the conceptual long range plan has been submitted to the Commission and evaluated in a separate docket, and addresses the long term rights-of-way needs, the ultimate number and voltage of transmission lines required, the ultimate substation electrical configuration requirements, and the initial and ultimate noise and EMF projections, then the current filing merely needs to reference that docket.  In this instance, the substance of that conceptual long range plan will not be at issue in the current filing.

(i)	Review of annual report.  Filings made in accord with paragraph (d) of this rule will be evaluated in the following manner:

(I)	The Commission shall give notice within 15 days of the filing to the parties it believes to be interested in the subject matter of the filing.

(II)	Any interested party may file comments within 30 days of the notice referenced in subparagraph (i)(I).

(III)	Commission Staff shall review the filing and any comments received and shall make its recommendations within the 15 days following the end of the notice period.

(j)	Service connections.  All utilities and electric cooperative associations subject to paragraph (a) of this rule shall install and maintain service connections from transmission extensions consistent with conditions contained in the utility’s tariff.

*	*	*

[indicates omission of unaffected rules]