ATTACHMENT A

- Confirm the Total Renewable Energy Standard Adjust (RESA) Revenue (Column R) and Annual Excess of RESA Funds (Column S) of Table 7-2(c) of SJH-4 for the years 2014, 2015, and 2016.  If those numbers are no longer accurate, please provide updated values per year for the Total RESA Revenue and Excess of RESA Funds available for the years 2014, 2015, and 2016.

- Provide both a total cost estimate (i.e., ECA and RESA costs) and RESA impact estimate to acquire the following renewable resources.  For the Small Solar*Rewards program assume $0.02 for Renewable Energy Credits (RECs) for customer-owned systems and $0.01 for third-party owned systems.  Otherwise, assume the REC price or incentive level in Recommended Decision No. R14-0902:

  - 20 MW of Recycled Energy

  - 6.5 MW of Solar*Rewards Community

  - 24 MW in the Small Solar*Rewards Program

  - 12 MW in the Medium Solar Rewards Program

- Provide a total cost and RESA impact estimate using the same assumptions as above with the exception of increasing the Solar*Rewards Community to 30 MW.

- Provide the calculations showing that the Company can (or cannot) acquire these resources in 2014, 2015, and 2016 within the RESA revenue provided for those years.  Indicate if there will be an excess or deficiency of RESA funds for each year based on these acquisitions.