Questions for May 18, 2009 Workshop

Colorado utilities employ several procedures and requirements in their transmission planning efforts. These procedures and requirements are set forth in, among others, Rules 3102 and 3206 of the Rules Regulating Electric Utilities, 4 Code of Colorado Regulations (CCR) 723-3, Colorado Coordinated Planning Group/Colorado Long Range Transmission Planning Council (CCPG/CLRTPG), WestConnect, Senate Bill 07-100, and FERC 890.

The objective of transmission planning is to provide adequate and reliable transmission services to Colorado ratepayers. At the same time, transmission planning needs to consider how to provide sufficient transmission capacity to ensure that utilities comply with renewable energy standards.  The Commission has scheduled several workshops to discuss the issues concerning availability of transmission capacity, coordination of transmission planning, streamlining of the CPCN application process, SB-100 processes, and meeting the requirements of Rules 3102 and 3206.  The Hearing Commissioner invites interested parties to submit comments addressing the following questions to facilitate the discussions for the May 18, 2009 workshop.  With respect to all the questions set forth below, please provide reasons or explanations when possible.  This will result in a more efficient process at the May 18 workshop.

Understanding Transmission Planning

1.  Overview of Transmission Planning

a.	Please describe when a utility, a transmission provider (TP) or an independent transmission company (ITC) determines that an enhancement or addition to existing transmission infrastructure or new transmission capacity is needed.  Please describe what triggers the need for enhancement or addition to existing transmission infrastructure or new transmission capacity.

b.	Please describe what is involved in transmission planning for your company. Please include a conceptual project management description.

c.	Rule 3201 (b) through (c) requires that certain information, descriptions and studies be filed with applications for CPCNs.  Please describe your company’s process in compiling the following required information:

- Estimated cost of the proposed facilities to be constructed.

- Information on alternatives studied, costs for those alternatives and criteria used to rank or eliminate alternatives.

- Prudent avoidance measures considered and justification for the measures selected to be implemented.

d.	Please provide a sample time line for transmission projects including:  internal planning, external planning and coordination with stakeholders, application for CPCN, permits, construction, etc.

2.	Planning Requirements in Addition to Those Set Forth in Rules 3102, 3206 and 3607(C)(1)

a.	What limitations or challenges may be involved in transmission planning horizons of 10 years?

b.	What limitations or challenges may be involved in transmission planning horizons of longer than 10 years?

c.	Under what circumstances should transmission plans that utilities file with the Commission include both a detailed, short term (less than 10 years) plan and a concept/scenario long term (greater than 10 years) plan?

d.	Should proposals for new transmission lines consider the potential for future upgrades or expansions? Please consider in your response future upgrades or expansions such as larger conductor size, double circuits, advanced materials, and additional rights of way.

e.	Should a utility be required to conduct a combined transmission and generation production cost simulation study to evaluate costs and reliability of power systems with substantial renewable resources?

3.	Coordination of Transmission and Electric Resource Planning

Contained within the Commission’s rules on electric resource planning and the evaluation of existing resources is Rule 3607(c)(1) concerning existing transmission capabilities and future needs.  This rule states that

The utility shall report its existing transmission capabilities, and future needs during the planning period, for facilities of 115 kilovolts and above, including associated substations and terminal facilities.  The utility shall generally identify the location and extent of transfer capability limitations on its transmission network that may affect the future siting of resources.  With respect to future needs, the utility shall explain the need for facilities based upon future load projections (including reserves).  To the extent reasonably available, the utility shall include a description of the length and location of any additional facilities needed, their estimated costs, terminal points, voltage and megawatt rating, alternatives considered or under consideration, and other relevant information.

a.	Should the utilities be required to consider alternatives or provide relevant information for transmission lines under consideration when filing electric resource plans?  If so, should this transmission planning information be included with interim electric resource plans as well as the required plans every four years?  How is this information helpful in the generation planning process?

b.	Should the utilities be required to conduct transmission planning studies in conjunction with proposed electric resource plans?

c.	Should the utilities be required to consider time periods longer than resource acquisition periods in assessing future transmission needs?

d.	Should the utilities be required to consider all transmission interconnection requests in future transmission planning? If not, what interconnection requests should be considered?

e.	Should transmission planning be a part of the electric resource planning process, in whole or in part?

4.	Coordination of CCPG/CLRTPG, SB-100 and Integrated Planning

The Commission is interested in your perspective with respect to transmission planning that currently takes place outside the PUC as well as within the PUC and how these processes can be coordinated.  The Commission also is interested in your perspective with respect to an integrated transmission planning forum involving all stakeholders.  If such an approach were taken, the Commission would be interested in you perspective regarding the role of the Commission Staff as well as the role of the Commission and its advisors.

a.	How should the CCPG/CLRTPG, SB-100 and other processes and reports be integrated into or coordinated with the filing of CPCN applications?

b.	How should the CCPG/CLRTPG, SB-100 and other processes and reports be integrated into or coordinated with a Commission transmission planning process?

c.	Should there be an integrated transmission planning process?

d.	Should the Commission order an integrated transmission planning forum including all stakeholders and various interested parties?

e.	What should be the role of Commission Staff in coordinating transmission planning?

f.	What should be the role of the Commission and its advisors in coordinating transmission planning?

5.	Regional Planning Activities

a.	What should be the role of the Commission Staff when participating in transmission planning activities sponsored by policy groups such as the Western Governors Association’s (WGA) Western Integrated Electric Board (WIEB)?

b.	What should be the role of the Commission Staff when participating in transmission planning activities sponsored by planning groups such as the Western Electricity Coordinating Council (WECC), WestConnect, or High Plains Express?

c.	What should be the role of the Commission and its advisors when participating in transmission planning activities sponsored by policy groups such as the Western Governors Association’s (WGA) Western Integrated Electric Board (WIEB)?

d.	What should be the role of the Commission and its advisors when participating in transmission planning activities sponsored by planning groups such as the Western Electricity Coordinating Council (WECC), WestConnect, or High Plains Express?

e.	Considering the existence of current Regional Transmission Organizations (RTOs), what are the benefits, drawbacks, and challenges in the formation of an RTO for the Colorado utilities?

6.	Communications with the Commission

a.	From your perspective, do CCPG/WestConnect meetings and reports provide sufficient and timely information related to transmission planning?  If not, why not?  Do these meetings and reports provide duplicative information? If so, how?

b.	Should utilities jointly file integrated transmission planning reports including future transmission needs?  If not, why not? If so, should these reports be filed on an annual, biannual, quarterly or other time basis?

c.	Should the Commission schedule meetings or workshops to gather updates from stakeholders regarding their transmission planning efforts? If not, why not? If so, should these meetings be held on an annual, biannual, quarterly or other time basis?